# Oxidation in Mass Spectrometry: Applications in Analyte Detection in Complex Mixtures

# A Dissertation Presented for the

# Doctor of Philosophy

# Degree

# The University of Tennessee, Knoxville

# Lindsay P. Brown

# October 2024

Copyright © 2024 by Lindsay P. Brown

All rights reserved.

# DEDICATION

# ACKNOWLEDGEMENTS

# ABSTRACT

This is a sample Word document that can be used as a template in formatting your thesis/dissertation.  It cannot exceed 350 words.

If you use any special characters (including superscripts and subscripts) in your abstract, you must write out the term in plain English in square brackets immediately following the first use of the character.  For example: H2O [water] and µ [micron].  This has nothing to do with how common the term is in your field of study-- our catalogers have to enter the abstract in our records using a plain text format that cannot accommodate the special characters, but has no problem with word substitutes.

# TABLE OF CONTENTS

Chapter 1. Introduction	1

1.1	Mass spectrometry represents a vital analytical technique	2

1.1.1	Ionization source	2

1.1.2	Mass analyzer	4

1.1.3	Optional chromatographic separation	5

1.1.4	In-source oxidation in mass spectrometry	6

1.1.5	Biological oxidation	7

Chapter 2. A fundamental study on in-source oxidation	8

2.2	Abstract	9

2.3	Introduction	9

2.4	Results and discussion	12

2.4.1	Oxidation products are influenced by changes in the ionization atmosphere	12

2.4.2	LSH oxidation products do not incorporate oxygen from atmospheric water	14

2.4.3	Fragmentation data reveals oxidation products with one or more oxidation sites on both primary and secondary carbons	16

2.5.1	In-source oxidation in GC-APCI-HRMS does not align with reported heterolytic mechanisms	18

2.5.2	GC-APCI-HRMS fosters ideal conditions for plasma-assisted combustion-like ionization mechanisms	18

2.5.3	Understanding combustion-like in-source oxidation in GC-APCI-HRMS is important for accurate characterization of complex petrochemical mixtures	19

2.6	Conclusions	20

2.7	Experimental section	22

2.7.1	Reagents and materials	22

2.7.2	GC-APCI-HRMS settings and data analysis	22

2.7.3	Variable atmosphere ionization studies	23

2.7.4	Fuel analysis	23

2.8	Appendix A	24

Chapter 3. Circumventing the downstream effects of in-source oxidation in biological matrices	31

3.1	Abstract	32

3.2	Introduction	32

3.3	Results and discussion	33

3.3.1	E. coli produces AI-2 in response to available nutrients	33

3.3.2	Global epigenetic modification remains unchanged between wildtypes and ΔluxS mutants	36

3.3.3	E. coli accumulates more AMC metabolites than V. harveyi	36

3.3.4	Coenzyme biosynthesis is important factor in E. coli metabolism	39

3.3.5	Lipid composition changes over time in E. coli	41

3.3.6	E. coli produces AI-2 as a metabolic byproduct during membrane composition changes in a nutrient favored state	41

3.4	Conclusions	43

3.5	Experimental section	45

3.5.1	Bacterial strains and growth conditions	45

3.5.2	DPD tagging reagent synthesis	45

3.5.3	DPD extraction	45

3.5.4	DNA purification, extraction, and degradation to nucleosides	45

3.5.5	Metabolomics extraction	46

3.5.6	Extraction of sulfur-containing and unstable metabolites	46

3.5.7	Lipidomics extraction	47

3.5.8	Liquid chromatography mass spectrometry (LCMS) conditions	47

3.5.9	Data processing and statistical analyses	47

3.6	Appendix B	49

Chapter 4. Evaluation of oxidation in systems under biological stress	53

3.7	Abstract	54

3.8	Introduction	54

3.9	Results and discussion	55

3.9.1	Refeeding outcomes of equine with unknown origin and source	55

3.9.2	Blood chemistry analysis suggests improved biological function during the RP	58

3.9.3	Potentially toxic metabolites and indicators of oxidative stress were in lower abundance during the RP	61

3.9.4	Metabolites regulated by skeletal muscle were altered between the CCP and RP	64

3.9.5	Significant differences were observed in metabolites related to liver and kidney function during the CCP and RPs	65

3.9.6	The plasma metabolome illuminates differences in equine subject-specific attributes	66

3.9.7	The equine lipidome during the CCP indicates oxidative stress and organ failure	69

3.10	Conclusions	72

3.11	72

3.11.1	Equine enrollment	72

3.11.2	Study timeline and sample collection	72

3.11.3	Diet formulation	74

3.11.4	Blood chemistry analysis	76

3.11.5	Metabolomics extractions	76

3.11.6	Ultrahigh performance liquid chromatography mass spectrometry high resolution mass spectrometry (UHPLC-HRMS)	76

3.11.7	Data analysis	76

3.12	Appendix C	79

Chapter 4. Advanced visualization techniques to classify oxidized lipids in complex mixtures	96

4.1	Abstract	97

4.2	Introduction	97

4.3	Results and discussion	98

4.3.1	Traditional 2D van Krevelen and Kendrick Mass Defect plots are unable to isolate oxidized lipid species	98

4.3.2	Modernized 3D KMD plots to differentiate lipid species	103

4.4	Conclusions	110

4.5	Experimental section	110

4.6	Appendix D	111

Chapter 5. CONCLUSION	114

Chapter 7. VITA	115

# LIST OF TABLES

Table 4.1. Outcomes for equine enrolled in the refeeding program.	5

Table 4.2. Biological significance of metabolites observed to have significantly increased or decreased between the RP and the CCP	11

Table 4.3. Available metadata for equine subjects enrolled in the refeeding program.	21

Table 4.4. Nutrient analysis of forage of diet components	23

Table 4.5. Measured parameters for blood plasma and serum	25

# LIST OF FIGURES

Figure 2.1. MS1 analysis of eicosane (C20H42; used as a representative example of LSHs) using GC-APCI-HRMS.	6

Figure 2.2. Evaluation of eicosane (C20H42) oxidation products using GC-APCI-HRMS under variable  corona discharge current, reagent gas level (nitrogen; where medium and high are represented by Sh/A/Sw of 20/16/3 and 30/24/3, respectively), and atmospheric water concentration.	8

Figure 2.3. Analysis of eicosane (C20H42; M = 282.3287 Da) with infusion of water and heavy water (no infusion represented by the black trace, D2O represented by the orange trace, and H218O represented by the green trace). Striped symbols represent deuterium incorporation. No mass shifts representative of 18O incorporation were observed.	10

Figure 2.4. Annotation of oxidized ions of interest from fragmentation data under low collisional energies (i.e., stepped energies of 10, 30, and 50 eV). Annotated ion names, change in structure from the parent molecule (i.e., C20D42), chemical formula based on exact mass (within 5 ppm error), and observed m/z are listed for each ion (except for C20D42 for which the neutral mass is listed). Detailed fragmentation spectra and a thorough explanation of the assignment of these ions can be found in Supplementary Figures S4 and S5 – S9.	12

Figure 2.5. Analysis of the C8 – C20 LSH content in A) unleaded gasoline and B) diesel fuel using GC-APCI-HRMS as identified by combustion-like in-source oxidation. All oxidized ions of interest and [M – H]+ generation were evaluated and normalized by the sum of all ions detected per sample.	16

Figure 3.1. The metabolic pathway of the AMC. This cycle is responsible for quorum sensing (production of AI-1 and AI-2 in certain species), epigenetic modification, alterations in metabolism.	29

Figure 3.2. Potential AI-2 production as determined through the measurement of DPD in E. coli and V. harveyi ΔluxS mutants and wildtypes supplemented with 0.2% (w/v) added glucose. Levels of DPD detected in the ΔluxS mutants represent the baseline. V. harveyi wildtype exhibited levels of DPD slightly above baseline, but remained relatively consistent over time. Levels of DPD were not regulated in the E. coli wildtype and appeared to respond to available nutrients. Values were normalized by dividing the area detected for DPD by the cell density at each timepoint.	30

Figure 3.3. Percentages of global A) non-methylated and B) methylated DNA among E. coli and V. harveyi wildtype and ΔluxS mutants. Levels of methylation remained consistent within each species and did not appear to correlate with the AI-2 production in the E. coli wildtype.	32

Figure 3.4. Analysis of intracellular and extracellular AMC metabolites in E. coli and V. harveyi wildtypes and ΔluxS mutants at t = 5 hours. Pairwise comparisons were made between E. coli wildtype and ΔluxS mutant, V. harveyi wildtype and ΔluxS mutant, and E. coli and V. harveyi wildtypes. Intracellular evaluations are shown with filled symbols while extracellular comparisons are shown in outlined symbols. Significance is indicated for each comparison. HCY: homocysteine; MET: methionine; SAM: S-adenosyl methionine; SAH: S-adenosyl homocysteine; AND: adenine; ADO: adenosine; SRH: S-ribosyl homocysteine.	33

Figure 3.5. Untargeted metabolomics analysis at t = 5 h. Volcano plots and pathway analyses illustrate differential analyses between E. coli wildtype and ΔluxS mutant (A and B), V. harveyi wildtype and ΔluxS mutant (C and D), and E. coli and V. harveyi wildtypes (E and F). Note: p < 0.01 ***,  p < 0.05 **, p < 0.1 *	35

Figure 3.6. Lipidomics analysis of E. coli and V. harveyi wildtypes and ΔluxS mutants. Principal component (PCA) analysis showing the optimal groupings within A) E. coli and C) V. harveyi. Pie charts and statistical analysis of lipid headgroup changes that drive separation in B) E. coli PCA and D) V. harveyi PCA.	37

Figure 3.7. Proposed pathways for changes in E. coli membrane composition over time. Green cycles are characteristic of both E. coli phenotypes, while the purple cycle is specific to E. coli wildtype and blue cycle is specific to the E. coli ΔluxS mutant that necessitates the recycling of glutathione disulfide to account for disruptions in the AMC.	39

Figure 4.1. Box plots of blood plasma data conveying the differences between blood during the CCP (n = 68) and the RP (n = 15). Asterisks represent statistical significance (p value ≤ 0.1 = *; p value ≤ 0.05 = **). LDH: lactate dehydrogenase (p value 0.06), U/L; ALP: alkaline phosphatase, U/L; ALB: albumin (p value 0.04), g/dL; BUN: blood urea nitrogen, mg/dL; GGT: gamma-glutamyl transferase, U/L; mg/dL; TRIG: triglycerides, mg/dL; AST: aspartate amino transferase (p value 0.09), U/L; TP: total protein, g/dL; GLUC: glucose, mg/dL; Phos: phosphate, mg/dL; ALT: alanine transaminase, U/L; CREAT: creatinine (p value 0.04).	7

Figure 4.2. Heatmap showing increased or decreased abundance of detected metabolites organized by compound class between the RP (n = 20) and the CCP (n = 68; fold change of RP/CCP). Eight compounds exhibited significantly lower abundance while one compound showed significantly higher abundance during the RP.	10

Figure 4.3. PLS-DA containing known metabolites and unidentified features detected during the CCP (n = 68) and RP (n = 20). The resulting plot shows separation between the groupings, indicating differences in the equine metabolomic profile during the CCP and the RP.	15

Figure 4.4. PLS-DAs of known metabolites and unidentified features detected in the metabolomes of all horses that were enrolled in the refeeding program grouped by A) diet (C vs. S), B) sex (mare vs. gelding), and C) age group (below 20 and 20 and above). Sample sizes used for PLS-DAs were as follows C: n = 52; S: n = 36; mare: n = 59; gelding: n = 29; below 20: n = 45; 20 and above: n = 43. Venn Diagram (D) displaying similarities and differences between features in each grouping.	16

Figure 4.5. A) PLS-DA and B) volcano plot illustrating significant differences in lipidome profile between CCP and RP.	19

Figure 5.1. Traditional KMD of lipids and oxidized lipids from LIPID MAPS® with specific clusters of species highlighted in the white boxes. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.	47

Figure 5.2. vK diagram of lipids and oxidized lipids from LIPID MAPS®.	48

Figure 5.3. vK diagram of lipids and oxidized lipids from LIPID MAPS® with classic boundaries.139	49

Figure 5.4. vK diagram of lipids and oxidized lipids from LIPID MAPS® with re-evaluated stoichiometric boundaries.140	50

Figure 5.5. Combination vK and KMD plot of lipids and oxidized lipids from LIPID MAPS®.	52

Figure 5.6. 3D vK diagram with z-axis representing heteroatoms (O, N, S and P) of lipids and oxidized lipids from LIPID MAPS® with re-evaluated stoichiometric boundaries.140 A zoomed-in visual of the data without boundaries is shown in the lined box.	53

Figure 5.7. Modernized KMD plot illustrating lipids and oxidized lipids from LIPID MAPS®, where each lipid class is represented by a different color and symbol.	54

Figure 5.8. Modernized KMD plot illustrating phospholipids and oxidized phospholipids from LIPID MAPS®, where each phospholipid class is represented by a different color and symbol. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.	55

Figure 5.9. Zoomed in visual of modernized KMD plot illustrating separation between phospholipids and oxidized phospholipids from LIPID MAPS. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.	56

Figure 5.10. Modernized KMD overlay of unknown features, known lipids, and known oxidized lipids. Known features were obtained from LIPID MAPS®. Blue arrows point to features suspected to be oxidized lipids based on their series location.	57

# Introduction to mass spectrometry

## Mass spectrometry represents a vital analytical technique

For over a century, mass spectrometry (MS) has served as an essential analytical tool to multiple divisions of science and industry.1 From the analysis of single elements2, 3 to the characterization of intact ribosomes4, this detector has excelled in the analysis of analytes spanning a broad range of chemical properties. MS has commonly been used in contaminant screening, precise analyte quantitation, profiling of complex mixtures, and characterization of both small and large molecules. Although several varieties of mass spectrometers exist, and new configurations are being developed consistently, it is common that the instrument possesses two main components: an ionization source and a mass analyzer.

### Ionization source

For an analyte to be detected by the mass spectrometer, it must first be either positively or negatively ionized as only charged molecules can be routed through the instrument. The resulting ion is commonly referred to as the mass-to-charge ratio (m/z) as each ion exhibits a specific mass and charge. Many ionization sources possess the ability to generate either positive or negative ions through the use of a device that creates an electric potential (e.g., an electrode or charged capillary). Often, analytes are infused into the ionization source in a liquid matrix and must be aerosolized or desolvated during the ionization process. Upon ionization and solvent desolvation, ions are routed into the mass spectrometer via the pull of the vacuum.

In this work, two common atmospheric pressure ionization (API) sources are utilized: electrospray ionization (ESI) and atmospheric pressure chemical ionization (APCI). Both of these sources are considered “soft” ionization techniques, meaning they often generate intact ions as opposed to “hard” ionization sources that generate highly fragmented ionic products (i.e., electron impact ionization).

#### Electrospray ionization (ESI)

In ESI, volatile, liquid solutions containing the analyte(s) of interest are often infused through the source. The mixture is pumped through a charged capillary at a specific flow rate. Once the solution reaches the tip of the capillary, it encounters a positive or negative electric field that begins generating ions in solution. Upon exiting the capillary, the charged solution comes in contact with the sheath and/or auxiliary gas (often nitrogen). The combination of these events (i.e., liquid flow, charged capillary, and nitrogen flow) generates what is known as the Taylor Cone. This phenomenon stems from competition between the retracting behavior of the liquid’s surface tension and the expanding manner of the electrostatic forces. When the Taylor Cone is correctly formed via a critical voltage (dependent on liquid surface tension, distance to the counter electrode, and vacuum permittivity) at the defined half angle of 49.3°, charged droplets are emitted from the spray.

Although ESI is heavily used in practice, the exact mechanism by which charged droplets are emitted is not strictly known. Two theories have been proposed that explain ESI – the charge residue model (CRM) and the ion evaporation model (IEM). In the CRM, it is believed that the desolvation of the charged droplet promotes the formation of an additional, droplet-specific Taylor cone that emits charged droplets. This process, theoretically, repeats itself until one ion remains. The alternative model (i.e., IEM), explains charged droplet emission through competition between surface tension and electric field; once the charged droplet becomes small enough, the surface charge density exceeds the Rayleigh limit and expels ions from the charged droplet.5

ESI is well-known for generating both singly and multiply charged ions, broadening its use from small molecule analysis to large molecule analysis. In its simplest form, both theoretical models explain the generation of a singly, positively charged molecule (or [M + H]+) where z = 1 in the m/z. Via these models, analytes may also be generated where z > 1, promoting the mass spectrometric analysis of large molecules such as peptides and proteins. This is extremely useful for the characterization of large molecules that exceed the mass range of the instrument. For example, if the mass range of the instrument is 50 – 2,000 Da, a protein weighing 10,000 Da could not be characterized without multiple charges as the instrument detects m/z, not molecular weight.

#### Atmospheric pressure chemical ionization (APCI)

Contrary to ESI, APCI can ionize analytes in both the liquid and gas phases. For liquid-phase mixtures, the sample is pumped through a capillary contained within a heated chamber that exudes sheath/auxiliary gases.3 The combination of high heat and desolvation gas promotes the nebulization of the liquid to the gas-phase. At the same time, a corona discharge (i.e., type of plasma) is produced at the tip of the corona discharge needle via a high voltage. Here, the corona discharge can interact with highly prevalent atmospheric gases in the ionization environment, which is the sheath/auxiliary gas in most cases. Upon interaction with the corona discharge needle, the desolvation gas (i.e., nitrogen) undergoes the following cascade3:

N2 + e → N2+∙ + 2e	(1)

N2+∙ + 2N2 → N4+∙ + N2	(2)

N4+∙ + H2O → H2O+∙+ 2N2	(3)

H2O+∙ + H2O → H3O+ + HO∙	(4)

H3O+ + H2O + N2 → (H2O)2H+	(5)

(H2O)n-1H+ + H2O + N2 → (H2O)nH+	(6)

M + (H2O)nH+  → [M + H]+ + (H2O)n	(7)

In the previous series of equations, the highly prevalent desolvation gas (N2) initially becomes ionized by the corona discharge, generating highly energetic radical species. Because water is also highly prevalent in the ionization atmosphere, a charge transfer between the radical nitrogen species occurs to generate radical water species. After a recombination reaction, highly acidic water clusters are generated that promote an even-electron charge transfer of the acidic proton to the analyte of interest (M), which has previously been nebulized into the gas phase.

The analysis of samples already in the gas-phase is less common in practice, but it has been demonstrated that gaseous samples can be introduced to the corona discharge needle through a route other than the capillary in the APCI source.6 Using this sample introduction method, it appears that the cascade of ionization described by Equations 1-7 does not always represent the most abundant ion. This phenomenon is discussed in greater detail in Chapter 2.

APCI is well-known to produce intact, singly charged analytes in the form of [M + H]+ and [M – H]- (or [M – H]+ depending on the type of analyte) in high abundance and it is rare that other adducts are formed in notable abundance. This is due to the relatively great distance between the corona discharge and the mass spectrometer inlet; here, an equilibrium can be established, resulting in the most thermodynamically stable product.3 If the distance between the needle and the inlet is reduced, kinetically favored products tend to be the dominate species and the cascade of ionization is altered.

Considering APCI produces singly charged analytes, it is not necessarily useful in the analysis of large molecules as the m/z (where z = 1) would exceed the mass range of many detectors. The technique of APCI offers its benefits in small molecule analysis, specifically for small molecules that can be difficult to detect by ESI due to volatility or polarity.

### Mass analyzer

Subsequent to ionization and ion-routing through the mass spectrometer, the analyte reaches the mass analyzer, whose primary function is to resolve multiple ions based on their m/z. As previously indicated, several types of mass analyzers are utilized in practice, each offering specific benefits. For example, single quadrupole mass analyzers offer low resolution (on the order of 1000s) and a maximum mass range of approximately 2000 – 3000 Da. This mass analyzer is quite useful for small molecule quantitation methods where analytes greatly differ in m/z, such as contaminant screening. For more complex applications where analytes may have similar m/z, higher resolving mass analyzers (i.e., Orbitraps) may be utilized. With a mass resolving power on the order of 100,000s and a maximum mass range of 2000 – 3000 Da, these analyzers are widely used in complex mixture analysis (i.e., “-omics” applications).

The current work utilizes a combination of the single quadrupole and Orbitrap mass analyzers, and is commercially sold as the Thermo Scientific Q Exactive and the Thermo Scientific Exploris 120. In these configurations, the single quadrupole is used as a mass filter that allows the selection of specific m/z. Here, an operator can select specific m/z to isolate using the quadrupole or the instrument can be used in data dependent acquisition (DDA) mode, which isolates the most abundant ions in the sample. The primary purpose for isolating/filtering ions is to fragment specific m/z and gain insight to an ion’s structure. The process of fragmenting ions is commonly referred to as MS2 while full scans (i.e., no fragmentation) are referred to as MS1. The instruments used in the current study induce fragmentation via higher-energy collisional dissociation (HCD), which is a subset of collision-induced dissociation (CID).7 In HCD fragmentation, isolated ions (i.e., precursor ions) are sent to the HCD cell with high kinetic energy and fragmented through multiple collisions with the collision gas (i.e., nitrogen) to produce product ions.

Precursor or product ions are then routed to the Orbitrap mass analyzer. The Orbitrap is a unique configuration that consists of a “spindle-like” electrode capped by two smaller electrodes.8 Ions enter the Orbitrap orthogonal to the spindle and begin to radially orbit the electrode. The two end-capped electrodes then promote the oscillation of ions axially across the Orbitrap ultimately yielding the frequency of axial oscillation, which is highly specific and correlated to m/z. A Fourier Transform (a coordinate transformation algorithm) is then applied to the frequency data to yield highly resolved m/z and its corresponding abundance.

### Optional chromatographic separation

Although mass spectrometers are able to provide highly resolved m/z data in complex mixtures, competitive ionization (i.e., the likelihood that one molecule will be ionized to a greater extent than another due to differences in concentration or ionization efficiency) poses an issue for the accurate assessment of a sample. For this reason, chromatographic separation is often incorporated prior to detection by mass spectrometry, such that molecules elute at different times. This leads to a reduction in the effects of competitive ionization and higher selectivity and sensitivity.

Most chromatographic techniques incorporate a stationary phase and a mobile phase. The purpose of the stationary phase is to retain analytes (via adsorption) from a complex mixture based on each analyte’s chemical properties. To elute the retained components, a mobile phase is passed through the stationary phase; when the chemical properties (e.g., polarity) of each component is matched by the mobile phase, the analyte desorbs from the stationary phase and is eluted. Often, chromatographic techniques are operated using a gradient to increase baseline resolution (i.e., peak separation). Some examples of gradient elution may be increasing mobile phase polarity over time (normal phase), decreasing mobile phase polarity (reversed-phase), or increasing temperature (gas-phase separations).

In the current work, two chromatographic techniques are utilized: liquid chromatography (LC) and gas chromatography (GC). As their names would imply, LC utilizes liquid mobile phases and is ideal for separating components dissolved in a liquid solution, while GC incorporates a gaseous mobile phase and is best suited to separate components in the gas-phase.

#### Liquid chromatography (LC)

Because of its capacity to separate non-volatile or thermally fragile species dissolved in solution, LC is regularly used to separate biological components, such as metabolites or lipids in various “-omics” extractions.9 However, not all analytes are easy to analyze chromatographically, which has sparked the development of many variations of this separation technique. Analytes may be separated using columns packed with polar or non-polar stationary phase to operate in normal phase or reversed-phase, respectively. A large variety of stationary phases (e.g., polar, non-polar, size-based, etc.) are available as some stationary phase derivatives are more amenable in retaining specific classes of compounds. For example, lipids (which possess both a hydrophobic and hydrophilic component) can be separated by their hydrophilic headgroup using a polar stationary phase and a non-polar to polar mobile phase gradient. Contrarily, lipids may also be chromatographically resolved by their hydrophobic tails using a non-polar stationary phase combined with an increasing non-polar mobile phase gradient. The method by which the components are separated can be tailored to the analytical question being addressed.

The evolution of LC from separations using 500 – 5,000 mm glass columns with particle pore sizes on the order of 100s of μm to its current state has allowed LC to become a staple in most analytical laboratories.9 Now, LC systems are capable of performing separations on 50 – 250 mm steel-encapsulated columns with pore sizes often measuring 1 – 10 μm. These advances have decreased separation time from several hours to minutes, depending on the complexity of the sample and/or the analytical question. With decreasing column pore size, however, comes an increase in pressure. Thus, one of the most important improvements in LC is the incorporation of a mobile phase pump that can consistently supply selective flow rates and withstand high pressures (up to 15,000 psi).

The combination of separation by LC and detection by MS was a monumental achievement in analytical chemistry. It was not until the development of the ESI source in the 1980s that liquid eluent from an LC was able to be coupled to MS.10 Since then, LCMS has been used to separate and detect large and small biologically relevant compounds in complex matrices with high sensitivity and selectivity.

#### Gas chromatography (GC)

GC plays a particularly useful role in the analysis of low molecular weight compounds that exhibit low boiling points (or can be derivatized to a compound with a lower boiling point) and/or low polarity. Because GC separates gaseous samples, the length of GC columns (on the order of 10s of meters) is substantially longer than that of LC columns, so that the gas-phase analytes have a greater surface area of stationary phase to interact with. Similar to LC, multiple variations of stationary phases exist, but most are composed of an immobilized liquid phase of polydimethyl siloxane derivatives that differ in polarity, making each column more amenable to separating different classes of compounds.9

Unlike LC, the GC’s mobile phase (i.e., often an inert gas such as helium) is not wholly responsible for eluting compounds from the column. Instead, the column is encased in a temperature regulated oven that can follow defined temperature programs. Under this methodology, compounds are eluted from the column based on their boiling points after being retained based on their polarity.

Although GC can only separate components in gaseous samples, liquid samples containing semi-volatile analytes may also be analyzed with the instrument’s high temperature injection port(s). Here, an aliquot of a liquid sample is injected into the injection port, the sample is then flash vaporized, and the gaseous vapor is then routed to the column for separation. Analysis of volatiles may be conducted using headspace GC, which allows an aliquot of analytes dissolved in a gas to be injected onto the column. Similarly, solid phase microextraction allows volatile compounds to adsorb to a fiber tip and subsequently be desorbed in the injection port and onto the column.

GC was initially coupled to MS in the 1950s, long before the inception of LCMS.11 Because MS requires analytes to be in the gas phase for proper ionization, GC was the ideal instrument for coupling. It is common practice that GCMS systems utilize ionization sources under vacuum, but some instances of GC coupled to API techniques have been reported (refer to Chapter 2 for a more thorough discussion). In fact, the National Institute of Standards and Technology (NIST) used GCMS with electron impact (EI) ionization to generate a database of over 240,000 standards that is still in use to identify compounds today.12

## Types of oxidation affecting mass spectrometry

Oxidation is defined as the loss of electrons from a reactant and was termed as such because reactions with oxygen generally produce this end result.13 Some of the most notable oxidation reactions are combustion reactions (Equation 8) and the oxidation of glucose to produce energy in biological systems via cellular respiration (Equation 9).

CH4 + 2O2 → CO2 + 2H2O + heat	(8)

C6H12O6 + 6O2 → 6CO2 + 6H2O + energy	(9)

In the above cases, oxidation is viewed positively as a chemical transformation due to its necessity to life. However, many oxidation reactions stem from

### In-source oxidation

API techniques offer versatility and accessibility over ionization techniques that require high vacuum. However, a potential disadvantage of API techniques is their susceptibility to in-source oxidation, or chemical transformations to analytes that yield unexpected m/z. In API applications where high voltages are used for ionization, reactive oxygen species (ROS) can be generated at the site of ionization and interact with analytes. This phenomenon was observed in specific pharmaceuticals using desorption electrospray ionization (DESI) with increasing voltage.14

### Biological oxidation

-ros species produced by biology

Lacks of antioxidants

Poor body function

# A fundamental study on in-source oxidation

Discovery of Combustion-like In-source Oxidation of Linear Saturated Hydrocarbons Using GC-APCI-HRMS

Data presented in this chapter has been adapted from the following published journal article:

Brown, L.P., Seaton, W.B., Powers, J.B., Campagna, S.R. “Discovery of Combustion-like In-source Oxidation of Linear Saturated Hydrocarbons using GC-APCI-HRMS.” Journal of Mass Spectrometry. 2024,

## Abstract

Atmospheric pressure chemical ionization (APCI) is often used in the analysis of linear saturated hydrocarbons (LSHs) as this ionization technique commonly produces [M – H]+ ions in high abundance. However, APCI (along with other atmospheric pressure sources) is often impacted by in-source oxidation, leading to a variety of ionic products. Identifying these products and understanding their mechanisms of formation is crucial for characterizing complex mixtures with substantial hydrocarbon content, such as those found in the petrochemical industry. In this study, in-source oxidation of LSHs was observed in gas chromatography (GC) coupled to high resolution mass spectrometry (HRMS) via a custom-built APCI interface. Studies showed that the abundance of these oxidized ions correlated positively with atmospheric water, yet occurred without the inclusion of water-based oxygen as judged by experiments with stable isotope labeled water. The oxidation of LSHs was further influenced by the reactive species in the ionization atmosphere. Fragmentation data using stable isotope labeled LSH standards unveiled multiple structurally unique ions with one or more oxidation sites on both primary and secondary carbons. These ionic products bear resemblance to combustion byproducts, suggesting the instrumental configuration fosters plasma-assisted combustion-like processes that encourage the radical-mediated oxidation of LSHs rather than generate [M – H]+. Through these investigative efforts, a mechanism analogous to combustion was proposed for the formation of LSH oxidation products in GC-APCI-HRMS. Data demonstrate that these ions are robustly generated in petrochemical products, allowing for proper characterization of these complex mixtures.

## Introduction

Gas chromatography – mass spectrometry (GC-MS) has long been a critical analytical tool in a diverse array of scientific fields and is particularly important in petrochemical analysis.11, 15-19 Traditional GC-MS setups generally rely on electron impact (EI) or chemical ionization (CI); these instruments offer reliable data, but lack exact mass measurements and require dedicated systems due to the need for ionization at low-pressure. In response to the desire for high resolution GC-MS measurements without the constraints of dedicated instrumentation, Powers and Campagna designed an atmospheric pressure chemical ionization (APCI) interface that coupled GC to high resolution mass spectrometry (HRMS), outperforming GC-MS setups that used other sources (including EI).6 APCI was chosen for this configuration as it is more desirable over other atmospheric pressure ionization (API) techniques (e.g., electrospray ionization) for the analysis of low-polarity compounds with low boiling points, which are typical characteristics of compounds analyzed by GC as well as many petrochemical components.2, 3, 20

One of the common classes of analytes analyzed by APCI is that of saturated hydrocarbons, as these non-polar compounds typically produce intact ions (in the form of [M – H]+ in positive mode) in high abundance.6, 21, 22 Because hydrocarbons make up a significant portion of fuel content and their purity impacts combustion performance characteristics as well as fuel stability, accurate characterization of these analytes in petrochemical mixtures is essential.17, 23, 24

During the evaluation of linear saturated hydrocarbons (LSHs) using the GC-APCI-HRMS configuration for potential petrochemical application, it was found that, along with the expected [M – H]+ ion, oxidized species were also generated (Figure 2.1 and Appendix A Table 1) and were indicative of in-source oxidation.6 Interestingly, in-source oxidation products similar to those observed using GC-APCI-HRMS have commonly been reported using atmospheric pressure, plasma-based ionization sources for the reason that these techniques operate under exposure to atmospheric air and moisture.25-32 To utilize the configuration of GC-APCI-HRMS for the accurate characterization of petrochemical products, it is crucial to elucidate the structure of these LSH-derived in-source oxidation products and to understand the mechanisms and extent of their formation.

Herein, various experimental approaches were employed to evaluate the effect of the ionization atmosphere on in-source oxidation, determine elemental contributions from atmospheric compounds, and structurally elucidate the observed oxidation products to provide insight to potential mechanisms that influence their formation. These studies suggest a mechanism for combustion-like in-source oxidation that occurs consistently in complex, petrochemical mixtures.

Figure 2.1. MS1 analysis of eicosane (C20H42; used as a representative example of LSHs) using GC-APCI-HRMS.

## Results and discussion

### Oxidation products are influenced by changes in the ionization atmosphere

Eicosane (C20H42; M = 282.3287 Da), a long-chain LSH, was chosen as the representative compound for mechanistic investigations as it produced both the expected [M – H]+ ion as well as the in-source oxidation products in high abundance. To explore what factors might influence in-source oxidation, C20H42 was analyzed under various corona discharge currents, aqueous conditions, and reagent gas conditions and the resulting changes in LSH-derived oxidation products were evaluated (Appendix A Figure 1).

High ionization voltage has been linked to increased oxidation levels using other API techniques (i.e., desorption electrospray ionization or DESI).14, 27 Therefore, it was important to determine potential effects of variable corona discharge current (which correlates with voltage) on levels of oxidation in GC-APCI-HRMS by reducing the discharge current from the baseline level of 10 μA sequentially to 2.5 μA. Upon normalization, a direct correlation between discharge current and in-source oxidation was observed as the percent change in LSH oxidation products diminished with decreasing corona discharge current (Figure 2.2 and Appendix A Figure 2). Thus, byproducts are likely derived from a high energy process that involves reactive species in the ionization atmosphere similar to those observed with DESI.14, 27

To build on the observation that reactive species may influence in-source oxidation, C20H42 was analyzed under various levels of reagent gas (i.e., nitrogen) by altering the sheath (Sh) and auxiliary (A) gases. It was speculated that increasing the concentration of nitrogen in the ionization atmosphere would displace molecular oxygen and its reactive byproducts, altering the profile of reactive ions and subsequent oxidation products. Increasing reagent gas content beyond baseline levels (Sh/A/Sw: 10/8/3) resulted in a substantial decrease in oxidation (Figure 2.2), likely caused by a shift in the most exergonic ionization mechanism. With higher reagent gas levels, the ionization atmosphere becomes saturated with highly energetic nitrogenous radical cations ([N2]+∙ or [N4]+∙); this primarily results in a radical cation-mediated mechanism for LSHs, leading to highly fragmented, low mass cations (such as [C4H9]+, [C5H11]+, [C6H13]+, etc.) that resemble products of EI (Appendix A Figure 3).2, 3 From this, it is clear that increased concentrations of reactive nitrogen species were not responsible for the generation of LSH ions that were further oxidized.

In fact, the inverse relationship between oxidation and nitrogen content aligns with the hypothesis that dilution of atmospheric oxygen or oxygen-containing gaseous compounds (i.e., OH∙, molecular oxygen or O2, ozone or O3, etc.) results in lower levels of oxidation products and further suggests the role of these compounds as the source of oxidation.2, 3, 33, 34 Additionally, as the concentration of reagent gas increases, there is a

Figure 2.2. Evaluation of eicosane (C20H42) oxidation products using GC-APCI-HRMS under variable  corona discharge current, reagent gas level (nitrogen; where medium and high are represented by Sh/A/Sw of 20/16/3 and 30/24/3, respectively), and atmospheric water concentration.

decreased probability that the GC carrier gas (i.e., helium) becomes ionized due to the difference in ionization potential. This prevents subsequent charge transfers from helium, which has shown to both directly and indirectly impact the ionic products formed.2, 26, 28, 30, 35, 36 Taken together, it is conceivable that helium and/or oxygenated gaseous compounds influence the formation of the oxidized products observed in GC-APCI-HRMS.

To investigate the involvement of the most prevalent oxygen-containing atmospheric compound (i.e., H2O) in the oxidation mechanism, 0.3 mL/min of H2O was infused into the ionization atmosphere during the analysis of C20H42, resulting in a 14% increase in oxidation (Figure 2.2). Overall ionization also doubled (Appendix A Figure 1) as the addition of H2O promotes the generation of more highly acidic water clusters (i.e., (H2O)nH+) that are responsible for soft ionization via proton transfer. The notable increase in oxidized products could implicate water as the source of oxygen and/or protons via interactions with acidic water clusters that could influence oxidation of LSHs.

### LSH oxidation products do not incorporate oxygen from atmospheric water

Although water was found to positively impact in-source oxidation, studies in similar API setups suggest that these oxidation reactions are not driven by atmospheric water.31, 32, 37 To gain more mechanistic insight into the impact of water on GC-APCI-HRMS ionization, separate infusion experiments were performed with stable isotope labeled water in the form of deuterium oxide and heavy oxygen labeled water (i.e., D2O and H218O, respectively). These investigations were expected to provide conclusive evidence to potential donation of hydrogen (in the form of deuterium) or oxygen (in the form of 18O) from atmospheric water.

The infusion of D2O led to a mixture of hydrogen- and deuterium-protonated ions (Figure 2.3 and Appendix A Table 2), indicating that some oxidized molecules are protonated by acidic (H2O)nH+ (or (D2O)nD+ in this case), yet other ions are not. For example, C20H42 in the presence of additional H2O yielded m/z 311.2941 ([M – 3H + 2O]+), yet with additional D2O, m/z 312.3006 ([M – 4H + D + 2O]+) was highly prevalent while m/z 311.2941 was no longer observed. This difference, representing the exact mass shift between a hydrogen- and deuterium-protonated ion (∆m = 1.0065 Da), strongly suggests that m/z 311.2941 incurs ionization via atmospheric (H2O)nH+ via proton transfer and that m/z 312.3006 arises from deuteron transfer from (D2O)nD+. In contrast, m/z 309.2785 ([M – 5H + 2O]+) did not show a mass shift due to the infusion of H2O instead of D2O. Because this ion does not utilize a proton from the atmosphere for ionization, it was concluded that the oxygen must carry the charge in the form of an oxonium ion or radical cation. The results obtained for C20H42 with D2O infusion were corroborated by analyzing C20D42 with H2O (Appendix A Table 2), providing additional evidence for the protonation via aqueous sources of only some oxidation products. Importantly, the results captured here

Figure 2.3. Analysis of eicosane (C20H42; M = 282.3287 Da) with infusion of water and heavy water (no infusion represented by the black trace, D2O represented by the orange trace, and H218O represented by the green trace). Striped symbols represent deuterium incorporation. No mass shifts representative of 18O incorporation were observed.

align with a study using a similar instrumental configuration (i.e., GC coupled to HRMS via dielectric barrier discharge ionization) in which nine of the thirteen oxidation products observed for hexadecane (C16H34) under humidification with D2O were influenced by aqueous content in the atmosphere.28

In the investigation to evaluate potential contributions of atmospheric oxygen to in-source oxidation (via infusion of H218O), it was found that incorporation of 18O was not observed in any of the oxidation products (Figure 2.3). This finding, along with variable reagent gas experiments, further suggests the incorporation of oxygen is from sources other than atmospheric water, which aligns with previous findings that in-source oxidation of hydrocarbons in other APCI setups were not induced by water.31, 32, 37

### Fragmentation data reveals oxidation products with one or more oxidation sites on both primary and secondary carbons

Fragmentation data via MS2 were collected for each oxidized C20D42 (M = 324.5923) ion of interest with proton contributions from atmospheric H2O (via infusion of H2O). To annotate these spectra, the following characteristics were evaluated: common neutral losses (e.g., D2O, HOD, CxDy, carbon monoxide, etc.) from the isolated precursor ions, double bond equivalencies (DBEs), predicted chemical formulae of the fragments, and the lowest m/z fragment containing oxygen(s) traced from the precursor ion. Combined, these evaluations allowed the structural elucidation of the ions of interest as a myriad of ions with oxidation sites on both primary and secondary carbons. Specifically, the following ions were annotated: [M – 3D + O]+ as acylium ions, [M – 2D + H + O]+ as various isomers of dialkyl ketones, [M – 5D + 2O]+ as ketone oxonium ions, [M – 4D + H + 2O]+ as various isomers of diketones, and [M – 3D + 2H + 2O]+ as carboxylic acids (Figure 2.4). An explanation of the MS2 spectral annotation is illustrated in Appendix A Figure 4.

Figure 2.4. Annotation of oxidized ions of interest from fragmentation data under low collisional energies (i.e., stepped energies of 10, 30, and 50 eV). Annotated ion names, change in structure from the parent molecule (i.e., C20D42), chemical formula based on exact mass (within 5 ppm error), and observed m/z are listed for each ion (except for C20D42 for which the neutral mass is listed). Detailed fragmentation spectra and a thorough explanation of the assignment of these ions can be found in Supplementary Figures S4 and S5 – S9.

### In-source oxidation in GC-APCI-HRMS does not align with reported heterolytic mechanisms

Due to the presence of oxygen, API techniques are susceptible to in-source oxidation, sometimes resulting in products similar to those observed in the GC-APCI-HRMS configuration discussed here.25-32 A notable example of this is illustrated by in-source oxidation of LSHs in atmospheric pressure gas chromatography (APGC).31 However, one crucial difference between the APGC and GC-APCI-HRMS configurations is the detection of LSH-nitrogen adducts in APGC. Importantly, nitrogen adducts were not observed in GC-APCI-HRMS, suggesting a fundamental difference in ionization mechanism between these setups. Further, the proposed mechanism for in-source oxidation in APGC implicated O3 as being the oxidant responsible for the observed products.31 Upon evaluation of whether the products in GC-APCI-HRMS could be generated via this heterolytic mechanism, it was found that elucidated in-source oxidation products (specifically, ions with two sites of oxidation) could not be formed.

Similarly, O3 was also proposed as the oxidant responsible for oxidation products observed in soft plasma ionization by glow discharge, where successive, heterolytic oxidation reactions subsequent to the generation of [M – H]+ were postulated to occur.32 If the in-source oxidation observed in GC-APCI-HRMS required the generation of [M – H]+, oxidation via H2O would be prominent as this abundant nucleophile would, in addition to O3, react with the [M – H]+ substrate. Considering the absence of water-based oxygen incorporation, the in-source oxidation mechanism in GC-APCI-HRMS does not proceed via [M – H]+.

Because reported heterolytic mechanisms do not align with observations in GC-APCI-HRMS, it was postulated that a potentially unique in-source oxidation mechanism that is more energetically favorable than generating [M – H]+ and is most likely radical-mediated. An important distinction between GC-APCI-HRMS and others31, 32 that argue heterolytic dissociation is the use of helium as the GC carrier gas. Because it exhibits the highest ionization potential among the noble gases, helium impacts the reactive species in the ionization atmosphere, notably forming various radical species.2, 26, 28, 30, 35, 36, 38 In plasma, helium facilitates the generation of atomic oxygen (O∙) from O2 in the atmosphere and, similar to reactions with argon, may initiate a cascade of recombination reactions to produce a variety of potential oxidants, such as atmospheric oxygen-based OH∙.39 Additionally, OH∙ (and additional O2) can be generated by the homolytic decomposition of O3.40 Therefore, plasma-based ionization, especially when helium represents a primary atmospheric component, provides a complex ionization atmosphere that is saturated with highly energetic, O2-based radical species that plausibly influence ionization mechanisms.

### GC-APCI-HRMS fosters ideal conditions for plasma-assisted combustion-like ionization mechanisms

Plasmas like corona discharge can undergo plasma-assisted combustion, which is utilized in the fuel industry to thermally and kinetically enhance the efficiency of the combustion process.36 In fact, one of the most recognized sources of LSH oxidation is the combustion reaction of hydrocarbons with molecular oxygen, which, despite its apparent simplicity, is an intricate process likely entailing thousands of pathways that yield a wide array of products.41, 42 Recently, neural network-based molecular dynamics simulations were employed to explore potential outcomes of the combustion process.42 These simulations unveiled a web of radical-initiated reactions wherein hydrocarbons (i.e., methane) react with O2, OH∙, or H∙ to yield a collection of intermediates and products, including formaldehyde and formic acid, which mirror the dialkyl ketone and carboxylic acid products detected in GC-APCI-HRMS. Computations suggest that the formation of these products in short-chain LSH (e.g., butane) combustion reactions arise from exergonic processes with relatively low activation barriers, easily surmountable with the energy supplied by a corona discharge.41, 43 Along with being energetically feasible, the generation of radical species via combustion reactions is proposed to occur on the order of picoseconds (or shorter) – much faster than proton-transfer reactions.39, 42, 44

Taken together, a mechanism akin to plasma-assisted combustion represents a compelling explanation for the in-source transformations observed in GC-APCI-HRMS. Not only do the ionic products observed resemble byproducts of combustion (i.e., dialkyl ketones and carboxylic acids), but the availability of molecular oxygen-based radical species to induce combustion-like reactions aligns with the observation that water-based oxygen is not involved in the in-source oxidation mechanism. The correlation between corona discharge current and in-source oxidation was also explained through this mechanism in that more highly energetic radical species (i.e., homolytic decomposition and/or recombination products) generated by a higher corona discharge current induce more radical-mediated combustion-like reactions that result in more oxidation products. Though plasma is a distinct environment that has not been thoroughly computationally explored, simulations from both gas and liquid phase models indicate that a radical-based oxidation mechanism of hydrocarbons is more energetically favorable than heterolytic mechanisms.40, 45 This explains the low abundance of the [M – H]+ ion, along with the fact that these radical-reactions occur at a faster rate. Overall, it is conceivable that the conditions of the GC-APCI-HRMS setup (specifically, the combination of plasma-based ionization and helium under atmospheric conditions) promote combustion-like ionization over the generation of [M – H]+ for LSHs due to faster reaction rates and/or more energetically favorable processes.

A preliminary attempt to unravel the complex network of mechanisms leading to the observed ions is presented in Appendix A Figure 5. It is imperative to note, however, that a definitive mechanism cannot be established without reaction rate studies and/or computational modeling, the latter of which is still in its infancy for plasma-based systems.46, 47 The proposed mechanism represents a possible route of in-source oxidation in GC-APCI-HRMS, as supported by the data in this study.

### Understanding combustion-like in-source oxidation in GC-APCI-HRMS is important for accurate characterization of complex petrochemical mixtures

To evaluate GC-APCI-HRMS on complex mixture analysis, two petrochemical fuels were analyzed: unleaded gasoline (primarily composed of C4 – C12 LSHs) and diesel fuel (primarily composed of C8 – C25 LSHs).48 The results from these analyses (Figure 2.5) aligned with expectations based on LSH content and fuel composition in that shorter chain LSHs were primarily detected in unleaded gasoline while longer chain LSHs were detected in diesel fuel. The relative abundance of each identified in-source oxidation product in the complex mixtures were consistent with those measured from pure standards. Specifically, the acylium ion, dialkyl ketone, and diketones represented the three most abundant ions of interest despite the fact that these petrochemical products are composed of various isomeric compounds, including both linear and non-linear hydrocarbons.

Similar to the observations from pure standards, the formation of [M – H]+ was not favored during the analysis of petrochemical products by GC-APCI-HRMS, further supporting the combustion-like mechanism in complex mixtures. Given that this instrumental configuration consistently produces in-source oxidation products whose identities and percent abundances can be accurately predicted through combustion-like mechanisms, it was concluded that GC-APCI-HRMS serves as a suitable configuration in the analysis of complex petrochemical mixtures.

## Conclusions

In this study, a unique in-source oxidation mechanism of LSHs by GC-APCI-HRMS was discovered. The formation of multiple LSH-derived oxidation products was altered with changes in ionization atmosphere, specifically under conditions that varied reactive ions available for ionization. Oxidation was notably enhanced with the infusion of additional water; however, the utilization of stable-isotope labeled water revealed that only acidic protons from water clusters were used in the ionization mechanism, while water-based oxygen remained unincorporated in the observed products. Fragmentation spectra offered structural insight for each unique ion observed, alluding to the formation of a diverse set of products with oxidation sites on both primary and secondary carbons that resembled byproducts of combustion. From these studies, it was demonstrated that GC-APCI-HRMS can provide appropriate conditions for plasma-assisted combustion-like ionization to occur.14, 25, 26, 28, 30 Additionally, it was shown that the percentage of in-source

Figure 2.5. Analysis of the C8 – C20 LSH content in A) unleaded gasoline and B) diesel fuel using GC-APCI-HRMS as identified by combustion-like in-source oxidation. All oxidized ions of interest and [M – H]+ generation were evaluated and normalized by the sum of all ions detected per sample.

oxidation products was predictable, allowing for the accurate characterization of complex petrochemical mixtures despite lacking a prominent [M – H]+ ion. In conclusion, this study highlights the influence that atmospheric conditions and instrumental setups have on the fundamental properties of plasma-based ionization. These findings also refute the assumption that this ionization technique only proceeds via heterolytic mechanisms and add to the manifold of potential reactions that could occur in plasma-based ionization sources. Future work will consist of determining limits of detection and quantitation, dynamic range, and linearity of these oxidized ions, as well as determining combustion-like mechanisms as they relate to non-linear hydrocarbons.

## Experimental section

### Reagents and materials

Deuterated eicosane (fully deuterated; chemical formula C20D42) was obtained from Cambridge Isotope Laboratories, Inc. (Tewksbury, MA). Naturally occurring eicosane (non-deuterated; chemical formula C20H42) and an alkane standard solution (C8 – C20) were obtained from Sigma Aldrich (St. Louis, MO). Standards were diluted in HPLC-grade hexanes (Fisher Scientific, Hampton, NH). Ultrahigh purity grade helium (GC carrier gas) was purchased from Airgas (Madison, WI) and nitrogen (APCI reagent gas and HRMS collision gas) was obtained in-house. Unleaded gasoline and diesel fuel were obtained from a local filling station.

### GC-APCI-HRMS settings and data analysis

A Thermo Scientific Trace 1300 GC and a Q Exactive™ Plus MS (Thermo Scientific, Waltham, MA) were used for all GC-MS analyses. A custom APCI interface was used to couple the instruments and generate ions.6 Control of the instrument was performed using the Xcalibur software suite, Version 4.0.27.19. LSHs were separated and detected using modified methods previously described.6 Briefly, a TG1-MS column (30 m x 0.25 mm i.d. x 0.25 μm df) purchased from Thermo Fisher Scientific (Thermo Scientific, Waltham, MA) and helium (1.4 mL/min) were used to separate analytes. Using a programmable temperature vaporizer (PTV) in CT split mode (330°C, 5:1 split), 2 μL injections of standards were volatilized. Analytes were separated on the column with the following temperature program: initial temperature of 55°C held for 5 min; ramp of 15.0°C/min to 280°C; and final temperature of 280°C held for 5 additional min. The transfer line from the GC to the MS was kept constant at 300°C. Settings for the APCI source were as follows: sheath gas flow rate set to 10 arbitrary units, auxiliary gas flow rate to 8, sweep gas flow rate to 3, discharge current set to 10.00 μA, ion transfer capillary temperature to 350°C, S-lens RF to 50.0, and vaporizer temperature to 320°C. MS1 scans (full scans) were acquired in positive mode using a resolution of 140,000, AGC target of 3e6, maximum IT of 50 ms, and scan range of m/z 50 – 750. For MS2 analyses via parallel reaction monitoring with higher-energy collisional dissociation, data was also acquired in positive mode using a resolution of 17,500, AGC target of 2e5, maximum IT of 50 ms, isolation window of 1.0 m/z, stepped collisional energies of 10, 30, 50 and default charge state of 1. Analyte ions detected in full scan analyses and exact masses from theoretical structures (ChemDraw Version 16.0.1.4; Perkin-Elmer, Waltham, MA) were used to create inclusion lists. All structural figures were created using ChemDraw Version 16.0.1.4 and all feature-based data analysis was performed via FreeStyle™ Version 1.8 SP2 (Thermo Scientific, Waltham, MA) using a 5 ppm error window.

### Variable atmosphere ionization studies

To investigate effects of variations in ionization environment, experiments were performed that altered the following parameters: 1) corona discharge current, 2) aqueous concentration in the ionization atmosphere, and 3) levels of reagent gas (i.e., nitrogen). Discharge current and reagent gas levels were changed in the tune method parameters in the Xcalibur software (Thermo Scientific, Waltham, MA). Aqueous conditions were able to be altered due to the unique setup of the custom-built APCI interface, where solvents can be infused and vaporized before interacting with the gas eluent from the transfer line. Multiple infusion experiments were performed using the following: 1) 0.3 mL/min of water (HPLC grade; Fisher Scientific (Hampton, NH)), 2) 0.3 mL/min deuterium oxide or D2O (99.9%; Cambridge Isotope Laboratories, Inc. (Tewksbury, MA)), and 3) 0.3 mL/min oxygen-labeled water or H218O (97%; Cambridge Isotope Laboratories, Inc. (Tewksbury, MA)). Visuals were generated in GraphPad Prism version 10.1.0 (La Jolla, CA).

### Fuel analysis

Unleaded gasoline and diesel fuel were diluted 1:10 with HPLC grade hexanes and analyzed using the chromatographic method described above. Ions of interest for the LSH component ranging from C8 – C20 were evaluated. Values were normalized by the sum of all ions detected per sample.

## Appendix A

Appendix A Table 1. Average percent abundance and standard deviation (listed in percentage) of ions observed during LSH analysis for a standard solution of C8 – C20 LSHs (n = 9)

| LSH | [M – H]+ | [M – 3H + O]+ | [M – H + O]+ | [M – 5H + 2O]+ | [M – 3H + 2O]+ | [M – H + 2O]+ |
| --- | --- | --- | --- | --- | --- | --- |
| Octane (C8) | ND | 38.2% ± 3.5% | 45.9% ± 6.3% | ND | 15.7% ± 14.1% | ND |
| Nonane (C9) | ND | 39.1% ± 4.3% | 45.5% ± 5.3% | ND | 15.2% ± 9.6% | ND |
| Decane (C10) | ND | 33.9% ± 2.3% | 53.2% ± 2.2% | ND | 12.7% ± 7.4% | ND |
| Undecane (C11) | ND | 30.6% ± 3.2% | 52.7% ± 2.8% | 6.4% ± 12.3% | 10.1% ± 6.9% | ND |
| Dodecane (C12) | ND | 32.0% ± 2.3% | 53.7% ± 1.5% | 4.0% ± 7.9% | 10.1% ± 6.3% | ND |
| Tridecane (C13) | ND | 33.0% ± 1.7% | 53.5% ± 2.3% | 3.7% ± 9.8% | 9.7% ± 7.6% | ND |
| Tetradecane (C14) | ND | 33.8% ± 3.9% | 50.4% ± 3.4% | 3.9% ± 10.2% | 9.9% ± 5.6% | 1.8% ± 14.0% |
| Pentadecane (C15) | ND | 34.0% ± 2.8% | 49.2% ± 2.6% | 5.8% ± 8.7% | 9.2% ± 3.9% | 1.7% ± 11.0% |
| Hexadecane (C16) | 0.9% ± 21.0% | 36.2% ± 2.9% | 46.8% ± 2.2% | 7.0% ± 16.6% | 9.0% ± 6.6% | ND |
| Heptadecane (C17) | 3.4% ± 32.3% | 32.1% ± 1.8% | 48.0% ± 3.7% | 3.9% ± 8.6% | 8.6% ± 5.3% | 3.7% ± 11.8% |
| Octadecane (C18) | 5.7% ± 19.7% | 33.7% ± 3.8% | 43.1% ± 3.3% | 4.5% ± 8.1% | 10.0% ± 4.9% | 2.8% ± 10.5% |
| Nonadecane (C19) | 2.8% ± 14.2% | 37.6% ± 2.4% | 42.2% ± 3.7% | 4.3% ± 8.8% | 10.3% ± 5.5% | 2.5% ± 11.3% |
| Eicosane (C20) | 3.2% ± 10.6% | 36.9% ± 2.4% | 42.0% ± 3.1% | 4.1% ± 8.8% | 10.8% ± 4.5% | 2.7% ± 11.0% |
| ND: not detected |  |  |  |  |  |  |

Appendix A Figure 1. Evaluation of eicosane (C20H42) oxidation products using GC-APCI-HRMS under variable A) corona discharge current, B) reagent gas (nitrogen) level, and C) atmospheric water concentration. The normal operating conditions are termed “baseline” and the percent change in oxidation products (normalized by the sum of all ions detected) is illustrated by the bar graphs. NL: normalization level. Note: sweep (Sw) gas was not altered in reagent gas studies as increasing this parameter was expected to simply reduce the ions entering the inlet and prevent the acquisition of informative spectra.

Appendix A Figure 2. A) Overlay of eicosane (C20H42) analyzed under the following discharge currents: 10 μA (black trace, baseline), 7.5 μA (blue trace), 5 μA (orange trace), and 2.5 μA (green trace). The base peak of each trace is labeled with the NL.

Appendix A Figure 3. A) Overlay of eicosane (C20H42) analyzed under low (black trace), medium (blue trace), and high (orange trace) reagent gas (i.e., nitrogen) conditions from m/z 50 – 350 where the base peak of each trace is labeled with the NL. B) Indirect correlation between highly fragmented, low mass ions (i.e., [C4H9]+, [C5H11]+, and [C6H13]+) resulting from radical mechanisms and oxidized ions with increasing reagent gas conditions.

Appendix A Table 2. Aqueous infusion experiments with stable isotope labeled analytes

| Analysis of C20H42 with H2O |  |  | Analysis of C20H42 with D2O |  |  | Analysis of C20D42 with H2O |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Observed m/z | Corresponding formula (± 5 ppm) | Ion after change from parent structure (C20H42) | Observed m/z | Corresponding formula (± 5 ppm) | Ion after change from parent structure (C20H42) | Observed m/z | Corresponding formula (± 5 ppm) | Ion after change from parent structure (C20H42) |
| 295.2995 | [C20H39O]+ | [M – 3H + O]+ | 295.2995 | [C20H39O]+ | [M – 3H + O]+ | 334.5435 | [C20D39O]+ | [M – 3D + O]+ |
| 297.3149 | [C20H41O]+ | [M – H + O]+ | 298.3214 | [C20H40DO]+ | [M – 2H + D + O]+ | 337.5654 | [C20HD40O]+ | [M – 2D + H + O]+ |
| 309.2785 | [C20H37O2]+ | [M – 5H + 2O]+ | 309.2785 | [C20H37O2]+ | [M – 5H + 2O]+ | 346.5103 | [C20D37O2]+ | [M – 5D + 2O]+ |
| 311.2941 | [C20H39O2]+ | [M – 3H + 2O]+ | 312.3006 | [C20H38DO2]+ | [M – 4H + D + 2O]+ | 349.5322 | [C20HD38O2]+ | [M – 4D + H + 2O]+ |
| 313.3105 | [C20H41O2]+ | [M – H + 2O]+ | 315.3226 | [C20H39D2O2]+ | [M – 3H + 2D + 2O]+ | 352.5539 | [C20H2D39O2]+ | [M – 3D + 2H + 2O]+ |

Appendix A Figure 4. MS2 spectra for A) [C20D39O]+, B) [C20HD40O]+, C) [C20D37O2]+, D) [C20HD38O2]+, and E) [C20H2D39O2]+ from the analysis of C20D42 with H2O infusion. Theoretical intact structures and important fragments are shown in each spectrum. Not all resonance structures are shown. Notable losses from the precursor ion that retained oxygen are shown by striped arrows and solid arrows represent initial loss of oxygen. Lowercase letters represent common fragments.

Appendix A Figure 5. Proposed ionization mechanisms to generate the observed minor [M – H]+ ion19, 49, 50 and major oxidation products via combustion-like pathways42 for LSHs using GC-APCI-HRMS. Elements arising from atmospheric water are shown in green while elements contributed from non-aqueous sources are shown in blue and red representing the first and second oxidation, respectively. Purple elements indicate that two oxidations have occurred, where either oxygen could arise from either oxidation step. Ions observed during analyses and their relative abundances are shown in orange.

# Circumventing the downstream effects of in-source oxidation in biological matrices

Autoinducer-2 is a Metabolic Byproduct in Non-pathogenic E. coli

## Abstract

The highly regulated signaling systems in bacteria allow these organisms to execute various physiological functions among bacterial communities through the regulation of gene expression. This process, termed quorum sensing, is largely mediated by two families of signaling molecules – autoinducer 1 and 2 (AI-1 and AI-2, respectively). Some bacteria, like the aquatic pathogen Vibrio harveyi, utilize both AI-1 and AI-2 to induce infection in marine species, as well as promote bioluminescence. Pathogenic strains of Escherichia coli, however, only utilize AI-2 to promote virulence. Non-pathogenic strains of E. coli (i.e., Keio collection strains) exhibit tendencies to produce AI-2 in an unregulated manner, begging the question as to why this organism produces AI-2 when pathogenesis is not possible. In this study, potential biological purposes as to why non-pathogenic E. coli produces AI-2 via the activated methyl cycle (AMC) are investigated through the analysis of a non-pathogenic E. coli wildtype and a ΔluxS mutant that cannot produce AI-2. Because the AMC is important to many essential biological functions (i.e., epigenetic modification, cell to cell signaling, and metabolism), DNA methylation, quorum sensing molecule production, and metabolomics were performed. Analysis of global DNA methylation between E. coli phenotypes indicated no significant differences, suggesting E. coli does not produce AI-2 as a byproduct of genetic regulation. In comparison to the ΔluxS mutant and V. harveyi phenotypes, the E. coli wildtype accumulated more AMC-related metabolites. Untargeted metabolomics revealed that the knockout of the LuxS gene impacted coenzyme biosynthesis, a perturbation that was suspected to impact fatty acid biosynthesis and induce lipidome alterations. Lipidomics data indicated that E. coli (regardless of LuxS) alters its lipid composition over time. Taken together, these studies suggest that when nutrients (i.e., glucose) are in excess, non-pathogenic E. coli utilizes the AMC to synthesis acetyl coenzyme A to induce fatty acid biosynthesis and membrane changes. Therefore, it is concluded that AI-2 is simply a byproduct of metabolism in E. coli when virulence induction is not possible.

## Introduction

The ability of bacterial cells to communicate between and within species through the production of various small molecule signals, termed autoinducers (AIs), has long been referred to as quorum sensing.51-53 Bacterial organisms that produce these chemical signals often use them to perform specific physiological functions (i.e., bioluminescence, virulence, biofilm formation, etc.) amongst many cells once the threshold of a specific AI has been exceeded.53, 54 It has been shown that some species use quorum sensing to induce a specific phenotype through regulation of gene expression – a change which can be inherited from parent cells to progeny, resulting in a long-term, phenotypical adaptation.55, 56

Many bacterial species have been heavily studied for their quorum sensing aptitude, including the opportunistic pathogen Escherichia coli and the aquatic pathogen Vibrio harveyi.57, 58 In fact, V. harveyi was the first species in which an AI was identified as an acyl-homoserine lactone (AHL), representing AI-1 intraspecies quorum sensing signals.59 Contrarily, E. coli does not synthesize AHLs for intraspecies communication, yet both species contain the LuxS gene, which promotes the synthesis of the interspecies signal, AI-2.60-63 In V. harveyi, both AI-1 and AI-2 quorum sensing signals are well-known to influence bioluminescence and virulence.64 Contrarily, E. coli (specifically the infectious strain O157:H7) only utilizes AI-2 quorum sensing to control virulence.57 Despite its inability to become virulent, non-pathogenic strains of E. coli (i.e., BW25113 from the Keio collection) still produced significant amounts of AI-2, seemingly in response to available nutrients.65-67  This phenomenon was not observed in V. harveyi, which regulates AI-2 production to communicate cell density.65, 66 Thus, it is suspected that non-pathogenic E. coli does not utilize AI-2 for quorum sensing purposes.

Importantly, AI-1 and AI-2 production are controlled by a single metabolic pathway – the activated methyl cycle (AMC; Figure 3.1).61, 68 AI-1 is generated using the precursor S-adenosyl methionine, which also serves as a methyl donor for various critical functions, most notably DNA methylation. AI-2 is generated via the LuxS enzyme, which converts S-ribosyl homocysteine to homocysteine and generates organism-specific, chemically distinct forms of dihydroxypentanedione (DPD) as a byproduct.61 Specifically, V. harveyi has been shown to produce DPD in the form of 4,5-dihydroxy-2,3-pentanedione that yields a specific AI-2, elucidated as (2S,4S)-2-methyl-2,3,3,4-tetrahydroxyhydrofuran-borate.58, 62 Upon the generation of homocysteine, this metabolite may feed back into the AMC or other metabolic cycles, such as one-carbon metabolism.

Although the AMC represents an intersection between many essential biological functions (i.e., quorum sensing, epigenetic modification, and metabolism), this metabolic cycle requires relatively uncommon sulfur-containing compounds and produces toxic intermediates (e.g., S-adenosyl homocysteine) that must be immediately recycled. This begs the question as to why E. coli would complete this cycle to produce AI-2 if not for use a quorum sensing signal. Herein, we investigate potential biological purposes behind the AMC in E. coli. In this study, both E. coli and the model quorum sensing species, V. harveyi, were evaluated. To investigate the potential for AI-2 to drive phenotypical differences, both the wildtype and ΔluxS mutant (incapable of synthesizing DPD) of each strain were analyzed. These evaluations suggest that AI-2 is a byproduct of lipid composition remodeling in non-pathogenic E. coli.

## Results and discussion

### E. coli produces AI-2 in response to available nutrients

Previously, it was shown that potential AI-2 production in E. coli steadily increased in response to added nutrients, followed by a steady decrease once nutrients were consumed.65-67 Importantly, this phenomenon was not observed in V. harveyi, which appears to regulate AI-2 production regardless of available nutrients.65 To confirm that the same patterns were observed in the current study, the levels of DPD (the precursor to AI-2) were quantified using an established derivatization procedure (Figure 3.2).67 In response to 0.2% (w/v) added glucose, E. coli showed a similar trend to what was previously reported in the literature.67 Specifically, the E. coli wildtype did not regulate levels of AI-2 production evident by the change in DPD production over the time tested (i.e., 8 hours). Contrarily, the V. harveyi wildtype produced low, consistent levels of DPD while both ΔluxS mutants exhibited baseline levels.

Figure 3.1. The metabolic pathway of the AMC. This cycle is responsible for quorum sensing (production of AI-1 and AI-2 in certain species), epigenetic modification, alterations in metabolism.

Figure 3.2. Potential AI-2 production as determined through the measurement of DPD in E. coli and V. harveyi ΔluxS mutants and wildtypes supplemented with 0.2% (w/v) added glucose. Levels of DPD detected in the ΔluxS mutants represent the baseline. V. harveyi wildtype exhibited levels of DPD slightly above baseline, but remained relatively consistent over time. Levels of DPD were not regulated in the E. coli wildtype and appeared to respond to available nutrients. Values were normalized by dividing the area detected for DPD by the cell density at each timepoint.

### Global epigenetic modification remains unchanged between wildtypes and ΔluxS mutants

To investigate the possibility that E. coli utilizes the AMC for the purpose of modifying its epigenome in response to the interspecies signal AI-2, genomic DNA from wildtype and ΔluxS E. coli and V. harveyi was extracted and purified, and the percent methylation of each strain was quantitated over the timepoints tested. A significant difference in methylation was evident between the two bacterial species (Figure 3.3), yet there was no significant difference within either species at any one timepoint. Importantly, the level of global methylation did not change over time within either species, suggesting that each species regulates global DNA methylation regardless of AI-2 synthesis.

This does not negate, however, phenotypical changes in response to AI-2 that do not result in global DNA methylation differences. For example, it is possible that E. coli may utilize the AMC for epigenetic modification of few genes in response to external stimuli, resulting in non-detectable changes in DNA methylation levels. To be certain of methylation levels at the single-base level, more sensitive methods would be required (e.g., whole genome sequencing).

### E. coli accumulates more AMC metabolites than V. harveyi

To evaluate potential impacts that AI-2 has on the AMC, associated metabolites were qualitatively analyzed. Because the components of the AMC are relatively unstable and prone to in-source oxidation, cell extracts and supernatants were derivatized prior to analysis using a modified procedure.68 Multiple pairwise comparisons were made at t = 5 h to evaluate potential metabolic differences between the E. coli wildtype and ΔluxS mutant, V. harveyi wildtype and ΔluxS mutant, as well as E. coli and V. harveyi wildtypes (Figure 3.4).

As expected, DPD was detected in higher abundance in the wildtypes compared to their ΔluxS mutants. As a consequence of the ΔluxS knockout, SRH was significantly increased in mutants of both species. In E. coli, however, SRH was significantly more abundant both intra- and extracellularly, while V. harveyi only exhibited greater concentrations within the cell. This suggests that E. coli has the ability to excrete SRH to the extracellular matrix.

SAH was not detected in any of the samples as this metabolite and its byproducts (ADN and ADO) are tightly regulated due to their intracellular toxicity.69 Both ADN and ADO were present in higher abundance in the E. coli wildtype compared to V. harveyi. However, in the extracellular space, the E. coli ΔluxS knockout exhibited significantly greater levels of these byproducts. Excretion of ADN and ADO likely represents a negative feedback loop to regulate levels of SAH and SRH in the cell.

SAM, another metabolite that exhibits toxicity in high amounts, was only found to be significantly abundant in the V. harveyi wildtype compared to the E. coli wildtype.70 However, considering this metabolite is also highly regulated by the cell, the levels of SAM were consistently low in all cultures.

Levels of HCY were significantly greater intra- and extracellularly in the E. coli wildtype when compared to the E. coli ΔluxS mutant and the V. harveyi wildtype. Substantial HCY build-up appears to be attributed to excessive metabolic AMC activity, but may also be the result of multiple metabolic processes.71, 72

Figure 3.3. Percentages of global A) non-methylated and B) methylated DNA among E. coli and V. harveyi wildtype and ΔluxS mutants. Levels of methylation remained consistent within each species and did not appear to correlate with the AI-2 production in the E. coli wildtype.

Figure 3.4. Analysis of intracellular and extracellular AMC metabolites in E. coli and V. harveyi wildtypes and ΔluxS mutants at t = 5 hours. Pairwise comparisons were made between E. coli wildtype and ΔluxS mutant, V. harveyi wildtype and ΔluxS mutant, and E. coli and V. harveyi wildtypes. Intracellular evaluations are shown with filled symbols while extracellular comparisons are shown in outlined symbols. Significance is indicated for each comparison. HCY: homocysteine; MET: methionine; SAM: S-adenosyl methionine; SAH: S-adenosyl homocysteine; AND: adenine; ADO: adenosine; SRH: S-ribosyl homocysteine.

Intra- and extracellular levels of multiple AMC metabolites were significantly greater in E. coli compared to V. harveyi. Whether this is a result of greater AMC activity in E. coli compared to V. harveyi or that V. harveyi utilizes AMC metabolites for downstream metabolic processes requires further investigation. Regardless, it appears more likely that, in response to available nutrients, DPD and AI-2 serve as metabolic byproducts in non-pathogenic E. coli rather than a quorum sensing signal.

### Coenzyme biosynthesis is important factor in E. coli metabolism

To investigate potential impacts AI-2 may have on metabolism, wildtype and ΔluxS strains of E. coli and V. harveyi were subjected to untargeted metabolomics. Differential analysis between the phenotypes indicated 129 features in E. coli and 283 features in V. harveyi were significantly different, while 1368 features were significantly altered between the two wildtypes (Figure 3.5). Significant features were composed of both known metabolites annotated using fragmentation data as well as unannotated features. A pathway analysis demonstrated that no common pathways were significantly altered between V. harveyi and E. coli (Figure 3.5B and D), hinting at the diverse impact AI-2 has on these species. Of the pathways affected by the inability to produce AI-2 in E. coli, three (specifically, alanine, aspartate, and glutamate metabolism, beta-alanine metabolism, and pantothenate and coenzyme A (CoA) biosynthesis) were linked to coenzyme biosynthesis. Coenzymes are utilized in numerous essential biological functions and changes in their biosynthesis could have multiple biological implications.73-75 Perturbations in coenzyme biosynthesis in the E. coli ΔluxS mutant are speculated to be due to the disruption of the AMC (i.e., the inability to convert SRH to HCY) rather than the inability to produce AI-2.

Metabolic pathways significantly affected in V. harveyi primarily involved cycles in which pyruvate plays a substantial role (i.e., pyruvate metabolism, citrate cycle, glyoxylate and dicarboxylate metabolism, and methane metabolism). When supplemented with glucose, luminous marine bacteria (including Vibrio species) exhibit tendencies to excrete excess pyruvate catabolized from glucose to regulate levels of this metabolite inside the cell.76 The AMC also influences the production of pyruvate through conversion of HCY to cystathionine and cysteine.71 Therefore, the disruption of the AMC in V. harveyi ΔluxS likely induces the observed shifts in pyruvate biosynthesis as glucose catabolism is able to supplement the diminished pool of pyruvate in the mutant. The inability to communicate cell density through AI-2 production has been shown to alter this species in other physiological ways (i.e., growth rate, dim bioluminescence, volatile organic sulfur gas production, etc.), which certainly attribute to the significant differences observed between phenotypes.77, 78

Comparative analysis between the two wildtypes indicated that pathways significantly impacted in Figure 3.5B and D were also statistically altered between the two species. This further suggests the importance of coenzyme biosynthesis and pyruvate biosynthesis to E. coli and V. harveyi, respectively. The substantial amount of significantly altered features between wildtypes provides some insight as to the considerable differences in metabolism of these two organisms.

Figure 3.5. Untargeted metabolomics analysis at t = 5 h. Volcano plots and pathway analyses illustrate differential analyses between E. coli wildtype and ΔluxS mutant (A and B), V. harveyi wildtype and ΔluxS mutant (C and D), and E. coli and V. harveyi wildtypes (E and F). Note: p < 0.01 ***,  p < 0.05 **, p < 0.1 *

### Lipid composition changes over time in E. coli

Metabolomics data revealed that pathways related to coenzyme biosynthesis were altered between the wildtype and ΔluxS phenotypes of E. coli. When supplemented with excess glucose, some bacteria utilize acetyl CoA (derived from glucose) in fatty acid and sterol biosynthesis.73 This prompted the investigation of the lipidome of E. coli wildtype and ΔluxS mutant as compared to that of V. harveyi phenotypes.

Multivariate analysis of the E. coli phenotypes over the time points tested showed clustering that was time-based rather than phenotype-based (Figure 3.6A). Specifically, the E. coli wildtype and ΔluxS mutant displayed noticeable clustering at t = 2 h and t = 3.5 h. The remaining timepoints (i.e., t = 5, 6.5, and 8 h) primarily clustered together. This suggests that, regardless of the ability to produce AI-2, E. coli alters its lipidome over time. Importantly, these clusters align with the availability of nutrients (i.e., glucose) in the environment, which have shown to drastically deplete beginning at 5 h.79 Lipid headgroup analysis between the clustered timepoints revealed significant changes in lipid species. Specifically, PG, PE, TG, and LPE lipids were significantly different between E. coli wildtype and mutant at t = 2 and 3.5 h, while PG, PE, and CL lipids were significantly different at t = 3.5 h and later timepoints (i.e., t = 5, 6.5, and 8 h). Only NAE lipids were significantly different between the 2 h and later timepoints, indicating that significant changes in membrane composition occur from 2 to 3.5 h and resembles initial membrane composition after 5 h.

The V. harveyi lipidome did not cluster based on time, but rather based on phenotype, largely driven by PG lipids. From this, it is clear that the membrane of V. harveyi wildtype is different than that of the ΔluxS mutant, suggesting AI-2 may play an important role in cell membrane composition. Growth rates in V. harveyi have shown to be greater in quorum sensing mutant strains than wildtype strains and is believed to be due to the ability to regulate growth and conserve nutrients with quorum sensing.77 Thus, the unique membrane composition in V. harveyi wildtype and ΔluxS is likely due to regulation of fatty acid biosynthesis tightly regulated by quorum sensing.

### E. coli produces AI-2 as a metabolic byproduct during membrane composition changes in a nutrient favored state

Data from this study indicate that, in a nutrient favored state, E. coli (specifically, a non-pathogenic strain) alters its lipid composition primarily through coenzyme biosynthesis. The accumulation of AMC metabolites in the E. coli wildtype suggests that this metabolic pathway influences the downstream production of coenzymes (specifically, acetyl CoA) to induce membrane changes through fatty acid biosynthesis.

Specifically, the AMC generates homocysteine, which is then converted to cystathionine and cysteine. Homocysteine (and its subsequent conversion products) are also generated from one-carbon metabolism via the catabolism of glucose.72 To generate acetyl CoA from cysteine, reaction with D-4’-phosphopantothenate to produce multiple pantothenate-based products is required. Interestingly, D-4’-phosphopantothenate was the only metabolite that showed a pattern similar to AI-2 production that seemed to correlate with available nutrients (Appendix B Figure 1A) despite the fact that there is no known

Figure 3.6. Lipidomics analysis of E. coli and V. harveyi wildtypes and ΔluxS mutants. Principal component (PCA) analysis showing the optimal groupings within A) E. coli and C) V. harveyi. Pie charts and statistical analysis of lipid headgroup changes that drive separation in B) E. coli PCA and D) V. harveyi PCA.

relationship between AI-2 and D-4’-phosphopantothenate. The current understanding of D-4’-phosphopantothenate synthesis in E. coli is the degradation of pantothenate to yield β-alanine and pantoate, which are then utilized to synthesize acetyl CoA instead of incorporating the intact pantothenate molecule.75, 80 Due to increased levels of N-acetyl aspartate in the ΔluxS mutant (Appendix B Figure 1B), a significant difference in alanine, aspartate, and glutamate metabolism was observed between the E. coli phenotypes. N-acetyl aspartic acid plays a role in many biological processes (e.g., amino acid metabolism and biosynthesis) via the conversion to aspartate, yet the metabolic build-up of this molecule may also implicate a relationship between AI-2 and/or DPD to the pantothenate and CoA/β-alanine pathways. It is possible that the LuxS pathway influences coenzyme synthesis through pantothenate and CoA metabolism, but further investigation would be required to conclude this.

Considering lipid composition was statistically similar between E. coli phenotypes at specific timepoints, it was suspected that cysteine could be generated from an additional pathway to account for the disruption of the AMC in the ΔluxS knockout. Using flux experiments, the recycling of glutathione disulfide to cysteine has been demonstrated in the E. coli strains used in this study.79 Therefore, it was proposed that acetyl CoA and fatty acid biosynthesis was driven by one carbon metabolism and aspartate metabolism in combination with the AMC for the non-pathogenic E. coli wildtype or glutathione metabolism when the AMC is disrupted (Figure 3.7).

## Conclusions

In this study, the unregulated production of the quorum sensing signal AI-2 in non-pathogenic E. coli was investigated. Because AI-2 is suspected to impact epigenetic modifications, global DNA methylation between E. coli that could produce AI-2 via LuxS and a ΔluxS knockout were evaluated and found to be statistically similar. Despite the fact that there were no detectable differences in global DNA methylation, the E. coli wildtype accumulated more AMC-related metabolites than its ΔluxS mutant, as well as the wildtype and ΔluxS mutant of the marine pathogen, V. harveyi. Untargeted metabolomics revealed that coenzyme biosynthesis pathways were significantly changed in the E. coli ΔluxS mutant and was not significantly altered in V. harveyi. Because fatty acid biosynthesis is a primary function of coenzymes, specifically acetyl CoA, the lipidomes of E. coli phenotypes were evaluated and it was found that, regardless of LuxS activity, the lipid composition of E. coli changed with respect to time. This investigation led to the understanding that, in a nutrient favored state (i.e., supplemented with glucose), E. coli modifies its membrane composition via the biosynthesis of acetyl CoA through one carbon metabolism, the AMC, and aspartate metabolism. When the AMC is disrupted, as is the case in the E. coli ΔluxS mutant, glutathione metabolism is used to compensate for the loss in acetyl CoA production via the generation of cysteine.

In the well-studied organism, E. coli, only pathogenic strains are understood to utilize AI-2 as a quorum sensing signal to control virulence. Here, in a non-pathogenic strain, AI-2 is demonstrated to be a metabolic byproduct of acetyl CoA production to induce changes

Figure 3.7. Proposed pathways for changes in E. coli membrane composition over time. Green cycles are characteristic of both E. coli phenotypes, while the purple cycle is specific to E. coli wildtype and blue cycle is specific to the E. coli ΔluxS mutant that necessitates the recycling of glutathione disulfide to account for disruptions in the AMC.

in fatty acid composition. Taken together, these data suggest that quorum sensing may only be utilized in E. coli to promote pathogenesis, unlike other bacteria that utilize signaling to promote a multitude of physiological activities.54

## Experimental section

### Bacterial strains and growth conditions

The E. coli strains used in the study were established as part of the Keio Collection81 and purchased from Coli Genetic Stock Center at Yale University. The wildtype strain used was BW25113 and the ΔluxS mutant was JW2662-1. Both strains of E. coli were grown in Luria-Bertani medium (LB) at 37 °C with aeration, while only the ΔluxS mutant was grown on 25 μg/mL of kanamycin. V. harveyi strains were graciously gifted from B.L. Bassler (Princeton University and the Howard Hughes Medical Institute). The V. harveyi wildtype (BB210) and ΔluxS mutant (MM30) were grown on Luria Marine (LM) media at 30 °C with aeration. The ΔluxS mutant was supplemented with 25 μg/mL of kanamycin. Overnight cultures of E. coli and V. harveyi were grown in their respective media and temperatures at 200 rpm and used to perform time-course experiments (from 0 – 8 hours) in biological triplicate with added sterile glucose (0.2% w/v). Bacterial growth was monitored through the timed experiment using optical density (OD600). Growth curves are shown in Appendix B Figure 2.

### DPD tagging reagent synthesis

Dimethyl 2,2'-(4,5-diamino-1,2-phenylene)bis(oxy)diacetate was used as the tagging reagent for DPD quantitation. The synthesis of this molecule has been thoroughly described elsewhere.67

### DPD extraction

At each timepoint, 300 μL of each bacterial culture was aliquoted and centrifuged at 14,000 rpm for 5 minutes. A volume of 260 μL of supernatant was combined with 26 μL of 5 mg/mL TAG diluted in methanol. Samples were allowed to incubate for at least 45 minutes at room temperature protected from light before performing two liquid-liquid extractions with 0.1% acetic acid in ethyl acetate. From each extraction, 100 μL of the acidic ethyl acetate layer was pooled into a vial and dried under nitrogen. Dried extracts were resuspended in 50% acetonitrile. Glass vials were used where possible.

### DNA purification, extraction, and degradation to nucleosides

Approximately 15 – 20 mL of bacterial culture was aliquoted and centrifuged at 3000 rpm for 10 minutes to produce a sizable pellet. Supernatant was decanted and pellets were extracted using a modified protocol of the Zymo Quick-DNA Miniprep kit (Zymo Research, Irvine, CA, USA). Specifically, pellets were resuspended in 200 μL of MilliQ water. To this suspension, 200 μL of BioFluid & Cell Buffer and 40 μL proteinase K were added. The solution was vortexed and digested for 30 minutes at 55°C. The samples were centrifuged at max speed for 5 minutes and the supernatant was transferred to a new vial. An aliquot of 500 μL Genomic Binding Buffer was added followed by vortexing. The solution was transferred to a Zymo-Spin™ IIC-XLR Column, placed in a collection tube, and centrifuged at 16,000 rpm for 1 minute. A series of buffers were added separately followed by a centrifugation step before the next addition. The series was as follows: 400 μL DNA PreWash Buffer, 700 μL g-DNA Wash Buffer, 200 μL g-DNA Wash Buffer, followed by 200 μL g-DNA Wash Buffer. Subsequent to the final centrifugation step, an additional “dry-spin” centrifugation step was conducted. Spin columns were placed into a collection vial and 30 μL of water was added. A final centrifugation step  was conducted to elute the purified DNA off the column and into the collection vial. DNA concentration and purity was measured using a Thermo Scientific (Waltham, MA, USA) Nanodrop™ One Spectrophotometer. DNA was degraded into individual nucleosides using Zymo DNA Degradase Plus (Zymo Research, Irvine, CA, USA). Briefly, 2000 μg of DNA was combined with 2.5 μL 10X DNA Degradase™ Reaction Buffer and 1 uL DNA Degradase™ Plus. MilliQ water was added to bring the volume to 25 μL. Samples were digested at 37°C overnight followed by a heat-inactivation step at 70°C for 20 minutes. Solutions were then directly analyzed by liquid chromatography mass spectrometry (LCMS).

### Metabolomics extraction

Samples for metabolomics analyses were prepared using an adapted extraction procedure.82 Specifically, 1.5 mL of bacterial culture was filtered through 0.2 μm filters and immediately flash frozen in liquid nitrogen. Frozen filters were stored at -80°C until all samples were ready to be extracted. At the time of extraction, all steps were performed on ice. To extract, filters were placed cell-side down in a petri dish containing ice-cold 1.3 mL extraction solvent (40:40:20 acetonitrile:methanol:water with 0.1% formic acid and an isotopically labeled internal standard) and allowed to extract at -20°C for 20 minutes. Extraction solvent was then transferred to an Eppendorf tube, filters were flipped with sterile tweezers and subsequently rinsed with 400 μL of extraction solvent. Samples were allowed to extract again for 20 minutes at -20°C. Solvent was then pooled, centrifuged at 4°C for 5 minutes, and the supernatant was transferred to a new centrifuge tube. The cell pellet was resuspended in 200 μL of extraction solvent and extracted at -20°C for an additional 20 minutes. Samples were then centrifuged, supernatant was pooled, and dried under nitrogen. Dried extracts were stored at -80°C and resuspended in 150 μL at the time of analysis using LCMS, which was adapted from a reported method.83

### Extraction of sulfur-containing and unstable metabolites

To extract sulfur-containing analytes of interest and other compounds that may be sensitive to in-source oxidation, procedures by Halliday and co-workers were utilized with some adaptation.68 Aliquots of bacterial culture (5 mL) were quenched with 15 mL 0.9% ice cold saline solution and centrifuged at 4°C. The supernatant was decanted into a separate falcon tube. Samples were frozen in liquid nitrogen and lyophilized. Lyophilized samples were resuspended in 80% methanol prepared with an internal standard (0.5 mL for cell pellets and 1 mL for supernatant samples). Cell pellet samples were subjected to two separate freeze-thaw cycles using liquid nitrogen followed by vortexing and sonication. Samples were centrifuged at max speed for 5 minutes and supernatant was added to a separate vial. The previous two steps were repeated with 0.5 mL 80% methanol and the supernatant was pooled, concentrated under vacuum, and lyophilized. For consistency, supernatant samples were subjected to the same processes, but with 2 mL of 80% methanol.

To derivatize compounds following reported procedures68, all samples (i.e., both cell pellet and supernatant samples) were resuspended in 80 μL water. To each sample, volumes of 0.05 M tris-(hydroxypropyl)phosphine (THP) was added (30 μL in cell pellet samples and 160 μL in supernatant samples). Samples were allowed to derivatize at room temperature shielded from light for 30 minutes. Subsequently, 40 μL of 1:3 pyridine:isobutanol was added to each vial, followed by 10 uL of isobutylchloroformate. Samples were thoroughly vortexed and extracted with 200 μL 1:2 dichloromethane:methyl tert butyl ether. To a glass vial, 150 μL of the top layer (organic layer) was added and samples were evaporated to dryness. Samples were immediately resuspended in 100 μL 50% methanol and analyzed by LCMS.

### Lipidomics extraction

Lipids were extracted using a modified Bligh and Dyer method.84 Briefly, at each timepoint, 2 mL of cell culture was centrifuged and the supernatant was decanted. Splash Lipidomix (Avanti Polar Lipids, Alabaster, AL) internal standard was added to each sample followed by 750 μL 1:2 chloroform:methanol. Samples were briefly mixed and aliquots of 250 μL chloroform followed by 250 μL water were added. Samples were vortexed and then centrifuged for 10 minutes at 15,000 rpm. The bottom layer was transferred to a glass vial. To the original sample, 250 μL chloroform and 250 μL water were again added. Samples were vortexed and centrifuged for 10 minutes at 15,000 rpm. The bottom layer from the second extraction was pooled into the glass vial. Liquid extracts in glass vials were dried under nitrogen and resuspended in 50% acetonitrile immediately before analysis.

### Liquid chromatography mass spectrometry (LCMS) conditions

All analyses were conducted using a Thermo (Waltham, MA, USA) Vanquish Horizon liquid chromatography (LC) system with a binary solvent pump coupled to a Thermo (Waltham, MA, USA) Exploris 120 high resolution mass spectrometry (MS) detector with a heated electrospray ionization source. LC and MS conditions specific to each analysis can be found in Appendix B Table 1.

### Data processing and statistical analyses

For targeted analyses (i.e., DPD, DNA, and sulfur-containing/unstable metabolites), compound structures were drawn in ChemDraw (Perkin Elmer, Waltham, MA, USA) and analyte peaks were evaluated using El-Maven (Elucidata, San Francisco, CA, USA). Exact mass, fragmentation patterns, and/or retention time confirmation using an external standards were used to confirm compound identifications where possible. Excel was used to normalize data and subsequently graphed using GraphPad Prism 10.0 (GraphPad Software, LLC, Boston, MA, USA). All statistical analyses for targeted methods were performed using a Student’s t-test (two-tailed, homoscedastic). The metabolomics data (i.e., untargeted) were evaluated using MZMine 3.85 Feature finding and compound annotation were performed through MZMine 3, where features were annotated based on both MS1 using the E. coli Metabolome Database (https://ecmdb.ca/) and MS2 using the MassBank of North America (University of California Davis, Davis, CA, USA). Untargeted lipidomics data was processed using MS-Dial 4.986 and features were identified using MS2 data with the MS-Dial library. Positive and negative mode data were normalized and aligned using in-house Python scripts. Further statistical analysis of untargeted data was conducted using Metaboanalyst 6.087 and GraphPad Prism 10.0. Manual evaluation of metabolic pathways was derived using the Kyoto Encyclopedia of Genes and Genomes (KEGG).71

## Appendix B

Appendix B Figure 1. Semi-quantitated values of A) D-4’-phosphopantothenate and B) N-acetyl-L-aspartate from untargeted metabolomics data.

Appendix B Figure 2. Growth curves measured at OD600 for the E. coli (left) and V. harveyi (right) wildtype and ΔluxS mutant. Measurements were made in biological triplicate.

Appendix B Table 1. LCMS conditions used in each analysis.

| Analysis | DPD | DNA | Metabolomics | Sulfur-containing/unstable metabolites | Lipidomics |
| --- | --- | --- | --- | --- | --- |
| Parameters |  |  |  |  |  |
| LC parameters |  |  |  |  |  |
| Mobile phase A | 0.1% formic acid in water | 0.1% formic acid in water | 95:5 water:acetonitrile with 20 mM ammonium acetate and 20mM ammonium hydroxide (pH 9.6) | 0.1% formic acid and 10 mM ammonium formate in water | 60:40 water:acetonitrile with 10 mM ammonium formate and 0.1% formic acid |
| Mobile phase B | 0.1% formic acid in acetonitrile | 0.1% formic acid in 60% acetonitrile | Acetonitrile | 0.1% formic acid and 10 mM ammonium formate in methanol | 90:10 isopropanol:acetonitrile with 10 mM ammonium formate and 0.1% formic acid |
| Mobile phase gradient | 0 minutes: 1% B 2 minutes: 1% B 15 minutes: 99% B 17 minutes: 99% B 17.5 minutes: 1% B 20 minutes: 1% B | 0 minutes: 1% B 1.5 minutes: 1% B 5 minutes: 4.8% B 17 minutes: 30% B 20 minutes: 99% B 23 minutes: 99% B 23.5 minutes: 1% B 26 minutes: 1% B | 0 minutes: 90% B 2 minutes: 90% B 3 minutes: 75% B 7 minutes: 75% B 8 minutes: 70% B 9 minutes: 70% B 10 minutes: 50% B 12 minutes: 50% B 13 minutes: 25% B 14 minutes: 25% B 16 minutes: 0% B 20.5 minutes: 0% B 21 minutes: 90% B 25 minutes: 90% B | 0 minutes: 55% B 1.5 minutes: 55% B 15 minutes: 100% B 20 minutes: 100% B 22.5 minutes: 55% B 26 minutes: 55% B | 0 minutes: 32% B 1.5 minutes: 32% B 4 minutes: 45% B 5 minutes: 52% B 8 minutes: 58% B 11 minutes: 66% B 14 minutes: 70% B 18 minutes: 75% B 21 minutes: 97% B 25 minutes: 97% B 25.1 minutes: 32% B 30 minutes: 32% B |
| Flow rate | 0.150 mL/min | 0.150 mL/min | 0.150 mL/min | 0.200 mL/min | 0.260 mL/min |
| Method run time | 20 minutes | 26 minutes | 25 minutes | 26 minutes | 30 |
| Column | Waters Cortecs® T3 2.1 mm x 150 mm, 2.7 μm | Waters Cortecs® T3 2.1 mm x 150 mm, 2.7 μm | Waters Xbridge BEH amide 2 mm x 150 mm, 2.5 μm | Waters Cortecs® T3 2.1 mm x 150 mm, 2.7 μm | Thermo C30 2.1 mm x 150 mm, 2.6 µm |
| Column temperature | 25°C | 25°C | 35°C | 30°C | 45°C |
| MS parameters |  |  |  |  |  |
| Capillary voltage | 3500 V | 3500 V | 3500 V (+), 2500 (-) | 3500 V | 3500 V |
| Sheath gas | 35 arbitrary units | 35 arbitrary units | 35 arbitrary units | 35 arbitrary units | 35 arbitrary units |

| Appendix B Table 1 (continued) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Auxiliary gas | 7 arbitrary units | 7 arbitrary units | 7 arbitrary units | 7 arbitrary units | 7 arbitrary units |
| Sweep gas | 0 arbitrary units | 0 arbitrary units | 0 arbitrary units | 0 arbitrary units | 0 arbitrary units |
| Ion transfer tube temperature | 320°C | 320°C | 320°C | 320°C | 320°C |
| Vaporizer temperature | 275°C | 275°C | 275°C | 275°C | 275°C |
| Resolution (MS1) | 120000 | 120000 | 120000 | 120000 | 120000 |
| Scan range | 100-1000 m/z | 100-1000 m/z | 70-1000 m/z | 100-1000 m/z | 150-2000 m/z |
| Time | 100 ms | 100 ms | 100 ms | 100 ms | 100 ms |
| AGC target | Standard | Standard | Standard | Standard | Standard |
| Polarity | Positive | Positive | Positive and negative | Positive | Positive and negative |
| Data dependent acquisition (DDA) isolation window | NA | NA | 1.2 m/z | 2 m/z | 1.5 m/z |
| DDA resolution | NA | NA | 15000 | 30000 | 60000 |

# Evaluation of oxidation in systems under biological stress

Metabolomic Profiles in Starved Light Breed Horses During the Refeeding Process

Data presented in this chapter has been adapted from the following published journal article:

Main, S.C.; Brown, L.P.*; Melvin, K.R.; Campagna, S.R.; Voy, B.H.; Castro, H.F.; Strickland, L.G.; Hines, M.T.; Jacobs, R.D.; Gordon, M.E.; and Ivey, J.L.Z.* “Metabolomic Profiles in Starved Light Breed Horses during the Refeeding Process.” Animals, 2022, 12: 2527. https://doi.org/10.3390/ani12192527

## Abstract

The large population of emaciated horses continues to be an issue troubling the equine industry. However, little is known regarding the collection of equine metabolites (metabolome) during a malnourished state and the changes that occur throughout nutritional rehabilitation. In this study, ten emaciated horses underwent a refeeding process, during which blood samples were collected for a blood chemistry panel and metabolomics analysis via ultrahigh performance liquid chromatography–high resolution mass spectrometry (UHPLC-HRMS). Significant differences among blood chemistry analytes and metabolite abundance during the critical care period (CCP; Days 1–10 of rehabilitation) and the recovery period (RP; the remainder of the rehabilitation process) were observed. Potentially toxic compounds, analytes related to liver, kidney, and muscle function, as well as energy-related metabolites were altered during the refeeding process. The combination of blood chemistry and metabolomics analyses on starved equine during rehabilitation provide vital biological insight and evidence that the refeeding process has a significant impact on the equine metabolome.

## Introduction

The equine industry continues to be plagued with a significant number of “unwanted” horses and other equids with an estimated 138,000 equids deemed unwanted in the United States alone each year.88, 89 For various reasons (including lack of nutritional knowledge by the owner, misalignment of expectation to actual cost of equine ownership, and in some cases, criminal neglect), many unwanted equids can become emaciated.89 Despite the commonality of emaciated horses, there has been minimal research dedicated to the evaluation of their nutritional recovery and metabolic repair. The literature describes some studies on rehabilitating or refeeding the starved horse, yet these studies span only 10 to 15 days, while the average refeeding period lasts for several months.90, 91

Malnutrition is diagnosed as a lack of nutrition due to inadequate or unbalanced intake of nutrients, or their impaired assimilation or utilization.92 Severe malnutrition or starvation yields proteolytic and lipolytic responses that can result in negative physiological issues including refeeding syndrome, cachexia, serous atrophy, muscle contractions due to low calcium stores, and heart arrythmia.93 The Henneke body condition scoring system is an important tool for the rapid, qualitative assessment of nutritional status; however, this system cannot assess the underlying factors associated with respective changes in body composition, metabolism, and overall health.94 Because malnutrition is a complex condition that is influenced by an array of factors, it is often difficult to determine and label the true state of malnutrition in equids, for which starvation is typically classified using a low body condition score (BCS; < 3 on a 1–9 scale).89, 94 Elements influencing nutritional status including genetics, background, predisposition to disease, and dietary history are often unidentified within the unwanted and starved horse populations. Thus, a consistent evaluation method coupled with an understanding of changes in metabolism is important to understanding emaciated phenotypes and, if possible, a recovery to a healthy body weight and condition.

A more quantitative approach to evaluating a biological system is that of metabolomics, the global measurement of the suite of small molecule metabolites that constitute an organism’s metabolome. The metabolome is made up of numerous small molecules that are derived from or utilized by all known metabolic pathways. Metabolomics provides insight into an organism’s physiological state (i.e., phenotype) and, thus, can serve as a quantitative, global measurement to supplement other qualitative approaches, such as the BCS system.94, 95 Investigating the metabolic profile of emaciated equids could provide information as to which metabolic pathways are affected during a state of malnutrition.96

At the present time, little research has been conducted in the field of equine metabolomics regarding nutritional rehabilitation. Current equine studies mainly focused on healthy thoroughbreds, pregnant mares, exercise, and doping.97-100 Metabolomics research conducted in malnourished pigs and humans with cachexia can serve as a foundational comparison for emaciated equids, but species-specific knowledge through dietary intervention periods is warranted.96, 101, 102 Despite the vast array of information available pertaining to the increasingly popular field of metabolomics, no studies are dedicated to the malnourished horse or the refeeding and rehabilitation process over the nutritional recovery period. Research pertaining to the equine metabolome throughout stages of malnutrition and the refeeding process could provide insight into specific nutritional requirements and allow owners to make dietary adjustments accordingly. Thus, this study focused on evaluating the metabolome of various malnourished horses during the refeeding process to determine metabolic differences between the starved and rehabilitated horse during the refeeding process.

## Results and discussion

### Refeeding outcomes of equine with unknown origin and source

Originally, ten equids with a BCS of 2 or less were enrolled into the project; however, due to health circumstances, four horses were not able to complete the refeeding process. Specifically, the following situations occurred for each horse removed from the project (termed “Did not complete” in Table 4.1): 1) impaction colic resulting in euthanasia on Day 6 of the CCP; 2) positive respiratory swab for Equine Herpes Virus 1, wild type (EHV-1), Streptococcus equi, and influenza type A virus, resulting in euthanasia on Day 8 of the CCP; 3) positive respiratory swab for EHV-1, resulting in euthanasia on Day 1 within the RP; and 4) positive respiratory swab for influenza virus type A resulting in subsequent pneumonia, and due to lack of body weight gain was disenrolled on Day 73 of the RP. The remaining six horses (C diet n = 3 and S diet n = 3) were refed successfully to either a BCS

Table 4.1. Outcomes for equine enrolled in the refeeding program.

| Subject Identifier | Program Outcome | Samples taken |  |
| --- | --- | --- | --- |
|  |  | CCP | RP |
| A | Did not complete | 5 | NA |
| A2 | Did not complete | 7 | NA |
| B | Did not complete | 7 | NA |
| C | Completed | 7 | 4 |
| D | Did not complete | 7 | 1 |
| E | Completed | 7 | 4 |
| F | Completed | 7 | 3 |
| G | Completed | 7 | 3 |

of 3.5 or 4 (termed “Completed” in Table 4.1). Initial weight at enrollment was 368 ± 58 kg (mean ± standard deviation; n = 10) and final weight after refeeding was 426 ± 54 kg (n = 6). Of the six horses that completed the project, the entire refeeding process from enrollment to successful disenrollment lasted 129 ± 28 days.

Large animal nutrition studies create unique opportunities and challenges due to management, availability, and cost for such trials. Within our study, emaciated animal availability that met the enrollment criteria were difficult to source during the recruitment period. Extensive respiratory disease was prevalent in many potential animals that met the desired BCS (1 or 2). During the enrollment process an additional 12 horses were assessed for respiratory disease and all were positive EHV-1. Given the risk of transmission and morbidity rate for infectious respiratory diseases, alongside physiologic changes present during starvation, the pool of horses available to utilize for the project was limited.103

Despite low sample numbers, power analysis prior to study approval and commencement indicated that animal numbers utilized in this study are adequate to detect statistical significance between treatment groups. Additionally, equine nutrition studies utilizing low animal numbers have been successfully completed and contribute meaningful information to the existing literature to advance clinical and management level decisions.104-106

It is important to note that the backgrounds and histories of the horses enrolled in this study were largely unknown due to the variance in origin and ownership of the equine subjects. For this reason, it was not possible to consider factors that may influence the metabolome, such as diet history and the presence of past or current parasites, comorbidities, and disease. Perhaps these factors should not be considered as no two subjects will present with identical histories and such diversity contributes to a better overall understanding of rehabilitating emaciated horses. Despite these unknown variables, statistical analyses conducted on the refeeding process indicate a distinct difference between the equine metabolome during the CCP vs. the RP. This study supports the necessity of the refeeding process for the malnourished horse via blood chemistry and metabolomics analyses, despite its history and individual attributes.

### Blood chemistry analysis suggests improved biological function during the RP

Box plots were created to display differences in blood chemistry analyte levels between the CCP and RP (Figure 4.1). Results indicated statistical significance in analytes present in blood plasma samples (Appendix C Table 1). LDH, ALB, AST, and CREAT levels were all statistically increased during the RP compared to the CCP. Evaluation of blood serum corroborated a significant change in LDH, ALB, and CREAT (Appendix C Figure 1). Non-esterified fatty acids (NEFA) were also shown to significantly decrease in serum during the RP. Statistical differences were also detected when comparing diet, sex, and age group in blood plasma and serum samples (Appendix C Table 2).

Figure 4.1. Box plots of blood plasma data conveying the differences between blood during the CCP (n = 68) and the RP (n = 15). Asterisks represent statistical significance (p value ≤ 0.1 = *; p value ≤ 0.05 = **). LDH: lactate dehydrogenase (p value 0.06), U/L; ALP: alkaline phosphatase, U/L; ALB: albumin (p value 0.04), g/dL; BUN: blood urea nitrogen, mg/dL; GGT: gamma-glutamyl transferase, U/L; mg/dL; TRIG: triglycerides, mg/dL; AST: aspartate amino transferase (p value 0.09), U/L; TP: total protein, g/dL; GLUC: glucose, mg/dL; Phos: phosphate, mg/dL; ALT: alanine transaminase, U/L; CREAT: creatinine (p value 0.04).

Albumin, a family of proteins primarily synthesized by the liver, was detected at lower levels during the CCP compared to the RP.107 Low albumin levels in equine were previously thought to be associated with liver disease and/or liver failure, but a retrospective study of literature data concluded that consistently low albumin levels (hypoalbuminemia) reported were not directly associated with severe liver disease.107 This finding does not dismiss the possibility that low albumin levels can be associated with improper hepatic function due to insufficient biological resources, such as those unobtainable during starvation.

Creatinine, a small molecule prominently present in plasma, was significantly altered between the CCP vs. RP. This nitrogenous molecule used to evaluate renal function and overall muscle mass was found to be lower during the CCP than that of the RP.108-110 This compound is consistently produced in equine as a function of their muscle mass and body weight, dependent on proper renal function.109 This finding directly correlates to increasing BCS scores during the refeeding process; as the malnourished horse undergoes the refeeding process and their BCS score increases, a positive correlation with increasing creatinine levels is observed, most likely due to a gain in muscle mass and body weight.

Levels of non-esterified fatty acids, compounds directly related to metabolic energy, were considerably lower during the RP. A lack of resources utilized for energy production (i.e., nutrient consumption) combined with consistent energy demands results in an overall negative energy balance.111 Increased levels of non-esterified fatty acids have been positively correlated with an overall negative energy balance in many fasted mammals, including equine, as body fat is broken down (into non-esterified fatty acids) and utilized as an energy resource as a last resort.112, 113 The study of starved horses supports this finding as higher levels of these compounds were observed during a state of malnourishment (i.e., the CCP) and decreased during the RP, suggesting that the energy balance was restored once the horse was provided with proper nutrients.

Lactate dehydrogenase and aspartate aminotransferase are two enzymes that serve essential roles in anaerobic and aerobic metabolic pathways, respectively, with important emphasis in hepatic, renal, and skeletal muscular metabolism.113, 114 Interestingly, these enzymes serve as non-specific, clinical biomarkers of disease as their high-level presence is associated with cellular death.113, 114 In the present study, levels of these enzymes were statistically higher in equine during the RP than the CCP, which was an unanticipated observation as horses are not likely to experience as much cellular death during the RP compared to the CCP. Interestingly, increased levels of lactate dehydrogenase and aspartate aminotransferase have also been observed in a Japanese breed of equine that was fed a roughage-based diet; it was theorized that these enzymes were primarily higher due to diet.115 Despite statistical increases observed in the present study, the average levels of these enzymes were within reference ranges for equine in both the CCP and RP, suggesting an increase not necessarily indicative of disease.116

Blood chemistry panels are an efficient way to measure overall health and function of major organs, such as the liver and kidneys. However, these panels are limited in the amount of information attainable due to the sensitivity of methods and instrumentation. This problem of sensitivity is solved when characterizing blood (i.e., plasma) via metabolomics methods, which provide a vast array of quantitative information on the complexities of numerous metabolic pathways. Though metabolomics methods only measure small molecules (unlike blood chemistries which can detect small molecules, proteins, and enzymes), the variety of metabolites detected and low concentrations at which these compounds can be measured provide more global information on the metabolic processes, without the need for separate protein or enzyme analysis. Therefore, blood chemistries were used herein as a supplement to the more globally informative metabolomics analysis.

### Potentially toxic metabolites and indicators of oxidative stress were in lower abundance during the RP

Fold changes (i.e., comparisons of metabolite abundance between sample types) were calculated for metabolites present in blood plasma. Of the metabolites detected, those classified as amino acids (amino acids, precursors, derivatives, and metabolism byproducts) showed the most perturbations (Figure 4.2). Overall, amino acid related metabolites such as glutamine, methionine, phenylalanine, alanine/sarcosine, and creatine showed statistically significant decreases during the RP compared to the CCP; however, N-acetylornithine showed a significant increase in abundance during the RP. Additionally, metabolites such as uridine, allantoin, and uric acid showed significant decreases. With the exception of N-acetylornithine, metabolites showing significant fold changes exhibited an overall decreased abundance during the RP compared to the CCP (Appendix C Table 3).

Fold change analysis of metabolites detected during the RP compared to the CCP showed perturbations in metabolites with varying biological activity (Table 4.2). It is important to note that fold change analyses of global metabolomics data may show increases or decreases in overall abundance but cannot discern the ultimate metabolic fate of a particular metabolite. For example, if a metabolite is found in higher abundance, it is possible that this compound is produced by the biological system at a higher rate, resulting in higher abundance; alternatively, this compound may be utilized by the system at a lower rate that also results in a higher concentration. To determine which of these scenarios is actually occurring, studies utilizing stable-isotope labeled metabolite tracers would be required to measure the fluxes of the metabolites of interest and ascertain the activity of pathways utilizing these molecules.117 Nonetheless, one can often infer whether metabolites are being actively metabolized by looking at changes in several or all molecules in pathways in the context of the system state instead of analyzing data for individual molecules.

During the study, it was observed that metabolites shown to exhibit toxicity when found in high concentrations were found in lower abundance during the RP. In particular, allantoin, phenylalanine, and methionine were found to be significantly decreased in horses with higher BCS scores. Allantoin and methionine are both small molecules that are often considered indicators of oxidative stress, a condition marked by increased levels of free radical species that is often associated with disease and impaired nutritional status.118 Specifically, methionine has been observed to be enhanced in subjects with severe acute malnutrition.118-121 Because these potential biomarkers were found in lower abundance

Figure 4.2. Heatmap showing increased or decreased abundance of detected metabolites organized by compound class between the RP (n = 20) and the CCP (n = 68; fold change of RP/CCP). Eight compounds exhibited significantly lower abundance while one compound showed significantly higher abundance during the RP.

Table 4.2. Biological significance of metabolites observed to have significantly increased or decreased between the RP and the CCP

| Metabolite Class | Significantly Increased or Decreased (RP/CCP) | Metabolite | Biological Significance a |
| --- | --- | --- | --- |
| Amino acids (metabolism, precursors, derivatives) | Decreased | Glutamine | - Important non-essential amino acid - Synthesized by skeletal muscle |
|  | Decreased | Methionine | - Sulfur-containing amino acid indicative of oxidative stress at high concentrations |
|  | Increased | N-acetylornithine | - Primary metabolite commonly found in food sources (e.g., wheat) - Precursor to the urea cycle |
|  | Decreased | Phenylalanine | - Essential amino acid that acts as a toxin at high concentrations - Used in the synthesis of proteins |
|  | Decreased 2 | Alanine | - Highly concentrated in muscle - Functions as a major energy source and regulator of glucose metabolism |
|  |  | Sarcosine | - Often detected in muscle - Metabolic product of creatine |
|  | Decreased | Creatine | - Generally found in skeletal muscle - Needs methionine as a catalytic precursor - Metabolizes to energy products, urea, or sarcosine |
| Nucleosides/nucleotides | Decreased | Uridine | - High levels associated with diet supplementation |
| Unclassified metabolites | Decreased | Uric acid | - Final product of purine metabolism - Metabolic precursor to allantoin - Potentially a toxic metabolite and is often excreted |
|  | Decreased | Allantoin | - Metabolic byproduct of uric acid - Indicator of oxidative stress |

a Biological significance gathered from the Human Metabolome database (https://hmdb.ca/ (accessed on 31 July 2022); 122), the Livestock Metabolome database (https://lmdb.ca/ (accessed on 31 July 2022); 123), and Kyoto Encyclopedia of Genes and Genomes (KEGG) database (https://www.genome.jp/kegg/ (accessed on 31 July 2022); 124-126). 2 These metabolites cannot be differentiated via the employed method; therefore, it is unknown whether they both decrease or singly decrease.

during the RP, it is theorized that the equine subjects are likely experiencing less oxidative stress due to these compounds acting as a defense against free radical species or their production at lower rates as their biological need to dissolve the radical species is lessened.

Similarly, phenylalanine appeared in higher abundance in equine during the CCP. Despite phenylalanine’s proteinogenic properties, it serves as a toxic metabolite when found at chronically high concentrations. As this compound is an essential amino acid, an overall reduction in this compound’s abundance during the RP may indicate an increase in health as this amino acid is potentially shunted to upregulate protein synthesis.

### Metabolites regulated by skeletal muscle were altered between the CCP and RP

Creatine was found to be significantly higher in abundance during the CCP. This finding supports a similar study conducted in juvenile pigs, which revealed that creatine levels were more abundant during a state of malnourishment.96 This finding could be accredited to muscle wasting, a process in which muscle is broken down to be utilized for energy.127 It is theorized that muscle wasting may cause the release of creatine from the muscle cells into circulation, yielding higher plasma creatine levels in horses with lower body condition scores. It has been observed that creatine supplementation does not significantly increase plasma creatine level, furthering the notion that increased plasma creatine abundance in horses during the CCP is due to muscle wasting.128 As previously mentioned, methionine (a catalytic precursor of creatine) was also found in lower abundance in horses during the RP.

Glutamine is an important non-essential amino acid highly expressed in skeletal muscle, similar to that of creatine. Approximately 90% of all glutamine synthesized is via skeletal muscle; it is then transferred to the blood, where it represents the most abundant free amino acid.121 Interestingly, this amino acid was present in lower abundance during the RP. Low levels of glutamine are often associated with disease, as consistent levels are required for proper function of many metabolic processes and organs (brain, lungs, gut, immune system, skeletal muscle, kidney, etc.). With this information and the observation that other toxic metabolites appear to decrease during the RP, it is more likely that glutamine levels are decreased in equine with higher BCS’s due to high utilization by the system for other biological processes.

In addition to creatine, two metabolites commonly associated with skeletal muscle (alanine and sarcosine) were detected. The methods of detection utilized in this study were unable to differentiate these two isomeric compounds, yet a notable feature was detected either representing the isomers together or separately. In the event this feature is significantly changed due to a decrease in sarcosine (a product of creatine), a simple ex-planation of decreased abundance of precursors during the RP may be offered. Though, an alternative hypothesis is that muscle wasting and oxidative stress were overall less prevalent during the RP, resulting in decreased sarcosine abundance. Regardless, this cascade of metabolites was important to the discernment of the CCP and RPs. However, the metabolic feature associated with this finding is more likely due to the presence of alanine, as this amino acid is one of the more highly abundant amino acids found in plasma and is known to be found in higher concentrations than sarcosine.129, 130 There are many theories as to why alanine was present in higher abundance during the CCP (including muscle wasting), but perhaps the most compelling is that of the shift in energy metabolism during starvation coordinated by metabolic crosstalk between skeletal muscle and the liver.131 Gluconeogenesis, glycogenolysis, glycolysis, and protein break-down all retain the common factor alanine transaminase, an enzyme that produces ala-nine partly to prevent skeletal muscle from accumulating toxic nitrogenous products and to produce hepatic glucose.131 Thus, this offers an alternative to glucose homeostasis and energy metabolism.131 Alanine levels have also been observed to increase in equine during and after exercise (i.e., when energy requirements change), which may mimic that of starvation.129 Perhaps alanine was observed in greater abundance during the CCP due to high production amounts to satisfy the need of energy metabolism via hepatic pathways; yet, additional metabolites detected in this study provide evidence that hepatic function may be compromised, resulting in a build-up of this alternative energy product.

### Significant differences were observed in metabolites related to liver and kidney function during the CCP and RPs

During the RP, uric acid, allantoin, and uridine were found in lower abundance while N-acetylornithine was found to be significantly increased. Uric acid is a purine derivative synthesized in the liver and, in excess amounts, is converted to allantoin, which is then filtered and excreted by the kidneys.132 In mammals, allantoin reflects an end-point of purine metabolism, unless it is shunted through the glyoxylate or glycine, serine, and threonine metabolism pathways.124-126 The observation of altered levels of allantoin could be attributed to kidney function; starved, malnourished horses may experience kidney disfunction due to a lack of nutrients and resources, which prevent the ability of the kidneys to filter allantoin from the body. However, because uric acid is a precursor to allantoin and is not utilized in other metabolic processes (other than bile secretion), decreased levels of this compound indicate that it is being produced at a lower rate, yielding a lower rate of allantoin production.124-126 Perhaps this is due to a lessened biological need for purine degradation, as these molecules are being directed to other pathways and are not present in excess.

Like uric acid and allantoin, uridine, a pyrimidine nucleotide important to RNA synthesis, is synthesized in the liver and excreted by the kidneys, if not catabolized.133 Similar hypotheses exist for uridine as uric acid and allantoin. Lower levels are possibly detected during the RP as RNA is synthesized at a higher rate (i.e., less excess pyrimidine), which may indicate an increase in liver function. Yet, it’s also likely that uridine is better excreted by the kidneys during this phase, resulting in lower plasma levels.

The only metabolite found to be in higher abundance during the RP was that of N-acetylornithine, a small molecule involved in the biosynthesis of amino acids and a precursor to the urea cycle during arginine biosynthesis.124-126 Endogenous arginine synthesis and the urea cycle primarily occur in the kidneys.134 Because N-acetylornithine was the only significantly altered metabolite involved in this cascade (arginine, citrulline, and ornithine fold changes were not statistically different), increased production and subsequent utilization in the cycle is less likely than a build-up due to non-use. Isomers of N-acetylornithine have been detected in high concentrations in various food sources, such as wheats and some fruits and vegetables. Thus, it is more likely that horses with higher BCSs that have undergone the refeeding process accumulate higher levels of N-acetylornithine in plasma from their diet.

### The plasma metabolome illuminates differences in equine subject-specific attributes

Partial least squares – discriminant analyses (PLS-DAs) allow complex data (i.e., metabolomics data) to be reduced to a simple three-dimensional scores plot, which clusters data based on variability between the samples.135 Using these plots, one can generate hypotheses as to potential differences in metabolomic profiles between groupings, as well as investigate the metabolites that drive those differences. A PLS-DA was performed on the metabolomics data (known metabolites and unidentified features) to investigate potential differences in metabolomic profiles between equine in the CCP vs. the RP. Comparison of features unique to these groups resulted in a clear separation (Figure 4.3). As the known metabolites represent only a small portion of the data presented here, unidentified features were included in this analysis as these features provide insight into metabolic processes that have not yet been well described and contribute to a global view of all characteristic data points in a sample, serving as an important component of metabolic pro-file. Data from these analyses, combined with statistical fold change analysis, suggest that differences in the metabolome can be observed for equine subjects in the CCP vs. those in the RP undergoing the refeeding process.

Metabolic profiles (including known metabolites and unidentified features) were compared using the variety of metadata provided within the study: diet (C vs. S), sex (mare vs. gelding), and age group (below 20 years old vs. 20 years old and above). Analysis on breed specifications were not conducted due to low replicates (e.g., only one equine subject was of the Standardbred breed). PLS-DAs comparing diet, sex, and age group showed distinct groupings (Figure 4.4). Features were evaluated using a t-test and yielded 127, 157, and 40 statistically significant compounds (p value ≤ 0.1) for diet, sex, and age comparisons, respectively (Appendix C Table 4, Appendix C Table 5, and Appendix C Table 6).

Statistically significant differences between specific metabolites and metabolic pro-files were observed between the CCP and RP for ten equine subjects of various sex, age, breed, and origin. Differences were evident between designated diet, mares and geldings, as well as age group (below 20 years old and above 20 years old); yet, these differences were not evident in the analysis of the CCP vs. RP (e.g., sex-specific clusters were not evident in the CCP vs. RP discriminant analysis), indicating that these subject-specific attributes did not affect the conclusion that the metabolomic profiles of horses undergoing the refeeding process were statistically different.

As diet played an essential role in the current study, an analysis to determine potential differences in metabolomic profiles in equine assigned to a particular diet was conducted. Various statistical analyses suggest perturbations in metabolism with respect to diet. In the event of a negative energy balance (e.g., in the case of malnourishment), particular care is placed on diet such that the subject can consume and digest nutrients without inducing refeeding syndrome or overfeeding (i.e., the process of introducing

Figure 4.3. PLS-DA containing known metabolites and unidentified features detected during the CCP (n = 68) and RP (n = 20). The resulting plot shows separation between the groupings, indicating differences in the equine metabolomic profile during the CCP and the RP.

Figure 4.4. PLS-DAs of known metabolites and unidentified features detected in the metabolomes of all horses that were enrolled in the refeeding program grouped by A) diet (C vs. S), B) sex (mare vs. gelding), and C) age group (below 20 and 20 and above). Sample sizes used for PLS-DAs were as follows C: n = 52; S: n = 36; mare: n = 59; gelding: n = 29; below 20: n = 45; 20 and above: n = 43. Venn Diagram (D) displaying similarities and differences between features in each grouping.

nutrients in excess such that metabolic homeostasis cannot be maintained.134 Over-feeding may result in further metabolic damage, particularly in the liver and kidneys, both major organs which have shown to be impaired during the CCP in the current study. Thus, diets for malnourished equine must be carefully tailored to slowly reintroduce nutrients in a manner such that further metabolic damage is not inflicted. Though an in-depth analysis of the effects of a particular diet or set of nutrients on equine outcome was not within the scope of this study, it is worth noting the differences observed in the global metabolome in this study; further investigation is required to determine the detailed effects of diet and nutrients that cause this separation.

With advances in equine feed that cater to aging horses, the average lifespan of the equid is increasing, which has prompted a surge in research devoted to older horses (i.e., horses 20 years old and above).136 For this reason, an analysis to evaluate the metabolome of younger vs. older horses in the present study was conducted and resulted in clear differences between the two groups. The amount of metabolites that drove this distinction was not as prominent as other comparisons (i.e., diet and sex), though various statistical tests support perturbations based on age group. It is theorized that many metabolic factors may play a role in this age-based separation, including alterations in muscle fiber type and renal function.136 Similar to effects from diet, further studies are warranted to establish clear relationships between the aging horse and metabolism.

It is important to note that the analysis of the metabolome provides a biochemical snapshot of the metabolic state for the system, which is highly complex. For this reason, it is not surprising that attributes such as diet, sex, and age affect metabolic profiles. Moreover, these attributes contribute diversity to the study of the impacts of refeeding to gain a better understanding of caring for malnourished equine.

### The equine lipidome during the CCP indicates oxidative stress and organ failure

Lipid profiles in mammals, especially young children, have shown to be remarkable indicators of malnutrition.137, 138 Because serum NEFA levels were elevated during the CCP, it was suspected that, even in plasma, perturbations would be observed in other lipid classes as an indicator of emaciation. Pooled samples of the CCP and RP were subjected to lipidomic analysis and results include both known lipids (via fragmentation matching) as well as unidentified lipid features.

A PLS-DA of the lipid profiles between the CCP and RP indicates the lipidome of each group is significantly different (Figure 4.5A). Additionally, a volcano plot illustrates that 94 features were statistically upregulated (or more abundant) in the CCP and 51 features were significantly more abundant in the RP (Figure 4.5B). Upon evaluation of these significant features, it is clear that more unidentified lipid features were present in the CCP while many known lipids (i.e., phospholipids and lysophosopholipids) were important in the RP (Appendix C Table 7). Although blood chemistry analyses did not find TRIG (or TG) plasma levels to be statistically different, lipidomics data revealed that this lipid class, along with ether phosphatidyl choline (PC-O) lipids, were important drivers in the difference between the CCP and RP lipidomes. Higher levels of TRIGs are often indicators of metabolic disorders due to obesity, but may also be linked to pancreatitis and organ failure.139 Ether lipids, including PC-Os, function as antioxidants; their increased prevalence during the CCP indicates that the equine was undergoing oxidative stress, further supporting metabolomics data.140 It was expected that equine in the CCP would exhibit signs of lipid peroxidation due to oxidative stress, though, no oxidized lipids were detected in either group. Regardless, the large number of unidentified lipids in the CCP compared to the RP is peculiar and suggests that these features may be lipid-like products of oxidative stress that cannot be matched to databases as they have not yet been annotated and/or characterized.

Figure 4.5. A) PLS-DA and B) volcano plot illustrating significant differences in lipidome profile between CCP and RP.

## Conclusions

Comparison of the equine metabolome during a state of malnourishment versus rehabilitation illuminated significant differences that provide essential biological insight to the process of refeeding the emaciated horse. After commencement of the refeeding process (i.e., during the RP), a decrease in potentially toxic metabolites was observed, metabolic alterations suggesting increased liver and kidney function were shown, and metabolite changes related to muscle gain/repair and changing energy demands were evident. Blood chemistry panels also showed statistical differences between analyte abundance between the CCP (i.e., state of malnourishment) and the RP, further indicating improper liver and kidney function during the CCP. The combination of blood chemistry and metabolomics analyses on the equine subjects in this study provided essential insight to the biological processes that are influenced when rehabilitating the malnourished horse. Despite differences observed between the metabolome with respect to subject-specific attributes (i.e., diet, sex, and age group), a clear discernment between the metabolome unique to the CCP and RP were observed, providing evidence that the refeeding process has a profound impact on equine rehabilitation.

## Experimental section

### Equine enrollment

Ten light breed horses aged 19 ± 3 years were enrolled into the study over a three-month period (Table 3). Horses for the study were obtained from three outlets: (1) in cooperation with the Tennessee Department of Agriculture (TDA) and the Tennessee State Veterinarian by owner surrender as a result of neglect cases, (2) purchased from public auction, and (3) private owner surrender. Enrollment criteria included: (1) BCS of 2 or less94, (2) light breed mares or geldings, and (3) apparent good health, aside from malnourishment, as defined by temperature, pulse and respiration rates within normal limits, and no evidence of coughing or nasal discharge at the time of enrollment. Due to the nature of horse acquisition and enrollment, previous diet history on each horse could not be acquired. All study procedures were approved by the University of Tennessee Institutional Animal Care and Use Committee (Protocol #2811-1220).

### Study timeline and sample collection

The first ten days of the study were labeled as the critical care period (CCP). During this period, horses were housed and maintained at the University of Tennessee College of Veterinary Medicine (UTCVM; Knoxville, TN, USA) where their initial health status was evaluated by a veterinarian and a Coggins test was performed. Blood samples were collected from the jugular vein on the day of intake and every other day thereafter. Weekly, horses’ BCS were assessed by two individual, trained reviewers.89 Vital signs including temperature, pulse, respiration, capillary refill time, and skin tent were assessed every 12 hours during the CCP to monitor horses for disease onset and overall health status in compliance with UTCVM policy. If horses displayed signs of potential infection, a respiratory swab was performed to check for Equine Herpes Virus (EHV), Strangles, and

Table 4.3. Available metadata for equine subjects enrolled in the refeeding program.

| Subject Identifier | Sex | Breed | Approximate Age (Years) |
| --- | --- | --- | --- |
| A | Mare | Quarter Horse | 19 |
| A2 | Mare | Tennessee Walking Horse | 22 |
| B | Mare | Appendix | 20 |
| C | Mare | Quarter Horse | 20 |
| D | Mare | Tennessee Walking Horse | 20 |
| E | Mare | Quarter Horse/Arabian | 18 |
| F | Gelding | Appendix | 16 |
| G | Gelding | Appendix | 23 |
| H | Mare | Standardbred | 15 |

Influenza. If horses tested positive for any of these diseases, attending veterinarians worked in conjunction to provide care and treatment while maintaining refeeding protocols. Body weight (BW) was assessed daily using a commercially available equine scale (Optima, Rancho Cucamonga, CA, USA).

The remainder of the study duration (days 10–165) was designated as the recovery period (RP). During the RP, horses were housed and maintained at either UTCVM, the University of Tennessee Veterinary Research and Education Center (VREC; Knoxville, TN, USA), or at Middle Tennessee Research and Education Center (MTREC; Spring Hill, TN, USA), based on housing availability. Horses were always moved as a cohort, and at least six days of acclimatization was allowed before the next sampling period. Before transportation, all horses tested negative for infectious diseases.

Weekly BW measurements were taken throughout the duration of the study. Every two weeks, BCS was evaluated by two independent trained reviewers for each horse and jugular venipuncture blood samples were collected at each BCS increase. Fecal samples and respective fecal float and centrifugation tests were performed on Day 14 and horses were dewormed based on fecal test results. Horses were determined to progress to the next BCS when all reviewers agreed that the next BCS was reached, and a weight gain of 16–20 kg from the previous BCS was achieved.141, 142 If horses reached a BCS of 4 before the end of the rehabilitation period, final measurements and samples were taken prior to study disenrollment. Plasma blood samples were maintained on ice until centrifugation at 3000× g for 10 min. Serum blood samples were allowed to clot overnight and then centrifuged at the same speed and duration. All aliquots were stored at −80 °C until analysis.

### Diet formulation

Upon enrollment, each horse was randomly assigned one of two diet groups for the duration of the study: control (C) diet which consisted of timothy hay and a commercially available vitamin mineral product (Purina Free Balance) where diets were formulated to meet DE requirements from forage alone; and senior (S) diet, in which 50% of DE requirements were provided from a commercially available complete feed, and the remaining 50% provided by timothy hay (Table 4.4). Diets were formulated to be isocaloric and meet daily National Research Council (NRC) nutrient requirements for mature horses weighing under 600 kg.

The refeeding diet protocol was established based on previously published methods.91, 143 During the CCP, from day of intake until Day 3, horses were fed 50% of daily digestible energy (DE) requirements split into six feedings. On Days 4 and 5, feeding amount increased to provide 75% of daily DE requirement over six feedings. On Days 6 to 10, horses were fed 100% of daily DE requirement over three different feedings.

Diets were formulated to provide adequate DE for 0.45 kg of BW gain per day. Initially, DE was increased to 125% of daily DE requirements based on weekly BW measurements. If horses did not gain weight at an appropriate rate for two consecutive BW measurements, DE was increased by 10%, to 135 or 145%, respectively.

Table 4.4. Nutrient analysis of forage of diet components

| Nutrient | Timothy Hay | Equine Senior | Free Balance Mineral |
| --- | --- | --- | --- |
| Digestible Energy (mCal/kg) | 1.95 | 2.7 | 0 |
| Protein (%) | 9.88 | 15.5 | 1.55 |
| Lysine (%) | 0.34 | 0.7 | N/A |
| Fat (%) | 1.29 | 6.2 | 0.1 |
| Acid Detergent Fiber (%) | 39.50 | 22.54 | N/A |
| Neutral Detergent Fiber (%) | 62.23 | 38.89 | N/A |
| Calcium (%) | 0.21 | 0.77 | 13.52 |
| Phosphate (%) | 0.27 | 0.55 | 12.66 |
| Potassium (%) | 2.39 | 1.6 | 0.66 |

### Blood chemistry analysis

Plasma and serum chemistry quantitative values (Table 4.5) were determined via photometric absorbance values utilizing a COBAS C311 analyzer under guidelines determined by the manufacturer and utilizing approved reagent and standards (Roche, Switzerland).

### Metabolomics extractions

The metabolomics extraction procedure was adapted from Rabinowitz and Kimball.82 Briefly, 100 µL of plasma was mixed with 1.3 mL of chilled extraction solvent (4:4:2 acetonitrile:methanol:water with 0.1% formic acid) in an Eppendorf tube and allowed to extract for 20 min at −20 °C. Samples were centrifuged and the supernatant was pooled into a separate glass vial. To the solution remaining in the Eppendorf tube, 200 µL of ex-traction solvent was added, the mixture was vortexed, and allowed to extract for 20 min at −20 °C. Samples were then centrifuged, and the supernatant was pooled into the glass vial with the supernatant from the first extraction. Pooled samples were dried under ni-trogen and resuspended in 300 µL of water prior to mass spectrometric analysis.

### Ultrahigh performance liquid chromatography mass spectrometry high resolution mass spectrometry (UHPLC-HRMS)

The metabolomics analyses were conducted at the Biological and Small Molecule Mass Spectrometry Core at the University of Tennessee Knoxville (Knoxville, TN, USA). The sample extractions, chromatographic separations, and mass spectral analyses were performed according to an established method using UHPLC-HRMS.144 The collected metabolomes were stored at 4 °C in an UltiMate 3000 RS autosampler (Dionex, Sunnyvale, CA, USA) until analyses were performed. All chromatographic solvents used were HPLC grade (Fisher Scientific, Hampton, NH, USA). Reverse phase separations were carried out using a Synergi 2.6 µm Hydro RP column (100 mm × 2.1 mm, 100 Å; Phenomenex, Torrance, CA, USA) and an UltiMate 3000 pump (Dionex, Sunnyvale, CA, USA). The chromatography utilized a 25-minute binary gradient elution using a 97:3 water:methanol mixture with added 10mM tributylamine and 15 mM acetic acid (mobile phase A) and 100% methanol (mobile phase B). The flow was set to 0.200 mL/min, and the gradient was as follows: 20% B at 5 min, 55% B at 13 min, 95% B at 15.5 min, 0% B from 19 to 25 min. The separated metabolites were ionized via negative mode electrospray ionization prior to analysis on an Exactive Plus Orbitrap MS (Thermo Scientific, San Jose, CA, USA). The resolution of the mass spectrometer was set to 140,000 with an automatic gain control setting of 5 × 105 and injection time of 100 milliseconds. The sheath, auxiliary, and sweep gases were set to 25, 8, and 3 arbitrary units, the spray voltage was 3.5 kV, and the capillary temperature was 320 °C.

### Data analysis

Descriptive statistics for refeeding parameters were assessed using STATA SE (ver-sion 16.1, StataCorp, College Station, TX, USA).

To evaluate the known metabolites, raw data collected by the instrument were

Table 4.5. Measured parameters for blood plasma and serum

| Analyte | Abbreviation | Units | Matrix |
| --- | --- | --- | --- |
| Lactate dehydrogenase | LDH | U/L | Plasma/serum |
| Alkaline phosphatase | ALP | U/L | Plasma/serum |
| Albumin | ALB | g/dL | Plasma/serum |
| Blood urea nitrogen | BUN | mg/dL | Plasma/serum |
| Gamma-glutamyl transferase | GGT | U/L | Plasma/serum |
| Aspartate amino transferase | AST | U/L | Plasma/serum |
| Glucose | GLUC | mg/dL | Plasma/serum |
| Phosphate | PHOS | mg/dL | Plasma/serum |
| Total protein | TP | g/dL | Plasma/serum |
| Alanine transaminase | ALT | U/L | Plasma/serum |
| Creatinine | CREAT | mg/dL | Plasma/serum |
| Triglycerides | TRIG | mg/dL | Plasma/serum |
| Creatine kinase | CK | U/L | Serum only |
| Non-esterified fatty acids | NEFA | mEq/L | Serum only |
| Serum calcium | SCA | mg/dL | Serum only |

converted to .mzML files via MSConvert (ProteoWizard). Features were then picked using an in-house library in EL-MAVEN based on exact mass (5 ppm) and retention time (± 0.5 min). Unidentified features were evaluated via Metaboanalyst 5.0.145 Spectra in the form of .mzML files were compressed, uploaded to Metaboanalyst, and processed using the Auto-optimized feature in the LC-MS Spectra Processing module. As some batch effects were observed, features that were found to significantly vary (p value < 0.05) between batches based on an analysis of variance (ANOVA) were removed to lessen the chance of false statistical assumptions; this resulted in analysis of 26 known metabolites and 459 unidentified features. Heatmaps were generated using R with a custom script. Known and unidentified features were uploaded to Metaboanalyst for statistical analyses and visualization using the following parameters: features with missing values (< 25%) replaced by one-fifth of the minimum positive value, normalized by sum, and log trans-formed. All other statistical analyses (e.g., partial least squares discriminant analyses or PLS-DAs) were performed using Metaboanalyst. Venn Diagrams were created using an in-house Python script.

Equine bloodwork was statistically evaluated in Metaboanalyst by performing 2-sample unpaired, equal group variance t-tests between various groupings (CCP vs. RP, diet, sex, and age group) using the same normalization and transformation procedure as metabolomics data. Box plots were generated using an in-house Python script.

Statistical conclusions based on p values were categorized as follows: p values of ≤0.01, ≤0.05, and ≤0.1 reflect statistical assumptions made with confidence intervals of 99%, 95%, and 90%, respectively.

## Appendix C

Appendix C Table 1. Metaboanalyst results from T-Test comparisons between CCP and RP for blood chemistries (plasma)

| Analyte | t.stat | p.value | FDR |
| --- | --- | --- | --- |
| CREAT | -2.0819 | 0.04051 | 0.28524 |
| ALB | -2.0757 | 0.041096 | 0.28524 |
| LDH | -1.899 | 0.061123 | 0.28524 |
| AST | -1.6905 | 0.094774 | 0.33171 |

Appendix C Figure 1. Box plots of blood serum data conveying the differences between the CCP and RP. Asterisks represent statistical significance (p value ≤ 0.1 = *; p value ≤ 0.05 = **; p value ≤ 0.01 = ***). LDH: lactate dehydrogenase (p value 0.07), U/L; ALP: alkaline phosphatase, U/L; ALB: albumin (p value 0.06), g/dL; BUN: blood urea nitrogen, mg/dL; GGT: gamma-glutamyl transferase, U/L; AST: aspartate amino transferase, U/L; TP: total protein, g/dL; GLUC: glucose, mg/dL; PHOS: phosphate, mg/dL; ALT: alanine transaminase, U/L; CREAT: creatinine (p value 0.08), mg/dL; TRIG: triglycerides, mg/dL; CK: creatinine kinase, U/L; NEFA: non-esterified fatty acids (p value 0.006), mEq/L; SCA: serum calcium, mg/dL

Appendix C Table 2. Metaboanalyst results from T-Test comparisons between groups

| Diet (C vs. S) for blood chemistries (plasma) | Analyte | t.stat | p.value | FDR |
| --- | --- | --- | --- | --- |
|  | BUN | -3.1391 | 0.002364 | 0.033102 |
|  | Phos | -2.7717 | 0.006916 | 0.048412 |
|  | TP | -2.3217 | 0.022765 | 0.10624 |
|  | ALB | -1.9277 | 0.057404 | 0.16412 |
|  | GLUC | -1.8552 | 0.067205 | 0.16412 |
|  | LDH | -1.8339 | 0.070336 | 0.16412 |
| Sex (mare vs. gelding) for blood chemistries (plasma) | CREAT | 2.8082 | 0.006241 | 0.047123 |
|  | Phos | 2.7092 | 0.008228 | 0.047123 |
|  | ALB | 2.6343 | 0.010098 | 0.047123 |
| Age group (below 20 vs. 20 and above) for blood chemistries (plasma) | Phos | -3.7581 | 0.000322 | 0.004503 |
|  | ALB | -3.1685 | 0.002162 | 0.015134 |
|  | LDH | -2.4968 | 0.01456 | 0.067946 |
|  | TP | -2.0713 | 0.041513 | 0.14528 |
|  | ALT | 1.9732 | 0.051884 | 0.14528 |
|  | BUN | -1.7888 | 0.077386 | 0.18057 |
| Diet (C vs. S) for blood chemistries (serum) | BUN | -2.5498 | 0.012687 | 0.10881 |
|  | PHOS | -2.5235 | 0.013601 | 0.10881 |
|  | TP | -2.1816 | 0.032076 | 0.17107 |
|  | ALT | 2.026 | 0.0461 | 0.1844 |
|  | SCA | -1.867 | 0.065564 | 0.2098 |
|  | ALB | -1.7397 | 0.085757 | 0.22868 |
| Sex (mare vs. gelding) for blood chemistries (serum) | PHOS | 3.1301 | 0.00244 | 0.022982 |
|  | ALB | 3.0758 | 0.002873 | 0.022982 |
|  | CREAT | 2.9336 | 0.00437 | 0.023309 |
|  | TRIG | 2.2569 | 0.026744 | 0.10698 |
|  | SCA | 1.8891 | 0.062502 | 0.20001 |
|  | CK | 1.6753 | 0.097773 | 0.22348 |
| Age group (below 20 vs. 20 and above) for blood chemistries (serum) | PHOS | -3.6473 | 0.00047 | 0.007525 |
|  | ALT | 3.194 | 0.002008 | 0.012152 |
|  | ALB | -3.1526 | 0.002279 | 0.012152 |
|  | SCA | -2.1607 | 0.033709 | 0.11742 |
|  | TP | -2.0545 | 0.043193 | 0.11742 |
|  | CK | -1.978 | 0.051371 | 0.11742 |
|  | LDH | -1.7817 | 0.078587 | 0.15717 |

Appendix C Table 3. Fold change analysis for RP compared to CCP (RP/CCP) for metabolomics data

| Metabolite | Fold change (RP/CCP) | p.value |
| --- | --- | --- |
| alpha-Ketoglutarate | 0.724568 | 0.196767 |
| Uric acid | 0.598083 | 0.078713 |
| Indoleacrylate | 0.631762 | 0.2454 |
| Allantoin | 0.372438 | 0.009124 |
| Uridine | 0.542886 | 0.036214 |
| S-Adenosyl-L-methioninamine | 0.97674 | 0.93986 |
| Xylose | 0.770332 | 0.115634 |
| Taurine | 0.668531 | 0.197207 |
| Arginine | 0.892785 | 0.491743 |
| Tryptophan | 1.045125 | 0.743274 |
| Serine | 0.774025 | 0.214143 |
| Creatine | 0.295335 | 0.001054 |
| Citrulline | 1.166122 | 0.518447 |
| Alanine/Sarcosine | 0.461614 | 0.002627 |
| Valine/betaine | 0.687569 | 0.201204 |
| Tyrosine | 0.828572 | 0.362614 |
| Proline | 0.888966 | 0.530212 |
| Phenylalanine | 0.681895 | 0.098501 |
| Ornithine | 1.056064 | 0.83341 |
| Cystine | 0.988447 | 0.96667 |
| N-Acetylornithine | 3.842559 | 0.000283 |
| Methionine | 0.545381 | 0.03917 |
| Homoserine/Threonine | 0.774824 | 0.297029 |
| Glutamine | 0.611119 | 0.085949 |
| Cystathionine | 0.777079 | 0.10732 |
| Creatinine | 0.911952 | 0.63489 |

Appendix C Table 4. Metaboanalyst results from T-Test comparisons between diet (C vs. S) for metabolites

| Metabolite | t.stat | p.value | FDR |
| --- | --- | --- | --- |
| N-Acetylornithine | 3.5499 | 0.000628 | 0.14928 |
| 254.1395 | -3.3856 | 0.001072 | 0.14928 |
| Taurine | 3.3077 | 0.001374 | 0.14928 |
| 380.2437 | -3.2342 | 0.001732 | 0.14928 |
| 199.1335 | -3.1841 | 0.002022 | 0.14928 |
| 243.1234 | -3.1719 | 0.0021 | 0.14928 |
| Glutamine | 3.1629 | 0.002159 | 0.14928 |
| 261.1339 | -3.1014 | 0.002605 | 0.15759 |
| Cystine | 3.0386 | 0.003148 | 0.16928 |
| 449.2626 | -2.9641 | 0.003926 | 0.19004 |
| Citrulline | 2.9155 | 0.004528 | 0.19922 |
| 459.3049 | -2.8684 | 0.005189 | 0.20929 |
| S-Adenosyl-L-methioninamine | 2.835 | 0.005712 | 0.21265 |
| Ornithine | 2.799 | 0.006328 | 0.21338 |
| 414.3332 | -2.7264 | 0.007758 | 0.21338 |
| 211.1336 | -2.6854 | 0.008692 | 0.21338 |
| Methionine | 2.6707 | 0.00905 | 0.21338 |
| 336.1812 | 2.661 | 0.009296 | 0.21338 |
| 326.2331 | 2.647 | 0.009659 | 0.21338 |
| Homoserine/Threonine | 2.6369 | 0.009927 | 0.21338 |
| 238.1445 | 2.623 | 0.01031 | 0.21338 |
| 361.2703 | 2.6217 | 0.010346 | 0.21338 |
| 432.2746 | -2.616 | 0.010508 | 0.21338 |
| 384.2386 | -2.6134 | 0.010581 | 0.21338 |
| 270.2072 | -2.5864 | 0.011381 | 0.21515 |
| 216.16 | -2.5745 | 0.011749 | 0.21515 |
| 243.1233 | -2.5655 | 0.012035 | 0.21515 |
| Uridine | 2.5486 | 0.012591 | 0.21515 |
| 252.1602 | -2.5397 | 0.012891 | 0.21515 |
| 329.2159 | -2.5107 | 0.013922 | 0.22232 |
| 142.1234 | -2.5021 | 0.014239 | 0.22232 |
| 271.2103 | -2.4569 | 0.016025 | 0.23216 |
| Valine/betaine | 2.4472 | 0.016431 | 0.23216 |
| alpha-Ketoglutarate | 2.4397 | 0.016753 | 0.23216 |
| 242.1112 | -2.424 | 0.017448 | 0.23216 |
| 229.1633 | -2.4113 | 0.018026 | 0.23216 |
| 369.2747 | 2.4044 | 0.018348 | 0.23216 |
| 356.2436 | -2.3987 | 0.018614 | 0.23216 |
| 252.1237 | -2.3968 | 0.018707 | 0.23216 |
| 408.2749 | -2.3444 | 0.021363 | 0.25257 |
| 356.2435 | -2.336 | 0.021816 | 0.25257 |
| Serine | 2.3268 | 0.022325 | 0.25257 |
| 286.2018 | -2.3236 | 0.022506 | 0.25257 |
| 501.3041 | -2.3006 | 0.023836 | 0.25257 |
| 222.1493 | -2.2982 | 0.023978 | 0.25257 |
| 268.1913 | -2.2977 | 0.024005 | 0.25257 |
| 413.265 | 2.2855 | 0.024741 | 0.25395 |
| 220.0975 | 2.2783 | 0.025185 | 0.25395 |
| 186.1495 | -2.2439 | 0.027405 | 0.26287 |
| 264.2157 | -2.2356 | 0.027967 | 0.26287 |
| 466.2911 | -2.229 | 0.02842 | 0.26287 |
| 151.0873 | -2.2189 | 0.029128 | 0.26287 |
| 188.1006 | -2.2177 | 0.02921 | 0.26287 |
| 202.1081 | -2.2113 | 0.029667 | 0.26287 |
| 209.004 | -2.2048 | 0.030139 | 0.26287 |
| 305.1754 | -2.201 | 0.030415 | 0.26287 |
| 217.0293 | 2.1636 | 0.033268 | 0.28249 |
| 369.2392 | -2.1363 | 0.035496 | 0.29566 |
| 477.3249 | -2.1299 | 0.036041 | 0.29566 |
| 392.2436 | -2.1171 | 0.037137 | 0.29957 |
| 140.0714 | -2.0935 | 0.039254 | 0.30601 |
| 209.1542 | -2.0773 | 0.040759 | 0.30601 |
| 191.0711 | -2.0773 | 0.04076 | 0.30601 |
| Alanine/Sarcosine | 2.074 | 0.041073 | 0.30601 |
| 306.1787 | -2.0705 | 0.0414 | 0.30601 |
| 116.9722 | -2.0639 | 0.042039 | 0.30601 |
| 251.1523 | -2.0549 | 0.04292 | 0.30601 |
| 307.1547 | 2.0542 | 0.042994 | 0.30601 |
| 374.9682 | 2.0362 | 0.044809 | 0.30867 |
| 175.0858 | -2.0327 | 0.045165 | 0.30867 |
| 215.1284 | -2.0239 | 0.046083 | 0.30867 |
| 270.1342 | -2.0239 | 0.046088 | 0.30867 |
| 322.2015 | -2.0169 | 0.046826 | 0.30867 |
| 125.7532 | -2.0135 | 0.047193 | 0.30867 |
| 146.8665 | -2.0066 | 0.047928 | 0.3093 |
| 334.2381 | -1.9782 | 0.051112 | 0.32114 |
| 369.1158 | 1.972 | 0.051823 | 0.32114 |
| 307.1581 | 1.9697 | 0.052093 | 0.32114 |
| 360.2578 | -1.9669 | 0.052417 | 0.32114 |
| 429.2963 | -1.9457 | 0.054958 | 0.32884 |
| 598.4149 | -1.9451 | 0.055034 | 0.32884 |
| 360.9761 | 1.9339 | 0.056414 | 0.33056 |
| 450.2857 | -1.9261 | 0.057392 | 0.33056 |
| 283.1029 | -1.9236 | 0.057707 | 0.33056 |
| 230.1756 | -1.9192 | 0.058277 | 0.33056 |
| 278.1756 | -1.9156 | 0.058736 | 0.33056 |
| 182.0818 | -1.9032 | 0.060365 | 0.33392 |
| 485.3228 | 1.8945 | 0.061516 | 0.33392 |
| xylose | 1.8919 | 0.061863 | 0.33392 |
| 309.2179 | -1.8902 | 0.062093 | 0.33392 |
| 228.16 | -1.8728 | 0.064488 | 0.34163 |
| 358.2423 | -1.867 | 0.065312 | 0.34163 |
| 446.2907 | -1.8646 | 0.065644 | 0.34163 |
| 305.2117 | -1.8416 | 0.068974 | 0.35514 |
| 248.9599 | -1.83 | 0.070719 | 0.35523 |
| 383.327 | -1.8259 | 0.071336 | 0.35523 |
| Indoleacrylate | 1.8233 | 0.07173 | 0.35523 |
| 627.5379 | -1.8182 | 0.072519 | 0.35523 |
| 242.1757 | -1.8173 | 0.072661 | 0.35523 |
| 320.2224 | 1.8114 | 0.073566 | 0.35606 |
| 170.0431 | 1.8027 | 0.074937 | 0.35664 |
| Phenylalanine | 1.7967 | 0.0759 | 0.35664 |
| 399.2857 | -1.7789 | 0.078797 | 0.35664 |
| 119.0347 | -1.7776 | 0.079007 | 0.35664 |
| 241.1079 | -1.7762 | 0.079235 | 0.35664 |
| 328.2124 | 1.7745 | 0.079512 | 0.35664 |
| 238.1081 | -1.7744 | 0.079538 | 0.35664 |
| 448.2698 | -1.7741 | 0.079581 | 0.35664 |
| 169.0866 | 1.7632 | 0.081417 | 0.3614 |
| 302.1966 | -1.759 | 0.082137 | 0.3614 |
| 250.1809 | -1.7359 | 0.086168 | 0.37278 |
| 318.2108 | -1.7353 | 0.086264 | 0.37278 |
| 338.2332 | -1.7261 | 0.087917 | 0.37562 |
| 334.2019 | -1.7076 | 0.091327 | 0.37562 |
| 370.2785 | -1.7037 | 0.092046 | 0.37562 |
| 135.0813 | -1.701 | 0.092548 | 0.37562 |
| 312.2174 | -1.6988 | 0.092981 | 0.37562 |
| 113.097 | -1.6911 | 0.094435 | 0.37562 |
| 255.1234 | -1.689 | 0.094848 | 0.37562 |
| 370.2589 | -1.6875 | 0.09514 | 0.37562 |
| 434.2542 | -1.6855 | 0.095511 | 0.37562 |
| Allantoin | 1.6844 | 0.095732 | 0.37562 |
| 418.2593 | -1.6805 | 0.096497 | 0.37562 |
| 231.179 | -1.678 | 0.09698 | 0.37562 |
| 371.2545 | -1.6757 | 0.097422 | 0.37562 |
| 381.2105 | -1.6739 | 0.097785 | 0.37562 |

Appendix C Table 5. Metaboanalyst results from T-Test comparisons between sex (mare vs. gelding) for metabolites

| Metabolite | t.stat | p.value | FDR |
| --- | --- | --- | --- |
| Creatine | -5.9958 | 4.63E-08 | 2.24E-05 |
| Cystine | -5.7997 | 1.08E-07 | 2.61E-05 |
| Alanine/Sarcosine | -5.5842 | 2.69E-07 | 3.81E-05 |
| Taurine | -5.547 | 3.15E-07 | 3.81E-05 |
| Serine | -5.3606 | 6.87E-07 | 5.91E-05 |
| Allantoin | -5.3451 | 7.32E-07 | 5.91E-05 |
| Glutamine | -5.286 | 9.35E-07 | 6.46E-05 |
| 165.128 | 5.1739 | 1.48E-06 | 8.95E-05 |
| Valine/betaine | -5.142 | 1.69E-06 | 9.07E-05 |
| Phenylalanine | -4.7807 | 7.15E-06 | 0.000346 |
| alpha-Ketoglutarate | -4.5786 | 1.57E-05 | 0.00069 |
| S-Adenosyl-L-methioninamine | -4.4384 | 2.67E-05 | 0.001079 |
| 213.1322 | 4.2656 | 5.10E-05 | 0.001836 |
| Homoserine/Threonine | -4.2546 | 5.31E-05 | 0.001836 |
| Uridine | -4.2359 | 5.69E-05 | 0.001836 |
| Tryptophan | -4.1614 | 7.47E-05 | 0.00226 |
| Indoleacrylate | -4.1338 | 8.26E-05 | 0.002352 |
| xylose | -4.0584 | 0.000108 | 0.002916 |
| 434.2542 | 3.8803 | 0.000204 | 0.005192 |
| Cystathionine | -3.8212 | 0.00025 | 0.005779 |
| Tyrosine | -3.8207 | 0.000251 | 0.005779 |
| Ornithine | -3.7736 | 0.000295 | 0.006492 |
| Methionine | -3.6992 | 0.00038 | 0.008005 |
| 198.1018 | 3.5296 | 0.000671 | 0.012935 |
| 188.1006 | 3.5254 | 0.00068 | 0.012935 |
| 330.2281 | 3.519 | 0.000695 | 0.012935 |
| 762.5618 | 3.5059 | 0.000726 | 0.013007 |
| Citrulline | -3.4081 | 0.000997 | 0.017238 |
| 230.1545 | 3.3378 | 0.001249 | 0.020815 |
| 229.1633 | 3.3277 | 0.00129 | 0.020815 |
| 334.202 | 3.3095 | 0.001367 | 0.02134 |
| 128.1079 | 3.2725 | 0.001536 | 0.023228 |
| 236.1652 | 3.2016 | 0.001916 | 0.028105 |
| 278.1756 | 3.1544 | 0.002216 | 0.031543 |
| 501.3041 | 3.1256 | 0.00242 | 0.033461 |
| 383.2779 | 3.0857 | 0.002731 | 0.036498 |
| 285.2177 | 3.0743 | 0.002827 | 0.036498 |
| 261.1339 | 3.0605 | 0.002947 | 0.036498 |
| 254.1395 | 3.0601 | 0.002951 | 0.036498 |
| 292.1745 | 3.0486 | 0.003054 | 0.036498 |
| 202.1081 | 3.0446 | 0.003092 | 0.036498 |
| 414.3332 | 2.9629 | 0.00394 | 0.045405 |
| 242.1757 | 2.954 | 0.004045 | 0.045526 |
| 292.1914 | 2.9366 | 0.004257 | 0.046823 |
| 305.1754 | 2.9216 | 0.004447 | 0.04747 |
| 311.205 | 2.9167 | 0.004512 | 0.04747 |
| 177.1328 | 2.8571 | 0.005361 | 0.055202 |
| Creatinine | -2.8446 | 0.005557 | 0.055519 |
| 360.2385 | -2.8406 | 0.005621 | 0.055519 |
| 199.0972 | 2.8309 | 0.005778 | 0.055927 |
| 459.3049 | 2.8075 | 0.006176 | 0.058613 |
| 264.1318 | 2.791 | 0.006472 | 0.060243 |
| 326.1969 | 2.7521 | 0.007221 | 0.065279 |
| 269.2118 | 2.749 | 0.007283 | 0.065279 |
| 271.2104 | 2.7397 | 0.007476 | 0.065788 |
| 395.1682 | 2.7325 | 0.007628 | 0.065925 |
| 295.0518 | 2.7152 | 0.008004 | 0.067183 |
| 257.1392 | 2.7131 | 0.008051 | 0.067183 |
| 306.1787 | 2.6971 | 0.008417 | 0.069045 |
| 270.2072 | 2.6862 | 0.008672 | 0.069957 |
| 177.0597 | 2.6555 | 0.009436 | 0.074872 |
| 231.179 | 2.6447 | 0.009717 | 0.075857 |
| 313.213 | 2.6237 | 0.010289 | 0.079049 |
| 175.0858 | 2.6078 | 0.010744 | 0.081248 |
| 116.9722 | 2.5868 | 0.011367 | 0.084638 |
| 343.2594 | -2.5781 | 0.011637 | 0.085335 |
| 203.1115 | 2.5371 | 0.01298 | 0.093768 |
| 382.2746 | 2.5238 | 0.013446 | 0.095703 |
| 252.1237 | 2.5161 | 0.013723 | 0.096259 |
| 135.0813 | 2.5021 | 0.01424 | 0.098459 |
| 386.291 | 2.4314 | 0.017115 | 0.11667 |
| 200.1288 | 2.4136 | 0.017919 | 0.12045 |
| 268.1913 | 2.4015 | 0.018483 | 0.12255 |
| 302.2332 | 2.394 | 0.018841 | 0.12296 |
| 322.2383 | 2.3896 | 0.019054 | 0.12296 |
| 175.1165 | 2.3784 | 0.019605 | 0.12485 |
| 422.2905 | 2.3731 | 0.01987 | 0.1249 |
| 277.1439 | 2.3291 | 0.022196 | 0.13543 |
| 398.2652 | 2.3274 | 0.022293 | 0.13543 |
| 202.1526 | 2.3258 | 0.022385 | 0.13543 |
| 248.9599 | 2.3145 | 0.023024 | 0.13758 |
| 137.0605 | 2.3009 | 0.023816 | 0.13996 |
| Uric acid | -2.2978 | 0.024001 | 0.13996 |
| 293.0486 | 2.2905 | 0.024442 | 0.14083 |
| 141.0166 | 2.2775 | 0.025239 | 0.14371 |
| 248.1651 | 2.2689 | 0.02578 | 0.1445 |
| 184.1702 | 2.2658 | 0.025975 | 0.1445 |
| 409.2419 | -2.2509 | 0.026943 | 0.14819 |
| 441.3327 | -2.2168 | 0.029276 | 0.15921 |
| 227.1479 | 2.2024 | 0.030313 | 0.16249 |
| 242.1112 | 2.198 | 0.030634 | 0.16249 |
| 228.16 | 2.1946 | 0.030886 | 0.16249 |
| 87.04483 | -2.1819 | 0.031847 | 0.16574 |
| 236.2016 | 2.1737 | 0.032477 | 0.16722 |
| 243.1233 | 2.1554 | 0.033921 | 0.17163 |
| 600.5022 | 2.154 | 0.034042 | 0.17163 |
| 446.2907 | 2.139 | 0.035271 | 0.17599 |
| 232.0134 | -2.126 | 0.036373 | 0.17964 |
| 386.2693 | 2.1128 | 0.037519 | 0.18343 |
| 463.317 | 2.0963 | 0.03899 | 0.18786 |
| 466.2911 | 2.094 | 0.039203 | 0.18786 |
| 448.2698 | 2.0789 | 0.040607 | 0.19061 |
| 225.1492 | 2.0758 | 0.040899 | 0.19061 |
| 411.2857 | 2.0752 | 0.040958 | 0.19061 |
| 262.1807 | 2.0474 | 0.043667 | 0.20128 |
| 196.0612 | 2.0406 | 0.044354 | 0.20252 |
| 127.001 | 2.0287 | 0.045582 | 0.20619 |
| 305.2117 | 2.0088 | 0.047693 | 0.21374 |
| 271.2103 | 1.9911 | 0.049641 | 0.22043 |
| 299.2053 | 1.9784 | 0.05109 | 0.22452 |
| 253.1441 | 1.9749 | 0.05149 | 0.22452 |
| 200.0536 | 1.9662 | 0.052501 | 0.22688 |
| 321.0795 | 1.9553 | 0.053792 | 0.2281 |
| 181.1231 | 1.9469 | 0.054805 | 0.2281 |
| 204.0914 | 1.9439 | 0.055178 | 0.2281 |
| 281.1863 | -1.943 | 0.055291 | 0.2281 |
| 461.3097 | 1.9426 | 0.055332 | 0.2281 |
| 238.1081 | 1.9404 | 0.055611 | 0.2281 |
| 202.0119 | 1.9337 | 0.056444 | 0.22957 |
| 263.1285 | 1.9211 | 0.058027 | 0.23404 |
| 339.1809 | 1.9106 | 0.059382 | 0.23753 |
| 187.0972 | 1.8881 | 0.062389 | 0.24751 |
| 356.2435 | 1.8838 | 0.062977 | 0.24781 |
| 322.2015 | 1.8795 | 0.063567 | 0.24812 |
| 145.014 | 1.8686 | 0.065086 | 0.25113 |
| 293.1867 | 1.8569 | 0.066754 | 0.25113 |
| 284.2053 | -1.8565 | 0.066811 | 0.25113 |
| 322.1322 | 1.8517 | 0.067502 | 0.25113 |
| 214.1443 | 1.8497 | 0.067798 | 0.25113 |
| 315.1922 | 1.8487 | 0.067944 | 0.25113 |
| 294.2067 | -1.8441 | 0.068609 | 0.25113 |
| 369.1158 | 1.8412 | 0.069035 | 0.25113 |
| 252.1602 | 1.8397 | 0.069265 | 0.25113 |
| 434.2542 | 1.8379 | 0.069527 | 0.25113 |
| 598.4149 | 1.8252 | 0.071438 | 0.25612 |
| 209.1542 | 1.8182 | 0.072515 | 0.25689 |
| 399.2857 | 1.8165 | 0.072771 | 0.25689 |
| 212.1652 | 1.8127 | 0.073364 | 0.25689 |
| 284.1498 | 1.8101 | 0.073778 | 0.25689 |
| 146.8665 | 1.806 | 0.07441 | 0.25724 |
| 329.2159 | 1.7804 | 0.078534 | 0.26865 |
| 194.9461 | 1.7759 | 0.079281 | 0.26865 |
| 238.1445 | 1.7754 | 0.079374 | 0.26865 |
| 266.1509 | 1.7435 | 0.084821 | 0.28346 |
| 87.04486 | 1.7429 | 0.084922 | 0.28346 |
| 278.1473 | 1.7386 | 0.085682 | 0.28404 |
| 370.2785 | 1.735 | 0.086325 | 0.28423 |
| 156.9904 | 1.7264 | 0.087858 | 0.28732 |
| 292.1551 | 1.7208 | 0.088879 | 0.28756 |
| 230.1756 | 1.7195 | 0.089121 | 0.28756 |
| 248.2016 | 1.7092 | 0.091019 | 0.29174 |
| 229.1439 | -1.6991 | 0.092919 | 0.29393 |
| 370.2589 | -1.6973 | 0.093247 | 0.29393 |
| 327.2366 | 1.6959 | 0.093524 | 0.29393 |
| 397.2702 | 1.69 | 0.094657 | 0.29557 |
| 361.2014 | 1.675 | 0.097564 | 0.3027 |

Appendix C Table 6. Metaboanalyst results from T-Test comparisons between age group (below 20 vs. 20 and above) for metabolites

| Metabolite | t.stat | p.value | FDR |
| --- | --- | --- | --- |
| Creatine | 4.8452 | 5.55E-06 | 0.002685 |
| Alanine/Sarcosine | 3.5068 | 0.000723 | 0.17503 |
| 181.1231 | -2.7932 | 0.006432 | 0.94452 |
| Methionine | 2.3907 | 0.019 | 0.94452 |
| Allantoin | 2.3768 | 0.019682 | 0.94452 |
| 135.0813 | -2.3649 | 0.020287 | 0.94452 |
| 87.04483 | 2.2813 | 0.025001 | 0.94452 |
| 285.1258 | 2.1792 | 0.032048 | 0.94452 |
| 238.1445 | 2.0992 | 0.038733 | 0.94452 |
| Uridine | 2.0911 | 0.039469 | 0.94452 |
| 250.1809 | 2.0403 | 0.044385 | 0.94452 |
| Homoserine/Threonine | 1.9935 | 0.049377 | 0.94452 |
| 202.1081 | -1.9614 | 0.053073 | 0.94452 |
| 248.2016 | -1.9523 | 0.05415 | 0.94452 |
| 279.2435 | 1.9481 | 0.054662 | 0.94452 |
| 397.2702 | -1.9272 | 0.057254 | 0.94452 |
| 293.1754 | -1.9191 | 0.058289 | 0.94452 |
| Indoleacrylate | 1.9185 | 0.058369 | 0.94452 |
| 380.2437 | -1.9146 | 0.058869 | 0.94452 |
| 199.0972 | 1.9143 | 0.058904 | 0.94452 |
| 294.2067 | -1.8887 | 0.062307 | 0.94452 |
| alpha-Ketoglutarate | 1.853 | 0.067316 | 0.94452 |
| 360.2385 | 1.8411 | 0.069059 | 0.94452 |
| 277.1805 | 1.8285 | 0.070937 | 0.94452 |
| 283.1029 | -1.8083 | 0.074053 | 0.94452 |
| 162.965 | -1.7913 | 0.076758 | 0.94452 |
| 292.1914 | -1.7761 | 0.079248 | 0.94452 |
| 231.179 | -1.7611 | 0.081783 | 0.94452 |
| 204.0914 | -1.7586 | 0.082207 | 0.94452 |
| 125.7532 | -1.7512 | 0.083474 | 0.94452 |
| 250.1444 | -1.7423 | 0.085038 | 0.94452 |
| 514.3166 | 1.7407 | 0.085315 | 0.94452 |
| 223.1335 | -1.7371 | 0.085958 | 0.94452 |
| N-Acetylornithine | -1.7341 | 0.086487 | 0.94452 |
| 299.2048 | 1.7182 | 0.089361 | 0.94452 |
| 330.2281 | -1.6951 | 0.093683 | 0.94452 |
| 271.2103 | -1.6888 | 0.094873 | 0.94452 |
| 311.2224 | -1.6809 | 0.096407 | 0.94452 |
| Tyrosine | 1.6773 | 0.097109 | 0.94452 |

Appendix C Table 7. Statistically significant features between CCP and RP lipid profiles. Blue features are more abundant in the CCP while red features are more abundant in the RP.

| Feature | Fold change | Raw p value |
| --- | --- | --- |
| Unknown-297.08447 | 0.001108 | 4.02E-05 |
| Unknown-393.29761 | 0.051082 | 0.096742 |
| Unknown-422.14059 | 0.074808 | 7.47E-05 |
| Unknown-297.13846 | 0.075972 | 0.006507 |
| Unknown-377.1424 | 0.086377 | 6.78E-05 |
| Unknown-197.12833 | 0.097359 | 0.00036 |
| Unknown-517.14807 | 0.12151 | 3.43E-05 |
| Unknown-424.15585 | 0.14949 | 0.000216 |
| Unknown-323.15436 | 0.15485 | 0.057681 |
| Unknown-540.14825 | 0.15492 | 0.000291 |
| Unknown-410.17609 | 0.15628 | 0.000113 |
| RIKEN N-VS1 ID-1238 from Mouse_Feces_WT_N_Ctr | 0.17075 | 0.000206 |
| Unknown-426.17126 | 0.17853 | 0.00012 |
| Unknown-846.89752 | 0.18549 | 0.024565 |
| RIKEN N-VS1 ID-1251 from Mouse_Feces_WT_N_Ctr | 0.18951 | 4.83E-05 |
| Unknown-888.94598 | 0.20176 | 0.006464 |
| Unknown-235.12328 | 0.20215 | 0.075996 |
| Unknown-860.91467 | 0.2404 | 0.014629 |
| Unknown-1294.36084 | 0.27739 | 0.009625 |
| Unknown-477.24973 | 0.28085 | 0.00132 |
| Unknown-355.01068 | 0.29402 | 0.033562 |
| Unknown-491.133 | 0.29652 | 0.000219 |
| Unknown-343.9949 | 0.29731 | 0.011111 |
| Unknown-902.95947 | 0.30527 | 0.025399 |
| Unknown-299.1543 | 0.31712 | 0.008038 |
| Unknown-229.15443 | 0.32556 | 0.001255 |
| Unknown-297.13837 | 0.32771 | 0.011736 |
| Unknown-1052.49683 | 0.34745 | 0.019316 |
| Unknown-400.1553 | 0.35597 | 0.001918 |
| Unknown-547.21802 | 0.36365 | 0.000202 |
| Unknown-448.3905 | 0.36855 | 0.001107 |
| Unknown-430.38022 | 0.37678 | 0.000775 |
| Unknown-818.86688 | 0.386 | 0.019491 |
| Unknown-315.13406 | 0.38821 | 0.002359 |
| Unknown-514.13281 | 0.392 | 0.002299 |
| Unknown-341.85742 | 0.39636 | 0.045501 |
| Unknown-204.12305 | 0.40842 | 0.001569 |
| Unknown-498.90146 | 0.41289 | 0.020315 |
| Unknown-702.21295 | 0.41359 | 0.033596 |
| Unknown-313.11942 | 0.42122 | 0.001983 |
| Unknown-477.83231 | 0.42981 | 0.021128 |
| Unknown-319.22208 | 0.43027 | 0.000507 |
| Unknown-583.25574 | 0.43946 | 0.022616 |
| TG 56:7¦TG 16:0_18:2_22:5, TG 56:7¦TG 16:0_18:2_22:5 | 0.44245 | 0.000172 |
| Unknown-419.31598 | 0.45536 | 0.057003 |
| DGCC 36:2 | 0.49395 | 0.037802 |
| RIKEN P-VS1 ID-13366 from Mouse_Brain_WT_N_F1 | 0.51855 | 0.016398 |
| Unknown-565.56635 | 0.53052 | 0.099544 |
| Unknown-546.81781 | 0.53096 | 0.002313 |
| Unknown-792.85852, Unknown-792.85852 | 0.5374 | 0.092172 |
| Unknown-565.56671 | 0.54028 | 0.093359 |
| Unknown-537.53546 | 0.54365 | 0.009476 |
| RIKEN N-VS1 ID-1263 from Mouse_Feces_WT_N_Ctr | 0.54459 | 0.006726 |
| Unknown-399.25012 | 0.55497 | 0.057774 |
| Unknown-293.04886 | 0.55809 | 0.021668 |
| PC O-38:6 | 0.57391 | 0.004185 |
| Unknown-998.28656 | 0.57656 | 0.021214 |
| Unknown-627.75818 | 0.57878 | 0.090869 |
| TG 56:8¦TG 16:0_18:3_22:5 | 0.58469 | 0.001867 |
| Unknown-210.88419 | 0.58502 | 0.060895 |
| Unknown-342.85458 | 0.59783 | 0.088596 |
| Unknown-772.27216 | 0.60068 | 0.003366 |
| TG 45:1¦TG 14:0_15:0_16:1 | 0.60951 | 0.097599 |
| Unknown-199.85077 | 0.61024 | 0.084656 |
| Unknown-846.29242 | 0.61165 | 0.018941 |
| TG 48:0¦TG 14:0_16:0_18:0 | 0.61232 | 0.081192 |
| Unknown-559.51721 | 0.61439 | 0.044989 |
| Unknown-593.59833 | 0.61664 | 0.00676 |
| Unknown-275.90616 | 0.61689 | 0.073528 |
| TG 48:0¦TG 16:0_16:0_16:0 | 0.61836 | 0.079363 |
| Unknown-168.83632 | 0.62037 | 0.02184 |
| Unknown-197.96317 | 0.62396 | 0.023411 |
| Unknown-316.94778, Unknown-316.94778 | 0.62615 | 0.022482 |
| Unknown-170.83336 | 0.62702 | 0.044653 |
| Unknown-920.30884 | 0.62833 | 0.020372 |
| Unknown-428.18759 | 0.62858 | 0.03675 |
| Unknown-225.06168 | 0.63152 | 0.023143 |
| Unknown-437.23965 | 0.63562 | 0.040528 |
| Unknown-294.93842 | 0.63875 | 0.049232 |
| Unknown-392.25433 | 0.6397 | 0.065832 |
| Unknown-582.59277 | 0.64512 | 0.046321 |
| Unknown-1368.38342 | 0.64746 | 0.040085 |
| Unknown-264.15945, Unknown-264.15945 | 0.64796 | 0.021455 |
| PC O-36:5¦PC O-16:1_20:4 | 0.64821 | 0.005693 |
| Unknown-520.90961, Unknown-520.90961 | 0.65014 | 0.029352 |
| TG 49:3;O¦TG 16:0_16:1_17:2;O | 0.65022 | 0.073929 |
| RIKEN P-VS1 ID-19012 from Mouse_Macrophage_WT_N_F1AA | 0.65039 | 0.039775 |
| Unknown-160.84203 | 0.65039 | 0.045317 |
| Unknown-288.92148 | 0.65403 | 0.045528 |
| Unknown-610.18402 | 0.65842 | 0.021199 |
| DG 34:0 | 0.66036 | 0.034704 |
| Unknown-475.4144, Unknown-475.4144 | 0.66124 | 0.022671 |
| Unknown-435.33286 | 0.66366 | 0.041872 |
| Unknown-684.20197 | 0.66428 | 0.037865 |
| LPC 18:2/0:0 | 1.5042 | 0.001969 |
| PC 38:3¦PC 20:1_18:2 | 1.5199 | 0.002215 |
| TG 50:6¦TG 14:0_18:3_18:3, TG 50:6¦TG 14:0_18:3_18:3 | 1.5491 | 0.004696 |
| PC 37:2¦PC 19:0_18:2 | 1.5493 | 0.001268 |
| PI 36:3¦PI 18:1_18:2 | 1.5598 | 0.000721 |
| CE 18:3 | 1.5821 | 0.008658 |
| RIKEN P-VS1 ID-11485 from Mouse_Brain_WT_N_F1 | 1.5847 | 0.009894 |
| PE 36:2¦PE 18:0_18:2 | 1.5929 | 0.061994 |
| Unknown-1250.17444 | 1.6538 | 0.040018 |
| PC 38:2, PC 38:2 | 1.7156 | 0.003447 |
| TG 54:9¦TG 18:3_18:3_18:3, TG 54:9¦TG 18:3_18:3_18:3 | 1.7221 | 0.002681 |
| PE 36:3¦PE 18:1_18:2 | 1.7352 | 0.007359 |
| CE 18:1 | 1.7396 | 0.001194 |
| LPC 16:1/0:0 | 1.7646 | 0.002755 |
| Unknown-648.70099 | 1.7731 | 0.089313 |
| PC 33:1, PC 33:1 | 1.7768 | 0.000253 |
| Unknown-1324.18408 | 1.782 | 0.050586 |
| PI 36:1¦PI 18:0_18:1 | 1.8296 | 0.009704 |
| PC 34:1¦PC 16:0_18:1 | 1.8544 | 0.000644 |
| LPC 16:0/0:0 | 1.8683 | 0.000677 |
| Unknown-1076.52429 | 1.8722 | 0.016872 |
| Unknown-1628.11035 | 1.8827 | 0.038247 |
| LPC 16:0, LPC 16:0 | 1.9441 | 0.000132 |
| LPC 15:0/0:0 | 1.9848 | 0.000246 |
| PC 35:2, PC 35:2, PC 35:2 | 1.9855 | 3.77E-05 |
| LPC 18:3/0:0 | 2.0288 | 0.000303 |
| Unknown-636.67639 | 2.0371 | 0.077076 |
| PC O-34:2 | 2.0466 | 0.005804 |
| LPC 17:0, LPC 17:0 | 2.0663 | 0.000207 |
| LPC 18:1/0:0 | 2.0712 | 0.000172 |
| RIKEN P-VS1 ID-12188 from Mouse_Kidney_WT_N_F1EPA | 2.0737 | 0.00467 |
| Unknown-1008.53979 | 2.1088 | 0.009349 |
| RIKEN N-VS1 ID-6109 from Mouse_Plasma_ApoEKO_N_F1DHA | 2.1583 | 0.013606 |
| LPC 18:1, LPC 18:1 | 2.1721 | 0.000346 |
| Unknown-1560.11853 | 2.3005 | 0.055638 |
| PC 36:1¦PC 18:0_18:1 | 2.3205 | 0.000298 |
| Unknown-673.73291 | 2.3267 | 0.085205 |
| LPC 14:0/0:0 | 2.4245 | 0.000125 |
| PC 34:1 | 2.4429 | 0.003834 |
| Unknown-617.66986 | 2.4961 | 0.072409 |
| Unknown-561.60675 | 2.4998 | 0.076311 |
| PC 37:2 | 2.5081 | 0.000101 |
| Unknown-589.63947 | 2.5109 | 0.06905 |
| RIKEN P-VS1 ID-19454 from Mouse_AdrenalGlands_fads2KO_N_Ctr | 2.5381 | 0.01761 |
| PC 38:1 | 2.5768 | 0.000613 |
| PC 35:1, PC 35:1 | 2.5888 | 0.000151 |
| PC 36:1 | 2.5927 | 0.000496 |
| LPC 20:0/0:0 | 2.6441 | 0.000178 |
| RIKEN P-VS1 ID-11818 from Cell_HeLa_WT_N_Ctr | 2.8808 | 0.002852 |
| RIKEN N-VS1 ID-6571 from Mouse_BAT_fads2KO_N_Ctr | 2.9504 | 0.007913 |
| Unknown-1036.56848 | 3.0555 | 0.008202 |

# Advanced visualization techniques to classify oxidized lipids in complex mixtures

Modernizing Classic Graphical Methods for Lipidomics: A New Approach to Analyzing Complex Datasets

## Abstract

The deduction of conclusive scientific evidence from untargeted mass spectrometry analyses is a constant work in progress among the mass spectrometry community. Statistical algorithms, data processing programs, and data visualization techniques are continuously being developed to manage the profound amount of data obtained from untargeted analyses and more efficiently reach a scientific conclusion. Two of the oldest and most utilized techniques to visualize large, complex datasets are van Krevelen Diagrams and Kendrick Mass Defect plots. Each of these graphical techniques have been successful in classifying compound classes among complex mixtures, especially when the mixture contains compounds that differ by repeating units. Considering lipids meet these criteria as they represent different subclasses (e.g., different headgroups) and are composed of repeating units (i.e., tail length), it is surprising that little research has been done on using these graphical methods to analyze complex lipidomics datasets. In this study, a newly developed Python program that generates traditional and modernized versions of van Krevelen Diagrams and Kendrick Mass Defect plots is utilized to measure the potential for these techniques to properly classify oxidized lipids in lipidomics datasets. Here, a modernized version of the Kendrick Mass Defect plot that incorporates a third dimension measuring heteroatom content was constructed and shows promise as a lipid classification model in untargeted lipidomics analyses.

## Introduction

The ability to confine complex, multivariate mass spectrometry data to a simple visual that yields informative results has been desired for decades. In 1950, van Krevelen condensed data from an analysis of coal (a highly complex matrix) to a simple two-dimensional graph that plotted the oxygen-to-carbon (OC) and hydrogen-to-carbon (HC) ratios of analytes, yielding structural information on the components in the mixture; this graphical method was termed the van Krevelen (vK) Diagram.146-148 Some years later, Kendrick developed a graphical method (i.e., Kendrick Mass Defect or KMD plots) to evaluate petrochemical mixtures that illustrated each compound class as a distinct series.149, 150 While both of these orthogonal visualization methods have been heavily utilized to characterize complex mixtures for years, their use cases are quite specific. For example, KMD plots have mainly been useful in the analysis of petrochemicals, where analytes primarily differ by units of CH2. vK diagrams have been applied to multiple complex matrices, including petroleum and biological matrices.147

Several attempts have been made to increase the utility of graphical methods in modern mass spectrometry analyses. For example, a re-evaluation of the compound classification boundaries in vK diagrams was conducted using publicly available data, yielding an entirely new set of classification constraints that promoted a more accurate prediction of compound classes.147 Modifications to traditional vK plots were conducted by Kew and co-workers who developed a Python-based program that allows plots to be generated in an interactive environment, termed i-van Krevelen.148 Similarly, the generation of multidimensional (i.e., 3D) vK plots was found to be successful in differentiating nitrogenous compounds in coal mixtures.151

At the current time, little work has been devoted to using these traditional and modernized graphical techniques to investigate lipid composition and, more specifically, their ability to predict lipid oxidation. Considering vK diagrams can differentiate compound classes and KMD can be used to differentiate series within a class, it was proposed that a combination of these methods could be used to identify constraints of lipid oxidation. Herein, a Python-based, 3D plotting method is developed and utilized to explore potential benefits of combining vK and KMD plots in lipidomics.

## Results and discussion

### Traditional 2D van Krevelen and Kendrick Mass Defect plots are unable to isolate oxidized lipid species

A data compilation of 4771 lipid species comprising approximately 130 lipid classes (including 424 oxidized lipids of 6 phospholipid classes) was used to generate traditional vK and KMD plots. A summarized list of the species used in the model can be found in Appendix D Table 1. A KMD evaluation (Figure 5.1) of the dataset primarily showed a large cluster of lipids with some species (i.e., CLs, PIMs, and CoAs) clustering in small groups together. In this 2D plot, however, oxidized lipids were overlaid with non-oxidized lipids of the same class. Little information could be derived from the 2D vK plot (Figure 5.2) of the lipid dataset as no distinct clusters could be observed and, similar to the KMD plot, oxidized lipids were unable to be differentiated from non-oxidized lipids. Upon application of classic boundaries for vK plots (Figure 5.3), it is clear why this classification scheme required re-evaluation as many lipid species were classified incorrectly. Though the stoichiometric classification developed by Rivas-Ubach147 was not completely able to capture the lipid species, it performed substantially better than the previous set of boundaries (Figure 5.4). Regardless, the classic 2D plots were insufficient at resolved oxidized lipid species.

Figure 5.1. Traditional KMD of lipids and oxidized lipids from LIPID MAPS® with specific clusters of species highlighted in the white boxes. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.

Figure 5.2. vK diagram of lipids and oxidized lipids from LIPID MAPS®.

Figure 5.3. vK diagram of lipids and oxidized lipids from LIPID MAPS® with classic boundaries.146

Figure 5.4. vK diagram of lipids and oxidized lipids from LIPID MAPS® with re-evaluated stoichiometric boundaries.147

### Modernized 3D KMD plots to differentiate lipid species

To evaluate the potential separation capacity of a combined vK and KMD plot, the lipid dataset was plotted against a traditional vK (OC vs. HC) with an additional dimension representing the KMD (Figure 5.5). The resulting plot displayed one large cluster with an indication of multiple layers that may be graphically explained by an exponential curve. Unlike some of the previous plots, series of lipid species could not readily be distinguished.

One study151 has indicated the importance of heteroatoms in vK analyses. Thus, a 3D plot with stoichiometric boundaries147 was generated for the comparison OC, HC, and heteroatom content (O + N + S + P; Figure 5.6). With the added dimension of heteroatoms, the stoichiometric boundaries147 largely encompassed the lipid dataset. Upon a closer investigation of the 3D graphical representation, it appears that some series were fully separated (i.e., the PS series was separated from other phospholipids).Additionally, most oxidized phospholipids were separated from non-oxidized phospholipids.

The ability of the traditional KMD plot to differentiate some lipid classes combined with the separation offered by heteroatom count led to the amalgamation of a traditional KMD plot with an additional heteroatom axis (Figure 5.7). Though the visuals are complex, substantial ladder-like spatial separation between many lipid classes was observed in this plot, which was termed a “modernized KMD plot”. To reduce complexity, all species other than oxidized and non-oxidized phospholipid species were removed and the separation capability was further evaluated (Figure 5.8). Clearly, headgroups such as PI and PI-O are almost completely separated from other groups and levels of unsaturation within the lipid species are separated linearly. Importantly, within the modernized KMD plot, oxidized PCs and PEs were offset from non-oxidized phospholipids at the same level (Figure 5.9). This spatial difference may have been achieved in traditional 2D KMD plots as this offset is a result of KMD; however, the modernized KMD promotes the tiered separation of headgroups and results in a more extensive separation between oxidized and non-oxidized phospholipids.

To evaluate this model using an experimental dataset, a lipidomics analysis (refer to Chapter 4) expected to contain unannotated oxidized lipids was applied. Chemical formulae were generated (based on exact mass and fragmentation data) for unannotated features and used to create a dataset of unknown features. When plotted in the modernized KMD format (Figure 5.10), the data resembled the tiered format illustrated by the known lipids data derived from LIPID MAPS®. An overlay of known oxidized and non-oxidized phospholipids with the unknown features suggested that many unknown features may be unannotated, known phospholipids as they fall in the same series. Importantly, multiple data points that were offset from linear phospholipid series were present, suggesting that these features represent unannotated and potentially uncharacterized oxidized lipids.

Figure 5.5. Combination vK and KMD plot of lipids and oxidized lipids from LIPID MAPS®.

Figure 5.6. 3D vK diagram with z-axis representing heteroatoms (O, N, S and P) of lipids and oxidized lipids from LIPID MAPS® with re-evaluated stoichiometric boundaries.147 A zoomed-in visual of the data without boundaries is shown in the lined box.

Figure 5.7. Modernized KMD plot illustrating lipids and oxidized lipids from LIPID MAPS®, where each lipid class is represented by a different color and symbol.

Figure 5.8. Modernized KMD plot illustrating phospholipids and oxidized phospholipids from LIPID MAPS®, where each phospholipid class is represented by a different color and symbol. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.

Figure 5.9. Zoomed in visual of modernized KMD plot illustrating separation between phospholipids and oxidized phospholipids from LIPID MAPS. Lipid nomenclature can be found at https://systemsomicslab.github.io/compms/msdial/lipidnomenclature.html.

Figure 5.10. Modernized KMD overlay of unknown features, known lipids, and known oxidized lipids. Known features were obtained from LIPID MAPS®. Blue arrows point to features suspected to be oxidized lipids based on their series location.

## Conclusions

In this investigation, classic and modernized graphical methods (i.e., vK diagrams and KMD plots) to visualize complex lipids datasets were evaluated. Using a database containing thousands of well-characterized lipids (both oxidized and non-oxidized), it was evident that classic 2D vK and KMD plots were unsuccessful at differentiating many lipid classes and could not distinguish oxidized lipids from non-oxidized lipids. To provide an extra dimension of separation, 3D plots of vK and KMD plots were assessed. KMD plots showed greater success at lipid species separation than vK plots. In fact, a modernized KMD plot, which combined a traditional 2D KMD plot with a third dimensions representing heteroatom count, was the most successful graphical method at differentiating both lipid classes and oxidized lipids. This 3D plot also revealed potential unannotated oxidized lipids in an experimental lipidomics dataset, illustrating its value in untargeted lipidomics studies. Although the generation of these plots are highly useful for drawing conclusions from complex lipids datasets, a lipid classification algorithm based on the coordinates in these plots would be ideal for streamlining data processing. Future work will consist of using Python-based machine learning to classify untargeted lipidomics datasets and predict the lipid class of a data point and whether or not that feature is oxidized.

## Experimental section

The Python codes developed and used for this investigation were based on the i-van Krevelen code provided by Kew and co-workers148, which can be found at https://wkew.github.io/FTMSViz/SRFA-plot.html or https://github.com/wkew/FTMSVisualization. The code used in the current study can be obtained from the Shawn R. Campagna lab (campagna@utk.edu), but a description of the code function can be found in Appendix D Figure 1. Code was initially developed using publicly available data from PubChem (https://pubchem.ncbi.nlm.nih.gov/). Scatter plots in .html format were generated using the Python plotly express package. In this manner, each plot can be interacted with; specifically, certain data points can be investigated, vantage points of 3D plots can be changed, etc. For lipidomics applications, publicly available lipid data was downloaded from LIPID MAPS® (https://www.lipidmaps.org/) and formulated as a database. For experimental datasets, lipidomics data from Chapter 4 was processed using MS-Dial 4.986 and formulae were generated based on exact mass using SIRIUS version 6.0.5 (https://bio.informatik.uni-jena.de/software/sirius/).

## Appendix D

Appendix D Table 1. List of species headgroup and class used for modeling.

| Species headgroup | Class | Species headgroup | Class | Species headgroup | Class |
| --- | --- | --- | --- | --- | --- |
| ACer | Lipids | LPS | Lipids | PEth | Lipids |
| Am-Hex-LPE | Lipids | LPS O | Lipids | PG | Lipids/oxidized lipids |
| Am-Hex-PE | Lipids | LSM | Lipids | PG dO | Lipids |
| Am-Hex-PE O | Lipids | LSQMG | Lipids | PG O | Lipids |
| AMP | Lipids | M(IP)C | Lipids | PGP | Lipids |
| CAR | Lipids | MG | Lipids | PI | Lipids/oxidized lipids |
| CDP-DG | Lipids | MG O | Lipids | PI dO | Lipids |
| CDP-DG dO | Lipids | MGDG | Lipids | PI O | Lipids |
| CE | Lipids | MGMG | Lipids | PIM | Lipids |
| Cer | Lipids | MGTS | Lipids | PIP | Lipids |
| CerP | Lipids | MIPC | Lipids | PPA | Lipids |
| CerPE | Lipids | NA | Lipids | PS | Lipids/oxidized lipids |
| CL | Lipids | NAAla | Lipids | PS dO | Lipids |
| CoA | Lipids | NAArg | Lipids | PS O | Lipids |
| CPA | Lipids | NAASN | Lipids | PS-NAc | Lipids |
| DG | Lipids | NAE | Lipids | PT | Lipids |
| DG dO | Lipids | NAGln | Lipids | SFE | Lipids |
| DG O | Lipids | NAGlu | Lipids | SHexCer | Lipids |
| DGCC | Lipids | NAGly | Lipids | SLBPA | Lipids |
| DGDG | Lipids | NAHis | Lipids | SM | Lipids |
| DGDG O | Lipids | NAIle | Lipids | SPB | Lipids |
| DGMG | Lipids | NALeu | Lipids | SPBP | Lipids |
| DGTA | Lipids | NALys | Lipids | SQDG | Lipids |
| DGTS | Lipids | NAMet | Lipids | SQMG | Lipids |
| FA | Lipids | NAOrn | Lipids | SQMG O | Lipids |
| FA O | Lipids | NAPE | Lipids | ST | Lipids |
| FAHFA | Lipids | NAPhe | Lipids | ST:O | Lipids |
| FAL | Lipids | NAPro | Lipids | ST_O | Lipids |
| FMC- | Lipids | NASer | Lipids | TG | Lipids |
| FOH | Lipids | NASer: | Lipids | TG O | Lipids |
| GlcADG | Lipids | NAT | Lipids | WD | Lipids |
| Glc-GP | Lipids | NAThr | Lipids | WE | Lipids |
| HexCer | Lipids | NAThr L | Lipids |  |  |
| HexDG | Lipids | NATrp | Lipids |  |  |
| Hex-HexNAc-Cer | Lipids | NATyr | Lipids |  |  |
| IPC | Lipids | NAVal | Lipids |  |  |
| LBPA | Lipids | NeuAcHexCer | Lipids |  |  |
| LPA | Lipids | PA | Lipids/oxidized lipids |  |  |
| LPA O | Lipids | PA dO | Lipids |  |  |
| LPC | Lipids | PA O | Lipids |  |  |
| LPC O | Lipids | PC | Lipids/oxidized lipids |  |  |
| LPE | Lipids | PC dO | Lipids |  |  |
| LPE O | Lipids | PC O | Lipids |  |  |
| LPG | Lipids | PE | Lipids/oxidized lipids |  |  |
| LPG O | Lipids | PE dO | Lipids |  |  |
| LPI | Lipids | PE O | Lipids |  |  |
| LPI O | Lipids | PE-N[FA] | Lipids |  |  |
| LPIM | Lipids | PE-NMe | Lipids |  |  |

Appendix D Figure 1. Workflow of Python code used to generate van Krevelen and Kendrick Mass plots.

# Conclusion

# Vita

This page is required

# References

1.	Griffiths, J., A Brief History of Mass Spectrometry. Anal Chem 2008, 80 (15), 5678-5683.

2.	Carroll, D. I.;  Dzidic, I.;  Horning, E. C.; Stillwell, R. N., Atmospheric Pressure Ionization Mass Spectrometry. Applied Spectroscopy Reviews 1981, 17 (3), 337-406.

3.	Tarr, M. A.;  Zhu, J.; Cole, R. B., Atmospheric Pressure Ionization Mass Spectrometry. In Encyclopedia of Analytical Chemistry, John Wiley & Sons, L., Ed. John Wiley & Sons, Ltd.: 2006; pp 1-34.

4.	Abdillahi, A. M.;  Lee, K. W.; McLuckey, S. A., Mass Analysis of Macro-molecular Analytes via Multiply-Charged Ion Attachment. Anal Chem 2020, 92 (24), 16301-16306.

5.	Wilm, M., Principles of electrospray ionization.  (1535-9484 (Electronic)).

6.	Powers, J. B.; Campagna, S. R., Design and Evaluation of a Gas Chromatograph-Atmospheric Pressure Chemical Ionization Interface for an Exactive Orbitrap Mass Spectrometer. J Am Soc Mass Spectr 2019, 30 (11), 2369-2379.

7.	Molecular Dissociation Technology Overview. https://www.thermofisher.com/us/en/home/industrial/mass-spectrometry/mass-spectrometry-learning-center/mass-spectrometry-technology-overview/dissociation-technique-technology-overview.html (accessed 09/10/2024).

8.	Scientific, T. Mass Analyzer Technology Overview. https://www.thermofisher.com/us/en/home/industrial/mass-spectrometry/mass-spectrometry-learning-center/mass-spectrometry-technology-overview/mass-analyzer-technology-overview.html (accessed 09/10/2024).

9.	Skoog, D. A.;  Holler, F. J.; Crouch, S. R., Principles of instrumental analysis. 6th ed.; Thomson Brooks/Cole: Belmont, CA, 2007; p xv, 1039 p.

10.	Pitt, J. J., Principles and applications of liquid chromatography-mass spectrometry in clinical biochemistry.  (0159-8090 (Print)).

11.	Jones, M. Gas chromatography - mass spectrometry: a national historic chemical landmark. https://www.acs.org/education/whatischemistry/landmarks/gas-chromatography-mass-spectrometry.html.

12.	Fiehn, O., Metabolomics by Gas Chromatography-Mass Spectrometry: Combined Targeted and Untargeted Profiling.  (1934-3647 (Electronic)).

13.	Brown, T.;  LeMay, H.;  Burstein, B.;  Murphy, C.; Woodward, P., Chemistry: The Central Science. 12th ed.; Pearson: Gelview, IL, 2012.

14.	Pasilis, S. P.;  Kertesz, V.; Van Berkel, G. J., Unexpected analyte oxidation during desorption electrospray ionization-mass spectrometry. Anal Chem 2008, 80 (4), 1208-14.

15.	Xie, Y.;  May, A. L.;  Chen, G.;  Brown, L. P.;  Powers, J. B.;  Tague, E. D.;  Campagna, S. R.; Loffler, F. E., Pseudomonas sp. Strain 273 Incorporates Organofluorine into the Lipid Bilayer during Growth with Fluorinated Alkanes. Environ Sci Technol 2022, 56 (12), 8155-8166.

16.	Xie, Y.;  Chen, G.;  May, A. L.;  Yan, J.;  Brown, L. P.;  Powers, J. B.;  Campagna, S. R.; Loffler, F. E., Pseudomonas sp. Strain 273 Degrades Fluorinated Alkanes. Environ Sci Technol 2020, 54 (23), 14994-15003.

17.	Romanczyk, M., Chemical compositional analysis of jet fuels: Contributions of mass spectrometry in the 21st century. Mass Spectrom Rev 2022, e21825.

18.	Mihelic, R.;  Winter, H.;  Powers, J. B.;  Das, S.;  Lamour, K.;  Campagna, S. R.; Voy, B. H., Genes controlling polyunsaturated fatty acid synthesis are developmentally regulated in broiler chicks. Br Poult Sci 2020, 61 (5), 508-517.

19.	Manheim, J. M.;  Milton, J. R.;  Zhang, Y.; Kenttamaa, H. I., Fragmentation of Saturated Hydrocarbons upon Atmospheric Pressure Chemical Ionization Is Caused by Proton-Transfer Reactions. Anal Chem 2020, 92 (13), 8883-8892.

20.	Rebane, R.;  Kruve, A.;  Liigand, P.;  Liigand, J.;  Herodes, K.; Leito, I., Establishing Atmospheric Pressure Chemical Ionization Efficiency Scale. Anal Chem 2016, 88 (7), 3435-9.

21.	David, W. J., Applications of Mass Spectrometric Techniques to the Analysis of Fuels and Lubricants. In Mass Spectrometry, Mahmood, A., Ed. IntechOpen: Rijeka, 2017; p Ch. 7.

22.	Chacón-Patiño, M. L.;  Gray, M. R.;  Rüger, C.;  Smith, D. F.;  Glattke, T. J.;  Niles, S. F.;  Neumann, A.;  Weisbrod, C. R.;  Yen, A.;  McKenna, A. M.;  Giusti, P.;  Bouyssiere, B.;  Barrère-Mangote, C.;  Yarranton, H.;  Hendrickson, C. L.;  Marshall, A. G.; Rodgers, R. P., Lessons Learned from a Decade-Long Assessment of Asphaltenes by Ultrahigh-Resolution Mass Spectrometry and Implications for Complex Mixture Analysis. Energy & Fuels 2021, 35 (20), 16335-16376.

23.	Romanczyk, M.; Loegel, T., Qualitative characterization of oxygen-containing compounds in fuel extracts by using (-) electrospray ionization coupled to a linear quadrupole ion trap/orbitrap mass spectrometer. Fuel 2024, 359, 130502.

24.	Williams, S.;  Knighton, W. B.;  Midey, A. J.;  Viggiano, A. A.;  Irle, S.;  Wang, Q.; Morokuma, K., Oxidation of Alkyl Ions, CnH2n+1+ (n = 1−5), in Reactions with O2 and O3 in the Gas Phase. The Journal of Physical Chemistry A 2004, 108 (11), 1980-1989.

25.	Cody, R. B., Aperture Size Influences Oxidation in Positive-Ion Nitrogen Direct Analysis in Real Time Mass Spectrometry. J Am Soc Mass Spectrom 2022, 33 (7), 1329-1334.

26.	Yang, Z.; Attygalle, A. B., Aliphatic hydrocarbon spectra by helium ionization mass spectrometry (HIMS) on a modified atmospheric-pressure source designed for electrospray ionization. J Am Soc Mass Spectrom 2011, 22 (8), 1395-402.

27.	Cody, R. B., Observation of molecular ions and analysis of nonpolar compounds with the direct analysis in real time ion source. Anal Chem 2009, 81 (3), 1101-7.

28.	Weber, M.;  Wolf, J. C.; Haisch, C., Gas Chromatography-Atmospheric Pressure Inlet-Mass Spectrometer Utilizing Plasma-Based Soft Ionization for the Analysis of Saturated, Aliphatic Hydrocarbons. J Am Soc Mass Spectrom 2021, 32 (7), 1707-1715.

29.	Hagenhoff, S.;  Korf, A.;  Markgraf, U.;  Brandt, S.;  Schutz, A.;  Franzke, J.; Hayen, H., Screening of semifluorinated n-alkanes by gas chromatography coupled to dielectric barrier discharge ionization mass spectrometry. Rapid Commun Mass Spectrom 2018, 32 (13), 1092-1098.

30.	Xie, X.;  Wang, Z.;  Li, Y.;  Zhan, L.; Nie, Z., Investigation and Applications of In-Source Oxidation in Liquid Sampling-Atmospheric Pressure Afterglow Microplasma Ionization (LS-APAG) Source. J Am Soc Mass Spectrom 2017, 28 (6), 1036-1047.

31.	Ayrton, S. T.;  Jones, R.;  Douce, D. S.;  Morris, M. R.; Cooks, R. G., Uncatalyzed, Regioselective Oxidation of Saturated Hydrocarbons in an Ambient Corona Discharge. Angew Chem Int Ed Engl 2018, 57 (3), 769-773.

32.	Nunome, Y.;  Kodama, K.;  Ueki, Y.;  Yoshiie, R.;  Naruse, I.; Wagatsuma, K., Direct analysis of saturated hydrocarbons using glow discharge plasma ionization source for mass spectrometry. Talanta 2019, 204, 310-319.

33.	Hunt, D. F., Harvey, M.T., Nitric oxide chemical ionization mass spectra of alkanes. Anal Chem 1975, 47 (12), 1965-1969.

34.	Marotta, E.; Paradisi, C., A mass spectrometry study of alkanes in air plasma at atmospheric pressure. J Am Soc Mass Spectrom 2009, 20 (4), 697-707.

35.	Starikovskiy, A., Physics and chemistry of plasma-assisted combustion. Philos Trans A Math Phys Eng Sci 2015, 373 (2048).

36.	Ju, Y. G.; Sun, W. T., Plasma assisted combustion: Dynamics and chemistry. Prog Energ Combust 2015, 48, 21-83.

37.	Mahle, N. H.;  Cooks, R. G.; Korzeniowski, R. W., Hydroxylation of aromatic hydrocarbons in mass spectrometer ion sources under atmospheric pressure ionization and chemical ionization conditions. Anal Chem 1983, 55 (14), 2272-2275.

38.	Dutton, J.;  Rees, D. B.; Llewellynjones, F., Ionization Coefficients in Helium at High Pressures. Nature 1963, 200 (490), 58-&.

39.	Seol, Y. A.-O.;  Choi, M.;  Chang, H.; You, S., Study on OH Radical Production Depending on the Pulse Characteristics in an Atmospheric-Pressure Nanosecond-Pulsed Plasma Jet. LID - 10.3390/ma16103846 [doi] LID - 3846.  (1996-1944 (Print)).

40.	Timerghazin, Q. K.;  Khursan, S. L.; Shereshovets, V. V., Theoretical study of the reaction between ozone and C–H bond: gas-phase reactions of hydrocarbons with ozone. Journal of Molecular Structure: THEOCHEM 1999, 489 (1), 87-93.

41.	Jungkamp, T. P. W.;  Smith, J. N.; Seinfeld, J. H., Atmospheric oxidation mechanism of n-butane: The fate of alkoxy radicals. Journal of Physical Chemistry A 1997, 101 (24), 4392-4401.

42.	Zeng, J.;  Cao, L.;  Xu, M.;  Zhu, T.; Zhang, J. Z. H., Complex reaction processes in combustion unraveled by neural network-based molecular dynamics simulation. Nat Commun 2020, 11 (1), 5713.

43.	Masunov, A. E.;  Wait, E.; Vasu, S. S., Quantum Chemical Study of CH3 + O2 Combustion Reaction System: Catalytic Effects of Additional CO Molecule. Journal of Physical Chemistry A 2017, 121 (30), 5681-5689.

44.	Mackay, G. I.;  Betowski, L. D.;  Payzant, J. D.;  Schiff, H. I.; Bohme, D. K., Rate constants at 297.degree.K for proton-transfer reactions with hydrocyanic acid and acetonitrile. Comparisons with classical theories and exothermicity. The Journal of Physical Chemistry 1976, 80 (26), 2919-2922.

45.	Reisz, E., Naumov, S., The Reaction of Ozone with the C-H Bond Revisited. Ozone: Science & Engineering 2024, 1-15.

46.	Bogaerts, A.;  De Bie, C.;  Snoeckx, R.; Kozák, T., Plasma based CO2 and CH4 conversion: A modeling perspective. Plasma Processes and Polymers 2017, 14 (6), 1600070.

47.	Wang, W.;  Snoeckx, R.;  Zhang, X.;  Cha, M. S.; Bogaerts, A., Modeling Plasma-based CO2 and CH4 Conversion in Mixtures with N2, O2, and H2O: The Bigger Plasma Chemistry Picture. The Journal of Physical Chemistry C 2018, 122 (16), 8704-8723.

48.	Energy, D. o. Alternative Fuels Data Center. https://afdc.energy.gov/fuels/properties (accessed 5/23/2024).

49.	Tose, L. V.;  Cardoso, F. M. R.;  Fleming, F. P.;  Vicente, M. A.;  Silva, S. R. C.;  Aquije, G. M. F. V.;  Vaz, B. G.; Romão, W., Analyzes of hydrocarbons by atmosphere pressure chemical ionization FT-ICR mass spectrometry using isooctane as ionizing reagent. Fuel 2015, 153, 346-354.

50.	Valadbeigi, Y.; Causon, T., Significance of Competitive Reactions in an Atmospheric Pressure Chemical Ionization Ion Source: Effect of Solvent. J Am Soc Mass Spectr 2022, 33 (6), 961-973.

51.	Vendeville, A.;  Winzer, K.;  Heurlier, K.;  Tang, C. M.; Hardie, K. R., Making 'sense' of metabolism: autoinducer-2, LUXS and pathogenic bacteria. Nature Reviews Microbiology 2005, 3 (5), 383-396.

52.	Winzer, K.;  Hardie, K. R.; Williams, P., LuxS and autoinducer-2: their contribution to quorum sensing and metabolism in bacteria. Adv Appl Microbiol 2003, 53, 291-396.

53.	Boban, T.;  Nadar, S.; Tauro, S., Breaking down bacterial communication: a review of quorum quenching agents. Future Journal of Pharmaceutical Sciences 2023, 9 (1), 77.

54.	Miller, M. B.; Bassler, B. L., Quorum sensing in bacteria.  (0066-4227 (Print)).

55.	Moore, L. D.;  Le, T.; Fan, G., DNA methylation and its basic function. Neuropsychopharmacology 2013, 38 (1), 23-38.

56.	Bogdanovic, O.; Lister, R., DNA methylation and the preservation of cell identity. Curr Opin Genet Dev 2017, 46, 9-14.

57.	Surette, M. G.;  Miller, M. B.; Bassler, B. L., Quorum sensing in Escherichia coli, Salmonella typhimurium, and Vibrio harveyi: a new family of genes responsible for autoinducer production. Proc Natl Acad Sci U S A 1999, 96 (4), 1639-44.

58.	Zhang, X. H.;  He, X.; Austin, B., Vibrio harveyi: a serious pathogen of fish and invertebrates in mariculture.  (2662-1746 (Electronic)).

59.	Cao, J. G.; Meighen, E. A., Purification and structural identification of an autoinducer for the luminescence system of Vibrio harveyi. J Biol Chem 1989, 264 (36), 21670-6.

60.	Semmelhack, M. F.;  Campagna, S. R.;  Hwa, C.;  Federle, M. J.; Bassler, B. L., Boron binding with the quorum sensing signal AI-2 and analogues. Org Lett 2004, 6 (15), 2635-7.

61.	Miller, S. T.;  Xavier, K. B.;  Campagna, S. R.;  Taga, M. E.;  Semmelhack, M. F.;  Bassler, B. L.; Hughson, F. M., Salmonella typhimurium recognizes a chemically distinct form of the bacterial quorum-sensing signal AI-2. Mol Cell 2004, 15 (5), 677-87.

62.	Chen, X.;  Schauder, S.;  Potier, N.;  Van Dorsselaer, A.;  Pelczer, I.;  Bassler, B. L.; Hughson, F. M., Structural identification of a bacterial quorum-sensing signal containing boron. Nature 2002, 415 (6871), 545-549.

63.	Kendall Melissa, M.; Sperandio, V., Cell-to-Cell Signaling in Escherichia coli and Salmonella. EcoSal Plus 2014, 6 (1), 10.1128/ecosalplus.ESP-0002-2013.

64.	Defoirdt, T.; Sorgeloos, P., Monitoring of Vibrio harveyi quorum sensing activity in real time during infection of brine shrimp larvae. The ISME Journal 2012, 6 (12), 2314-2319.

65.	Gooding, J. R.;  May, A. L.;  Hilliard, K. R.; Campagna, S. R., Establishing a quantitative definition of quorum sensing provides insight into the information content of the autoinducer signals in Vibrio harveyi and Escherichia coli. Biochemistry 2010, 49 (27), 5621-3.

66.	Xavier, K. B.; Bassler, B. L., Regulation of uptake and processing of the quorum-sensing autoinducer AI-2 in Escherichia coli.  (0021-9193 (Print)).

67.	Campagna, S. R.;  Gooding, J. R.; May, A. L., Direct quantitation of the quorum sensing signal, autoinducer-2, in clinically relevant samples by liquid chromatography-tandem mass spectrometry. Anal Chem 2009, 81 (15), 6374-81.

68.	Halliday, N. M.;  Hardie, K. R.;  Williams, P.;  Winzer, K.; Barrett, D. A., Quantitative liquid chromatography-tandem mass spectrometry profiling of activated methyl cycle metabolites involved in LuxS-dependent quorum sensing in Escherichia coli. Anal Biochem 2010, 403 (1-2), 20-9.

69.	Kredich Nm Fau - Hershfield, M. S.; Hershfield, M. S., S-adenosylhomocysteine toxicity in normal and adenosine kinase-deficient lymphoblasts of human origin.  (0027-8424 (Print)).

70.	Fukumoto, K.;  Ito, K.;  Saer, B.;  Taylor, G.;  Ye, S.;  Yamano, M.;  Toriba, Y.;  Hayes, A.;  Okamura, H.; Fustin, J.-M., Excess S-adenosylmethionine inhibits methylation via catabolism to adenine. Communications Biology 2022, 5 (1), 313.

71.	Kanehisa, M.; Goto, S., KEGG: kyoto encyclopedia of genes and genomes.  (0305-1048 (Print)).

72.	Shetty, S.; Varshney, U., Regulation of translation by one-carbon metabolism in bacteria and eukaryotic organelles. Journal of Biological Chemistry 2021, 296, 100088.

73.	Shi, L.; Tu, B. P., Acetyl-CoA and the regulation of metabolism: mechanisms and consequences.  (1879-0410 (Electronic)).

74.	Leonardi R Fau - Jackowski, S.; Jackowski, S., Biosynthesis of Pantothenic Acid and Coenzyme A. LID - 10.1128/ecosalplus.3.6.3.4 [doi].  (2324-6200 (Print)).

75.	Ryback, B.; Vorholt, J. A., Coenzyme biosynthesis in response to precursor availability reveals incorporation of beta-alanine from pantothenate in prototrophic bacteria. J Biol Chem 2023, 299 (8), 104919.

76.	Ruby, E. G.; Nealson, K. H., Pyruvate production and excretion by the luminous marine bacteria. Applied and Environmental Microbiology 1977, 34 (2), 164-169.

77.	Nackerdien, Z. E.;  Keynan A Fau - Bassler, B. L.;  Bassler Bl Fau - Lederberg, J.;  Lederberg J Fau - Thaler, D. S.; Thaler, D. S., Quorum sensing influences Vibrio harveyi growth rates in a manner not fully accounted for by the marker effect of bioluminescence.  (1932-6203 (Electronic)).

78.	Zhou, T.;  Wang, J.;  Todd, J. D.;  Zhang, X.-H.; Zhang, Y., Quorum Sensing Regulates the Production of Methanethiol in Vibrio harveyi. Microorganisms 2024, 12 (1), 35.

79.	Gooding, J. R. Development and application of liquid chromatography-tandem mass spectrometry methods to the understanding of metabolism and cell-cell signaling in several biological systems. University of Tennessee Knoxville

TRACE: Tennessee Research and Creative Exchange, 2011.

80.	Thomès, L.; Lescure, A., Mosaic Evolution of the Phosphopantothenate Biosynthesis Pathway in Bacteria and Archaea. Genome Biology and Evolution 2020, 13 (2).

81.	Baba, T.;  Ara T Fau - Hasegawa, M.;  Hasegawa M Fau - Takai, Y.;  Takai Y Fau - Okumura, Y.;  Okumura Y Fau - Baba, M.;  Baba M Fau - Datsenko, K. A.;  Datsenko Ka Fau - Tomita, M.;  Tomita M Fau - Wanner, B. L.;  Wanner Bl Fau - Mori, H.; Mori, H., Construction of Escherichia coli K-12 in-frame, single-gene knockout mutants: the Keio collection.  (1744-4292 (Electronic)).

82.	Rabinowitz, J. D.; Kimball, E., Acidic acetonitrile for cellular metabolome extraction from Escherichia coli. Anal Chem 2007, 79 (16), 6167-73.

83.	Chen, L.;  Lu, W.;  Wang, L.;  Xing, X.;  Chen, Z.;  Teng, X.;  Zeng, X.;  Muscarella, A. D.;  Shen, Y.;  Cowan, A.;  McReynolds, M. R.;  Kennedy, B. J.;  Lato, A. M.;  Campagna, S. R.;  Singh, M.; Rabinowitz, J. D., Metabolite discovery through global annotation of untargeted metabolomics data. Nature Methods 2021, 18 (11), 1377-1385.

84.	Bligh Eg Fau - Dyer, W. J.; Dyer, W. J., A rapid method of total lipid extraction and purification.

85.	Schmid, R.;  Heuckeroth, S.;  Korf, A.;  Smirnov, A.;  Myers, O.;  Dyrlund, T. S.;  Bushuiev, R.;  Murray, K. J.;  Hoffmann, N.;  Lu, M.;  Sarvepalli, A.;  Zhang, Z.;  Fleischauer, M.;  Duhrkop, K.;  Wesner, M.;  Hoogstra, S. J.;  Rudt, E.;  Mokshyna, O.;  Brungs, C.;  Ponomarov, K.;  Mutabdzija, L.;  Damiani, T.;  Pudney, C. J.;  Earll, M.;  Helmer, P. O.;  Fallon, T. R.;  Schulze, T.;  Rivas-Ubach, A.;  Bilbao, A.;  Richter, H.;  Nothias, L. F.;  Wang, M.;  Oresic, M.;  Weng, J. K.;  Bocker, S.;  Jeibmann, A.;  Hayen, H.;  Karst, U.;  Dorrestein, P. C.;  Petras, D.;  Du, X.; Pluskal, T., Integrative analysis of multimodal mass spectrometry data in MZmine 3. Nat Biotechnol 2023, 41 (4), 447-449.

86.	Tsugawa, H.;  Cajka, T.;  Kind, T.;  Ma, Y.;  Higgins, B.;  Ikeda, K.;  Kanazawa, M.;  VanderGheynst, J.;  Fiehn, O.; Arita, M., MS-DIAL: data-independent MS/MS deconvolution for comprehensive metabolome analysis. Nature Methods 2015, 12 (6), 523-526.

87.	Pang, Z.;  Lu, Y.;  Zhou, G.;  Hui, F.;  Xu, L.;  Viau, C.;  Spigelman, A. F.;  MacDonald, P. E.;  Wishart, D. S.;  Li, S.; Xia, J., MetaboAnalyst 6.0: towards a unified platform for metabolomics data processing, analysis and interpretation. Nucleic Acids Res 2024.

88.	Lenz, T. R., The Unwanted Horse in the United States: An Overview of the Issue. Journal of Equine Veterinary Science 2009, 29 (5), 253-258.

89.	Schneider, L. G.;  Cox Self, A.;  Hines, M. T.; Lin-Zambito Ivey, J., Clinical Factors Associated With Survival Outcomes in Starved Equids: A Retrospective Case Series. Journal of Equine Veterinary Science 2021, 101, 103370.

90.	Becvarova, I.;  Pleasant, R. S.; Thatcher, C. D., Clinical assessment of nutritional status and feeding programs in horses. Veterinary Clinics of North America: Equine Practice 2009, 25 (1), 1-21.

91.	Stull, C. L.;  Hullinger, P. J.; Rodiek, A. V., Fat Supplementation to Alfalfa Diets for Refeeding the Starved Horse. The Professional animal scientist 2003, 19 (1), 47-54.

92.	Merriam-Webster, Malnutrition. 2022.

93.	Finn, P. F.; Dice, J. F., Proteolytic and lipolytic responses to starvation. Nutrition. 2006, 22 (7-8), 830-844.

94.	Henneke, D. R.;  Potter, G. D.;  Kreider, J. L.; Yeates, B. F., Relationship between condition score, physical measurements and body fat percentage in mares. Equine Veterinary Journal 1983, 15 (4), 371-372.

95.	Dettmer, K.;  Aronov, P. A.; Hammock, B. D., Mass spectrometry-based metabolomics. Mass Spectrometry Reviews 2007, 26 (1), 51-78.

96.	Jiang, P.;  Stanstrup, J.;  Thymann, T.;  Sangild, P. T.; Dragsted, L. O., Progressive Changes in the Plasma Metabolome during Malnutrition in Juvenile Pigs. Journal of Proteome Research 2016, 15 (2), 447-456.

97.	Beachler, T. M.;  Gracz, H. S.;  Morgan, D. R.;  Bembenek Bailey, S. A.;  Borst, L.;  Ellis, K. E.;  Von Dollen, K. A.;  Lyle, S. K.;  Nebel, A.;  Andrews, N. C.;  Koipalli, J.;  Gadsby, J. E.; Bailey, C. S., Plasma metabolomic profiling of healthy pregnant mares and mares with experimentally induced placentitis. Equine Veterinary Journal 2021, 53 (1), 85-93.

98.	Escalona, E. E.;  Leng, J.;  Dona, A. C.;  Merrifield, C. A.;  Holmes, E.;  Proudman, C. J.; Swann, J. R., Dominant components of the Thoroughbred metabolome characterised by<sup>1</sup>H-nuclear magnetic resonance spectroscopy: A metabolite atlas of common biofluids. Equine Veterinary Journal 2015, 47 (6), 721-730.

99.	Keen, B.;  Cawley, A.;  Reedy, B.; Fu, S., Metabolomics in clinical and forensic toxicology, sports anti-doping and veterinary residues. Drug Test Anal 2022, 14 (5), 794-807.

100.	Klein, D. J.;  Anthony, T. G.; McKeever, K. H., Metabolomics in equine sport and exercise. Journal of Animal Physiology and Animal Nutrition 2021, 105 (1), 140-148.

101.	Freemark, M., Metabolomics in Nutrition Research: Biomarkers Predicting Mortality in Children with Severe Acute Malnutrition. Food and Nutrition Bulletin 2015, 36 (1_suppl1), S88-S92.

102.	Yang, Q.-J.;  Zhao, J.-R.;  Hao, J.;  Li, B.;  Huo, Y.;  Han, Y.-L.;  Wan, L.-L.;  Li, J.;  Huang, J.;  Lu, J.;  Yang, G.-J.; Guo, C., Serum and urine metabolomics study reveals a distinct diagnostic model for cancer cachexia. Journal of Cachexia, Sarcopenia and Muscle 2018, 9 (1), 71-85.

103.	Pusterla, N.;  Barnum, S.;  Miller, J.;  Varnell, S.;  Dallap-Schaer, B.;  Aceto, H.; Simeone, A., Investigation of an EHV-1 Outbreak in the United States Caused by a New H752 Genotype. Pathogens 2021, 10 (6), 747.

104.	Fleurance, G. R.;  Duncan, P.; Mallevaud, B., Daily intake and the selection of feeding sites by horses in heterogeneous wet grasslands. Animal Research 2001, 50 (2), 149-156.

105.	O'Connor, C. I.;  Nielsen, B. D.;  Woodward, A. D.;  Spooner, H. S.;  Ventura, B. A.; Turner, K. K., Mineral balance in horses fed two supplemental silicon sources. Journal of Animal Physiology and Animal Nutrition 2008, 92 (2), 173-181.

106.	Saastamoinen, M.;  Sarkijarvi, S.; Suomala, H., Protein Source and Intake Effects on Diet Digestibility and N Excretion in Horses-A Risk of Environmental N Load of Horses. Animals (Basel) 2021, 11 (12).

107.	Parraga, M. E.;  Carlson, G. P.; Thurmond, M., Serum protein concentrations in horses with severe liver disease: a retrospective study and review of the literature. J Vet Intern Med 1995, 9 (3), 154-61.

108.	Hollis, A. R.;  Boston, R. C.; Corley, K. T., Blood glucose in horses with acute abdominal disease. J Vet Intern Med 2007, 21 (5), 1099-103.

109.	Toribio, R. E., Essentials of equine renal and urinary tract physiology. Vet Clin North Am Equine Pract 2007, 23 (3), 533-61, v.

110.	Urayama, S.;  Arima, D.;  Mizobe, F.;  Shinzaki, Y.;  Nomura, M.;  Minamijima, Y.; Kusano, K., Blood glucose is unlikely to be a prognostic biomarker in acute colitis with systemic inflammatory response syndrome in Thoroughbred racehorses. J Equine Sci 2018, 29 (1), 15-19.

111.	Doll, S. K.;  Haimerl, P.;  Bartel, A.; Arlt, S. P., Determination of reference intervals for nonesterified fatty acids in the blood serum of healthy dogs. Vet Rec Open 2022, 9 (1), e40.

112.	Farhana, A.; Lappin, S. L., Biochemistry, Lactate Dehydrogenase. In StatPearls, Treasure Island (FL), 2022.

113.	Zoppini, G.;  Cacciatori, V.;  Negri, C.;  Stoico, V.;  Lippi, G.;  Targher, G.; Bonora, E., The aspartate aminotransferase-to-alanine aminotransferase ratio predicts all-cause and cardiovascular mortality in patients with type 2 diabetes. Medicine (Baltimore) 2016, 95 (43), e4821.

114.	Klein, R.;  Nagy, O.;  Tothova, C.; Chovanova, F., Clinical and Diagnostic Significance of Lactate Dehydrogenase and Its Isoenzymes in Animals. Vet Med Int 2020, 2020, 5346483.

115.	Ono, T.;  Yamada, Y.;  Hata, A.;  Shimokawa Miyama, T.;  Shibano, K.;  Iwata, E.;  Ohzawa, E.; Kitagawa, H., Reference values of hematological and blood biochemical parameters for the Noma horse. J Equine Sci 2019, 30 (3), 69-73.

116.	FIELDER, S. E. Serum Biochemical Reference Ranges. https://www.merckvetmanual.com/special-subjects/reference-guides/serum-biochemical-reference-ranges.

117.	Jang, C.;  Chen, L.; Rabinowitz, J. D., Metabolomics and Isotope Tracing. Cell 2018, 173 (4), 822-837.

118.	Ghone, R. A.;  Suryakar, A. N.;  Kulhalli, P. M.;  Bhagat, S. S.;  Padalkar, R. K.;  Karnik, A. C.;  Hundekar, P. S.; Sangle, D. A., A study of oxidative stress biomarkers and effect of oral antioxidant supplementation in severe acute malnutrition. J Clin Diagn Res 2013, 7 (10), 2146-8.

119.	Foroutan, A.;  Fitzsimmons, C.;  Mandal, R.;  Piri-Moghadam, H.;  Zheng, J.;  Guo, A.;  Li, C.;  Guan, L. L.; Wishart, D. S., The Bovine Metabolome. Metabolites 2020, 10 (6), 233.

120.	Parenti, M.;  McClorry, S.;  Maga, E. A.; Slupsky, C. M., Metabolomic changes in severe acute malnutrition suggest hepatic oxidative stress: a secondary analysis. Nutr Res 2021, 91, 44-56.

121.	Wishart, D. S.;  Tzur, D.;  Knox, C.;  Eisner, R.;  Guo, A. C.;  Young, N.;  Cheng, D.;  Jewell, K.;  Arndt, D.;  Sawhney, S.;  Fung, C.;  Nikolai, L.;  Lewis, M.;  Coutouly, M. A.;  Forsythe, I.;  Tang, P.;  Shrivastava, S.;  Jeroncic, K.;  Stothard, P.;  Amegbey, G.;  Block, D.;  Hau, D. D.;  Wagner, J.;  Miniaci, J.;  Clements, M.;  Gebremedhin, M.;  Guo, N.;  Zhang, Y.;  Duggan, G. E.;  Macinnis, G. D.;  Weljie, A. M.;  Dowlatabadi, R.;  Bamforth, F.;  Clive, D.;  Greiner, R.;  Li, L.;  Marrie, T.;  Sykes, B. D.;  Vogel, H. J.; Querengesser, L., HMDB: the Human Metabolome Database. Nucleic Acids Research 2007, 35 (Database), D521-D526.

122.	Wishart, D. S.;  Guo, A.;  Oler, E.;  Wang, F.;  Anjum, A.;  Peters, H.;  Dizon, R.;  Sayeeda, Z.;  Tian, S.;  Lee, B. L.;  Berjanskii, M.;  Mah, R.;  Yamamoto, M.;  Jovel, J.;  Torres-Calzada, C.;  Hiebert-Giesbrecht, M.;  Lui, V. W.;  Varshavi, D.;  Varshavi, D.;  Allen, D.;  Arndt, D.;  Khetarpal, N.;  Sivakumaran, A.;  Harford, K.;  Sanford, S.;  Yee, K.;  Cao, X.;  Budinski, Z.;  Liigand, J.;  Zhang, L.;  Zheng, J.;  Mandal, R.;  Karu, N.;  Dambrova, M.;  Schioth, H. B.;  Greiner, R.; Gautam, V., HMDB 5.0: the Human Metabolome Database for 2022. Nucleic Acids Res 2022, 50 (D1), D622-D631.

123.	Goldansaz, S. A.;  Guo, A. C.;  Sajed, T.;  Steele, M. A.;  Plastow, G. S.; Wishart, D. S., Livestock metabolomics and the livestock metabolome: A systematic review. PLoS One 2017, 12 (5), e0177675.

124.	Kanehisa, M.; Goto, S., KEGG: kyoto encyclopedia of genes and genomes. Nucleic Acids Res 2000, 28 (1), 27-30.

125.	Kanehisa, M., Toward understanding the origin and evolution of cellular organisms. Protein Sci 2019, 28 (11), 1947-1951.

126.	Kanehisa, M.;  Furumichi, M.;  Sato, Y.;  Ishiguro-Watanabe, M.; Tanabe, M., KEGG: integrating viruses and cellular organisms. Nucleic Acids Res 2021, 49 (D1), D545-D551.

127.	Cohen, S.;  Nathan, J. A.; Goldberg, A. L., Muscle wasting in disease: molecular mechanisms and promising therapies. Nature Reviews Drug Discovery 2015, 14 (1), 58-74.

128.	Schuback, K.;  Essén-Gustavsson, B.; Persson, S. G. B., Effect of creatine supplementation on muscle metabolic response to a maximal treadmill exercise test in Standardbred horses. Equine Veterinary Journal 2010, 32 (6), 533-540.

129.	Bergero, D.;  Assenza, A.;  Schiavone, A.;  Piccione, G.;  Perona, G.; Caola, G., Amino acid concentrations in blood serum of horses performing long lasting low-intensity exercise. J Anim Physiol Anim Nutr (Berl) 2005, 89 (3-6), 146-50.

130.	Zhou, Y.;  Qiu, L.;  Xiao, Q.;  Wang, Y.;  Meng, X.;  Xu, R.;  Wang, S.; Na, R., Obesity and diabetes related plasma amino acid alterations. Clin Biochem 2013, 46 (15), 1447-52.

131.	Sarabhai, T.; Roden, M., Hungry for your alanine: when liver depends on muscle proteolysis. J Clin Invest 2019, 129 (11), 4563-4566.

132.	Ishikawa, T.;  Aw, W.; Kaneko, K., Metabolic Interactions of Purine Derivatives with Human ABC Transporter ABCG2: Genetic Testing to Assess Gout Risk. Pharmaceuticals 2013, 6 (11), 1347-1360.

133.	Zhang, Y.;  Guo, S.;  Xie, C.; Fang, J., Uridine Metabolism and Its Role in Glucose, Lipid, and Amino Acid Homeostasis. BioMed Research International 2020, 2020, 1-7.

134.	Paddon-Jones, D.;  Børsheim, E.; Wolfe, R. R., Potential Ergogenic Effects of Arginine and Creatine Supplementation. The Journal of Nutrition 2004, 134 (10), 2888S-2894S.

135.	Worley, B.;  Halouska, S.; Powers, R., Utilities for quantifying separation in PCA/PLS-DA scores plots. Analytical biochemistry 2013, 433 (2), 102-104.

136.	Klein, C. J.;  Stanek, G. S.; Wiles, C. E., 3rd, Overfeeding macronutrients to critically ill adults: metabolic complications. J Am Diet Assoc 1998, 98 (7), 795-806.

137.	Mahmud, I. A.-O.;  Kabir, M.;  Haque, R.; Garrett, T. A.-O. X., Decoding the Metabolome and Lipidome of Child Malnutrition by Mass Spectrometric Techniques: Present Status and Future Perspectives.  (1520-6882 (Electronic)).

138.	Squali Houssaïni, F. Z.;  Foulon, T.;  Payen, N.;  Iraqi, M. R.;  Arnaud, J.; Groslambert, P., Plasma fatty acid status in Moroccan children: increased lipid peroxidation and impaired polyunsaturated fatty acid metabolism in protein-calorie malnutrition. Biomedicine & Pharmacotherapy 2001, 55 (3), 155-162.

139.	Hansen, S. E. J.;  Madsen, C. M.;  Varbo, A.; Nordestgaard, B. G., Body Mass Index, Triglycerides, and Risk of Acute Pancreatitis: A Population-Based Study of 118 000 Individuals. The Journal of Clinical Endocrinology & Metabolism 2019, 105 (1), 163-174.

140.	Dean, J. M.; Lodhi, I. A.-O., Structural and functional roles of ether lipids.  (1674-8018 (Electronic)).

141.	<nutrient-requirements-for-horses.pdf>.

142.	Heusner, G. In Ad libitum feeding of mature horses to achieve rapid weight gain, Proc. 13th Equine Nutr. Physiol. Symp., Gainesville, FL, 1993; p 86.

143.	Weaver, K.;  Feldman, M.;  Stewart, C.; Thayer, T., Metabolic responses of chronically starved horses to refeeding with three isoenergetic diets. J Am Vet Med Assoc 1998, 212, 691-696.

144.	Bazurto, J. V.;  Dearth, S. P.;  Tague, E. D.;  Campagna, S. R.; Downs, D. M., Untargeted metabolomics confirms and extends the understanding of the impact of aminoimidazole carboxamide ribotide (AICAR) in the metabolic network of Salmonella enterica. Microb Cell 2017, 5 (2), 74-87.

145.	Pang, Z.;  Chong, J.;  Zhou, G.;  David, A.;  Chang, L.;  Barrette, M.;  Gauthier, C.;  Jacques, P.-É.;  Li, S.; Xia, J., MetaboAnalyst 5.0: narrowing the gap between raw spectra and functional insights. Nucleic Acids Research 2021, 49 (W1), W388-W396.

146.	Krevelen, V., Graphical-statistical method for the study of structure and reaction processes of coal. Fuel 1950, 29, 269-284.

147.	Rivas-Ubach, A.;  Liu, Y.;  Bianchi, T. S.;  Tolić, N.;  Jansson, C.; Paša-Tolić, L., Moving beyond the van Krevelen Diagram: A New Stoichiometric Approach for Compound Classification in Organisms. Anal Chem 2018, 90 (10), 6152-6160.

148.	Kew, W.;  Blackburn, J. W.;  Clarke, D. J.; Uhrin, D., Interactive van Krevelen diagrams - Advanced visualisation of mass spectrometry data of complex mixtures. Rapid Commun Mass Spectrom 2017, 31 (7), 658-662.

149.	Kendrick, E., A Mass Scale Based on CH2 = 14.0000 for High Resolution Mass Spectrometry of Organic Compounds. Anal Chem 1963, 35 (13), 2146-2154.

150.	Hughey, C. A.;  Hendrickson, C. L.;  Rodgers, R. P.;  Marshall, A. G.; Qian, K., Kendrick Mass Defect Spectrum:  A Compact Visual Analysis for Ultrahigh-Resolution Broadband Mass Spectra. Anal Chem 2001, 73 (19), 4676-4681.

151.	Wu, Z.;  Rodgers, R. P.; Marshall, A. G., Two- and Three-Dimensional van Krevelen Diagrams:  A Graphical Analysis Complementary to the Kendrick Mass Plot for Sorting Elemental Compositions of Complex Organic Mixtures Based on Ultrahigh-Resolution Broadband Fourier Transform Ion Cyclotron Resonance Mass Measurements. Anal Chem 2004, 76 (9), 2511-2516.