Additively manufactured lattice-based enhanced heat transfer concepts for superior particle-to-supercritical carbon dioxide heat exchanger for CSP applications

A Dissertation Presented for the Doctor of Philosophy Degree

The University of Tennessee, Knoxville

Prashant Singh (Chair)

Wei Wang

Andy Sarles

Tony Schmitz

Kivanc Ekici

Heejin Cho (UNLV)

Youssef Aider

September 2024

ABSTRACT

This research investigates the enhancement of heat transfer in packed bed heat exchangers using additively manufactured novel lattice structures, with applications in concentrated solar power (CSP) plants. The study encompasses multiple stages, examining various lattice topologies and their impact on heat transfer and fluid flow characteristics.

Initially, four lattice topologies (Octet, FD-Cube, Tetrakaidecahedron, and Cube) were investigated using air as the working fluid. The research revealed that lattices provided 10-20 times higher heat transfer augmentation compared to smooth channels. A unified correlation for Nusselt numbers as a function of Reynolds numbers was developed, applicable across all studied configurations. Utilizing additively manufactured lattices in 420 Stainless Steel. The study evaluated conjugate heat transfer capabilities, effective thermal conductivity, and forced convective heat transfer performance. Results indicated that the Cube topology provided the best overall thermal hydraulic performance. Further research explored a novel moving packed bed heat exchanger with Octet lattice structures for CSP applications. Granular flow analysis, conducted through experiments and DEM-based simulations, revealed complex flow phenomena within the lattice structures.

The final stage characterized heat transfer in additively manufactured Octet-shaped lattice frame materials using particles and air as working fluids. The presence of lattices enhanced effective thermal conductivity by 2-4 times compared to particle-only packed beds, achieving high convective heat transfer coefficients ranging from 200-400 W/m²K.

This comprehensive study demonstrates the potential of additively manufactured lattice structures in significantly improving heat transfer performance in packed bed heat exchangers, with promising applications in CSP plants.

Table of Contents

Chapter One : GENERAL INTRODUCTION & Literature Review	1

References	15

Chapter Two : Periodic heat transfer characteristics of additively manufactured lattices	25

Abstract	25

Introduction	26

Geometric details of the test samples	31

Experimental setup	33

Experimental method and data reduction	35

Forced convection experimental procedure	35

Heat loss measurements	36

Data reduction for heat transfer coefficient	37

Results and discussion	39

Benchmarking heat transfer data	39

Mean heat transfer characteristics	42

Heat transfer augmentation	51

Pressure drop characteristics	52

Pumping power requirements	54

Thermal-hydraulic performance (THP)	55

Conclusions	56

Numeclature	58

Greek symbols	59

Subscripts	59

References	60

Chapter Three : Thermal-Hydraulic Performance of Additively Manufactured Lattices for Gas Turbine Blade Trailing Edge Cooling	64

Abstract	64

Nomenclature	65

Greek symbols	67

Introduction	67

Description of the test samples	73

X-ray Computed Tomography (CT)	75

Experimental set-up	76

keff  experiments	76

Forced convection experiments	77

Experimental method and data reduction	78

Results and discussion	80

keff measurements	80

Heat transfer coefficient vs mean flow velocity	83

Nusselt number enhancement values vs Reynolds number	86

Pressure drop characteristics	89

Heat transfer coefficient vs pumping power	92

Thermal-hydraulic performance	93

Conclusions	97

References	98

Chapter Four : Granular flow in novel Octet shape-based lattice frame material	104

Abstract	104

Introduction	104

Experimental setup and computational domain	111

Particle characteristics	114

Discrete element method (dem) procedure	115

Numerical setup	120

RESULTS AND DISCUSSION	123

Calibration of sliding friction coefficient for DEM simulations	123

Rolling friction models	124

Instantaneous flow characteristics	124

Effect of porosity on the mass flow rate	127

Effect of particle diameter on the mass flow rate	129

Conclusions	130

Acknowledgments	131

Nomenclature	132

Greek symbols	132

Abbreviations	133

Superscript	133

References	133

Chapter Five : Heat Transfer Characteristics of Particle and Air Flow Through Additively Manufactured Lattice Frame Material Based on Octet-Shape Topology	141

Abstract	141

Introduction	142

Experimental setups and measurement techniques	145

Effective thermal conductivity test samples, experimental setup and keff measurement procedure	145

Forced convection setup with air as working fluid, and heat transfer coefficient calculation procedure	148

Particle heat transfer test facility and heat transfer coefficient calculation procedure	151

Particle size distribution and particle packing in AM lattice parts	154

Uncertainty analysis	154

Results and discussion	155

5Effective Thermal Conductivity (keff)	155

Forced convection with air as working fluid	157

Forced convection with particle as working fluid	158

Conclusions	162

Nomenclature	163

Greek letters	164

Abbreviations	164

Acknowledgments	165

References	165

Chapter Six : Conclusions and Recommendations for future work	170

LIST OF TABLES

Table 2.1 Measured porosity and designed fiber diameter of the investigated RUC	33

Table 2.2 Correlation cRedh   m for Octet, FD-Cube, and TKD under different heating conditions	44

Table 2.3 Correlation cRedhm for Cube under different heating conditions	45

Table 2.4 Pore diameter of different RUC topologies	47

Table 2.5 Correlation cRedp  m for all investigated topologies under different heating conditions	48

Table 2.6 Correlation cRedf  m for all investigated topologies under different heating conditions	50

Table 2.7 Values of coefficients in correlation  Nu=cRem  for different characteristic length scales	50

Table 3.1 Fiber diameter and measured bulk porosity of the investigated samples	75

Table 3.2 Comparison of keff/ks obtained from experiments and computations	81

Table 4.1 Mean diameter values of three different particle types experimentally investigated	114

LIST OF FIGURES

Figure 2.1 Four representative unit cell (RUC) topologies of the investigated samples	33

Figure 2.2 Dimensions of the printed samples	33

Figure 2.3 Schematic of the experimental setup (not drawn to scale)	34

Figure 2.4 Schematic of the lattice sample and test-section assembly (not drawn to scale)	35

Figure 2.5 Streamwise distribution of Nusselt number in the smooth channel	40

Figure 2.6 Streamwise distribution of Nusselt number in the smooth channel	41

Figure 2.7 Mean total and forced heat transfer coefficient under both wall and only bottom wall heated conditions	42

Figure 2.8 Mean total and forced heat transfer coefficient under both wall and only bottom wall heated conditions	43

Figure 2.9 Nusselt number as a function of Reynolds number based on channel hydraulic diameter	45

Figure 2.10 Pore diameters (dp) corresponding to the largest sphere that could pass through the voids of (a) Octet, (b FD-Cube, (c) Tetrakaidecahedron, and (d) Cube	48

Figure 2.11 Pore diameter based Nusselt number as a function of Reynolds number	48

Figure 2.12 Fiber diameter based Nusselt number as a function of Reynolds number	50

Figure 2.13 Comparison of values predicted from correlations with the values obtained from experiments	51

Figure 2.14 Nusselt number enhancement with respect to smooth channel Dittus-Boelter correlation	52

Figure 2.15 Conjugate heat transfer coefficient as a function of pumping power requirement	54

Figure 2.16 Conjugate heat transfer coefficient as a function of pumping power requirement	55

Figure 2.17 Thermal-hydraulic performance based on conjugate Nusselt number in reference to the Reynolds number	56

Figure 3.1 Schematic of the turbine blade [3.1]; also shown is the lattice structure design for the trailing edge cooling section	73

Figure 3.2 Test samples additively manufactured in 420 Stainless Steel with Bronze infiltration via Binder Jetting process	74

Figure 3.3 (a) Unit cell topologies of the investigated samples, (b) schematic of the samples showing important dimensions	74

Figure 3.4 CT-scan reconstruction of (a) Octet, and (b) TKD samples	76

Figure 3.5 Schematic of the experimental set-up, (b) test-section along with attached diffuser section for smooth flow transition, (c) schematic of the heater-lattice assembly used for the test-runs	77

Figure 3.6 Variation of keff/ks with respect to the supplied heat flux	81

Figure 3.7 Solid and fluid temperature contours for topologies with designed porosities for (left to right)- Cube, FD-cube, TKD, and Octet	83

Figure 3.8 Heat transfer coefficient as a function of the mean flow velocity with heating on (a) both the walls, and (b) single wall	85

Figure 3.9 Nusselt number enhancement values for heating on (a) both the walls, and (b) single wall, with respect to thermally fully developed flow in smooth channel as predicted by Dittus-Boelter correlation	87

Figure 3.10 Nusselt number enhancement values for heating on (a) both the walls, and (b) single wall, with respect to thermally developing flow in a smooth channel	89

Figure 3.11 (a) Pressure gradient vs mean flow velocity, and (b) friction factor vs Reynolds number	91

Figure 3.12 Friction factor augmentation vs Reynolds number	92

Figure 3.13 Heat transfer coefficient vas pumping power requirements with heating on (a) both the walls, and (b) single wall	93

Figure 3.14 Thermal-hydraulic performance with respect to Reynolds number with heating on (a) both the walls, and (b) single wall considering fully developed flow conditions	94

Figure 3.15 Thermal-hydraulic performance with respect to Reynolds number with heating on (a) both the walls, and (b) single wall considering developing flow conditions	96

Figure 3.16 Comparison of THPs of the investigated samples with prior publications. Nuntakulamarat et al. [3.39], Rao et al. [3.40], Parbat et al. [3.13]	96

Figure 4.1 Schematic of the falling-particle receiver system coupled with power cycle [4.2]	106

Figure 4.2 (a) Schematic of experimental set-up used for granular flow visualization (not drawn to scale), (b) additively manufactured Octet lattice packed between enclosure of acrylic glass	112

Figure 4.3 Geometrical dimensions of the hopper and lattice section in the computational domain	112

Figure 4.4 Particles settled in the hopper before being discharged through the Octet lattice	116

Figure 4.5 Particle-size distribution profiles	116

Figure 4.6 Spring-dashpot model for interaction in the normal and tangential directions	117

Figure 4.7 Comparison of mass flow rates obtained from DEM simulations for three different particle-wall sliding friction coefficients against the experimental data	123

Figure 4.8 Comparison of mass flow rates obtained from DEM simulations for two different rolling friction models	124

Figure 4.9 Instantaneous images of the free-fall of particles in three different lattices taken during experiments	125

Figure 4.10 (a) Instantaneous image of the free-fall of particles from DEM simulations with particles colored with their local flow velocities, (b) zoomed-in view of the front side of the channel, and (c) zoomed-in side view of the channel	126

Figure 4.11 Image of the particles taken after the completion of the DEM simulation showing accumulation in the junction regions	127

Figure 4.12 Temporal evolution of mass flow rate profiles for three lattice porosities obtained from DEM simulations	128

Figure 4.13 (a) Experimentally obtained mass flow rates for three different particle batches as a function of lattice porosity, (b) comparison of mean mass flow rates obtained from the experiments and DEM simulations for CP 30/60 particles as a function of lattice porosity	129

Figure 4.14 Experimentally obtained mass flow rates for three different lattice porosities as a function of particle diameter	130

Figure 5.1 Concentrating solar power plant [5.2] and representation of particle-to-sCO2 heat exchanger; present study focused on particle-side heat transfer enhancement	144

Figure 5.2 Three samples of different porosities tested for effective thermal conductivity (dimensions in top figure in mm, scale in sample images in inches)	146

Figure 5.3 (a) Experimental setup for keff determination, (b) unidirectional heat flow obtained via patch heater and cold sink (bottom)	147

Figure 5.4 (a) Schematic of the experimental setup (not drawn to scale), (b) zoom-in view of heat transfer section, (c) additively manufactured sandwich-type Octet panel in SS316L	149

Figure 5.5 Particle heat transfer test facility	152

Figure 5.6 Particle heat transfer test facility	154

Figure 5.7 Effective thermal conductivity of Octet lattice (void space occupied by air)	156

Figure 5.8 Effective thermal conductivity of Octet lattice (void space occupied by particles) and keff enhancement factor (η) with respect to packed bed of particles	157

Figure 5.9 Heat transfer coefficient in the periodic regime, variation presented with respect to average air flow velocity (measured at the inlet of the porous section) [channel diameter-based Reynolds numbers varied between 3,000 and 13,000 for SS316L and SS420 samples]	158

Figure 5.10 Transient convective heat transfer coefficient at five different locations in the streamwise direction for three particle types (Octet panel porosity of 0.88, SS316L), (a) CP 40/100, (b) CP 30/60, (c) HSP 20/40	160

Figure 5.11 Time-averaged heat transfer coefficient in the periodic heat transfer regime, variation presented with respect to particle diameter	161

Figure 5.12 (a) Time-averaged convective heat transfer coefficient variation with streamwise location, (b) enhancement factor of heat transfer coefficient with respect to streamwise location	162

# :
GENERAL INTRODUCTION & Literature Review

The renewable energy sources, including wind, solar, hydro, and geothermal, have been extensively investigated in many geographical areas worldwide. According to International Energy Agency (IEA), the contribution of renewable energy sources to worldwide electricity generation is rapidly increasing with 38% share recorded in 2022 [1.1]. Solar energy has become the predominant form of clean energy due to its widespread availability throughout the year. According to the IEA, solar energy accounted for 10.3% of worldwide electricity output in 2022. It is expected that solar energy would have the most substantial growth in the foreseeable future, mostly attributed to the ongoing reduction in the cost of solar energy-based power generation. According to IEA, there is a projected increase in global solar capacity from 843 gigawatts (GW) in 2022 to 2,800 GW by 2030 [1.2]. It is projected that the solar market in the United States would experience a threefold increase in size by the year 2028, resulting in the installation of approximately 375 GW of solar power [1.3,1.4]. As of now, solar photovoltaic (PV) stands as the most economically viable technology and is a prevalent method for harnessing solar energy. CSP is anticipated to have a substantial impact, particularly in large-scale solar initiatives. Concentrating Solar Power (CSP) plants have the capability to offer dependable and dispatchable electricity, which is of utmost importance in ensuring the stability of the power grid. Furthermore, CSP technology exhibits an advantage over PV due to its ability to facilitate thermal energy storage (TES), whereas PV technology involves the use of costly batteries.

The predominant form of TES technology employed in CSP facilities is based on molten salts. This system effectively stores thermal energy by utilizing a mixture of sodium nitrate and potassium nitrate in a molten state. Molten salts have the capability to attain elevated temperatures, reaching up to 565C. This characteristic enables molten salt TES systems to store large amounts of energy and generate electricity over prolonged durations, including during the absence of solar radiation. Some examples of current CSP power storage projects include the Andasol Solar Power Facility in Spain, the Crescent Dunes Solar Power Plant in Nevada USA, and the Noor Energy Complex in Morocco, which have molten salt TES systems capable of storing enough energy to generate electricity for 7.5, 10, and 7 hours without sunlight, respectively [1.5]. Despite being extensively utilized in modern CSP facilities, the implementation of molten salt encounters various obstacles, including its high cost [1.6], corrosive effects on CSP components [1.7], and the possibility of system malfunctions arising from salt solidification [1.8]. Furthermore, the existing molten salt technique is based on a binary composition including 60% sodium nitrate (NaNO3) and 40% potassium nitrate (KNO3), which exhibits a tendency to deteriorate when subjected to temperatures over 565C [1.9]. These issues inhibit the employment of molten salt-based solutions in operational environments with temperatures exceeding 700C- a critical need to advance the levelized cost of electricity targets for solar-based power generation. Higher operating temperatures augment power generation efficiency by improving the thermodynamic efficiency of the power cycle.

The ongoing development of next generation CSP facilities, also referred to as Gen3 CSP plants in the U.S., aims to enhance the efficiency, cost-effectiveness, and reliability of CSP technology. Gen3 CSP plants in the U.S. aim to operate at elevated temperatures [1.10], have alternative heat transfer fluids such as more thermally stable molten salts [1.11] and utilize supercritical fluids (SCFs), advanced solar collectors, and innovative thermal energy storage devices [1.12]. Gen3 CSP was launched by the U.S. Department of Energy (DOE) in 2017 with the primary objective to achieve a significant reduction in the cost of energy generated by CSP below $0.05 per kilowatt-hour (kWh) by 2030 [1.13]. The Gen3-CSP plants will be required to operate at temperatures over 700°C [1.14], leading to enhanced efficiency in electricity generation. The operation at elevated temperatures enables the exploitation of power cycles that are considerably more efficient, employing alternative working fluid, i.e., supercritical carbon dioxide (sCO2) as opposed to traditional steam. sCO2-based power cycles have the potential to exhibit superior thermal efficiencies compared to the traditional steam-based cycles. sCO2 exhibits non-flammability and chemical stability at elevated temperatures. The process of CO2 condensation during heat rejection facilitates seamless integration with heating and cooling systems, hence enabling the combined, generation of power and heating/cooling functionalities.

The integration of sCO2-based power cycles into the CSP technology shows promising outcomes towards the DOE’s goals of levelized cost of electricity (LCoE) of $0.05/kWh [1.13]. The heat transfer media (HTM) research is divided in three categories/ pathways: (1) liquid pathway (molten salts), (2) particle pathway, and (3) gas phase pathway, among which, the particle pathway is considered the most promising. Further technology maturation in the particle pathway is subjected to some challenges, which includes the difficulty in efficiently heating the particles at the solar receiver, efficiently extracting the thermal energy from the particles and its transfer to the cold side of the heat exchanger, erosion, attrition, conveyance, and parasitic loss. In addition to that, ceramic particles that are known for their high solar absorptivity and thermal stability, tend to have low intrinsic thermal conductivity [1.15,1.16]. Due to the low thermal conductivity, significant improvements in heat transfer at the particle side of the heat exchanger are required to maximize the performance of the particle-to-sCO2 heat exchanger and hence boost the power plant's efficiency. One of the configurations for particle-to-sCO2 heat exchanger, is shell-and-plate, where particles move between adjacent parallel plates under the influence of gravity in a packed bed manner and is commonly known as moving packed bed heat exchanger (MPBHE) [1.17]. Note that MPBHEs can also be found in shell-and-tube configurations, however, the shell-and-plate configuration is considered more suitable than the former, in terms of factors such as, cost, heat transfer, structural reliability, manufacturability, parasitic losses, scalability, erosion etc. [1.18].

The MPBHEs are widely utilized in a variety of applications including heat recovery, solid drying, filtration, and thermochemical conversion [1.19]. In context with particle-to-sCO2 heat exchangers, the heat exchanged between the moving packed bed with the parallel plates is poor, due to low inherent thermal conductivity of the packed bed of particles in motion, improper contact between particles and walls, and void space between the particles even in moving packed bed configuration. Fang et al. [1.20] explored a parallel shell-and-plate design, and found that the distance between the heat transfer plates (channel width) significantly influences the heat transfer between the particles and the fluid. The authors observed that narrow channel leads to a higher local heat transfer coefficient. Isaza et al. [1.21,1.22] presented analytical solutions for the heat transfer in parallel plate heat exchanger in both co-current [1.21] and counter-current configurations [1.22], under simplified conditions where the moving solid bed was considered as a homogeneous medium under local thermal equilibrium. The results underscored the impact of the Biot number on the temperature gradient near the walls, highlighting the importance of particles’ effective thermal conductivity on the heat exchanger's performance. The study also affirmed that a smaller width between the plates enhances the heat transfer coefficient. However, flow visualization revealed that extremely narrow distances between the plates could lead to temporary particle bridging, impeding the flow which leads to poor heat transfer performance. Besides the plate width, the particle thermal conductivity and void fraction were found to significantly affect the thermal performance of a parallel plate heat exchanger.

Yin et al. [1.23] demonstrated that an increase in particle diameter resulted in increased effective thermal conductivity of the packed bed, albeit at the expense of a reduced overall heat transfer coefficient. Conversely, a higher particle void fraction led to a decrease in both the effective thermal conductivity and the overall heat transfer coefficient. An experimental study by Maskalunas et al. [1.24] showed that a heat transfer coefficient of 350 W/m2K can be achieved. The experiments were conducted with silica sand particles of varying diameters moving between heated parallel plates, simplified the measurement of the heat transfer coefficient as it obviated the need for heating the particles. Despite the promising findings, most research on parallel plate heat exchangers has primarily focused on the effects of particle properties and the distance between the plates, leaving room for further exploration. The simplicity of the parallel plate heat exchanger design makes it a promising candidate for their implementation in CSP power plants’ particle-to-sCO2 heat exchangers. However, as mentioned above, the convective heat transfer between the MPB and parallel plates is generally low. Further, a long parallel plate channel leads to the development of thermal boundary layer, which increases in size, resulting in inferior heat transfer. One way to address this issue was proposed in [1.17] through incorporation of smaller banks, however, this design feature comes at a significant upfront cost, as well as higher accumulated operational and maintenance costs.

Literature review suggests that low heat transfer coefficient on the particle side is considered a bottleneck in the employment of shell-and-plate configuration with MPB for particle-to-sCO2 heat exchanger. The particle side thermal transport can be increased by modifying the parallel plate configuration for a fixed channel width. The first design consideration is channel width since particle heat transfer significantly depends on this factor. This parameter also affects the reliability in the particles’ flowability, if reduced below a certain level for a given particle size distribution. To this end, particle channel widths between 4-10 mm have potential, as currently, the most explored particle diameter varies between 100-500 microns. Now, for a certain channel width, the parallel plate domain needs to be modified, to achieve higher thermal transport. One way to enhance heat transfer between the moving packed and the parallel plates, is to install obstacles/bluff bodies such that particles interact with them and move around them, which causes local velocity enhancement and increases the conjugate heat transfer capabilities. Although there have been some limited computational studies on understanding the MPB flow around obstructions, they are mostly inspired by the shell-and-tube arrangement, where particles move in the shell and the tubes carry a suitable working fluid. In a shell-and-plate configuration, particles moving between two parallel plates and secondary fluid to which heat is to be transferred moves in minichannels bonded on the parallel plates. The fundamental studies on MPB around obstructions can be leveraged to develop advanced concepts for shell-and-plate particle-to-sCO2 heat exchanger, with a focus on enhancing the particle-side heat transfer coefficient.

Deng et al. [1.25] carried out experimental and numerical study on MPB of particles through staggered arrangement of circular tubes. Through discrete element modeling (DEM), the high and low velocity zones of particles were identified, where typically, the zones above the pins had low particle flow velocities, while particles moved faster in between two adjacent pins. An experimental study was conducted by Dai et al. [1.26], where the authors studied the movement of three types of particles, with one of them being glass beads, around circular obstruction. A similar trend on high and low velocity zones as observed in [1.25] was observed by the authors in [1.26]. In [1.26], the void zones were also identified around the circular obstruction, where particles were not present. Such zones are detrimental to heat exchange between particles and circular walls. A combined particle image velocimetry (PIV) and DEM study was carried out by Bartsch and Zunft [1.27], where this void region just downstream of the cylindrical pin was studied in detail for a staggered arrangement of cylindrical obstructions. It was shown that particle velocity increased around the sides of the cylinders, while two distinct low heat transfer zones were also identified. These zones correspond to the area right above the cylinders where particle motion is effectively non-existent, and the other zones is the region right downstream of the cylinders which does not even feature particles. These zones can be called ‘dead/stagnant’ and ‘void’ zones, respectively. One approach to address the so called ‘dead’ and ‘void’ zones is to modify the circular profile of the obstruction. Tian et al. [1.28] studied circular, elliptical and hexagonal tubes through DEM, to characterize the MPB flow and heat transfer around these obstructions. The elliptical shape alleviated some of the stagnation concerns, while significantly improving the void zone, particularly when the ellipse was elongated in the direction of MPB. In a follow-up study, the authors in [1.28] carried out a DEM study [1.29] on a trapezoidal obstruction with smoothened corners, and reported a 14% increase in heat transfer compared to parallel plate.

Literature review on the methods to enhance heat transfer between moving packed bed through obstruction suggests that very limited studies have been carried out, with most studies on shell-and-tube configuration which involves long tubes resulting in two-dimensional flow around the tubes. The studies carried out on the obstructions in context with the shell-and-plate heat exchangers, where a solid pin joins the two parallel plates, are also sparse, and largely limited to computations. Furthermore, the effect of spacing of two parallel plates on heat transfer is profound, and this aspect is not studied in reference to obstructions’ employment in closely spaced parallel plates. To this end, we have carried out a comprehensive experimental study to understand the fundamental flow and thermal transport of MPB of particles through an inline arrangement of cylindrical obstructions, where the plate spacing was varied between 3 to 7 mm, which represents the state-of-the-art shell-and-plate heat exchangers. The particles’ flow-field near the wall is captured through a novel optical flow method, and the local heat transfer coefficient is determined by carrying out quasi steady state experiments. Following sections provide details on the different experimental setups employed for the study of flow and thermal transport of MPB of particles, test section details, flow, and heat transfer measurement technique, followed by uncertainty analysis, results and their discussion, and concluding remarks.

Lattice structures have emerged as a promising alternative to open-cell metal foams for enhancing heat transfer in various engineering applications. The periodic and well-defined geometry of lattice structures offers distinct advantages over the random organization of fibers/struts in metal foams. The regular arrangement of struts in lattice structures results in desired flow distribution in the passages and controlled flow mixing. Additionally, the interconnected network of struts provides high specific surface area, which is crucial for effective heat exchange between the solid and fluid phases. Numerous experimental and numerical studies have been conducted to investigate the hydraulic and thermal properties of lattice structures. Truss-based lattice structure is a class of cellular materials that is characterized by an organized arrangement of interconnected struts or walls, delineating a network of voids. These structures, which are composed of interconnected struts or plates, exhibit high strength-to-weight ratios and high surface area-to-volume ratios, making them attractive for lightweight and multi-functional designs [1.30]. The lattice struts are connected to form a stable three dimensional structure that can withstand large mechanical loads . These type of structures are also used in the construction of bridges, towers, and other large structures . Lattice structures have garnered significant attention in various engineering applications due to their unique properties and the advantages they offer over conventional structures. Lattice structures can be tailored to achieve specific mechanical properties, such as high compressive strength, excellent elastic isotropy, and high specific energy absorption, by optimizing their geometrical parameters [1.31]. These structures often present higher porosities leading to improved fluid flow and heat transfer for air and particles [1.32,1.33].  It is known that truss-based lattice structures offer a better buckling resistance compared to other types of lattice structures such as reinforced grid-like and bio-inspired lattices due to their unique design achieved through inverse methods [1.34]. Truss-based lattices such as octet truss and plate-hybrid lattices, offer superior elastic isotropy and energy absorption compared to other lattice structures due to their unique design and material alignment [1.31]. In addition, these types of the structures have an important advantage of being self-supporting during additive manufacturing which is helpful in building complex shaped lattice-based heat exchangers. Due to their superior structural strength and lightweight nature, lattice structures can be designed with topology optimization technique to reduce the weight and material usage, thereby reducing the unit cost of production and manufacturing time [1.35,1.36]. Additive Manufacturing (AM) techniques, particularly Electron Beam Melting (EBM), are widely used due to their ability to directly manufacture complex 3D models, including lattice structures with intricate geometries [1.37–1.39]. This process is well-suited for creating lightweight structures with superior mechanical properties, such as the octet-truss lattice structure [1.40]. To overcome the limitations of traditional AM processes and enhance the energy absorption capabilities of truss-based lattices, hybrid manufacturing approaches have also been developed. For example, a combination of AM and metal casting has been used to produce aluminum alloy lattice structures, which were then experimentally evaluated for their performance under different compressive loads [1.41]. This hybrid approach combines the design freedom of AM with the material properties of cast metals to optimize the specific internal energy absorption of the structures [1.42].

The performance of truss-based lattice structures is greatly influenced by critical design parameters, such as the topology of the unit cell, the overall porosity of unit cell, physical size of the unit cell which determines the strut diameter, and their arrangement in three dimensions [1.37,1.43,1.44]. The effective properties of lattice trusses are significantly determined by structural factors, including the Maxwell stability parameter, the coordination number, and the truss thickness [1.45]. Moreover, the porosity level in lattice structures plays a vital role in the osseointegration and load-bearing capacity of implants [1.34]. By optimizing these variables, it is possible to enhance the specific internal energy and overall performance of lattice structures, thereby increasing their efficiency in various applications, such as energy absorption and medical implants. In addition, recent advancements in computational technologies have facilitated the refinement of lattice structure designs to address specific requirements, further improving their performance and functionality.

Truss-based lattice structures are also known for their effective heat dissipation capabilities. The enhancement in heat transfer can be attributed to their unique design and structure. The lattice structure helps in increasing the surface area for heat exchange with the surrounding fluid, resulting in improved thermal performance [1.46,1.47]. The use of these structures in heat exchangers has the potential for developing more efficient and effective thermal systems [1.48]. The high effective thermal conductivity achieved with the addition of lattice structure is also an important aspect of enhancing the overall heat transfer. The effective thermal conductivity is inversely proportional to the unit cell porosity. Further, for forced convection applications which involves pumping of fluid, the pressure drop is also inversely proportional to the lattice porosity. Hence, there exists a trade-off between achieving high effective thermal conductivity and low pressure drop – both cannot be achieved simultaneously. AM-based fabrication provides the design freedom to explore moderate porosity levels to strike a balance between gain in heat transfer with the penalty on pressure drop. Further, the truss-based lattice structures can be strong and lightweight, which means they can support a lot of weight without being heavy while having high stiffness, meaning they don’t bend easily [1.43], which is useful for manufacturing high pressure/high temperature heat exchangers.

From the multifunctional property perspective, the commonly explored unit cell topologies include cubic, octet, BCC, Octahedron, among others [1.49]. Each topology has its own distinct characteristics, such as mechanical strength, stiffness, and heat transfer performance. The choice of unit cell topology depends on the specific requirements of the application, such as load-bearing capacity, effective thermal conductivity, interstitial heat transfer coefficient, permeability, and inertial coefficient. Our previous experimental work on the thermal and flow transport characteristics of additively manufactured lattice structures   involved the study of four-unit cell topologies: Octet, FD-Cube, Tetrakaidecahedron (TKD), and Cube. It was found that Octet provided the highest heat transfer performance, while Cube yielded the lowest values. These studies contribute to understanding the influence of topology, porosity, and manufacturing methods on the thermal-hydraulic characteristics of lattice structures for heat transfer applications. Numerical study on the conjugate heat transfer performance and pressure drop of TKD, Octet, and Dodecahedron at a fixed lattice porosity of 0.9 showed that the TKD lattice exhibited the highest overall wall heat transfer coefficient and the lowest pressure drop, while octet lattice had the highest flow resistance. The conjugate heat transfer coefficient was found to be dependent on the thickness of struts in contact with the endwall, unit cell topology, and flow velocities/Reynolds number [1.50]. A study by Narkhede et al. [1.51] showed that when comparing the heat transfer performance of tetrahedral and pyramid lattices at a unit cell length-to-lattice truss diameter ratio (L/D) of 5, the tetrahedral topology offered less pressure drop compared to the pyramidal lattice topology due to fewer lattice members per unit cell. In addition to unit cell topology, the diameter and length of the struts within the lattice structure play a crucial role in determining its properties. For instance, strut diameter and length can influence the temperature field and cooling rate by affecting the heat transfer paths and induce localized temperature variations [1.52]. The struts’ diameter and length also affect the porosity. In general, it is known that high porosity allows easier fluid flow or low pressure drop. The impact of lattice porosity on heat transfer is both significant and multifaceted as some authors have delved into the role of porosity in enhancing or reducing heat transfer within porous media [1.53]. The permeability of various structures are greatly influenced by their porosity, with ordered structures exhibiting higher permeability compared to their randomized counterparts [1.54]. Furthermore, the geometry of the pores also play a crucial role in natural convection, as certain shapes have been shown to lead to increased Nusselt numbers [1.55].

In addition to topology, strut diameter and length, the choice of material for the truss-based lattice structure significantly affects its thermal and mechanical properties. Common materials include metals (e.g., aluminum, copper, steel), polymers, and ceramics. The material's thermal conductivity, specific heat capacity, and mechanical strength should be considered when selecting the appropriate material for the application. In our previous study on lattice heat transfer [1.32], we have tested the effective thermal conductivity and heat transfer coefficient of both air and particle flow through Octet lattice structure. The results showed that lattice structure manufactured from Stainless Steel 420 (SS420) resulted in superior heat transfer coefficient measurement and effective thermal conductivity for both air and particles as working fluid or convective agents. The octet-truss lattice offers a promising framework for optimizing mechanical properties and porosity in various applications. Such control over structural characteristics is a testament to the adaptability of lattice designs when facing diverse functional demands. This adaptability is equally crucial when considering thermal applications, where heat transfer mechanisms play a defining role in the performance and efficiency of a system [1.56]. Furthermore, the octet-truss lattice can be combined with other structural elements, such as plates, to create hybrid lattice structures that exhibit excellent elastic isotropy, high compressive strength, and high specific energy absorption [1.31].

Lattice structures’ interaction with moving packed bed of particles

Transitioning from the macro design elements of lattice structures to the microscopic interactions within particle heat transfer, we encounter a multifaceted arena of thermal dynamics. The fundamental mechanism of particle heat transfer is complex since it involves conduction between interacting particles, conduction between particle and wall, convection between particle and fluid, as well as radiation between the particles. Additional factors can influence the heat transfer in each of these fundamental mechanisms such as dispersed phase heat transfer which becomes more important in fluidized beds, packed bed density, and gas layer induced between particle MPB and heat transfer walls [1.57–1.59]. Here, the understanding of heat conduction through solids, a process governed by temperature gradients and the thermal conductivity of the materials, is imperative, along with the lattice's ability to influence flow and thermal pathways [1.57–1.59]. The subsequent section delves into these intricacies, detailing the fundamental mechanisms of particle heat transfer and the consequential effects of lattice integration.

Multiple factors influence the heat transfer of particles in packed beds, such as particle thermal conductivity, specific heat capacity, particle diameter, heat transfer surface material, and the distance between heat transfer plates in parallel plate moving packed bed (MPB) heat exchangers. An analytical solution to heat transfer in packed bed was provided by Isaza et al. [1.60] for a counter current parallel plate heat exchanger. It was shown that that the heat transfer is influenced by the Biot number, the heat capacity ratio, and the number of transfer units (NTU). The thermal conductivity of particle, mean particle diameter and particle size distribution affects the conduction heat transfer [1.61]. Zhang et al.  used the discrete element method (DEM) for simulating individual particle flow, coupled with a heat transfer model to study the effect of particle size distribution (PSD) on heat transfer in moving packed bed heat exchangers. The authors found that wider PSD enhances particle size segregation and flow instability around a circular tube, which positively affects particle renewal in the stagnation zone and reduces local heat transfer resistance, resulting in up to ~10% increase in the total heat transfer coefficient between particle flow and the tube wall. Furthermore, a binary distribution PSD showed a ~30% increase in heat transfer compared to mono-sized PSD. Overall, it was shown that smaller particle size provide higher heat transfer coefficient [1.62]. On the other hand, an increase in particle diameter showed an increase in the effective thermal conductivity of the packed bed [1.63].  Common methods for modeling and simulating particle heat transfer include Discrete Element Method (DEM)  and continuum modeling [1.64,1.65]. DEM is widely used to study particle flow and heat transfer in various geometries, such as tubes and plates. Continuum modeling is employed to investigate heat transfer in moving packed-bed heat exchangers. The contact resistance between particles and the wall affects the overall heat transfer coefficient [1.59,1.66]. In addition to that, particle flow around circular surfaces is affected by stagnation and void zones which decreases the effective heat transfer area between the particles and the tube .

Particle heat transfer has numerous applications in various industrial processes and systems. In moving packed beds, such as those used in iron ore sintering, cement production, and waste heat recovery, particle heat transfer is crucial for the design and optimization of heat exchangers, prediction of temperature distribution, and analysis of cooling rate [1.48]. Packed beds are widely used in the chemical industry, and particle heat transfer plays a significant role in enhancing heat transfer between gas and solid states inside these beds [1.33,1.48,1.49]. In concentrating solar power (CSP) systems, particles are being employed as thermal energy storage (TES) medium due to their high thermal stability and natural abundance, as well as heat transfer fluid (HTF). Unlike molten salt, which is the state-of-the-art solar thermal energy storage medium that can only withstand temperatures up to 565°C, particles such as silica sand and aluminum oxide can be heated to temperatures exceeding 1,000°C without significant thermal degradation [1.67,1.68]. However, particles having low thermal conductivity impose a challenge for their implementation in CSP-TES applications. Significant research activities are ongoing to address this limitation by improving the heat transfer at the particle level of MPB heat exchanger. Techniques such as fluidization of the packed bed are proposed and have shown to be effective in enhancing heat transfer at the particle level, however at the cost of parasitic power drawn by the air fluidization and the added complexity to the heat exchanger design [1.69].  One other technique of improving the heat transfer in particle packed beds is to increase the surface area of the heat transfer. Different heat enhancement geometries have been studied [1.70]. Increasing the specific surface area leads to an increase in heat transfer by packing the maximum heat transfer surface into a relatively small volume of the heat exchanger. The increased specific surface can also act as a mechanism to agitate particles, which also contributes to the heat transfer enhancement. The studies on MPB heat exchangers have been primarily focused on shell-and-tube with tube bundles carrying the secondary fluid, and shell-and-plate with plate minichannels carrying the working fluid. The flow around the tube bundles is hindered by stagnation and void zones occurring at the top and bottom of the tubes, respectively. Measurement of particle flow around the tubes showed that maximum particle flow velocity occurs around the horizontal sides of the tube [1.71,1.72]. In addition to that, flow patterns such as funnel- and arch-shaped flow patterns are observed in MPB flow in presence of tube bundles. These flow patterns are influenced by the arrangement of the tubes [1.73]. Various methods have been proposed to enhance heat transfer in tube bundle moving packed bed heat exchangers, primarily by minimizing the stagnation and void zones. Niegsch et al. [1.74] showed that the local heat transfer coefficient is lower at the upper and lower parts of the tube due to stagnation and void regions, respectively. Zhoutuo et al. [1.75] found that helically shaped tubes eliminate these regions, and hence, improving heat transfer. Staggered tube arrangements [1.61] and increased horizontal tube density [1.76] also enhance heat transfer by increasing particle-wall contact and velocity. Agitators [1.77] and tube vibration [1.78] have reduced void regions, resulting in overall improved heat transfer. However, vibration may increase tube wear. Shell-and-plate HEs are superior compared to the shell-and-tube counterparts in the particle-to-supercritical carbon dioxide (CO2) heat exchanger configurations. Despite the potential for parallel plate MPB HEs to enhance heat transfer, there is a paucity of research focusing on particle-level improvements in thermal transport. The few existing studies have primarily investigated the impact of reducing the distance between parallel plates [1.65]. However, the utilization of lattice structures to augment heat transfer in parallel plate heat exchangers remains unexplored.

Previous work by our research group focused on the heat transfer characteristics of octet lattice structures for air/particles as convective heat transfer agents. The current study aims to expand this knowledge by exploring a broader range of lattice topologies. The novelty of the present work lies in the comprehensive investigation of heat transfer performance for particles with four different lattice topologies, providing valuable insights into the effectiveness of these structures in enhancing particle-based convective heat transfer. In addition to the heat transfer characterization of moving packed bed of particle flow through the lattice structure, this study also employs an optical flow algorithm to determine the MPB velocity magnitude and direction, a technique that has not been previously used for particle flow characterization in the context of lattice structures. The main motivation behind this research is twofold:

- It aims to develop a deeper understanding of the heat transfer behavior of these lattice structures with both particles and air. Air-based experiments were conducted in the present study due to two reasons: (a) the particle-based channels can be further improved by counter fluidization by air, for which, the understanding of the heat transfer characteristics of airflow through series of lattice structures is imperative, (b) a wide range of applications require air-based cooling, for which the quantified convection results will be useful.

- This work is motivated by the increasing demand for efficient particle-based heat exchangers, particularly in the context of next generation concentrated solar power (CSP) applications. In these applications, effective heat transfer between particles and sCO2 is crucial for optimizing system performance and efficiency.

By addressing the identified research gap and presenting novel findings on the heat transfer performance of various lattice topologies with particles, this study contributes to the advancement of particle-based enhanced heat transfer technologies. The insights gained from this work have the potential to guide the design and development of high-performance heat exchangers for particles, ultimately supporting the implementation of more efficient and sustainable CSP systems.

## References

[1.1]	2022, “Renewables 2022 – Analysis,” IEA. [Online]. Available: https://www.iea.org/reports/renewables-2022. [Accessed: 28-Mar-2024].

[1.2]	“Solar,” IEA. [Online]. Available: https://www.iea.org/energy-system/renewables/solar-pv. [Accessed: 28-Mar-2024].

[1.3]	“U.S. Solar Market Insight | SEIA.” [Online]. Available: https://www.seia.org/us-solar-market-insight. [Accessed: 28-Mar-2024].

[1.4]	2022, “World Energy Outlook 2022 – Analysis,” IEA. [Online]. Available: https://www.iea.org/reports/world-energy-outlook-2022. [Accessed: 28-Mar-2024].

[1.5]	“Concentrating Solar Power Projects by Country | Concentrating Solar Power Projects | NREL.” [Online]. Available: https://solarpaces.nrel.gov/by-country. [Accessed: 28-Mar-2024].

[1.6]	Zhao, B., Cheng, M., Liu, C., and Dai, Z., 2018, “System-Level Performance Optimization of Molten-Salt Packed-Bed Thermal Energy Storage for Concentrating Solar Power,” Appl. Energy, 226, pp. 225–239. https://doi.org/10.1016/j.apenergy.2018.05.081.

[1.7]	Wei, X., Yang, C., Lu, J., Wang, W., and Ding, J., 2017, “The Mechanism of NOx Emissions from Binary Molten Nitrate Salts Contacting Nickel Base Alloy in Thermal Energy Storage Process,” Appl. Energy, 207, pp. 265–273. https://doi.org/10.1016/j.apenergy.2017.06.109.

[1.8]	Guccione, S., and Guedez, R., 2023, “Techno-Economic Optimization of Molten Salt Based CSP Plants through Integration of Supercritical CO2 Cycles and Hybridization with PV and Electric Heaters,” Energy, 283, p. 128528. https://doi.org/10.1016/j.energy.2023.128528.

[1.9]	Gong, Q., Hanke, A., Kessel, F., Bonk, A., Bauer, T., and Ding, W., 2023, “Molten Chloride Salt Technology for Next-Generation CSP Plants: Selection of Cold Tank Structural Material Utilizing Corrosion Control at 500 °C,” Sol. Energy Mater. Sol. Cells, 253, p. 112233. https://doi.org/10.1016/j.solmat.2023.112233.

[1.10]	Turchi, C. S., Gage, S., Martinek, J., Jape, S., Armijo, K., Coventry, J., Pye, J., Asselineau, C.-A., Venn, F., Logie, W., Fontalvo, A., Wang, S., McNaughton, R., Potter, D., Steinberg, T., and Will, G., 2021, CSP Gen3: Liquid-Phase Pathway to SunShot, NREL/TP-5700-79323, National Renewable Energy Lab. (NREL), Golden, CO (United States); Sandia National Lab. (SNL-NM), Albuquerque, NM (United States); Australian National Univ., Canberra, ACT (Australia); Commonwealth Scientific and Industrial Research Organization (CSIRO), Newcastle, NSW (Australia); Queensland Univ. of Technology, Brisbane (Australia). https://doi.org/10.2172/1807668.

[1.11]	Ding, W., and Bauer, T., 2021, “Progress in Research and Development of Molten Chloride Salt Technology for Next Generation Concentrated Solar Power Plants,” Engineering, 7(3), pp. 334–347. https://doi.org/10.1016/j.eng.2020.06.027.

[1.12]	Mehos, M., Turchi, C., Vidal, J., Wagner, M., Ma, Z., Ho, C., Kolb, W., Andraka, C., and Kruizenga, A., 2017, Concentrating Solar Power Gen3 Demonstration Roadmap, NREL/TP--5500-67464, 1338899. https://doi.org/10.2172/1338899.

[1.13]	Murphy, C., Cole, W., Sun, Y., Mehos, M., Turchi, C., and Maclaurin, G., 2019, “The Potential Role of Concentrating Solar Power within the Context of DOE’s 2030 Solar Cost Targets.” [Online]. Available: https://research-hub.nrel.gov/en/publications/the-potential-role-of-concentrating-solar-power-within-the-contex. [Accessed: 28-Mar-2024].

[1.14]	Mancini, T. R., Gary, J. A., Kolb, G. J., and Ho, C. K., 2011, Power Tower Technology Roadmap and Cost Reduction Plan., SAND2011-2419, Sandia National Laboratories (SNL), Albuquerque, NM, and Livermore, CA (United States). https://doi.org/10.2172/1011644.

[1.15]	Farchado, M., San Vicente, G., Barandica, N., Sutter, F., Alkan, G., Sánchez-Señorán, D., and Ángel Morales, 2024, “Performance Improvement of CSP Particle Receivers by Depositing Spinel Absorber Coatings,” Sol. Energy Mater. Sol. Cells, 266, p. 112681. https://doi.org/10.1016/j.solmat.2023.112681.

[1.16]	Chung, K. M., Zeng, J., Adapa, S. R., Feng, T., Bagepalli, M. V., Loutzenhiser, P. G., Albrecht, K. J., Ho, C. K., and Chen, R., 2021, “Measurement and Analysis of Thermal Conductivity of Ceramic Particle Beds for Solar Thermal Energy Storage,” Sol. Energy Mater. Sol. Cells, 230, p. 111271. https://doi.org/10.1016/j.solmat.2021.111271.

[1.17]	Albrecht, K. J., and Ho, C. K., 2019, “Design and Operating Considerations for a Shell-and-Plate, Moving Packed-Bed, Particle-to-sCO2 Heat Exchanger,” Sol. Energy, 178, pp. 331–340. https://doi.org/10.1016/j.solener.2018.11.065.

[1.18]	Ho, C. K., Carlson, M., Albrecht, K. J., Ma, Z., Jeter, S., and Nguyen, C. M., 2019, “Evaluation of Alternative Designs for a High Temperature Particle-to-sCO2 Heat Exchanger,” J. Sol. Energy Eng., 141(021001). https://doi.org/10.1115/1.4042225.

[1.19]	Almendros-Ibáñez, J. A., Soria-Verdugo, A., Ruiz-Rivas, U., and Santana, D., 2011, “Solid Conduction Effects and Design Criteria in Moving Bed Heat Exchangers,” Appl. Therm. Eng., 31(6), pp. 1200–1207. https://doi.org/10.1016/j.applthermaleng.2010.12.021.

[1.20]	Fang, W., Chen, S., Xu, J., and Zeng, K., 2021, “Predicting Heat Transfer Coefficient of a Shell-and-Plate, Moving Packed-Bed Particle-to-sCO2 Heat Exchanger for Concentrating Solar Power,” Energy, 217, p. 119389. https://doi.org/10.1016/j.energy.2020.119389.

[1.21]	Isaza, P. A., Warnica, W. D., and Bussmann, M., 2015, “Co-Current Parallel-Plate Moving Bed Heat Exchanger: An Analytical Solution,” Int. J. Heat Mass Transf., 87, pp. 616–624. https://doi.org/10.1016/j.ijheatmasstransfer.2015.02.079.

[1.22]	Isaza, P. A., Warnica, W. D., and Bussmann, M., 2015, “Counter-Current Parallel-Plate Moving Bed Heat Exchanger: An Analytical Solution,” Int. J. Heat Mass Transf., 87, pp. 625–635. https://doi.org/10.1016/j.ijheatmasstransfer.2015.02.056.

[1.23]	Yin, J.-M., Zheng, Q.-Y., and Zhang, X.-R., 2020, “Heat Transfer Model of a Particle Energy Storage-Based Moving Packed Bed Heat Exchanger,” Energy Storage, 2(1), p. e113. https://doi.org/10.1002/est2.113.

[1.24]	Maskalunas, J., Nellis, G., and Anderson, M., 2022, “The Heat Transfer Coefficient Associated with a Moving Packed Bed of Silica Particles Flowing through Parallel Plates,” Sol. Energy, 234, pp. 294–303. https://doi.org/10.1016/j.solener.2022.01.052.

[1.25]	Deng, S., Wen, Z., Lou, G., Zhang, D., Su, F., Liu, X., and Dou, R., 2020, “Process of Particles Flow across Staggered Tubes in Moving Bed,” Chem. Eng. Sci., 217, p. 115507. https://doi.org/10.1016/j.ces.2020.115507.

[1.26]	Dai, Y. L., Liu, X. J., and Xia, D., 2020, “Flow Characteristics of Three Typical Granular Materials in near 2D Moving Beds,” Powder Technol., 373, pp. 220–231. https://doi.org/10.1016/j.powtec.2020.06.057.

[1.27]	Bartsch, P., and Zunft, S., 2019, “Granular Flow around the Horizontal Tubes of a Particle Heat Exchanger: DEM-Simulation and Experimental Validation,” Sol. Energy, 182, pp. 48–56. https://doi.org/10.1016/j.solener.2019.01.086.

[1.28]	Tian, X., Yang, J., Guo, Z., Wang, Q., and Sunden, B., 2020, “Numerical Study of Heat Transfer in Gravity-Driven Dense Particle Flow around a Hexagonal Tube,” Powder Technol., 367, pp. 285–295. https://doi.org/10.1016/j.powtec.2020.04.001.

[1.29]	Tian, X., Zhu, F., Guo, Z., Zhang, J., Yang, J., and Wang, Q., 2022, “Numerical Investigation of Gravity-Driven Particle Flow along the Trapezoidal Corrugated Plate for a Moving Packed Bed Heat Exchanger,” Powder Technol., 405, p. 117526. https://doi.org/10.1016/j.powtec.2022.117526.

[1.30]	Jost, E. W., Moore, D. G., and Saldana, C., 2021, “Evolution of Global and Local Deformation in Additively Manufactured Octet Truss Lattice Structures,” Addit. Manuf. Lett., 1, p. 100010. https://doi.org/10.1016/j.addlet.2021.100010.

[1.31]	Yu, T., Li, X., Zhao, M., Guo, X., Ding, J., Qu, S., Kwok, T. W. J., Li, T., Song, X., and Chua, B. W., 2023, “Truss and Plate Hybrid Lattice Structures: Simulation and Experimental Investigations of Isotropy, Large-Strain Deformation, and Mechanisms,” Mater. Today Commun., 35, p. 106344. https://doi.org/10.1016/j.mtcomm.2023.106344.

[1.32]	Youssef Aider, Inderjot Kaur, Ashreet Mishra, Like Li, Hee-Min Cho, Janna Martinek, Zhiwen Ma, and Prashant Singh, 2023, “Heat Transfer Characteristics of Particle and Air Flow Through Additively Manufactured Lattice Frame Material Based on Octet-Shape Topology,” J. Sol. Energy Eng.-Trans. Asme, 145(6). https://doi.org/10.1115/1.4062196.

[1.33]	Kaur, I., Aider, Y., Cho, H., and Singh, P., 2024, “Granular Flow in Novel Octet Shape–Based Lattice Frame Material,” J. Sol. Energy Eng., 146(3).

[1.34]	Maurizi, M., Gao, C., and Berto, F., 2022, “Inverse Design of Truss Lattice Materials with Superior Buckling Resistance,” Npj Comput. Mater., 8(1), p. 247. https://doi.org/10.1038/s41524-022-00938-w.

[1.35]	Flores, I., Kretzschmar, N., Azman, A. H., Chekurov, S., Pedersen, D. B., and Chaudhuri, A., 2020, “Implications of Lattice Structures on Economics and Productivity of Metal Powder Bed Fusion,” Addit. Manuf., 31, p. 100947. https://doi.org/10.1016/j.addma.2019.100947.

[1.36]	Zhu, J., Zhou, H., Wang, C., Zhou, L., Yuan, S., and Zhang, W., 2021, “A Review of Topology Optimization for Additive Manufacturing: Status and Challenges,” Chin. J. Aeronaut., 34(1), pp. 91–110. https://doi.org/10.1016/j.cja.2020.09.020.

[1.37]	Manuel Umanzor, Romesh C. Batra, Christopher B. Williams, and Alan Druschitz, 2023, “Parametric Study on the Performance of Cast Lattice Structures Loaded at Low Strain-Rates,” JOM, 75(6), pp. 1–13. https://doi.org/10.1007/s11837-023-05812-8.

[1.38]	Boris van Sosin, Daniil Rodin, H. O. Sliusarenko, Michael Bartoň, Michael Bartoň, and Gershon Elber, 2021, “The Construction of Conforming-to-Shape Truss Lattice Structures via 3D Sphere Packing,” Comput.-Aided Des., 132, p. 102962. https://doi.org/10.1016/J.CAD.2020.102962.

[1.39]	Neils, A., Dong, L., and Wadley, H., 2022, “The Small-Scale Limits of Electron Beam Melt Additive Manufactured Ti–6Al–4V Octet-Truss Lattices,” AIP Adv., 12(9), p. 095021. https://doi.org/10.1063/5.0094155.

[1.40]	Pierre-Thomas Doutre, Christelle Grandvallet, L. Gobet, Frédéric Vignat, and Rémy Dendievel, 2023, “Influence of Fillets onto Mechanical Properties of Octet-Truss Lattice Structures.”

[1.41]	Zhuangzhuang Wang, Xiaofei Cao, Haoming Yang, Xiao Du, Binlin Ma, Qiu-Ju Zheng, Zhishuai Wan, and Ying Li, 2023, “Additively-Manufactured 3D Truss-Lattice Materials for Enhanced Mechanical Performance and Tunable Anisotropy: Simulations & Experiments,” Thin-Walled Struct., 183, pp. 110439–110439. https://doi.org/10.1016/j.tws.2022.110439.

[1.42]	Alexander Marutyan, 2022, “Optimization of Truss Lattices from Profile Pipes (Bent-Welded Profiles),” Stroit. Meh. Rasč Sooruž., 302(3), pp. 71–78. https://doi.org/10.37538/0039-2383.2022.3.71.78.

[1.43]	Jiyeon Kim, Dong Hwan Jung, and Yongwoo Kwon, 2022, “Numerical Study on the Quantitative Structure-Property Relation of Lattice Truss Metals,” Mater. Trans., 63(10), pp. 1317–1322. https://doi.org/10.2320/matertrans.mt-mb2022015.

[44]	Mohammad Zahid Khan, Jitendra Bhaskar, and Anand Kumar, 2023, “Design and Analysis of Strut-Based Lattice Structure Cranial Implant,” J. Mech. Eng. Sci., pp. 9307–9314. https://doi.org/10.15282/jmes.17.1.2023.1.0735.

[1.45]	Tohid Dastan, Reza Jafari Nedoushan, Mohammad Sheikhzadeh, and Woong-Ryeol Yu, 2023, “Designs of Lattice Truss Core Sandwich Structures with Improved Compressive Strength and Stiffness,” J. Compos. Mater., 57(15), pp. 2367–2387. https://doi.org/10.1177/00219983231160277.

[1.46]	Lotfi, B., and Sunden, B. A., 2023, “A Novel Trussed Fin-and-Elliptical Tube Heat Exchanger with Periodic Cellular Lattice Structures,” Int. J. Numer. Methods Heat Fluid Flow, 33(3), pp. 1076–1115. https://doi.org/10.1108/HFF-04-2022-0206.

[1.47]	Daynes, S., and Feih, S., 2022, “Bio-Inspired Lattice Structure Optimisation with Strain Trajectory Aligned Trusses,” Mater. Des., 213, p. 110320. https://doi.org/10.1016/j.matdes.2021.110320.

[1.48]	Babak Lotfi and Bengt Sundén, 2022, “A Novel Trussed Fin-and-Elliptical Tube Heat Exchanger with Periodic Cellular Lattice Structures,” 33(3), pp. 1076–1115. https://doi.org/10.1108/hff-04-2022-0206.

[1.49]	Yin, H., Zhang, W., Zhu, L., Meng, F., Liu, J., and Wen, G., 2023, “Review on Lattice Structures for Energy Absorption Properties,” Compos. Struct., 304, p. 116397. https://doi.org/10.1016/j.compstruct.2022.116397.

[1.50]	Inderjot Kaur and Prashant Singh, 2022, “Conjugate Heat Transfer in Lattice Frame Materials Based on Novel Unit Cell Topologies,” Numer. Heat Transf. Part -Appl., 82(12), pp. 788–801. https://doi.org/10.1080/10407782.2022.2083874.

[1.51]	Swapnil Narkhede, Anirban Sur, and Ratnesh Tiwari, 2023, “The Effects of Topological Configuration and Geometric Parameters on Heat Transfer and Fluid Flow Characteristics of Lattice-Based Heat Sinks,” Numer. Heat Transf. Part -Appl., pp. 1–20. https://doi.org/10.1080/10407782.2023.2205182.

[1.52]	David Downing, Martin Leary, Matthew McMillan, Ahmad Al-Ghamdi, and Milan Brandt, 2020, “Heat Transfer in Lattice Structures during Metal Additive Manufacturing: Numerical Exploration of Temperature Field Evolution,” Rapid Prototyp. J., 26(5), pp. 911–928. https://doi.org/10.1108/RPJ-11-2018-0288.

[1.53]	Shuang Liu, Linfeng Jiang, Kai Leong Chong, Xiaojue Zhu, Zhen-Hua Wan, Roberto Verzicco, Richard J. A. M. Stevens, Detlef Lohse, and Chao Sun, 2020, “From Rayleigh─Bénard Convection to Porous-Media Convection: How Porosity Affects Heat Transfer and Flow Structure,” J. Fluid Mech., 895. https://doi.org/10.1017/JFM.2020.309.

[1.54]	Fu Jiale, Zhang Tiechen, Li Menghan, Li Su, Xianglin Zhong, and Xiaori Liu, 2019, “Study on Flow and Heat Transfer Characteristics of Porous Media in Engine Particulate Filters Based on Lattice Boltzmann Method,” Energies, 12(17), p. 3319. https://doi.org/10.3390/EN12173319.

[1.55]	Yousef Kazemian, Mohammad Javad Sayyari, and Javad Abolfazli Esfahani, 2021, “Effects of Pore Geometry on the Natural Convective Heat Transmission in a Porous Cavity: A Lattice Boltzmann Simulation,” J. Therm. Anal. Calorim., 143(3), pp. 2557–2575. https://doi.org/10.1007/S10973-020-10342-5.

[1.56]	Feng, J., Liu, B., Lin, Z., and Fu, J., 2021, “Isotropic Octet-Truss Lattice Structure Design and Anisotropy Control Strategies for Implant Application,” Mater. Des., 203, p. 109595. https://doi.org/10.1016/j.matdes.2021.109595.

[1.57]	Wang, S., Xu, C., Liu, W., and Liu, Z., 2019, “Numerical Study on Heat Transfer Performance in Packed Bed,” Energies, 12(3), p. 414. https://doi.org/10.3390/en12030414.

[1.58]	Oschmann, T., and Kruggel-Emden, H., 2017, “Numerical and Experimental Investigation of the Heat Transfer of Spherical Particles in a Packed Bed with an Implicit 3D Finite Difference Approach,” Granul. Matter, 19(3), p. 47. https://doi.org/10.1007/s10035-017-0711-z.

[1.59]	Zhang, R., Yang, H., Lu, J., and Wu, Y., 2013, “Theoretical and Experimental Analysis of Bed-to-Wall Heat Transfer in Heat Recovery Processing,” Powder Technol., 249, pp. 186–195. https://doi.org/10.1016/j.powtec.2013.08.017.

[1.60]	Isaza, P. A., Warnica, W. D., and Bussmann, M., 2015, “Counter-Current Parallel-Plate Moving Bed Heat Exchanger: An Analytical Solution,” Int. J. Heat Mass Transf., 87, pp. 625–635. https://doi.org/10.1016/j.ijheatmasstransfer.2015.02.056.

[1.61]	Qiu, L., Sang, D., Feng, Y., Huang, H., and Zhang, X., 2020, “Study on Heat Transfer of Process Intensification in Moving Bed Reactor Based on the Discrete Element Method,” Chem. Eng. Process. - Process Intensif., 151, p. 107915. https://doi.org/10.1016/j.cep.2020.107915.

[1.62]	Zheng, Y., Dong, H., Cai, J., Feng, J., Zhao, L., Liu, J., and Zhang, S., 2019, “Experimental Investigation of Volumetric Heat Transfer Coefficient in Vertical Moving-Bed for Sinter Waste Heat Recovery,” Appl. Therm. Eng., 151, pp. 335–343. https://doi.org/10.1016/j.applthermaleng.2019.01.055.

[1.63]	Gao, H., Liu, Y., Zheng, B., Sun, P., Lu, M., and Tian, G., 2020, “Fractal Heat Conduction Model of Semi-Coke Bed in Waste Heat Recovery Heat Exchanger,” J. Clean. Prod., 258, p. 120663. https://doi.org/10.1016/j.jclepro.2020.120663.

[1.64]	Bartsch, P., and Zunft, S., 2019, “Numerical Investigation of Dense Granular Flow around Horizontal Tubes: Qualification of CFD Model with Validated DEM Model,” Sol. Energy, 182, pp. 298–303. https://doi.org/10.1016/j.solener.2019.01.087.

[1.65]	Fang, W., Chen, S., Xu, J., and Zeng, K., 2021, “Predicting Heat Transfer Coefficient of a Shell-and-Plate, Moving Packed-Bed Particle-to-sCO2 Heat Exchanger for Concentrating Solar Power,” Energy, 217, p. 119389. https://doi.org/10.1016/j.energy.2020.119389.

[1.66]	Guo, Z., Tian, X., Tan, Z., Yang, J., Zhang, S., and Wang, Q., 2021, “Numerical Investigation of Heat Resistances in Uniform Dense Granular Flows along a Vertical Plate,” Powder Technol., 385, pp. 396–408. https://doi.org/10.1016/j.powtec.2021.02.051.

[1.67]	Wilson, G., Sahoo, S., Sabharwal, P., and Bindra, H., 2019, “Chapter Seven - Packed Bed Thermal Storage for LWRs,” Storage and Hybridization of Nuclear Energy, H. Bindra, and S. Revankar, eds., Academic Press, pp. 229–248. https://doi.org/10.1016/B978-0-12-813975-2.00007-7.

[1.68]	Díaz-Heras, M., Calderón, A., Navarro, M., Almendros-Ibáñez, J. A., Fernández, A. I., and Barreneche, C., 2021, “Characterization and Testing of Solid Particles to Be Used in CSP Plants: Aging and Fluidization Tests,” Sol. Energy Mater. Sol. Cells, 219, p. 110793. https://doi.org/10.1016/j.solmat.2020.110793.

[1.69]	Ma, Z., and Martinek, J., 2017, “Fluidized-Bed Heat Transfer Modeling for the Development of Particle/Supercritical-CO2 Heat Exchanger,” American Society of Mechanical Engineers Digital Collection. https://doi.org/10.1115/ES2017-3098.

[1.70]	Jiang, B., Xia, D., Guo, H., Xiao, L., Qu, H., and Liu, X., 2019, “Efficient Waste Heat Recovery System for High-Temperature Solid Particles Based on Heat Transfer Enhancement,” Appl. Therm. Eng., 155, pp. 166–174. https://doi.org/10.1016/j.applthermaleng.2019.03.101.

[1.71]	Dai, Y. L., Liu, X. J., and Xia, D., 2020, “Flow Characteristics of Three Typical Granular Materials in near 2D Moving Beds,” Powder Technol., 373, pp. 220–231. https://doi.org/10.1016/j.powtec.2020.06.057.

[1.72]	Bartsch, P., and Zunft, S., 2019, “Granular Flow around the Horizontal Tubes of a Particle Heat Exchanger: DEM-Simulation and Experimental Validation,” Sol. Energy, 182, pp. 48–56. https://doi.org/10.1016/j.solener.2019.01.086.

[1.73]	Qiu, L., Sang, D., Feng, Y., and Zhang, X., 2020, “Experimental Study on Particle Flow Characteristics of Three-Dimensional Moving Bed,” Powder Technol., 374, pp. 399–408. https://doi.org/10.1016/j.powtec.2020.07.061.

[1.74]	Niegsch, J., Köneke, D., and Weinspach, P.-M., 1994, “Heat Transfer and Flow of Bulk Solids in a Moving Bed,” Chem. Eng. Process. Process Intensif., 33(2), pp. 73–89. https://doi.org/10.1016/0255-2701(94)85006-2.

[1.75]	Tan, Z., Guo, Z., Yang, J., and Wang, Q., 2019, “Numerical Investigation of Heat Transfer for Elliptical Tube in Granular Flow Using DEM,” Energy Procedia, 158, pp. 5504–5509. https://doi.org/10.1016/j.egypro.2019.01.595.

[1.76]	Baumann, T., and Zunft, S., 2015, “Development and Performance Assessment of a Moving Bed Heat Exchanger for Solar Central Receiver Power Plants,” Energy Procedia, 69, pp. 748–757. https://doi.org/10.1016/j.egypro.2015.03.085.

[1.77]	Jiang, B., Xia, D., Zhang, H., Pei, H., and Liu, X., 2020, “Effective Waste Heat Recovery from Industrial High-Temperature Granules: A Moving Bed Indirect Heat Exchanger with Embedded Agitation,” Energy, 208, p. 118346. https://doi.org/10.1016/j.energy.2020.118346.

[1.78]	Guo, Z., Zhang, S., Tian, X., Yang, J., and Wang, Q., 2020, “Numerical Investigation of Tube Oscillation in Gravity-Driven Granular Flow with Heat Transfer by Discrete Element Method,” Energy, 207, p. 118203. https://doi.org/10.1016/j.energy.2020.118203.

# :
Periodic heat transfer characteristics of additively manufactured lattices

## Abstract

In the present study, the flow and heat transfer characteristics of lattices with four different unit cell topologies, namely, (a) Octet, (b) FD-Cube, (c) Tetrakaidecahedron (TKD), and (d) Cube were investigated with air as the working fluid. All the samples had the designed porosity of ~ 0.88 and unit cell size of 10 mm. The distribution of local heat transfer coefficient revealed that depending on the unit cell topology, the flow became thermally developed after travelling over five or six rows of unit cells in streamwise direction. The heat transfer coefficient values in thermally developed zones were similar for Octet, FD-Cube and TKD. Overall heat transfer coefficient provided by Octet, FD-Cube, and TKD was in the range of ~216 Wm2K to 415 Wm2K and Cube yielded the lowest heat transfer coefficient values between 167 Wm2K and 290 Wm2K.  Three different characteristic length scales, viz. (a) channel hydraulic diameter, (b) pore-diameter, and (c) fiber-diameter were used to define the Nusselt number. The usage of pore-scale dimensions such as pore-diameter and fiber-diameter provided a very coherent data set for Nusselt number of all the topologies which helped in deriving a single correlation for predicting the thermal performance. The lattices provided heat transfer augmentation of 10-20 times higher than the smooth channel counterparts. Amongst all the investigated topologies, FD-Cube incurred the highest and Cube yielded the lowest pressure drop. It was also observed that convective heat transfer coefficients obtained for different lattices can be conveniently reported in Nusselt number forms with pore diameter and/or fiber diameters as reference length scales, where such Nusselt numbers for different lattice configurations converges to a single trendline when plotted against Reynolds numbers (also based on same reference length scales). We have provided a single correlation for Nusselt numbers as a function of Reynolds numbers which fits all the lattice configurations studied here. Finally, the thermal-hydraulic performance of lattices is reported which had similar magnitude levels for all the investigated topologies and a single correlation has been proposed for THP covering all the configurations of present study. The investigated topologies provided THP of ~ 3 at the lowest investigated Reynolds number.

## Introduction

Open-cell metal foams are an effective medium to augment the dissipation of high heat fluxes in several engineering applications. Tortuous flow path enabled enhanced flow mixing combined with flow stagnation with randomly organized fibers yield in superior thermal transport. The resultant high interfacial heat transfer coefficient in combination with high effective thermal conductivity and specific surface area makes the open-cell metal foams promising candidates for modern-day heat exchangers. Various experimental studies have characterized the hydraulic and thermal properties of metal foams. The superior thermal performance of the metal foams is because of conjugate thermal exchange between the metal and fluid at pore-scale. The numerical prediction of this conjugate performance requires a priori knowledge of the interfacial heat transfer coefficient for the closure of the governing equations dictated by local-thermal non equilibrium (LTNE) boundary condition. Estimation of interfacial heat transfer coefficient through numerical simulations by imposing either constant heat flux or constant temperature thermal condition on the fiber walls is convenient, but few experimental procedures such as single-blow transient technique and fin-efficiency methods have been adopted by several authors to evaluate the same [2.1–2.3].The mechanical and shock-absorbing capabilities of the metal-foams are also well known [2.4] which further extends their viability in applications demanding superior mechanical strength. Numerous studies in the past have been dedicated to understanding the thermal exchange processes in metal foams and quantifying the associated parameters. Comprehensive reviews on these investigations have been provided by several authors [2.5,2.6].

The performance of metal foams made through traditional ‘foaming’ process is limited by several factors such as limited user control over unit cell topology, pore and fiber diameters, the inherent need for bonding agent at the fiber-endwall interface, etc. On the other hand, well-defined geometry, and periodic three-dimensional arrangement of a known Representative Unit Cell (RUC) are emerging as an alternative. Sandwich-type truss panels composed of Tetrahedral, Pyramidal, and Kagome shaped RUCs became very popular for their mechanical load bearing capabilities. The hydraulic and thermal characteristics of these structures were later reported by several researchers. A comprehensive review of these investigations can be found in [2.7]. Recently, flow losses and heat transfer properties of X-lattice core sandwich configuration were investigated by Yan et al. [2.8,2.9]. These lattices can be manufactured via wire-weaving, stamping, investment-casting, and sheet-folding techniques. Although these traditional techniques are capable of producing regular patterns of RUCs, the reticulation in three-dimensional block configuration becomes challenging with increasing complexity of the RUC architecture. Also, one has to still resort to brazing, welding, or some bonding agent to ensure perfect thermal contact of these traditionally manufactured regular lattices with the endwall.

Recent progress in metal additive manufacturing (AM) processes such as Binder Jetting, Direct Metal Laser Sintering (DMLS), and Selective Laser Melting (SLM) provides not only an opportunity to fabricate a monolithic structure of the lattice and endwall but also allows the construction of architecturally more complex and advanced RUCs. The increased user control due to CAD software and program-based working interface with the 3D printing machines makes the AM an attractive alternative to conventional metal foam fabrication technologies. Several topologies such as Octet, Rhombic-dodecahedron, Rhombi-octet, Face-centered cube (FCC), etc. are being investigated actively under the scenarios of forced convection, pool boiling, and buoyancy-driven flows. These lattices exhibit superior mechanical properties, for e.g., Octet demonstrates stretch-dominated deformation as opposed to the wall-bending failure mode of the stochastic metal foams under uniaxial loading conditions [2.10]. A detailed analysis of the thermal-hydraulic performance of these structures has been reported by Kaur and Singh in prior investigations [2.7,2.11]. Critical review presented by the authors in [2.7,2.11] articulated the limitations of AM technologies from the perspective of lattice construction for heat exchange applications. One of the challenges of these technologies is the inferior surface quality that is rendered to the lattices. The surface roughness profiles can significantly influence the heat transfer at the smaller realizable dimensional scales. The hydraulic and heat transfer results reported for an RUC lattice block built in a particular material with a selected AM process can vary from the exact same RUC lattice manufactured in same material but with a different AM process. Despite various limitations imposed by state-of-the-art AM technologies on fabrication of lattices with complex topologies, this topic should still be explored from the heat transfer perspective and efforts should be made towards quantifying the effects of roughness on local heat transfer. While AM field is witnessing rapid advancements, it is expected in near future that complex and smaller length scale unit cell topologies could be fabricated in alloys suitable for high temperature applications [2.12,2.13]

The experimental investigations on the metal foams and additively manufactured lattices typically report the mean flow and heat transfer properties. The common characteristics that are reported include pressure gradient, permeability, inertial coefficient, effective thermal conductivity, and endwall heat transfer coefficient. Correlations for predicting these variables and interfacial heat transfer coefficient [2.14] have been proposed by several authors. The volume-averaged and pore-scale direct simulations have been extensively conducted to analyze the local flow and heat transfer phenomenon in metal foams. In volume-averaged simulations, the mean geometrical and thermo-physical properties of metal foam/fluid are used to solve for the temperature and velocity fields whereas in direct simulations, the actual pore-scale geometry is simulated. For periodic lattices, the pore-scale numerical investigations are convenient for well-defined RUCs. These numerical simulations are the primary source for analyzing the development of local flow and thermal features in metal foams and lattices. Very few experimental studies have discussed the thermal development of the flows in metal foams, and, to the best of author’s knowledge such studies are not present for the additively manufactured lattices.

Dukhan et al. [2.15] conducted steady-state heat transfer experiments on an aluminum foam (porosity ε~ 0.876, 20 ppi) cylinder subjected to constant heat flux boundary condition with water as the working fluid. A wide range of mass flow rates was tested which spanned from Darcy to non-Darcy regime. In Darcy regime, the pressure gradient shows linear dependence on the mean flow velocity whereas in non-Darcy regime, the relationship becomes quadratic in nature due to inertial effects. The cylinder in [2.15] had sufficient length in the mean flow direction to achieve thermally and hydrodynamically developed flow. Thermal entry length for Darcy flow was about two tube diameters irrespective of the mass flow rate. The Nusselt number in the fully developed region for Darcy flow was a constant value of ~124 and in non-Darcy regime the Nusselt number scaled with Reynolds number as Nu ~ Re0.53. In a different study, Arbak et al. [2.16] showed that 10- and 40- ppi samples (ε~ 0.885) in a cylinder had thermal entry length of 2.9 pipe diameters and 2.4 diameters, respectively, with water as the working fluid. Noh et al. [2.17] used water as the working fluid and investigated an annulus filled with aluminum foam (ε~0.90, 10 ppi) within non-Darcy regime. The Nusselt number showed decreasing trend for the entire length of the sample indicating that the flow was in developing state. Finally, the authors proposed a correlation for the Nusselt number as a function of Reynolds number, Prandtl number, and Darcy number.

Hooman et al. [2.18] and Haji-Sheikh et al. [2.19] performed numerical investigations on the thermal development phenomenon in porous media. Iasiello et al. [2.20] analyzed thermally developing flows in metal foams by conducting direct pore-scale simulations on an array of Kelvin structure (ε~0.87). Non-conjugate simulations were performed where constant heat flux boundary condition was imposed on the fiber walls of the Kelvin cells. Kelvin structure used in this investigation is a commonly employed representative topology for the stochastic metal foams. The authors [2.20] proposed correlation for the Nusselt number in the thermally developed region as a function of Reynolds number and porosity as Nu ~ Re0.454ε0.1644. Similar computational modelling procedure was followed by Wu et al. [2.21] to determine the thermal development effects in an array of Tetrakaidecahedron (similar to Kelvin cell with slight variations in fiber curvature) cell with isothermal boundary conditions. The authors proposed correlations for the local heat transfer coefficient as  Nul~ Re0.438ε0.38. Suleiman and Dukhan [2.22] also used idealized cell similar to Kelvin structure (ε~0.949, 20 ppi) arranged in a two-dimensional array to analyze the thermal entrance region effects in the Darcy regime. Conjugate simulations with the constant heat flux boundary condition on the base wall attached to the array were performed. The authors concluded that thermally developing region extended up to ~ 30 cells in the streamwise direction from the entrance.

Several studies related to porous media exist and few significant studies assess the effects of thermally developing flows at the entrance of the test samples. In many scenarios, such as in electronic components where the space constraints strictly allow very compact-sized lattice heat exchangers, the flow might stay in the thermally developing state over the entire length of the lattice domain. The mean wall heat transfer coefficient calculated from the experiments is very useful for estimating the performance of such configurations. However, many engineering applications require active cooling over a significantly large heated surface area where the length of the lattice heat exchanger is sufficiently long for flows to become thermally developed and hence, heat transfer becomes periodic. Assessing the periodic nature of heat transfer is crucial for such configurations to quantify the relative benefits of different types of RUC topologies. In this study, the authors report findings from an experimental investigation on lattices composed of four different RUCs, namely, (a) Octet, (b) FD-Cube, (c) Tetrakaidecahedron (TKD), and (d) Cube, each having designed porosity of ~0.88 and unit cell size of ~10mm. The candidacy of these RUC topologies for thermal exchange applications to augment heat transfer has already been established by the authors in prior investigations [2.23,2.24]. The lattice samples considered in the current analysis were sandwiched between two substrate endwalls. Steady-state experiments were performed on the samples with constant heat flux boundary condition maintained on the endwalls during the test runs with air as the working fluid. The streamwise length of the samples was long enough to ensure that the periodicity in the heat transfer coefficient was achieved at some distance downstream of the entrance of the samples. The local distribution of the wall heat transfer coefficient, mean wall heat transfer coefficient, pressure gradient, Nusselt number based on different characteristic length scales, heat transfer and friction factor augmentation relative to smooth channel, and thermal-hydraulic performance of all the lattices is thoroughly discussed. Correlations for predicting the heat transfer performance of the investigated samples are also proposed.

## Geometric details of the test samples

The four test samples were additively manufactured via Binder jetting in 420 Stainless Steel infiltrated with Bronze and the surface finish was achieved through the bead-blasting process. The metal powder size for 420 Stainless Steel was ~30 microns and layer thickness resolution was ~ 100 microns. The samples were printed on M-FX-0000 binder jetting machine which had total build volume of 400 mm × 250 mm × 250 mm. After printing the samples, the parts were cured in oven and later infiltrated with Bronze at high temperature. The matrix material was composed of 60% Stainless Steel and 40% Bronze providing the final solid thermal conductivity of ~20.8 WmK (the measurement details are provided elsewhere [2.25]). The four RUCs of the manufactured lattices: (a) Octet, (b) FD-Cube, (c) TKD, and (d) Cube are presented in Figure 3.1. The fibers of all the topologies were cylindrical (circular cross-section) in shape.

Two types of lattices could be obtained by reticulating the FD-Cube cell in three-dimensional space. First method includes performing translational linear pattern of the single RUC and in the second method, one can mirror the RUC about the face of the cell. The FD-Cube lattice in the present investigation was obtained through the former procedure, i.e., by linearly patterning the unit cell. The final lattice section had the dimensions of 50 mm Х 50 mm Х 100 mm, the details of which are shown in Figure 3.2 along with thermocouple slot locations. Each thermocouple slot reached to the center of the heated substrate walls (3.175 mm thick). The designed unit cell size and porosity of all the samples was 10 mm and ~0.88, respectively. There were five unit cells in the spanwise and normal directions whereas ten unit cells were organized in the direction of the mean flow (streamwise). Porosity (ε) and pore density (ppi) are two fundamental parameters that are required to characterize the metal foams morphologically, however, the definition and values of both these parameters have shown significant discrepancies across the metal foam literature. For the additively manufactured lattices in the current study, the pore shapes and number can be ambiguous too, therefore, cells per inch (cpi) is used in this study to describe the cell density. For the periodic lattices, unit cell size is always a known quantity irrespective of the RUC topology. The lattices in the present investigation had cell density of ~ 2.5 cpi. The in-house measured bulk porosities of the manufactured samples were slightly different from the designed porosity of ~ 0.88 (Table 2.1). About 1.15% to 2.32% deviation was observed in the porosities of the fabricated samples relative to the intended CAD design porosity. The values of designed fiber diameters corresponding to each RUC are also shown in Table 3.1.

Additive manufacturing processes render roughness on the surfaces of lattices and these roughness profiles can have spatial variation depending on the orientation of sample with respect to build direction, process parameters, and surface-treatments post manufacturing. The inherent surface roughness typically results in enhancement of heat transfer and pressure drop. The contribution of surface roughness in determining the relative ranking of different topologies based on their overall thermal-hydraulic performance becomes more profound when the order of roughness length scales are similar to that of morphological dimensions of lattices. The unit cell size in the current investigation was ~ 10 mm and the fiber diameters were ≥ 1 mm. The magnitudes of heat transfer coefficient and pressure drop of lattices reported herein may be slightly higher than what one would have obtained from these lattices if there was zero relative roughness. However, considering the scales of relative roughness with respect to the lattice dimensions, the reported relative trends or ranking of the investigated lattices can be considered independent of this roughness

Figure 2.1 Four representative unit cell (RUC) topologies of the investigated samples

Figure 2.2 Dimensions of the printed samples

Table 2.1 Measured porosity and designed fiber diameter of the investigated RUC

## Experimental setup

Figure 2.3 shows the components of the experimental facility used in the present study. Air was the working fluid in this investigation and was drawn from a compressed air tank maintained at ~ 1MPa. A pressure regulator was placed downstream of the compressor to adjust the mass flow rate to a desired value. The air was directed to an ASME orifice plate for flow metering. Differential pressure across the orifice meter, static air pressure upstream of the orifice plate and air temperature were measured using Dwyer 477AV-2 (0-10 kPa) [accuracy: ±0.5% Full Scale (F.S.)], Dwyer DPG-002 (0-100 kPa) [accuracy: ±0.25% F.S.] and fast response T-type thermocouple [accuracy: ±0.5℃], respectively, which were then fed into an in-house MATLAB code to determine the mass flow rate. The metered flow was then passed through a control valve regulating the flow into the test section. The transition of the flow from circular pipe to square duct was executed with the help of a diffuser.

Figure 2.4 shows the schematic of the sample and test section assembly. The test section was made from plexiglass and had a square cross-section of 50.8 mm x 50.8 mm, resulting in hydraulic diameter (dh= 4AcP) of 50.8 mm. The test section was ~16 dh long and the samples were placed ~10 dh downstream the test-section inlet. The entry length was long enough to ensure that the flow reaching the test sample was hydrodynamically fully developed. After passing through the lattice sample, which was 100 mm (nearly 2 dh) in streamwise direction, the air travelled through ~ 4 dh test section exit length before it was vented out to the ambient. The static pressure was measured using pressure tap flushed against the inner plexiglass surface and positioned upstream of the lattice sample. The pressure drop measurements were conducted for a wide range of mass flow rates. Therefore, the pressure values at smaller flow rates were measured through sensitive manometer Dwyer 477AV-000 (0 – 0.2 kPa) [accuracy: ±0.5% Full Scale (F.S.)] and higher pressure drops were recorded using Dwyer 477AV-00 (0 – 1 kPa) [accuracy: ±0.5% Full Scale (F.S.)].

Figure 2.3 Schematic of the experimental setup (not drawn to scale)

Patch heaters were glued to the top and bottom substrates of the sample and were connected to variable transformer (range of 0-130 V) to adjust the power output by varying the voltage.  The backside of the heaters was covered by insulation to minimize the heat losses. The wall temperature measurements were conducted by T-type thermocouples at four slots provided on each substrate walls, whereas thin thermocouples were placed on the inner and outer surface of the insulation cover to evaluate the conduction heat losses through insulation. The mainstream inlet temperature was also measured by thin thermocouples placed into the flow path upstream of the lattices. The lattice, heater and insulation ensemble were carefully fitted into a socket type slot of the test section while conducting experiments.

Figure 2.4 Schematic of the lattice sample and test-section assembly (not drawn to scale)

## Experimental method and data reduction

This section provides details of the steady-state experimental procedure and heat transfer coefficient calculation methodology.

### Forced convection experimental procedure

The voltage of the variable transformers connected to the heaters was preset and the mass flow rates through the test section was adjusted to a known value. The current investigation covered the air mass flow rate range of about ~ 4.8 g/s to 21 g/s and the corresponding Reynolds number based on the channel hydraulic diameter was between 5,000 < Redh< 22, 500. The mean flow velocity corresponding to this investigated Reynolds number range varied between 1.54 m/s and 6.95 m/s. The mass flow rate was constantly monitored to ensure that it remained uniform during the test runs. Each unique run was allowed sufficient time to reach the steady-state. Once the steady-state condition was achieved, the temperatures and the corresponding voltage readings were recorded. The total heat output from the heaters was calculated using the applied voltage and the known heater resistance as following:

Equation 2.1

Qt= V2Rhtr

Local heat transfer coefficient was defined as:

Equation 2.2

hl= QnetAw(Tw,l -Tb, l)

where, Qnet=(Qt-Qloss) was the net heat input from a substrate wall, Aw was the substrate wall area, Tw,l  and Tb,l were the local wall temperature and bulk fluid temperature, respectively. The local bulk fluid temperature (Tb,l) was calculated using the energy balance method and two methods were adopted in the present study to evaluate the Qloss, which are explained in detail the following subsection. After recording the steady-state data for a particular case, the mass flow rate was adjusted to achieve the next desired Reynolds number.

### Heat loss measurements

Two methodologies were adopted in the current investigation to calibrate the system for heat losses. The first method includes the measurements from the ‘no-flow’ experiments, and the second method involves only the conduction losses through insulation during the forced convection runs. These two procedures are described below.

No-flow experiments: Steady-state experiments were performed without flow at two different specified heat inputs (Qnf) for each lattice sample and the corresponding wall temperatures were recorded. The power output of each heater was calculated from the known heater resistance and voltage measured through multimeter as following:

Equation 2.3

Qnf= Vnf2Rhtr

Under no flow conditions, a nearly constant wall temperature was achieved over the substrate.  Finally, the heat flux (Qnf/Aw) was obtained as a quadratic function of (Tw-Tin) where Tw was the mean wall temperature defined as:

Equation 2.4

Tw= 1ni=1nTw, i

and Tin was the temperature upstream of the lattices recorded during each no flow run. The relationship between applied heat and the difference of wall and local fluid temperature characterizes the overall system loss which may include the lattice material effects on buoyancy-driven convection and the conduction losses through the insulation at the backside of the heaters. The heat transfer measurements were performed for both-walls heated and single-wall (bottom) heated conditions. These losses accounted for about ~ 5% to 18% of the total heat supplied during the flow experiments.

With-flow experiments: The losses from the system when the air was forced through the test samples were taken as the one conducted through the insulation and evaluated using the Fourier’s law:

Equation 2.5

Qwf= kA insΔTinstins

where, k, Ains, (ΔT)ins and tins were the thermal conductivity, area normal to the heat flow direction, temperature difference across the insulation and thickness of the insulation, respectively. These losses were 1% to 3.3% of the total heat supplied during the flow experiments.

### Data reduction for heat transfer coefficient

Two methodologies have been adopted to report the heat transfer coefficient values in this study based on the heat loss measurement procedures discussed above.

Total heat transfer coefficient (h): The local total heat transfer coefficient was defined as:

Equation 2.6

ht= Qt-QwfAw(Tw,l -Tb, l)

where, the heat losses subtracted from the total heater power output corresponded to the conduction losses estimated using Eq. 5. This heat transfer coefficient included the effects of the flow conditions, lattice topology, working fluid, and buoyancy-induced convection, thereby it represented the true overall conjugate benefits of the lattice samples. The obtained temperature data at the four thermocouple slots in each substrate wall was plotted against the axial position of holes to obtain the polynomial curve fit. This curve fit as a function of streamwise length was used to obtain the local wall temperature values. The wall temperature curve fit equation was used to find local wall temperatures corresponding to a unit cell in streamwise direction by using its distance from the lattice inlet as a parameter. Local bulk fluid temperature as a function of the axial location was obtained using the following energy balance method:

Equation 2.7

Tb, x=Tin+ Q"netWmcpx

where Q"net was the net heat flux into the system, W was the spanwise width of the sample and x denoted the axial distance from the lattice entrance.

Forced heat transfer coefficient (h): Local ‘forced’ heat transfer coefficient was defined as following:

Equation 2.8

hf= Qt-QnfAw(Tw,l -Tb, l)

where the ‘no-flow’ losses have been subtracted from the total heater output. The ‘forced’ heat transfer defined here did not include the effects of buoyancy-driven convection and the conduction losses through any possible venues of the test section.

The measurement uncertainty analysis was carried out through sequential perturbation method [2.26]. The typical uncertainty range for Nusselt number was between 2-5% and that for the Reynolds number was within 4%.

## Results and discussion

This section reports the results of validation test runs, local heat transfer coefficient trends, mean Nusselt number, flow losses, thermal-hydraulic performance and pumping power requirements of the investigated lattice topologies.

### Benchmarking heat transfer data

Validation in the current study was conducted by evaluating the Nusselt number distribution of smooth plate. Since the roughness profiles on the additively manufactured surfaces makes the comparison with the standard correlations challenging, the set-up was validated by performing the test runs on the smooth machined aluminum plate for a wide range of Reynolds numbers. Figure 2.5 shows the streamwise distribution of the local Nusselt number enhancement (NudhNu0) of the smooth plate with respect to the well-known Dittus-Boelter correlation. The streamwise length of the plate was ~ 10 dh which was sufficient for the flow to become thermally fully developed where the ratio NudhNu0~ 1 was achieved for all the investigated Reynolds numbers. The data beyond xL ~ 0.7 was influenced by the exit effects and therefore is not represented here. The Nusselt number (hfdhkf) presented in Figure 2.5 was calculated using Equation 2.8where the ‘no-flow’ effects were separated out from the total heater output. The agreement with the standard Dittus-Boelter correlation was good for the current experimental data which lends confidence to the accuracy of the results presented in the following sections.

Figure 2.5 Streamwise distribution of Nusselt number in the smooth channel

Figure 2.6 presents the local total transfer coefficient (Equation 2.6) for both-walls heated and only bottom-wall heated scenarios. The local heat transfer coefficient trends of top and bottom walls were close to each other, which indicated proper setup of heaters and flow uniformity through the lattice. Local heat transfer coefficient showed decreasing trend initially and finally converging to a near-constant value indicating that the periodic heat transfer behavior was achieved. Such zones are highlighted in each plot with dashed outline. When both walls were heated, the heat transfer for Octet and Cube became periodic at xL≥ 0.6, whereas for FD-Cube and TKD this phenomenon was observed at the axial distance of xL≥ 0.5. These conclusions were somewhat different for Octet and TKD in single wall heating conditions, where the heat transfer became fully periodic at xL≥ 0.7 and xL≥ 0.6, respectively. Since the total streamwise length (L) was 100 mm and unit cell size corresponded to 10 mm, the axial distance of xL= 0.5 corresponded to the exit of the 5th row of cells from the entrance. It can be concluded that at least 5 to 6 rows in streamwise direction were required to achieve periodic heat transfer in all the tested configurations.  The heat transfer coefficient values of the Octet, FD-Cube and TKD tend to converge towards very similar values in thermally developed zones.

Figure 2.6 Streamwise distribution of Nusselt number in the smooth channel

Figure 2.7 shows the forced heat transfer coefficient (Equation 2.8) for both-walls heated and only bottom-wall heated scenarios. The plots in Figure 2.7 are qualitatively same as that presented in Fig. 6 and demonstrate deviation only in the magnitude. The relative difference in the magnitudes of the heat transfer coefficients in the fully developed zones (the areas of interest in the current investigation) in Figure 2.6 and Figure 2.7 is discussed in the next subsection.

Octet demonstrated slightly increasing trend for Nusselt number in thermally developing zones at the highest Reynolds number. This was also observed numerically by Iasiello et al. [2.20] for interfacial heat transfer coefficient variation of Tetrakaidecahedron lattice where the authors refer to this zone as the impingement zone. Kaur and Singh [2.24] analyzed the conjugate thermal performance of four Octet cells in a single cell thick configuration and reported the cell-based variation of conjugate heat transfer coefficient and found monotonically decreasing trend for laminar flow. In the current investigation, the increasing or decreasing trend of the Octet lattice at the instance of the highest Reynolds number is not highly consequential as the proposed correlations in the following section are based on the fully developed zones downstream.

Figure 2.7 Mean total and forced heat transfer coefficient under both wall and only bottom wall heated conditions

### Mean heat transfer characteristics

Mean heat transfer coefficient: total and forced heat transfer coefficient values under both-walls heated and only bottom-wall heated conditions are presented in Fig. 8. The heat transfer coefficient values presented here are the average of values in the periodic heat transfer zones shown within the dashed enclosures in Figure 2.6 and Figure 2.7. As discussed above, the values of Octet, FD-Cube, and TKD converged to a similar value and therefore demonstrated same levels of mean heat transfer coefficient under all the heating conditions for the investigated range of Reynolds number. The total heat transfer for both-wall heating condition was in the range of ~ 216 Wm2K to 415 Wm2K for Octet, FD-Cube, and TKD, whereas for only-bottom-wall heating the heat transfer coefficient values were between ~ 188 Wm2K to 367 Wm2K. The mean total heat transfer coefficient for both-wall heated condition was about ~4.4% - 8.8%, 3.3% - 11%, and 9.1% - 17.4% higher than the forced heat transfer coefficient of Octet, FD-Cube, and TKD, respectively. For bottom-wall heating condition, the total heat transfer coefficient was 4.4% - 12.3%, 8.9% - 20%, and 8.2%- 19% higher than the forced heat transfer coefficient for Octet, FD-Cube, and TKD, respectively. Cube was the simplest topology and demonstrated the weakest performance amongst the investigated RUC topologies. The addition of fiber complexity to the RUC architecture clearly did not provide any benefits from the thermal performance perspective if the periodicity of the heat transfer in the lattices was considered. The heat transfer characteristics in the periodic region became almost independent of the topology for relatively complex RUCs (Octet, FD-Cube, and TKD).

Figure 2.8 Mean total and forced heat transfer coefficient under both wall and only bottom wall heated conditions

Several factors such as interfacial heat transfer coefficient, surface area to volume ratio and lattice-endwall connection can dictate the overall thermal performance of the lattices in conjugate thermal exchange. Cube was the simplest investigated topology in the current investigation and demonstrated significantly lower specific surface area as compared to other topologies. This significantly undermined the overall thermal performance of the Cube topology. Octet exhibited the highest specific surface area but could not outperform the FD-Cube and TKD lattices. Each topology rendered different near-wall phenomenon as the fibers connected to the endwall in each lattice interrupted the development of flow and thermal boundary layer uniquely. Since the configurations are reticulated in three-dimensional space, the thermal transport phenomenon occurring in the core volume of the lattice blocks was significantly important. Also, it should be noted that the effective thermal conductivity of these lattices for the investigated porosity value of ~ 0.86-0.87 was independent of the unit cell topology as established by Wang et al. [2.25]

Nusselt number based on channel hydraulic diameter: The heat transfer coefficient (Figure 2.8) is presented in non-dimensional form of Nusselt number as a function of Reynolds number in Figure 2.9. The characteristic length chosen in these plots is the channel hydraulic diameter, therefore the definitions of total and forced Nusselt number were htdhkf and hfdhkf, respectively. The Reynolds number was defined as  ρudhμ. Since the Nusselt number trends for Octet, FD-Cube, and TKD were similar to each other, a single trendline could be extracted to predict the performance of the lattices. The Nusselt number is typically presented as a power law function of Reynolds number such that Nu=cRem. Although the porosities of the investigated samples were different, the variation was small due to which the assumption that the Nusselt number depended only on the Reynolds number for the air as the working fluid in this investigation is justified.

Table 2.2 Correlation cRedh   m for Octet, FD-Cube, and TKD under different heating conditions

Table 2.3 Correlation cRedhm for Cube under different heating conditions

Figure 2.9 Nusselt number as a function of Reynolds number based on channel hydraulic diameter

Nusselt number based on pore diameter and fiber diameter: Various characteristic length scales have been used by researchers in the past to define Nusselt number. While channel hydraulic diameter (dh) is a macroscopic dimension of the channel, pore diameters and fiber diameters are better representative of the pore-level dimensional scales. Hwang et al. [2.27] defined the pore Reynolds number as (ρudpεμ) and pore Nusselt number corresponding to volumetric heat transfer coefficient as (hvdp2kf). Iasiello et al. [2.28] also adopted same definitions as provided in [2.27] to present the pore-scale heat transfer parameters. Fiber diameter is not a very common characteristic length scale for defining Reynolds number and Nusselt number as compared to pore diameter. Calmidi and Mahajan [2.14] reported interfacial Nusselt number of high porosity metal foams based on fiber diameter (Nusf=hsfdfkf) as a function of Reynolds number (Redf=ρudfεμ) and Prandtl number. This relationship framework was based upon the correlations for cylinders in crossflow configuration with an assumption that flow over metal fibers is similar to that of cylinders. The definition of pore diameter and the values of fiber diameter are not very consistent in the literature pertaining to open-cell metal foams. For periodic lattices like the ones investigated in the current study, defining the pore can be challenging as the voids of each RUC is unique in shape. Ketan et al. [2.29] performed numerical investigation on triply periodic minimal surfaces (TPMS) which are sheet-based category of structures involving channels of different shapes for the fluid flow. [The authors defined the pore diameter as the maximum diameter of the sphere that could pass through the smallest channel in the heat sinks. Similar methodology was adopted by Kaur and Singh [2.30] to define pore diameters for TPMS and TKD structure. The pore diameters in this study were also defined as in [2.29,2.30], and the spheres corresponding to which the diameters were calculated are highlighted in Figure 2.10.

TKD topology consisted of six smaller square and eight larger hexagonal opening. Although, one can choose the smaller dimensional scale as the pore diameter, the value considered in the present investigation was the weighted average of both types of openings. The values of pore diameters for different RUC topologies are provided in Table 2.4.

The pore Nusselt number (Nudp=hdp/kf) of the four investigated samples is presented in Figure 2.11 as a function of pore Reynolds number (Redp=ρudpεμ). The porosity value used in the Reynolds number definition was the actual measured bulk porosity of each lattice sample. With the above definitions of pore-diameter, Nusselt number showed a very coherent data set for all the four lattices. The correlations of the form Nudp=cRedp  m for predicting the pore diameter based Nusselt number are proposed in Table 2.5.

Table 2.4 Pore diameter of different RUC topologies

Figure 2.10 Pore diameters (dp) corresponding to the largest sphere that could pass through the voids of (a) Octet, (b FD-Cube, (c) Tetrakaidecahedron, and (d) Cube

Figure 2.11 Pore diameter based Nusselt number as a function of Reynolds number

Table 2.5 Correlation cRedp  m for all investigated topologies under different heating conditions

The methodology adopted for defining the pore diameters of the periodic lattices in the present study can serve as an important tool to obtain single correlations for predicting the heat transfer performance of various topologies. Also, the application of this definition can be extended to other families of lattices, which are not necessarily skeleton or fiber-based, to establish

h if the resulting Nusselt number provides single correlation at fixed porosities for different topologies of the same family. It should be noted that the proposed correlations hold true for regular lattices with 2.5 cpi density and 0.86 ≤ ε ≤ 0.87.

Another pore-scale dimension used to represent the Nusselt number is the fiber diameter. Usage of fiber diameter as a characteristic length scale is a very convenient concept in periodic lattices as fiber diameter is known a priori for fixed unit cell size and porosity. The fiber-diameter based Nusselt number (Nudf= hdf/kf)  as a function of Reynolds number (Redf=ρudfεμ) is presented in Figure 2.12. The fiber diameter values used for defining these parameters were taken from the CAD models of the RUCs. These values are provided in Error! Reference source not found..

The usage of fiber diameter as the characteristic length scale to define Nusselt number and Reynolds number also produced very minimal spread in the overall data. A unique trendline could be obtained for predicting the heat transfer performance of the investigated samples. The correlations of the form Nudf=cRedf  m for predicting the fiber diameter based Nusselt number of the investigated topologies are proposed in Table 2.6. The values predicted by all the correlations presented in Table 2.5 and Table 2.6 are compared against the corresponding experimental data in Figure 2.13. The spread of the predicted values from correlations were within ±15% of the experiments. Table 2.7 summarizes the coefficients (c and m) of correlations (Nu=cRem) for different heating condition and characteristic length scales based on the information provided in Table 2.5 and Table 2.6.

Figure 2.12 Fiber diameter based Nusselt number as a function of Reynolds number

Table 2.6 Correlation cRedf  m for all investigated topologies under different heating conditions

Table 2.7 Values of coefficients in correlation  Nu=cRem  for different characteristic length scales

Figure 2.13 Comparison of values predicted from correlations with the values obtained from experiments

### Heat transfer augmentation

The augmentation in heat transfer provided by the lattices with respect to smooth channel is shown in Figure 2.14.

The baseline smooth channel Nusselt number was predicted using Dittus-Boelter correlation (Nu0=0.023Redh0.8Pr0.4) developed for turbulent and fully developed thermal flows in smooth channels. The Nusselt number of the lattices corresponding to only total heat transfer coefficient based on channel hydraulic diameter length scale (Nudh=hdh/kf) presented in Figure 2.8 is used here to discuss the enhancement levels.

This seemed relevant as in practical applications the potential of lattices are fully realized due to their conjugate thermal exchange abilities including buoyancy-effects. When both the top and bottom walls were heated, Octet, FD-Cube, and TKD provided about 13 to 23 times higher heat transfer than the smooth channel, whereas Cube yielded about 9.5 to 17 times higher heat transfer. When only bottom wall was heated, the heat transfer enhancement relative to smooth channel provided by Octet, FD-Cube, and TKD was 11.3 to 20 times, but Cube provided augmentation of 9.4 to 12.5 times as compared to the smooth channel. Overall, the employment of lattices with varying topologies in a channel is capable of producing heat transfer as high as 10 to 20 times relative to the corresponding smooth channel configurations. It should be noted that the endwalls integrated to the lattice block while manufacturing possessed surface roughness due to which the enhancement levels shown in Fig. 14 include not only the benefits of the conjugate thermal exchange of a certain topology but also the roughness on fibers and endwalls.

Figure 2.14 Nusselt number enhancement with respect to smooth channel Dittus-Boelter correlation

### Pressure drop characteristics

Lattices yield high heat transfer levels but at a cost of high pumping power requirements. To compare the flow losses of various topologies, the pressure gradient across the lattices is presented as a function of the mean flow velocity in Figure 2.15a. Pressure drop measurements were conducted under isothermal conditions where no heating was applied on the top and bottom substrate walls. Pressure gradient (∆PL) as a function of the mean flow velocity is used to represent the flow losses incurred by the lattices, where mean flow velocity was based on the volumetric flow rate and channel cross-section area.

The non-dimensional form of the pressure drop, i.e., Fanning friction-factor was also calculated according to the following definition:

Equation 2.9

f=∆PLdh2ρu2

FD-Cube had the highest pressure gradient, followed by Octet, TKD, and Cube. The intersection of diagonal fibers at the face of the unit cell as shown in Figure 2.10b provided large resistance to the fluid flow. The least value of pore diameter was also exhibited by the FD-Cube topology (Table 2.4). Highest inertial losses are expected for FD-Cube lattice topology. Cube had the simplest fiber connection and large pores; therefore, it provided the lowest pressure drop values. Pressure gradient of ~ 717 to 8804 Pa/m, 604 to 7121 Pa/m, 378 to 4651 Pa/m, and 184 to 2298 Pa/m was obtained for FD-Cube, Octet, TKD and Cube, respectively.

Flow losses in non-dimensional form are presented in terms of friction factor (Equation 2.9). Enhancement in the friction factor values relative to the smooth channel is shown in Fig. 15b, where the baseline smooth channel friction factor was evaluated using the Blasius equation (f0=0.079Redh-0.25). FD-Cube, Octet, TKD, and Cube provided 613 to 667, 487 to 514, 334 to 355, and 158 to 169 times enhancement, respectively, with respect to the smooth channel. The friction factor enhancement did not show very strong dependence on the Reynolds number for a particular topology within the investigated range.

Figure 2.15 Conjugate heat transfer coefficient as a function of pumping power requirement

## Pumping power requirements

The total heat transfer coefficient for investigated lattices is presented with respect to the pumping power requirement (∆Pm/ρ) in Figure 2.16. Octet and TKD provided the best thermal performance over the studied range of pumping power when both walls were heated. The performance was closely followed by FD-Cube whereas Cube had the least heat transfer coefficient at any considered pumping power. When only bottom wall was heated Octet, FD-Cube, and TKD provided similar characteristics of heat transfer coefficient with respect to the pumping power conditions. The heat transfer increased with increasing pumping power but with the maximum slope for the Cube topology. The heat transfer coefficient levels of Cube approached that provided by the other lattices at the higher pumping power conditions. Therefore, Cube can outperform other lattices at high pumping power constraints.

Figure 2.16 Conjugate heat transfer coefficient as a function of pumping power requirement

## Thermal-hydraulic performance (THP)

The augmentation in heat transfer through employment of lattices is accompanied by significant flow losses. To quantify the gain in thermal performance relative to the pressure drop penalty, thermal-hydraulic performance (THP) parameter is generally defined [2.31,2.32]. The THP is determined by the following equation:

Equation 2.10

THP= NudhNu0ff01/3

where, Nu0=0.023Redh0.8Pr0.4 is the Dittus-Boelter equation for the Nusselt number prediction in the smooth channel and f0=0.079Redh-0.25 is the Blasius equation for estimating friction factor in the smooth channel. The augmentation in thermal performance relative to the gain in pressure drop of different lattices is presented in terms of THP (Equation 2.10) in Figure 2.17. The THP of all the lattices was around ~ 3 at the lowest investigated Reynolds number when both the walls were heated. The THP of all the lattices was quite similar, therefore, for the engineering applications where pressure drop is not the constraint variable, Octet, FD-Cube and TKD could be employed as they generated higher heat transfer than the Cube topology. The higher heat transfer of complex topologies compensated for the higher pressure drop yielding the competing THP against the Cube topology. Since all the investigated topologies provided same THP levels irrespective of the fiber inter-connections, other factors such as cost of fabrication and lead time can be weighed in to choose a topology for heat exchanger when THP is the primary design constraint because it is clear that a topology as simple as Cube can provide THP comparable to other topologies. However, if one needs to design a heat exchanger oriented towards mechanical load bearing applications, then topologies with superior mechanical properties can be selected without compromising the overall THP. Based on the data provided in Figure 2.17, dependence of the form THP= cRedh-m can be obtained for the thermal-hydraulic performance of the investigated samples. The correlations for both walls heated, and only bottom wall heated configurations were 102.99Redh-0.414 and 37.22Redh-0.319, respectively.

Figure 2.17 Thermal-hydraulic performance based on conjugate Nusselt number in reference to the Reynolds number

## Conclusions

Experimental investigation on flow and heat transfer characteristics of additively manufactured lattice blocks composed of four different unit cell topologies, namely, Octet, FD-Cube, TKD, and Cube has been caried out. The porosity of lattice was ~0.88 and cell density of 2.5 cpi. Heat transfer and pressure drop experiments were conducted over Reynolds number 5,000 < Redh< 22, 500, with air as working fluid. Heat transfer experiments were conducted for two types of heating conditions in which: (a) both the endwalls were heated, and (b) only bottom wall was heated. Following major conclusions were drawn from the current investigation:

1. The length of the samples in the mean flow direction was 100 mm which was sufficient for flow to reach thermally fully developed condition after travelling over five to six rows of unit cells in streamwise direction. Octet, FD-Cube, and TKD provided similar total heat transfer coefficient values of ~216 Wm2K to 415 Wm2K in thermally fully developed zones whereas Cube yielded the lowest heat transfer coefficient values between 167 Wm2K and 290 Wm2K.

2.  Introduction of pore diameter and fiber diameter as characteristic length scale to define Nusselt number yielded very coherent data set for all the topologies. Both the characteristic length scales allowed the construction of a single trendline to predict the thermal performance of all the topologies with ±15% spread for a particular heating condition.

3. Lattices could augment the Nusselt number by roughly 10 – 20 times with respect to the smooth channel.

4. From the flow losses perspective, the maximum pressure gradient was incurred by the FD-Cube and the least pressure drop penalty was provided by Cube topology. At any given pumping power condition, Octet, FD-Cube, and TKD were equally promising for the investigated range of mass flow rates, however, Cube could be useful at very high mass flow rates when only one wall is heated.

5. The thermal-hydraulic performance was quite similar for all the topologies which showed that Octet, FD-Cube, and TKD can be very useful in practical engineering applications where pressure drop is not a constraint variable because these topologies generated higher heat transfer than Cube. The investigated topologies provided THP of ~ 3 at the lowest investigated Reynolds number.

6. Overall, it can be concluded that increasing the complexity of the RUC topology is not a very effective method of improving the heat transfer from a surface especially when the dimensions of the samples are large enough to achieve fully developed thermal flows. In the current study, the heat transfer coefficient enhancement with respect to smooth channel for lattices with relatively higher degree of complexity showed negligible dependence on the RUC topology.

## Numeclature

Ains	    base area of insulation/endwall

CAD 	computer aided design

c, m	coefficients in correlation

cp	specific heat capacity

cpi 	cells per inch

df	fiber-diameter

dh	    hydraulic diameter

dp	pore-diameter

f		friction factor

H		height of the sample

ht	local total transfer coefficient

hf 	local forced heat transfer coefficient

kf	fluid thermal conductivity

L		streamwise length of the sample

m	mass flow rate

Nu	Nusselt number

ppi	pores per inch

Pr	Prandtl number

Qnet	net heat input into the lattice

Qnf	heater output under no-flow conditions

Qt	total heater output

Qwf	heat lost through backside insulation

Q"net	net heat flux

Rhtr	resistance of the heater

Re	Reynolds number

RUC 	representative unit cell

tins	insulation thickness

T		temperature

THP	Thermal hydraulic performance

TPMS 	triply periodic minimal surface

u		mean flow velocity

V		voltage

W		width of the sample

W		pumping power

∆P	pressure drop

ΔT	temperature difference

## Greek symbols

μ		dynamic viscosity

ρ		density

ε	  	porosity

ins	    insulation

## Subscripts

b	    bulk fluid

f	    fiber

l 	    local

nf	    no-flow

p	    pore

sf	    interfacial

w	    substrate endwall

w, i  	    running index for the hole number in the endwalls

wf	    with-flow

0	    standard correlation

## References

[2.1]	Younis_Viskanta_Experimental determination of the volumetric heat transfer coefficient between stream of air and ceramic foam.pdf, (n.d.).

[2.2]	S. Mancin, C. Zilio, A. Diani, L. Rossetto, Air forced convection through metal foams: Experimental results and modeling, Int. J. Heat Mass Transf. (2013). https://doi.org/10.1016/j.ijheatmasstransfer.2013.02.050.

[2.3]	A.J. Fuller, T. Kim, H.P. Hodson, T.J. Lu, Measurement and interpretation of the heat transfer coefficients of metal foams:, Http://Dx.Doi.Org/10.1243/095440605X8414. 219 (2016) 183–191. https://doi.org/10.1243/095440605X8414.

[2.4]	P.J. Tan, S.R. Reid, J.J. Harrigan, On the dynamic mechanical properties of open-cell metal foams - A re-assessment of the “simple-shock theory,” in: Int. J. Solids Struct., 2012: pp. 2744–2753. https://doi.org/10.1016/j.ijsolstr.2012.03.026.

[2.5]	C.Y. Zhao, Review on thermal transport in high porosity cellular metal foams with open cells, Int. J. Heat Mass Transf. (2012). https://doi.org/10.1016/j.ijheatmasstransfer.2012.03.017.

[2.6]	P. Ranut, On the effective thermal conductivity of aluminum metal foams: Review and improvement of the available empirical and analytical models, Appl. Therm. Eng. (2016). https://doi.org/10.1016/j.applthermaleng.2015.09.094.

[2.7]	I. Kaur, P. Singh, Critical evaluation of additively manufactured metal lattices for viability in advanced heat exchangers, Int. J. Heat Mass Transf. 168 (2021) 120858. https://doi.org/10.1016/j.ijheatmasstransfer.2020.120858.

[2.8]	H. Yan, X. Yang, T. Lu, G. Xie, Convective heat transfer in a lightweight multifunctional sandwich panel with X-type metallic lattice core, Appl. Therm. Eng. (2017). https://doi.org/10.1016/j.applthermaleng.2017.08.081.

[2.9]	X. Jin, B. Shen, H. Yan, B. Sunden, G. Xie, Comparative evaluations of thermofluidic characteristics of sandwich panels with X-lattice and Pyramidal-lattice cores, Int. J. Heat Mass Transf. (2018). https://doi.org/10.1016/j.ijheatmasstransfer.2018.07.087.

[2.10]	L. Dong, V. Deshpande, H. Wadley, Mechanical response of Ti-6Al-4V octet-truss lattice structures, Int. J. Solids Struct. (2015). https://doi.org/10.1016/j.ijsolstr.2015.02.020.

[2.11]	I. Kaur, P. Singh, State-of-the-art in heat exchanger additive manufacturing, Int. J. Heat Mass Transf. 178 (2021) 121600. https://doi.org/10.1016/j.ijheatmasstransfer.2021.121600.

[2.12]	K. Hazeli, B.B. Babamiri, J. Indeck, A. Minor, H. Askari, Microstructure-topology relationship effects on the quasi-static and dynamic behavior of additively manufactured lattice structures, Mater. Des. 176 (2019). https://doi.org/10.1016/j.matdes.2019.107826.

[2.13]	X. Cao, D. Xiao, Y. Li, W. Wen, T. Zhao, Z. Chen, Y. Jiang, D. Fang, Dynamic compressive behavior of a modified additively manufactured rhombic dodecahedron 316L stainless steel lattice structure, Thin-Walled Struct. 148 (2020). https://doi.org/10.1016/j.tws.2019.106586.

[2.14]	V. V Calmidi, R.L. Mahajan, Forced convection in high porosity metal foams, J. Heat Transfer. (2000). https://doi.org/10.1115/1.1287793.

[2.15]	N. Dukhan, Ö. Baʇci, M. Özdemir, Thermal development in open-cell metal foam: An experiment with constant wall heat flux, Int. J. Heat Mass Transf. 85 (2015) 852–859. https://doi.org/10.1016/j.ijheatmasstransfer.2015.02.047.

[2.16]	A. Arbak, N. Dukhan, Ö. Bağcı, M. Özdemir, Influence of pore density on thermal development in open-cell metal foam, Exp. Therm. Fluid Sci. 86 (2017) 180–188. https://doi.org/10.1016/j.expthermflusci.2017.04.012.

[2.17]	J.S. Noh, K.B. Lee, C.G. Lee, Pressure loss and forced convective heat transfer in an annulus filled with aluminum foam, Int. Commun. Heat Mass Transf. 33 (2006) 434–444. https://doi.org/10.1016/j.icheatmasstransfer.2005.11.003.

[2.18]	K. Hooman, A. Haji-Sheikh, D.A. Nield, Thermally developing Brinkman-Brinkman forced convection in rectangular ducts with isothermal walls, Int. J. Heat Mass Transf. 50 (2007) 3521–3533. https://doi.org/10.1016/j.ijheatmasstransfer.2007.01.011.

[2.19]	A. Haji-Sheikh, D.A. Nield, K. Hooman, Heat transfer in the thermal entrance region for flow through rectangular porous passages, Int. J. Heat Mass Transf. 49 (2006) 3004–3015. https://doi.org/10.1016/j.ijheatmasstransfer.2006.01.040.

[2.20]	M. Iasiello, S. Cunsolo, N. Bianco, W.K.S. Chiu, V. Naso, Developing thermal flow in open-cell foams, Int. J. Therm. Sci. 111 (2017) 129–137. https://doi.org/10.1016/j.ijthermalsci.2016.08.013.

[2.21]	Z. Wu, C. Caliot, G. Flamant, Z. Wang, Numerical simulation of convective heat transfer between air flow and ceramic foams to optimise volumetric solar air receiver performances, Int. J. Heat Mass Transf. 54 (2011) 1527–1537. https://doi.org/10.1016/j.ijheatmasstransfer.2010.11.037.

[2.22]	A.S. Suleiman, N. Dukhan, Forced convection inside metal foam: Simulation over a long domain and analytical validation, Int. J. Therm. Sci. 86 (2014) 104–114. https://doi.org/10.1016/j.ijthermalsci.2014.06.022.

[2.23]	I. Kaur, P. Singh, Flow and Thermal Transport Through Unit Cell Topologies of Cubic and Octahedron Families, Int. J. Heat Mass Transf. 158 (2020). https://doi.org/10.1016/j.ijheatmasstransfer.2020.119784.

[2.24]	I. Kaur, P. Singh, Numerical investigation on conjugate heat transfer in octet-shape-based single unit cell thick metal foam, Int. Commun. Heat Mass Transf. 121 (2021) 105090. https://doi.org/10.1016/j.icheatmasstransfer.2020.105090.

[2.25]	N. Wang, I. Kaur, P. Singh, L. Li, Prediction of Effective Thermal Conductivity of Porous Lattice Structures and Validation with Additively Manufactured Metal Foams, Appl. Therm. Eng. (2021) accepted. https://doi.org/10.1016/j.applthermaleng.2021.116558.

[2.26]	R.J. Moffat, Describing the uncertainties in experimental results, Exp. Therm. Fluid Sci. 1 (1988) 3–17. https://doi.org/10.1016/0894-1777(88)90043-X.

[2.27]	J.J. Hwang, G.J. Hwang, R.H. Yeh, C.H. Chao, Measurement of interstitial convective heat transfer and frictional drag for flow across metal foams, J. Heat Transfer. (2002). https://doi.org/10.1115/1.1416690.

[2.28]	M. Iasiello, S. Cunsolo, M. Oliviero, W.M. Harris, N. Bianco, W.K.S. Chiu, V. Naso, Numerical analysis of heat transfer and pressure drop in metal foams for different morphological models, J. Heat Transfer. (2014). https://doi.org/10.1115/1.4028113.

[2.29]	O. Al-Ketan, M. Ali, M. Khalil, R. Rowshan, K.A. Khan, R.K. Abu Al-Rub, Forced Convection Computational Fluid Dynamics Analysis of Architected and Three-Dimensional Printable Heat Sinks Based on Triply Periodic Minimal Surfaces, J. Therm. Sci. Eng. Appl. (2021). https://doi.org/10.1115/1.4047385.

[2.30]	I. Kaur, P. Singh, Flow and thermal transport characteristics of Triply-Periodic Minimal Surface (TPMS)-based gyroid and Schwarz-P cellular materials, Numer. Heat Transf. Part A Appl. 79 (2021) 553–569. https://doi.org/10.1080/10407782.2021.1872260.

[2.31]	M. Iasiello, N. Bianco, W.K.S. Chiu, V. Naso, The effects of variable porosity and cell size on the thermal performance of functionally-graded foams, Int. J. Therm. Sci. 160 (2021) 106696. https://doi.org/10.1016/J.IJTHERMALSCI.2020.106696.

[2.32]	M. Siavashi, H.R. Talesh Bahrami, E. Aminian, Optimization of heat transfer enhancement and pumping power of a heat exchanger tube using nanofluid with gradient and multi-layered porous foams, Appl. Therm. Eng. 138 (2018) 465–474. https://doi.org/10.1016/J.APPLTHERMALENG.2018.04.066.

# :
Thermal-Hydraulic Performance of Additively Manufactured Lattices for Gas Turbine Blade Trailing Edge Cooling

## Abstract

Gas turbine blade trailing edge cooling is challenging because of the stringent geometrical constraints driven by aerodynamics and thermal stresses. The blade topology becomes significantly thin towards the trailing edge which leaves a narrow room for the construction of internal cooling channels and also makes this section susceptible to failure due to thermal stresses. Conventionally, pin-fins are employed in the internal cooling channels of the trailing edge because they provide high levels of heat transfer coefficient values and also structural integrity. Much of the past studies on pin fins have focused on their relative arrangements, heights, crossflow scheme, etc., with an aim to enhance the endwall heat transfer coefficient as well as leverage the conjugate heat dissipation capabilities of these “extended surfaces”. Lattices on the other hand, have been investigated to a lesser degree, and some studies can be found for blade mid-chord region, however, with their manufacturability challenges at that time, the concepts did not gain traction. Lattices are far more complex topologies with superior local heat transfer characteristics as well as high conjugate heat dissipation capabilities due to large wetted surface area. With the recent advancements in metal additive manufacturing, complex topologies such as lattices can be revisited due to high chances of their realization now. To this end, we are presenting our study on lattices additively manufactured in 420 Stainless Steel (thermal conductivity nearly twice of Inconel 718), where four different unit cell topologies, (a) Octet, (b) Tetrakaidecahedron, (c) Face diagonal-cube, and (d) Cube, were printed using Binder Jetting technology. The aim of this study is to characterize the conjugate heat transfer capabilities of these lattices manufactured in 420 Stainless Steel prior to conduct similar study with Inconel 718, due to relatively simpler additive manufacturing route of Binder jetting (420 stainless steel) compared to Direct Metal Laser Sintering (Inconel 718). The intended design porosity of the samples was 0.886 and the coupons had single unit cell (edge size of 10 mm) in the thickness. The steady-state experiments were conducted to evaluate the effective thermal conductivity and forced convective heat transfer performance. For forced convection, the experiments were conducted for a wide range of Reynolds numbers with air as the working fluid. Overall heat transfer coefficient, pressure drop, Nusselt number and friction factor enhancement level and pumping power requirements of these structures are presented. The implications of the porosity variation due to manufacturing process on the interpretation of relative performance trends is discussed. The effective thermal conductivity was independent of the topology for considered porosity value. Face diagonal-cube yielded the highest heat transfer and pressure drop for the investigated Reynolds number range. However, Cube provided the best overall thermal hydraulic performance value of 1.94 to 2.78 for the investigated range of Reynolds number. At fixed pumping power conditions, Cube was capable of providing the highest heat transfer coefficient.

## Nomenclature

Ac	cross-section area of the duct

cp	specific heat capacity

CT	computed tomography

D	pin-diameter

dh	channel hydraulic diameter

f	friction factor (∆Pdh2Lρu2)

f0	friction factor from Blasius equation (f0=0.079Re-0.25)

FCC 	Face-centered cube

H	unit cell or pin height

h	heat transfer coefficient

I	current flowing through the circuit

keff	effective thermal conductivity

kf	fluid thermal conductivity

ks	solid material thermal conductivity

L	streamwise length of the lattice

m	mass flow rate

Nu	Nusselt number based on the channel hydraulic diameter (hdhkf)

Nu0	Nusselt number from Dittus-Boelter correlation in smooth channels (Nu0=0.023Re0.8Pr0.4)

Nus	Nusselt number for thermally developing flows in smooth channels

Pr	Prandtl number

∆P	pressure drop

Ql,  ins	heat loss through insulation

Qnet, C.V. net heat input to the lattice

Rhtr	resistance of the heater

Re	Reynolds number (ρudhμ)

SLA 	stereolithography

S/D	spanwise pitch

THP	thermal-hydraulic performance with respect to thermally developed flows

THPs	thermal-hydraulic performance with respect to thermally developing flows

TLC	Transient liquid crystal

Tb, L	bulk temperature at the exit

Tb, x	local bulk temperature

Tin	inlet temperature

Tref	reference temperature

Tw	average wall temperature

u	mean flow velocity

X/D	streamwise pitch

## Greek symbols

ρ	density of the fluid

μ	dynamic viscosity

ε	porosity

## Introduction

Advanced high-pressure stage gas-turbine blades are exposed to incoming hot gases with inlet temperatures as high as ~ 1700 ͦC. There has been continuous effort to develop complementary cooling techniques for efficient heat dissipation so that blade temperature can be maintained in safe operating range.

Considering complex contoured profile of a typical turbine blade as shown in Figure 3.1, various types of internal and external cooling techniques have been developed over the years, depending on the local heat-load levels, space constraints, and structural integrity requirements. Designing a cooling concept for trailing edge area is challenging because the blade thickness reduces significantly in this zone allowing the fabrication of only narrow internal channels for the coolant flow. Further, it is expected from trailing edge cooling design that the blade structural integrity is not compromised. The augmentation of heat transfer from the trailing edge surface is achieved by introducing turbulence-promoting features on the internal walls of the channels. Amongst several features, pin-fins have emerged as one of the most promising options for trailing edge because they provide high heat transfer enhancement levels. A comprehensive review on different heat transfer augmentation techniques was provided by Ligrani et al. [3.2].

Matrix cooling or latticework cooling is another method of augmenting heat transfer in the internal channels of the turbine blades. Relatively less attention has been given to this cooling technique as compared to pin-fin features for applications in the trailing edge cooling. Matrix cooling involves two sets of parallel ribs inclined to each other at an angle. This matrix divides the channel volume into subchannels which improves the heat transfer by enhancing the surface area, promoting crossflow interaction, changing the direction of the flow from the suction side to pressure side (vice versa), and flow impingement. Apart from providing high heat transfer augmentation, lattices lend the much-needed mechanical support to the blade structure which further establishes their suitability as cooling concepts in the trailing edge section. Bunker [3.3] highlighted the advantages of latticework cooling which included overall heat transfer coefficient levels comparable to the well-known turbulated serpentine channel, superior blade-strength, and robust structure realizable through investment casting manufacturing technique. Saha et al. [3.4] experimentally investigated the heat transfer and pressure drop characteristics of lattice structures employed in the converging channel of the trailing edge where the working fluid entered into lattices following a 90∘ turn. Liquid crystal thermography was used to determine local heat transfer coefficient distribution. The two-inlet lattice channel provided higher overall thermal-hydraulic performance than the pin-fin configuration for the investigated range of Reynolds number. The heat transfer augmentation provided by the two-inlet lattice was 2.1 to 3.4 times of the smooth channel. Acharya et al. [3.5] studied the effect of channel rotation on the heat transfer of channels featuring lattice for a wide range of Reynolds number and rotation number. The authors observed uniform heat transfer distribution for Reynolds number greater than 20,000. Rotation number and density ratio had negligible effect on heat transfer for Reynolds number greater than 20,000. Oh et al. [3.6] also determined the heat transfer and friction loss characteristics of rotating matrix cooling channel using naphthalene sublimation technique. For rotating configurations, the Sherwood number ratio increased with increasing rotation number on the leading surface but the effect on the trailing surface was insignificant. Tsuru et al. [3.7] used Magnetic Resonance Imaging (MRI) technique to visualize the flow field in a lattice channel with copper sulfate aqueous solution as the working fluid. The investigation revealed the formation of longitudinal vortex features in each subchannel, the spread of which was reported to be influenced by the rib inclination angle. Bu et al. [3.8]  found the streamwise vortex features in subchannels because of sidewall turnings which caused high heat transfer values at the entrance of every subchannel. Du et al. [3.9] analyzed the effect of clearance between the two sets of inclined rib and rotation number on the heat transfer and flow structures in a latticework channel. Various flow configurations can be identified for latticework cooling depending on how the fluid enters the matrix. Luo et al. [3.10] numerically investigated three such configurations, viz. (a) radial flow configuration, (b) cross-flow configuration, and (c) turning flow configuration. Non-uniform flow distribution in turning flow configuration provided less uniform heat transfer in comparison to the other two configurations. For the same mass flow rate, radial flow configuration provided the highest heat transfer and flow losses. Carcasci et al. [3.11] investigated the effect of rib-height, rib-thickness, and number of subchannels on the overall thermal hydraulic performance of latticework channel for cooling applications in the mid-chord and trailing edge sections of the turbine blade.

Above studies demonstrate the potential of lattice structures as effective cooling concepts in the turbine blades. The studies mentioned above focused on the traditional inclined subchannels as latticework in the cooling channels. Lattice frames composed of relatively complex unit-cell topologies have been rarely investigated in the past for turbine applications. One such study was by Shen et al. [3.12] who numerically analyzed the thermal performance of wedge-shaped cooling channel consisting of different numbers of rows of Kagome-shaped unit cells as turbulence promoters. The performance of the Kagome-shaped lattice in trailing edge channel was then compared with the pin-fin configuration. Nusselt number of the three-array Kagome configuration was higher than two and three arrays of pin-fins. This study suggests that incorporating lattices composed of periodically organized unit cells made from well-defined unique arrangement of fibers can be very effective in augmenting heat transfer in trailing edge section. The rib latticework and Kagome-shaped cells can be traditionally cast-integrated into the channels of the turbine blade while manufacturing. However, the traditional technologies impede the realization of architecturally more complex unit-cells. Additive manufacturing technology has emerged as an alternative route to manufacture such lattices with advanced unit-cell topologies. Many recent studies have focused on analyzing the hydraulic and thermal performance of additively manufactured lattices and some prominent studies of the additively manufactured lattice coupons are discussed below. However, it should be noted that not all of these studies necessarily catered to the turbine applications.

Parbat et al. [3.13] performed steady-state heat transfer experiments on coupons composed of Kagome-shaped unit cells additively manufactured in Inconel 718 material for turbine blade cooling. In this single-cell thick sandwich configuration, heat transfer augmentation of ~ 4 to 5 times was observed with the corresponding increment of ~ 30 to 50 times friction factor as compared to the smooth channel. Although the reported roughness of the samples were ~ 28.45 µm, the enhancement of the samples was compared to the smooth channel data predicted by Gnielinski correlation, thus the overall reported enhancement accounted for the manufactured rough endwalls as well. Chaudhari et al. [3.14] investigated Octet lattice having three different porosities ranging between ~0.70 and 0.91 printed in aluminum alloy. Corresponding effective stagnant thermal conductivity (keff), inertial coefficient, friction factor, and Nusselt number were reported by the authors. The endwall effects in sandwich configuration having Face-centered cubic (FCC) lattice with three different types of fiber designs printed in epoxy resin were visualized using transient liquid crystal (TLC) technique by Liang et al. [3.15]. Elliptical fibers yielded higher Nusselt number as well as friction factor in comparison to rectangular and circular fibers.

Many studies have investigated samples which have unit-cells periodically arranged in the three-dimensions as opposed to single cell thick configurations. Broughton and Joshi [3.16] compared the pressure gradient and Nusselt number obtained from additively manufactured Rhombic-dodecahedron lattice with that of the stochastic metal foams having similar porosity, fiber-diameter, and cell-size. The Rhombic-dodecahedron lattice printed in aluminum alloy demonstrated 60% and 66% higher heat transfer coefficient and pressure drop, respectively, as compared to metal foams. Ho et al. [3.17] employed the Rhombi-octet lattice in a commercial scale heat exchanger to enhance the air-side heat transfer. Additively manufactured lattice heat exchangers yielded in better thermal performance as compared to commercial fin-and-tube heat exchanger. Octet lattice printed in aluminum alloy was subjected to pool boiling conditions by Wong and Leong [3.18], who observed heat transfer coefficient enhancement of about ~ 2.81 times of the plain surface.

Montazerian et al. [3.19], Du et al. [3.20], Timercan et al. [3.21], and Ali and Sen [3.22] numerically and experimentally investigated the mechanical and permeability characteristics of different lattices such as Cube, Rhombic-dodecahedron, Diamond, Octet, and Tetrakaidecahedron (TKD). Numerical analysis of heat transfer in different lattice topologies that could be printed by additive manufacturing has been conducted by several authors. Kaur and Singh [3.23] investigated the heat transfer coefficient and pressure drop characteristics of Octet, Face diagonal-cube (FD-cube), TKD and Cubic lattices to establish that the interfacial heat transfer coefficient of Octet was the highest amongst all the topologies. TKD is recognized as one of the topologies that bears strong resemblance to the real structure of stochastic metal foams and regular arrangement of TKD unit cells has been studied in the past [3.24]. Kaur and Singh [3.25] reported the conjugate thermal performance of Octet lattice in single-cell thick configuration with water as the working fluid for electronics cooling applications. Further, the endwall heat transfer of Octet, Octa and V-Octet lattices in a unit aspect ratio channel was reported by the group [3.26] using transient liquid crystal (TLC) technique and numerical simulations were performed to analyze the heat transfer mechanism for fully turbulent flows. The above studies established that near-wall flow physics significantly influence the endwall characteristics besides the conjugate thermal exchange happening at the strut-fluid interface in the regions away from the endwalls. Singh and group [3.27] performed experimental investigation on thick blocks of three-dimensionally reticulated Octet, FD-cube, TKD, and Cube lattices, where the streamwise development of endwall heat transfer coefficient was reported. The thermal performance of Octet, FD-cube, and TKD in the periodic heat transfer zone was similar. It was shown that with the choice of pore-scale dimensions such as pore-diameters and fiber-diameters as characteristic length-scales, the Nusselt number of all the topologies could collapse to a single trendline. To the best of author’s knowledge, this was the first work to address the periodic heat transfer aspect in additively manufactured blocks of the investigated topologies. Recently, Kaur and Singh [3.28] conducted numerical investigation on three-dimensionally periodic unit cells of Octet, TKD, and Rhombic-dodecahedron in laminar regime with air as the working fluid. Higher heat transfer coefficient was generally encountered on the upstream faces of the fibers prone to the impingement of the incoming flow. Highest mean interfacial heat transfer coefficient was obtained for Rhombic-dodecahedron, followed by Octet and TKD. The pore diameter as characteristic length scale provided singe trendlines for interfacial Nusselt number for all the topologies.

In a recent comprehensive review on the state-of-the-art in additively manufactured heat exchange applications, Kaur and Singh [3.29] highlighted the role of additive manufacturing in the field of turbomachinery. Additively manufactured internal cooling channels, film cooling holes, and transpiration cooling configurations have been explored by the authors [3.30–3.32]. Kirsch and Thole [3.33] recently investigated additively manufactured pin-fin array and pointed out the importance of inherent surface roughness considerations in characterizing the performance of additively manufactured samples. Despite many existing studies on additively manufactured lattices, the thermal-hydraulic performance of the lattices has been reported to a lesser degree. Moreover, the roughness in lattices printed via additive manufacturing is also an important consideration in heat transfer analysis which makes the experimental investigation on them very crucial. The experimental data reveals the actual thermal-hydraulic characteristics of lattices which can have deviations from predictions on smooth CAD models.

This study investigates the thermal and hydraulic performance of four different regular lattices, namely, Octet, TKD, FD-cube, and Cube, printed in 420 Stainless Steel (infiltrated with Bronze) through Binder Jetting process. The single-cell thick lattice configuration appropriate for trailing edge cooling channel with the dimensions of 50 mm x 50 mm x 10 mm (L x W x H) were manufactured with channel aspect ratio (width-to-height) of 5:1. The lattice structure was manufactured as an integrated structure with two substrate endwalls on which constant heat flux boundary condition was imposed to obtain the thermal performance of the lattices. Two types of heating configurations were explored in the current investigation, i.e., (a) both endwalls heated, and (b) single endwall heated. The primary focus of the current investigation is to establish the suitability of lattices for turbine blade cooling applications; however, the results can be extended to electronics package cooling applications as well where single wall heating-type conditions are commonly encountered. Stainless Steel was chosen as a precursor to a follow-up study on Inconel 718 to rank the topologies based on their thermal hydraulic performance and using the findings of this paper to make design decisions, on whether or not, Laser Powder Bed Fusion based printing in Inconel 718 is required to further explore above topologies or conventional fabrication methods would suffice. The motivation behind this study is to also evaluate the performance-to-cost metric of proposed cooling designs, where additive manufacturing in its current state, is definitely more expensive and less scalable. Following sections provide details on the experimental setup, unit cell topology description, heat transfer coefficient calculation methodology, followed by results and some conclusions.

Figure 3.1 Schematic of the turbine blade [3.1]; also shown is the lattice structure design for the trailing edge cooling section

## Description of the test samples

Figure 3.2 shows the investigated test samples printed in 420 Stainless Steel (infiltrated with Bronze) through Binder Jetting process. The material matrix was composed of 60% Stainless Steel and 40% Bronze. The surface finishing of the test samples was achieved through bead-blasting process. Figure 3.3 shows the four different unit cell topologies that were investigated, viz. Octet, TKD, FD-cube, and Cube along with the schematic of the samples with relevant dimensions. FD-cube was obtained by linearly translating single face-diagonal unit cell in a periodic fashion resulting in the formation of ‘cross of diagonal fibers’ with four small triangular openings at the mating plane of adjacent cells (Fig. 3.3a).

Figure 3.2 Test samples additively manufactured in 420 Stainless Steel with Bronze infiltration via Binder Jetting process

Figure 3.3 (a) Unit cell topologies of the investigated samples, (b) schematic of the samples showing important dimensions

The overall dimensions of the lattices were 50 mm x 50 mm x 10 mm. The unit-cell size was 10 mm and there were five unit-cells in streamwise and spanwise direction. The substrate wall thickness on the upper and bottom side of the lattice was ~ 3.175 mm which was provided with cylindrical slots of ~ 1.905 mm diameter for thermocouples. The designed porosity of the samples was ~ 0.886 and the corresponding intended fiber diameters are reported in Table 3.1. The table also shows the measured porosities of the as-printed samples. The measured porosities were about ~ 1% to 7.1% deviated from the intended porosity of ~ 0.886. Amongst the printed samples, Octet showed the maximum deviation of ~ 7.1% and the Cube exhibited the least deviation of ~ 1%. Cube provided the porosity value closest to the design porosity and the porosities of TKD and FD-Cube were 2.3% and 0.9% lower than the Cube topology. The thermal-hydraulic performance of TKD, FD-cube, and Cube obtained from the experiments of these three test samples could be compared fairly at similar flow conditions. However, commenting on the relative performance benefits of the Octet topology with porosity difference of 6.1% from the Cube topology was not deemed suitable. The first iteration of printing provided information on the expected percentage deviation in the morphological characteristics of the samples. Considering the occurrence of anomalies in structure while printing, another Octet CAD model was prepared for printing with porosity of ~ 0.93. Octet sample manufactured using 0.93 designed porosity had an actual porosity of ~0.888, which was similar to previously printed (1st batch) TKD, FD-cube, and Cube samples. The final experiments were therefore conducted on five different samples including two for Octet (measured porosities of 0.823 and 0.888) and one each for TKD, FD-cube, and Cube with relatively similar measured porosities as listed in Table 3.1.

Table 3.1 Fiber diameter and measured bulk porosity of the investigated samples

| Topology | Fiber diameter (CAD) | Measured bulk porosity |
| --- | --- | --- |
| Octet | 1.00 mm | 0.823 |
| TKD | 1.43 mm | 0.856 |
| FD-cube | 1.54 mm | 0.869 |
| Cube | 2.37 mm | 0.877 |

### X-ray Computed Tomography (CT)

Additively manufactured samples often deviate from the intended CAD models. Hence it is imperative to characterize the local defects/deviations and their cumulative effect on bulk properties such as porosity. The CT data was obtained using Nikon’s XTH225ST system with a 225KV rotating target. The high-resolution images were obtained using scanning voltage of 220 KV, 170 μA current, and exposure time of 708 ms. Figure 3.4 shows the CT scan images of Octet (porosity = 0.823) and TKD (porosity = 0.856) samples. The fibers by design were cylindrical in shape (Fig. 3.3), however, the CT scan images reveal that the printed fibers did not exactly retain their intended smooth configuration, and moreover, there were local defects prevalent over the entire sample with some instances of identifiable ones (missing material zone identified in Fig. 3.4a). These anomalies in the samples contribute to the deviation in transport properties predicted by computations carried out on intended CAD models.

Figure 3.4 CT-scan reconstruction of (a) Octet, and (b) TKD samples

## Experimental set-up

### keff  experiments

The effective thermal conductivity (keff) of the 420 Stainless Steel samples shown in Figs. 3.2 and 3.3 with air as the working fluid was measured through the steady-state experiments described in detail in a previous work by the authors [3.34]. The solid thermal conductivity (ks) was also measured experimentally to thoroughly characterize the material properties.

### Forced convection experiments

Figure 3.5a shows the 2D-schematic of the experimental facility. Air was drawn from a reservoir held at a constant pressure and connected to a compressor set to deliver air at 1 MPa. The desired air flow rate was then set using a pressure regulator installed upstream of an ASME orifice plate where flow rate was metered. The pressure differential (Dwyer 477 AV-2 (0-10 kPa)), static air-pressure (Dwyer DPG-002 (0-100 kPa)) and the temperature of the air passing through the orifice plate was recorded to determine the mass flowrate using an in-house MATLAB code. After flow-metering through the orifice-plate, the air was directed towards the test-section where the transition of the circular pipe of ~ 25.4 mm diameter to 50 mm x 10 mm cross-section of the test section was achieved with the help of a diffuser.

Figure 3.5 Schematic of the experimental set-up, (b) test-section along with attached diffuser section for smooth flow transition, (c) schematic of the heater-lattice assembly used for the test-runs

Figure 3.5b shows the isometric view of the diffuser and test-section assembly. The components of this assembly were manufactured using resin via Stereolithography (SLA) process through a Form 3 printer. The test-section was ~ 10dh long and had the cross-section of 50 mm x 10 mm. The lattice samples were placed ~ 5dh downstream of the test-section inlet and ~2dh exit length was provided at the end to prevent the influence of ambient conditions on the heat transfer measurements.

The heater and test-sample assembly is presented in the Fig. 3.5c. Patch heaters were glued to the substrate walls with the help of RTV (room temperature vulcanizing) silicone to provide uniform heat flux boundary condition. For double-wall heating experiments, similar heat flux values were maintained on the upper and lower substrate walls, whereas in single wall-heating conditions, only one wall (bottom) was heated, and the other was held adiabatic by providing the insulation. The backside of the heaters was covered with Styrofoam insulation having thermal conductivity of ~0.037 WmK to minimize the heat losses.

## Experimental method and data reduction

As mentioned above, the details for the keff measurement procedure are provided in prior published work of the authors [3.34] and will be omitted here in the interest of brevity. The methodology adopted to evaluate the flow and forced convection thermal characteristics of the investigated lattices is discussed below.

Steady-state heat transfer experiments were conducted where required flow conditions were set first, followed by suitable heat load at the top and bottom walls. The top and bottom walls of the lattice samples were subjected to constant heat flux boundary condition, where heat was supplied through a patch heater glued perfectly with both the walls. The heaters were connected to DC power supply with high accuracy of 3-decimal places current output, which was used for heat transfer coefficient calculations described later. On the back side of the two heaters, an insulation was glued to minimize the conduction losses. This heat loss was also calculated by measuring temperature difference across the insulator. Maximum heat loss observed did not exceed ~5% of the total heat supplied. Once the steady-state was reached, the temperature measurements at the sample and insulation were carried out, along with the air temperature at the inlet of the test section. The supply pressure was also measured at this time.

Overall conjugate heat transfer was measured through the control volume analysis which encompasses the effects of flow, lattice structure, working fluid, and the solid-material. The heat supplied to the system from one of the substrate walls was calculated as:

Equation 3.1

Q C.V.=(I2Rhtr)-(Ql,  ins)

where, Ql,  ins was the heat loss through the backside insulation measured using Fourier’s law. The net heat input Qnet, C.V. into the lattice during double wall heating conditions was taken as summation of Q C.V. from the top and bottom substrate walls. The exit bulk-temperature was obtained from the energy-balance method as following:

Equation 3.2

Tb, L=Tin+ Qnet, C.V.mcp

where m and cp were the mass flow rate and specific heat capacity of air, respectively. Linear variation of the bulk temperature (Tb, x) with respect to streamwise distance was obtained using the inlet (x = 0) and exit (x = L) temperatures. Length averaged bulk temperature defined below was taken as the reference for heat transfer coefficient:

Equation 3.3

Tref=1L 0LTb, x dx

The overall/global heat transfer coefficient was then determined as following:

Equation 3.4

h= Q"net, C.V.Tw-Tref

where, Tw was the average wall temperature and Q"net, C.V. was the net heat flux supplied to the system. The Nusselt number was then defined as:

Equation 3.5

Nu= h dhkf

where, kf was the air thermal conductivity.

The measurement uncertainty analysis was carried out through sequential perturbation method [3.35] .The typical uncertainty range for Nusselt number was between 2-5% and that for the Reynolds number was within 4%.

## Results and discussion

This section presents the effective thermal conductivity (keff), forced convective heat transfer (h), pressure drop, and thermal-hydraulic performance of the investigated lattices. The pumping power requirements for each lattice are also reported.

### keff measurements

The keff measurements were conducted at three different heat flux levels to ensure that the obtained values were only dependent on the solid material property and the lattice topology. Figure 3.6 shows the variation of  keff/ks ratio for different heat flux conditions. In-house measurements were carried out to determine the solid material thermal conductivity (ks) and was found to be 20.8 WmK [3.34]. The measured keff values were nearly constant for respective topologies throughout different steady-state experiments. The average values of keff/ks were 0.079, 0.065, 0.059, and 0.055 for Octet, TKD, FD-cube, and Cube, respectively. Earlier studies found that the keff/ks of the metal foams is independent of cell sizes (at any given porosity) and is influenced only by the porosity variation for fixed solid material [3.36]. Wang et al. [3.34] also suggested that the keff of the regular lattices was not a strong function of topology for porosities around 0.90 and above through simulations. The difference in the relative magnitudes of keff between different configurations herein is, therefore, attributed to the difference in their respective porosities. Note that the intended porosity was same for each 3D printed configuration, however, the porosities of the actual parts had significant deviations. If one has to obtain uniform porosity for each configuration, there has to be a trial-and-error method for each configuration, since the deviations in the porosity values we observed were random in nature. In order to facilitate a direct comparison of keff values of different configurations at same porosity, we adopted a computational route instead. Steady-state heat transfer simulations were conducted in finite-volume solver FLUENT with procedure delineated by Ekade at al. [3.37]. Firstly, the computational model was validated with experimental data by creating unit cell topologies matching the porosities of the 3D printed parts. Table 3.2 shows a comparison between experimental and computational results

Figure 3.6 Variation of keff/ks with respect to the supplied heat flux

Table 3.2 Comparison of keff/ks obtained from experiments and computations

| Topology | Porosity (ε) | Experiments | Computations | % Difference |
| --- | --- | --- | --- | --- |
| Octet | 0.823 | 0.079 | 0.080 | 1.26 % |
| TKD | 0.856 | 0.065 | 0.067 | 3.08 % |
| FD-cube | 0.869 | 0.059 | 0.058 | 1.69 % |
| Cube | 0.877 | 0.055 | 0.055 | ~0% |

The validated computational model was then extended to find keff values at a fixed unit cell porosity of 0.886. At fixed porosity of 0.886, the keff values yielded by each topology was same establishing that for the investigated porosity range, the keff is indeed independent of topology. The keff/ks values for all the topologies at porosity of 0.886 was ~ 0.049. Figure 3.7 shows the contours of solid, and fluid (occupying void space and modeled as stagnant) temperatures obtained from the simulations of unit cells for each topology at designed porosity (~0.886) for the case of ks = 20.8 WmK and kf= 0.026 WmK. In these simulations, local thermal equilibrium (Ts = Tf) has been employed due to heat flux and temperature continuity at the interface. The direction of heat flow in Fig. 3.7 is from right to left. For all topologies, the solid-phase temperatures at the fiber junctions were similar to the fiber upstream, i.e., a smooth temperature profile was observed. This included the X-shaped fiber formation at the four side walls of Octet lattice. The temperature variation along the fibers can have a prominent role to play in high temperature applications involving thermal stresses.

Figure 3.7 Solid and fluid temperature contours for topologies with designed porosities for (left to right)- Cube, FD-cube, TKD, and Octet

### Heat transfer coefficient vs mean flow velocity

Figure 3.8 shows the variation of heat transfer coefficient with respect to the mean flow velocity (mρAc) for all the investigated topologies for both-walls (Fig. 3.8a) and single-wall (Fig. 3.8b) heating configurations. To facilitate discussion of the samples in this section, Octet topologies will be denoted by their names followed by parenthesis containing the corresponding measured porosity value. A power law dependence was observed between h and u, which is observed in typical enhanced heat transfer studies. Octet (0.823) had the maximum heat transfer coefficient followed by FD-cube, TKD, and Cube, respectively. The relative trends of the heat transfer performance were almost consistent for both heating conditions. The topologies render unique flow characteristics on the planes parallel and normal to the mean flow direction. Kaur and Singh [3.23] numerically investigated the flow losses and interfacial heat transfer characteristics of the four topologies considered in the present study for a single cell thick lattice in streamwise direction and also presented the qualitative comparison of flow with the corresponding fully periodic unit cells of each topology. The simulations were conducted for laminar flow conditions. Localized flow accelerations were apparent around the Octet fibers in the normal planes whereas large recirculating fluid pockets were found downstream of the fibers in the streamwise planes. TKD in [3.23] was generated through sphere extraction method which resulted in triangular cross-section of fibers and also demonstrated large zones of fluid recirculation. The flow features involving wake formation are expected to be more prominent for turbulent flows and essentially dictating the flow losses and heat transfer characteristics of each topology. Upstream zones of the fibers facing directly the incoming flow have very high heat transfer coefficient values due to fluid stagnation whereas the recirculation zones result in lower levels of heat transfer coefficient. However, it should be noted that ranking of interfacial heat transfer coefficient cannot be directly translated to the ranking of topologies in conjugate scenarios, especially in single cell thick lattices because the endwall-lattice interactions become increasingly important in such configurations besides the flow phenomenon in the core volume of the lattices. In experimental and numerical study by Kaur and Singh [3.26], it was demonstrated that the fiber junctions with endwall for different lattices from Octahedron family have capability of inducing endwall heat-transfer coefficient signature similar to that of ribs and pin-fins.

Octet (0.823) showed significant difference between the both-wall and single-wall heating configurations as compared to the other topologies. TKD and FD-cube had very similar heat transfer coefficient values whereas Cube had the potential to outperform the TKD structure at very high mass flow rates. Cube had slightly higher porosity than TKD in the present investigation and the heat transfer coefficient is expected to increase with decreasing porosity value due to increase in effective thermal conductivity and specific surface area for thermal exchange. Therefore, at same porosity, additively manufactured simple Cube topology can perform slightly better than the TKD topology for high mass flow rate values. The thermal performance of FD-cube was comparable to TKD and FD-cube at the lower mass flow rates, but significant deviation of relative performance was obtained at the higher mass flow rate range. The porosity of FD-cube was lower than Cube, therefore, relatively higher heat transfer coefficient was expected for FD-cube. On the contrary, FD-cube had ~ 1.4% higher porosity value than TKD topology but still exhibited significantly higher heat transfer coefficient values. Since the measured porosity values have minimal deviations, the relative performance of TKD, FD-cube, and Cube obtained in the present study was expected to be a function of the topology which governs the associated flow dynamics, conjugate thermal exchange and near endwall flow physics, rather than only porosity variation. The results obtained in the current investigation are for the thermally developing flow. Such a flow is expected in a typical gas turbine blade.

Figure 3.8 Heat transfer coefficient as a function of the mean flow velocity with heating on (a) both the walls, and (b) single wall

From the discussion presented thus far, it is concluded that amongst TKD, FD-cube and Cube topologies, FD-cube would be the most viable choice if achieving high heat transfer coefficient is the constraint of design considerations. TKD would be the least preferable choice for designing such compact heat transfer augmentation channels operating for high mass flow rates of coolant. An important aspect of the results provided in the Fig. 3.8 was that they included the effect of surface quality rendered by the additive manufacturing process. Quantification of surface roughness and its role in further enhancement in heat transfer was not in the scope of this study, however it is highly recommended.

Figure 3.8 also shows the thermal performance of Octet (0.823) and Octet (0.888), where Octet (0.823) had the best thermal performance trend because of the lowest porosity value. For both-wall heating configuration, about 30% to 59% of higher heat transfer coefficient values were obtained for Octet (0.823) as compared to Octet (0.888), whereas the increment was ~14% to 30% for single-wall heating configuration. Significant difference in heat transfer performance of Octet was observed for variation of ~ 7.9% in the porosity values. The thermal performance of Octet (0.888) was comparable to TKD (0.856), FD-cube (0.869), and Cube (0.877) which indicates that if the measured porosity was not taken into consideration, Octet could have been considered as the best thermal performance yielding configuration. Two aspects have to be considered here: (a) if one needs to rank different topologies for their thermal performance at same porosity, then iterative approach has to be followed to get similar porosities as the deviations are structure-dependent, and (b) if one prints a single batch of lattices with as-designed porosity without consideration of the manufacturing-induced deviations/defects to run experiments, then the conclusions drawn will not be an attribute of topology alone but inherent anomalies. The repeatability of such data in engineering applications is questionable as the structural anomalies will vary with different process parameters/procedure and so does the actual porosity value. Such ranking of topologies in real-world application will become inconsistent, especially when there is continuous effort to optimize currently available additive manufacturing technologies. In the current study, the former of the above two methodologies has been adopted to draw conclusions, but with an assumption that local roughness profile at investigated geometrical dimensions will induce same scale of effect on the final relative performance across different lattices.

### Nusselt number enhancement values vs Reynolds number

Figure 3.9 shows the Nusselt number enhancement trends as a function of the channel Reynolds number for all the topologies under both types of heating configurations. The enhancement in heat transfer provided by the topologies was obtained relative to the Dittus-Boelter correlation (Nu0=0.023Re0.8Pr0.4) for turbulent flows in smooth channels. All the samples exhibited decreasing trend of heat transfer enhancement levels with respect to the increasing Reynolds number, which is again typical of enhanced heat transfer studies, e.g., rib turbulators, dimples etc. Octet (0.823) provided the highest heat transfer enhancement with respect to the smooth channel data. Amongst the group of samples with similar porosity values, FD-cube provided the heat transfer enhancement of 9.47 to 12.36 times of the smooth channel for both-wall heating configuration. The other three topologies had enhancement levels from 9 to 11 times in reference to smooth channel. Single wall heating condition enhancement levels were slightly lower than that of the double wall heating. Note that these enhancement levels are obtained for solid thermal conductivity of 20.8 W/mK and the experiments were conducted such that the conjugate heat transfer effects could be included. If the experiments were to be carried out for Inconel 718 which has a thermal conductivity of ~11 W/mK, the heat transfer enhancement levels would undergo significant reduction.

Figure 3.9 Nusselt number enhancement values for heating on (a) both the walls, and (b) single wall, with respect to thermally fully developed flow in smooth channel as predicted by Dittus-Boelter correlation

Figure 3.9 provides heat transfer augmentation levels with respect to Nusselt number values obtained using Dittus-Boelter correlation proposed for hydrodynamically and thermally fully developed turbulent flows in a smooth channel. Since the length of the samples investigated in the present study was ~ 3 dh, the flow over this heated short streamwise length would still be in thermally developing stage. The Nusselt number values obtained from a smooth channel having length of ~ 3 dh in the flow direction (similar to additively manufactured coupons) can serve as more appropriate baseline case for evaluating the actual thermal performance enhancement capabilities of the investigated lattices. To this end, numerical simulations were conducted on the channel configuration exactly similar to the experimental test section schematic provided in Fig. 3.5 to obtain the streamwise length-averaged Nusselt number (Nus) with constant heat flux boundary condition. The Nusselt number was obtained with respect to two heating configurations, i.e. (a) both walls heated, and (b) one wall heated. The numerical simulations were performed with k-ω SST turbulence model over the investigated range of Reynolds number in Ansys Fluent 2021 R1 (academic license). Figure 3.10 provides the Nusselt number enhancement of the lattices with respect to the simulated developing flows over the smooth plate in a channel. Figures 3.9 and 3.10 show that the thermal augmentation can be overestimated if comparison is drawn with respect to the Dittus-Boelter correlation. The Nusselt number enhancement of all the investigated topologies with Dittus-Boelter as baseline case (Fig. 3.9) was nearly ~ 1.4 to 1.6 times higher with respect to values that accounted for the developing flow conditions (Fig. 10).

Figure 3.10 Nusselt number enhancement values for heating on (a) both the walls, and (b) single wall, with respect to thermally developing flow in a smooth channel

### Pressure drop characteristics

Lattices are expected to impose larger pressure drop for a certain flow rate when compared to other heat transfer enhancement concepts such as rib turbulators, dimples/protrusions. The basic flow mechanism in lattices is of the flow stagnation type where the fibers provide flow blockage, which in turn also increases the heat transfer, but at an expected cost in terms of increased pressure drop. In heat exchanger concept development, it is imperative to evaluate the enhancement in heat transfer with the associated pressure drop or pumping power penalty.

Figure 3.11a shows the pressure gradient variation with mean flow velocity and Fig. 3.11b shows the corresponding friction factor (∆Pdh2Lρu2) variation with Reynolds number. Octet (0.823) and FD-cube had the similar pressure drop characteristics, but FD-cube had significantly higher porosity than Octet. It means that if Octet and FD-cube were to have the same measured porosity then FD-cube would incur higher flow losses.  This can be affirmed from the pressure drop values of Octet (0.888) relative to FD-cube. The pressure gradient trendline corresponding to Octet (0.869) lattice having porosity equal to that of the investigated FD-cube sample should lie within the pressure gradient bracket of Octet (0.823) and Octet (0.888) shown in Fig. 3.11a, i.e. beneath the current FD-cube trendline. In a previous numerical study by the authors [3.23], Octet was reported to have higher pressure drop than FD-cube because configurations consisted of single cells in streamwise direction due to which the effects of fiber cross-section at mating planes of the cells could not be manifested for FD-cube in the mean flow direction.

From the above discussion, it can be concluded that for any fixed porosity value (say 0.886), the actual pressure drop trend is expected to be: the highest values for FD-cube followed by Octet, TKD, and Cube, respectively.  Each topology consists of uniquely shaped pores through which the fluid flows. Cube was the most permeable to the fluid yielding minimum resistance to the fluid flow due to which the pressure gradient incurred by Cube was the lowest. TKD topology was slightly more complex than the Cube, but the square and hexagonal pore openings of the cell provided a fairly wide area to the fluid flow. Numerical investigations in [3.23] also revealed the pressure gradient of Octet to be higher than TKD. Octet had architecturally the most complex fiber connections within the volume of the unit cell which posed high resistance to the fluid motion. FD-cube did not have the fiber connections within the whole unit cell volume like Octet but the formation of cross-shaped fibers at the mating plane of two adjacent unit cells resulted in very small openings for the fluid flow and increased losses due to flow stagnation. Two flow parameters required to characterize the flow losses of porous media are permeability and inertial coefficient. The inertial effects become prominent at high fluid velocities due to which the pressure drop trends of lattices cannot be justified through permeability values alone. A structure having similar permeability values can still tend to yield very different inertial losses which could become increasingly dominant in dictating the pressure drop values with increasing flow velocities. The inertial coefficient factor has to be weighed-in to discuss the pressure penalty, especially at the mass flow rates being investigated herein. Therefore, both structure dependent (including the roughness) permeability and inertial coefficient are responsible for the trends shown in Fig. 3.11.

Figure 3.11 (a) Pressure gradient vs mean flow velocity, and (b) friction factor vs Reynolds number

Figure 3.11b shows the friction factor as a function of the Reynolds number. The friction factor of all the topologies were almost constant over the investigated range of flow velocities showing negligible dependence on the Reynolds number. This trend is typical of lattice configurations for fully turbulent fluid flows [3.38]. The mean friction factor value for Octet (0.888), TKD, FD-cube, and Cube was 0.696, 0.814, 1.402, and 0.339, respectively.

Figure 3.12 shows the friction factor augmentation for each topology with respect to the smooth channel data predicted by Blasius’ equation (f0=0.079Re-0.25) for fully developed turbulent flows. The augmentation in flow losses provided by FD-cube was 208 to 238 times of the smooth channel configuration. The hydraulic performance was followed by TKD which provided about 118 to 138 times augmentation in the flow losses. Octet (0.888) provided the friction factor enhancement of 100 to 120 times. Cube provided the least friction factor enhancement of 39 to 60 times over the smooth channel.

Figure 3.12 Friction factor augmentation vs Reynolds number

### Heat transfer coefficient vs pumping power

Pumping power is an important metric from a cooling designer point of view, and in enhanced heat transfer studies it is recommended to evaluate heat transfer coefficient at the cost of pumping power (Fig. 3.13). For both-wall heating configuration, Octet (0.823) provided the highest heat transfer coefficient for the investigated pumping power range. Amongst the samples with similar porosity values, Cube yielded the highest heat transfer coefficient at any given pumping power. The Octet (0.888), TKD, and FD-cube provided very similar heat transfer coefficient values at a fixed pumping power condition. The trends were similar for the single wall heating configuration. The only difference was observed in the values of Octet (0.823) which were found to be closer to the Cube topology.

Figure 3.13 Heat transfer coefficient vas pumping power requirements with heating on (a) both the walls, and (b) single wall

### Thermal-hydraulic performance

The heat transfer augmentation in the trailing edge cooling channels is desirable at the minimal flow losses. The gain in thermal performance with respect to the increase in flow losses is generally quantified by the thermal-hydraulic performance (THP) parameter defined as:

Equation 3.6

THP= NuNu0ff013

Figure 3.14 Thermal-hydraulic performance with respect to Reynolds number with heating on (a) both the walls, and (b) single wall considering fully developed flow conditions

The THP values of all the topologies with respect to channel Reynolds number for both types of heating configurations are presented in Fig. 3.14. Although FD-cube was the most promising lattice when only heat transfer augmentation was considered, the overall THP of this structure was the weakest due to associated high flow losses. Octet (0.888) had slightly higher THP with respect to FD-cube at lower Reynolds number values, but the values approached that of the FD-cube for the higher investigated Reynolds number. At higher Reynolds number range, TKD also demonstrated similar performance to the Octet (0.888) and FD-cube for both types of heating conditions. Since Octet (0.888), TKD, and FD-cube exhibited similar THP levels, employment of FD-cube in practical applications is recommended over the other two structures because it would yield high heat transfer values without compromising the overall thermal-hydraulic performance. However, Cube emerged as the best solution to obtain the highest overall thermal-hydraulic performance as it outperformed every other lattice topology for the investigated range of Reynolds number. The THP values provided by Cube topology were in the range of 2.12 to 2.78 and 1.9 to 2.53 for both-wall heating and single-wall heating conditions, respectively.

Figure 3.15 shows the THPs of the investigated lattices where the heat transfer augmentation with respect to developing flows is considered such that:

Equation 3.7

THPs= NuNusffs13

The simulations conducted over domain similar to experiments to obtain Nus demonstrated no significant deviation in the friction factor from the values of standard Blasius’ equation. The flow losses used in Eq. 7 were similar to those considered in Eq. 6. The THPs values in Fig. 3.15 were lower than THP provided in Fig. 3.14, which is expected due to reduced augmentation levels while the friction factor enhancement over smooth channel due to nearly hydrodynamically developed flow conditions was similar. Note that the Cube topology-based lattice configuration is similar to that of inline cylindrical pins arranged at uniform spacing in both streamwise and spanwise directions. Half fiber was added on the top and bottom wall in this study’s Cube configuration. It is worth pointing out that although Octet or FD-Cube topologies can yield in high cooling rates, the simplest Cube configuration will still have the highest thermal hydraulic performance. Further, the added cost of AM to realize complex structures is another metric by which Cube topology is more attractive as one is not limited to AM technologies to realize orthogonal pins, and that conventional manufacturing techniques can still be a viable choice for advanced heat exchanger development. However, if pumping power is constraint (Fig. 3.13), then lattices other than Cube such as Octet can be more attractive choice for enhanced mechanical load bearing capability as the thermal performance of all the investigated topologies was of similar level.

Figure 3.15 Thermal-hydraulic performance with respect to Reynolds number with heating on (a) both the walls, and (b) single wall considering developing flow conditions

Figure 3.16 Comparison of THPs of the investigated samples with prior publications. Nuntakulamarat et al. [3.39], Rao et al. [3.40], Parbat et al. [3.13]

Figure 3.16 shows the comparison of THPs obtained in the present study with that of the pin-fin and lattice configurations from prior publications. The values of the current study are presented in black markers. Nuntakulamarat et al. [3.39] investigated circular copper pin fins with height-to-diameter (H/D) ratio of 2.4, streamwise spacing (X/D) of 2, and spanwise spacing (S/D) of 4. Rao et al. [3.40] investigated stainless steel pin-fins having H/D = 1.0, X/D = S/D = 2.5. The lattices in the current investigation provide competing THPs with respect to popular pin-fin configurations while yielding 5-10 times higher heat transfer augmentation with respect to smooth channel. The plot also shows data from Parbat et al. [3.13] who investigated additively manufactured Kagome lattice having unit cell height of 2.54 mm and streamwise length of 38.1 mm for turbine blade cooling applications. The THPs of the current lattices provided better overall performance than Kagome lattice. Octet with porosities between 0.80 – 0.85 can prove to be very beneficial from thermo-mechanical point of view for turbine-blade cooling configurations. Octet with porosity 0.823 can be considered the most promising choice for obtaining the required thermo-mechanical properties amongst all the investigated topologies.

## Conclusions

Experimental investigation was performed on sandwich-type single-cell thick lattices of four different unit cell topologies, viz. (a) Octet, (b) TKD, (c) FD-cube, and (d) Cube having intended design porosity of 0.886 and unit cell size of 10 mm built through Binder Jetting technology in 420 Stainless Steel infiltrated with Bronze. The thermal-hydraulic performances of these lattices were reported for a wide range of engine-representative Reynolds numbers. The thermal performance of these lattices was tested under two different heating conditions: (a) when both the upper and bottom walls were heated, and (b) only bottom wall was heated, over a wide range of mass flow rates. The in-house porosity measurements showed significant deviations from the intended design, especially for Octet topology, which had to be considered to interpret the relative performance characteristics of these topologies. A trial-and-error process was followed to obtain the porosity of Octet sample closer to the remaining three topologies to allow direct comparison of their heat transfer and flow performances. The CT-scan images of the fabricated samples revealed significant roughness on the surfaces of endwalls and fibers along with zones of missing solid material on the fibers. The computations validated with in-house experiments showed that the effective thermal conductivity of the investigated samples was independent of considered topologies.

The relative trends of heat transfer coefficient, pressure gradient, Nusselt number and friction factor enhancement over the smooth channel, pumping power requirements and overall thermal-hydraulic performance were compared for the manufactured lattices having fair agreement of the porosity values. For thermal exchange, FD-cube yielded the highest heat transfer performance, however at a larger pressure drop. Heat transfer performance of revised Octet, TKD, and Cube were comparable, especially at the higher Reynolds numbers. However, pressure gradient yielded by Octet was the second highest after FD-cube, followed by TKD and Cube, respectively. Due to significantly lower pressure drop values, the simplest topology of Cube had the highest heat transfer performance at any given pumping power condition. It also exhibited the highest overall thermal-hydraulic performance value of 2.78 at the lowest representative Reynolds number for both-wall heating configuration.

## References

[3.1]	J.C. Han, A.P. Rallabandi, Turbine Blade Film Cooling Using PSP Technique, Frontiers in Heat and Mass Transfer. 1 (2010). https://doi.org/10.5098/hmt.v1.1.3001.

[3.2]	P.M. Ligrani, M.M. Oliveira, T. Blaskovich, Comparison of heat transfer augmentation techniques, AIAA Journal. (2003). https://doi.org/10.2514/2.1964.

[3.3]	R.S. Bunker, Innovative gas turbine cooling techniques, in: 2008: pp. 199–229. https://doi.org/10.2495/978-1-84564-062-0/07.

[3.4]	K. Saha, S. Acharya, C. Nakamata, Heat Transfer Enhancement and Thermal Performance of Lattice Structures for Internal Cooling of Airfoil Trailing Edges, Journal of Thermal Science and Engineering Applications. (2013). https://doi.org/10.1115/1.4007277.

[3.5]	S. Acharya, F. Zhou, J. Lagrone, G. Mahmood, R.S. Bunker, Latticework (Vortex) cooling effectiveness: Rotating channel experiments, Journal of Turbomachinery. 127 (2005) 471–478. https://doi.org/10.1115/1.1860381.

[3.6]	I.T. Oh, K.M. Kim, D.H. Lee, J.S. Park, H.H. Cho, Local heat/mass transfer and friction loss measurement in a rotating matrix cooling channel, in: Proceedings of the ASME Turbo Expo, 2009: pp. 773–782. https://doi.org/10.1115/GT2009-59873.

[3.7]	T. Tsuru, K. Ishida, J. Fujita, K. Takeishi, Three-dimensional visualization of flow characteristics using a magnetic resonance imaging in a lattice cooling channel, Journal of Turbomachinery. 141 (2019). https://doi.org/10.1115/1.4041908.

[3.8]	S. Bu, L. Yang, H. Qiu, Y. Luan, H. Sun, Effect of sidewall slots and pin fins on the performance of latticework cooling channel for turbine blades, Applied Thermal Engineering. 117 (2017) 275–288. https://doi.org/10.1016/j.applthermaleng.2017.01.110.

[3.9]	W. Du, L. Luo, S. Wang, J. Liu, B. Sunden, Heat transfer and flow structure in a detached latticework duct, Applied Thermal Engineering. 155 (2019) 24–39. https://doi.org/10.1016/j.applthermaleng.2019.03.148.

[3.10]	J. Luo, Y. Rao, L. Yang, M. Yang, H. Su, Computational analysis of turbulent flow and heat transfer in latticework cooling structures under various flow configurations, International Journal of Thermal Sciences. 164 (2021). https://doi.org/10.1016/j.ijthermalsci.2021.106912.

[3.11]	C. Carcasci, B. Facchini, M. Pievaroli, L. Tarchi, A. Ceccherini, L. Innocenti, Heat transfer and pressure loss measurements of matrix cooling geometries for gas turbine airfoils, in: Proceedings of the ASME Turbo Expo, 2014. https://doi.org/10.1115/GT2014-25384.

[3.12]	B. Shen, Y. Li, H. Yan, S.K.S. Boetcher, G. Xie, Heat transfer enhancement of wedge-shaped channels by replacing pin fins with Kagome lattice structures, International Journal of Heat and Mass Transfer. 141 (2019) 88–101. https://doi.org/10.1016/j.ijheatmasstransfer.2019.06.059.

[3.13]	S. Parbat, Z. Min, L. Yang, M. Chyu, Experimental and numerical analysis of additively manufactured inconel 718 coupons with lattice structure, Journal of Turbomachinery. (2020). https://doi.org/10.1115/1.4046527.

[3.14]	A. Chaudhari, P. Ekade, S. Krishnan, Experimental investigation of heat transfer and fluid flow in octet-truss lattice geometry, International Journal of Thermal Sciences. (2019). https://doi.org/10.1016/j.ijthermalsci.2019.05.003.

[3.15]	D. Liang, W. Bai, W. Chen, M.K. Chyu, Investigating the effect of element shape of the face-centered cubic lattice structure on the flow and endwall heat transfer characteristics in a rectangular channel, International Journal of Heat and Mass Transfer. (2020). https://doi.org/10.1016/j.ijheatmasstransfer.2020.119579.

[3.16]	J. Broughton, Y.K. Joshi, Comparison of single-phase convection in additive manufactured versus traditional metal foams, Journal of Heat Transfer. (2020). https://doi.org/10.1115/1.4046972Y.

[3.17]	J.Y. Ho, K.C. Leong, T.N. Wong, Additively-manufactured metallic porous lattice heat exchangers for air-side heat transfer enhancement, International Journal of Heat and Mass Transfer. (2020). https://doi.org/10.1016/j.ijheatmasstransfer.2019.119262.

[3.18]	K.K. Wong, K.C. Leong, Saturated pool boiling enhancement using porous lattice structures produced by Selective Laser Melting, International Journal of Heat and Mass Transfer. (2018). https://doi.org/10.1016/j.ijheatmasstransfer.2017.12.148.

[3.19]	H. Montazerian, M. Zhianmanesh, E. Davoodi, A.S. Milani, M. Hoorfar, Longitudinal and radial permeability analysis of additively manufactured porous scaffolds: Effect of pore shape and porosity, Materials and Design. (2017). https://doi.org/10.1016/j.matdes.2017.03.006.

[3.20]	Y. Du, H. Liang, D. Xie, N. Mao, J. Zhao, Z. Tian, C. Wang, L. Shen, Finite element analysis of mechanical behavior, permeability of irregular porous scaffolds and lattice-based porous scaffolds, Materials Research Express. 6 (2019). https://doi.org/10.1088/2053-1591/ab3ac1.

[3.21]	A. Timercan, V. Sheremetyev, V. Brailovski, Mechanical properties and fluid permeability of gyroid and diamond lattice structures for intervertebral devices: functional requirements and comparative analysis, Science and Technology of Advanced Materials. 22 (2021) 285–300. https://doi.org/10.1080/14686996.2021.1907222.

[3.22]	D. Ali, S. Sen, Finite element analysis of mechanical behavior, permeability and fluid induced wall shear stress of high porosity scaffolds with gyroid and lattice-based architectures, Journal of the Mechanical Behavior of Biomedical Materials. (2017). https://doi.org/10.1016/j.jmbbm.2017.07.035.

[3.23]	I. Kaur, P. Singh, Flow and Thermal Transport Through Unit Cell Topologies of Cubic and Octahedron Families, International Journal of Heat and Mass Transfer. 158 (2020). https://doi.org/10.1016/j.ijheatmasstransfer.2020.119784.

[3.24]	M. Iasiello, S. Cunsolo, M. Oliviero, W.M. Harris, N. Bianco, W.K.S. Chiu, V. Naso, Numerical analysis of heat transfer and pressure drop in metal foams for different morphological models, Journal of Heat Transfer. (2014). https://doi.org/10.1115/1.4028113.

[3.25]	I. Kaur, P. Singh, Numerical investigation on conjugate heat transfer in octet-shape-based single unit cell thick metal foam, International Communications in Heat and Mass Transfer. 121 (2021) 105090. https://doi.org/10.1016/j.icheatmasstransfer.2020.105090.

[3.26]	I. Kaur, P. Singh, Endwall heat transfer characteristics of octahedron family lattice-frame materials, International Communications in Heat and Mass Transfer. 127 (2021) 105522. https://doi.org/10.1016/j.icheatmasstransfer.2021.105522.

[3.27]	Y. Aider, I. Kaur, H. Cho, P. Singh, Periodic heat transfer characteristics of additively manufactured lattices, International Journal of Heat and Mass Transfer. 189 (2022) 122692. https://doi.org/10.1016/j.ijheatmasstransfer.2022.122692.

[3.28]	I. Kaur, P. Singh, Direct Pore-Scale Simulations of Fully Periodic Unit Cells of Different Regular Lattices, Journal of Heat Transfer. 144 (2022) 022702. https://doi.org/10.1115/1.4053204.

[3.29]	I. Kaur, P. Singh, State-of-the-art in heat exchanger additive manufacturing, International Journal of Heat and Mass Transfer. 178 (2021) 121600. https://doi.org/10.1016/j.ijheatmasstransfer.2021.121600.

[3.30]	C.K. Stimpson, J.C. Snyder, K.A. Thole, D. Mongillo, Effectiveness measurements of additively manufactured film cooling holes, Journal of Turbomachinery. (2018). https://doi.org/10.1115/1.4038182.

[3.31]	C.K. Stimpson, J.C. Snyder, K.A. Thole, D. Mongillo, Effects of coolant feed direction on additively manufactured film cooling holes, Journal of Turbomachinery. (2018). https://doi.org/10.1115/1.4041374.

[3.32]	J.C. Snyder, C.K. Stimpson, K.A. Thole, D. Mongillo, Build direction effects on additively manufactured channels, Journal of Turbomachinery. 138 (2016) 1–8. https://doi.org/10.1115/1.4032168.

[3.33]	K.L. Kirsch, K.A. Thole, Pressure loss and heat transfer performance for additively and conventionally manufactured pin fin arrays, International Journal of Heat and Mass Transfer. 108 (2017) 2502–2513. https://doi.org/10.1016/j.ijheatmasstransfer.2017.01.095.

[3.34]	N. Wang, I. Kaur, P. Singh, L. Li, Prediction of effective thermal conductivity of porous lattice structures and validation with additively manufactured metal foams, Applied Thermal Engineering. 187 (2021) 116558. https://doi.org/10.1016/j.applthermaleng.2021.116558.

[3.35]	R.J. Moffat, Describing the uncertainties in experimental results, Experimental Thermal and Fluid Science. 1 (1988) 3–17. https://doi.org/10.1016/0894-1777(88)90043-X.

[3.36]	J.W. Paek, B.H. Kang, S.Y. Kim, J.M. Hyun, Effective Thermal Conductivity and Permeability of Aluminum Foam Materials1, International Journal of Thermophysics. 21 (2000) 453–464. https://doi.org/10.1023/A:1006643815323.

[3.37]	P. Ekade, S. Krishnan, Fluid flow and heat transfer characteristics of octet truss lattice geometry, International Journal of Thermal Sciences. 137 (2019) 253–261. https://doi.org/10.1016/j.ijthermalsci.2018.11.031.

[3.38]	H. Yan, X. Yang, T. Lu, G. Xie, Convective heat transfer in a lightweight multifunctional sandwich panel with X-type metallic lattice core, Applied Thermal Engineering. (2017). https://doi.org/10.1016/j.applthermaleng.2017.08.081.

[3.39]	M. Nuntakulamarat, C.-C. Shiau, J.-C. Han, Heat Transfer and Pressure Drop Measurements in a High Aspect Ratio Channel With Circular Pins and Strip Fins, Journal of Thermal Science and Engineering Applications. 12 (2020) 031019. https://doi.org/10.1115/1.4045221.

[3.40]	Y. Rao, C. Wan, S. Zang, An Experimental and Numerical Study of Flow and Heat Transfer in Channels With Pin Fin-Dimple Combined Arrays of Different Configurations, Journal of Heat Transfer. 134 (2012) 121901. https://doi.org/10.1115/1.4006943

# :
Granular flow in novel Octet shape-based lattice frame material

## Abstract

Moving packed-bed heat exchanger in concentrated solar power (CSP) plants involves heat transfer between heated falling particles and supercritical carbon dioxide. The overall effective thermal conductivity of the moving packed bed and particle-side channel contact resistances are still the bottlenecks in achieving the desirable thermal transport levels. To this end, a novel moving packed bed heat exchanger consisting of Octet lattice packed between the walls of the particle-side channel is proposed in this study. Granular flow analysis in Octet lattice moving-packed bed heat exchanger (OLHX) was conducted through experiments and DEM-based numerical simulations. The experimental images clearly demonstrated stagnation regions upstream of lattice fibers, void regions downstream of the fiber junctions and wavy type unobstructed flow on lateral sides of the fibers. DEM simulations were successful in capturing all these critical flow phenomena. Larger flow velocities were observed on the lateral sides of the fibers in the simulations. Also, when the particles in the silo were emptied, the final images showed accumulation of particles on the inter-fiber as well as fiber-channel wall junctions. Moreover, the fiber connections resulted in some regions devoid of the particle contact on the channel endwall which means that these regions would suffer from poor thermal exchange. The overall mass flow rate increased with increasing porosity for a fixed particle diameter.

## Introduction

Supercritical carbon-dioxide (sCO2) based Brayton cycle is a promising alternative to the traditional steam-powered Rankine cycle because of its potential for achieving high thermal-to-electric conversion efficiency of ~50% [4.1]. The overall conversion efficiency of power cycle can be improved by increasing the working fluid temperature at the turbine inlet (typically ≥ 700℃). To this end, the power cycles are coupled with the solar energy field in concentrating solar power plants (CSPs) as shown in Fig. 4.1 [4.2]. The CSPs are an attractive technology as they feed on solar energy, a renewable source, and there has been continuous effort to ensure their commercial scalability. In CSPs, the heat transfer fluid (HTF) flowing in a closed loop gets heated by the concentrated solar energy in the receiver section, and this thermal energy is eventually transferred to the working fluid (sCO2) of power cycle via particle-to-sCO2 heat exchanger. These HTFs also act as thermal energy storage (TES) systems which store the heat energy so that it can be dispatched as and when required, such as, at instances when solar energy is not readily available.

Molten salt and granular media are the most widely known HTFs for CSP application and several heat exchanger (HX) designs such as shell-and-tube, shell-and-plate, and printed circuits have been investigated in the past based on these HTFs. Du et al. [4.3] investigated heat transfer characteristics of HITEC (NaNO3 – KNO3 – NaNO2 eutectic) salt-oil pair in a shell-and-tube HX and provided empirical correlations to predict the thermal performance. He et al. [4.4] analyzed the turbulent heat transfer characteristics of molten HITEC salt and YD-350 synthetic oil pair in a shell-and-tube HX and reported that no significant heat transfer augmentation occurred when salt was replaced by water as HTF. Qian et al. [4.5] compared the thermal performance of molten salt and conductive 320- oil in baffled shell-and-tube HX, where molten salt provided higher heat transfer performance. Shell-and-tube HX design is one of the most primitive designs which suffers from fluid leakage, large volume, and inability to sustain high pressures [4.6]. Printed circuit HXs have considerable advantage over these traditional HXs in terms of specific area for heat transfer, sustainability of high pressure drops (up to 60 MPa), and relatively compact sizes [4.6].

Figure 4.1 Schematic of the falling-particle receiver system coupled with power cycle [4.2]

Printed circuit HXs consist of a stack of plates etched with minichannels, where the contact between the plates is ensured through diffusion bonding process. These minichannels are fabricated in various shapes such as straight, trapezoidal, serpentine, zig-zag, etc. [4.6]. Wang et al. [4.7] experimentally studied the heat transfer performance of airfoil finned printed circuit HX with HITEC molten salt on the hot side and YD-325 synthetic oil on the cold side. The heat transfer of airfoil channel was ~ 7 times higher than straight channel due to disruptions of fluid flow by the fins. Nikitin et al. [4.8] experimentally determined the heat transfer and pressure drop characteristics of sCO2 in a printed circuit HX having zig-zag channels with semi-circular cross-section profile. The overall heat transfer coefficient for zig-zag channel was obtained in the range of 300 to 650 Wm2K. Despite hosting several advantages over traditional shell-and-tube HXs, minichannels of printed circuit HXs have drawback of potential plugging by the salt. Montes et al. [4.1] suggested  a compact honeycomb HX where the molten salt flowed through central tube and the sCO2 was present on the outer trapezoidal ducts surrounding the tube. The proposed design prohibited the clogging of channels and avoided large mechanical stresses due to high pressures of sCO2. Molten salts inherit some other limitations such as thermal instability, high melting points and corrosive behavior [4.9]. Popular molten metals such as Nitrates have maximum operating temperature limit of 560℃, which prohibits the realization of turbine inlet temperatures ≥ 700℃. On the other hand, solid particles as heat transfer media can have very high working temperatures (> 1000 °C), high heat capacity, low-cost, and non-corrosive behavior [10]. Particle-to-sCO2 heat exchangers have been actively investigated recently due to these advantages and two of the most widely researched concepts are – (a) fluidized bed, and (b) gravity-driven moving packed-bed.

Fluidized bed technology provides higher overall particle-to-wall heat transfer coefficient values, but the cost associated with the machinery required to supply fluidized gas and with the recuperative heat exchange devices to minimize convective heat transfer losses from the gas poses challenges in their commercial applications [4.11]. Gravity-driven moving packed-bed heat exchangers have become a viable alternative due to their simpler set-up and lower operational costs [4.12]. However, the heat transfer coefficient values of the moving packed-bed HXs are lower than the fluidized-beds, which is being countered by developing innovative HX designs by several researchers. Albrecht and Ho [4.12] investigated a counter-flow multi-bank shell-and-plate HX where sCO2 flowed in serpentine fashion via parallel plates and the particles moved in between the stacked plates under the influence of gravitational force. It was found that the thermal exchange in such configurations is limited by the low thermal conductivity of the particle bed. The authors in [4.12] proposed reduced order modeling methodology to predict the heat transfer in HX and reported that an overall heat transfer coefficient of 400 W/m2K could be achieved for particle channel width of 4 mm and particle diameter of 200 µm at CSP plant operating temperatures (500°C - 800°C).  Baumann and Zunft [4.13] investigated crossflow shell-and-tube HX where the dense granular medium moved downwards in a shell enclosing the tubes through which the working fluid of power cycle passed. In such configurations, the heat transfer performance can be deteriorated due to stagnation zone on the upper vertex and the void zone in the wake of the tubes. The narrowing down of the horizontal tube pitch in [4.13] provided increment in the overall heat transfer due to shorter particle-wall-contact time.

The formation of the stagnation and void zones around the tubes in a shell-and-tube HX can be reduced by adopting more sophisticated tube designs as compared to the traditional circular ones. Tian et al. [4.14] proposed elliptical-like combined tube shape constructed from the arrangement of three circular tubes. The stagnation and cavity zones in the novel elliptical-like tube was significantly lower than that in the conventional circular tubes resulting in the outside tube heat transfer performance due to particles similar to pure-elliptical configuration. The inside tube heat transfer of the elliptical-like configuration was compared with the corresponding elliptical- and circular-only configurations using the standard Gnielinski equation. For the same mass flow rate, the heat transfer coefficient was the highest for the elliptical-like configuration. In  a recent study, Tian et al. [4.15] proposed a trapezoidal corrugated modification to the standard plates in a shell-to-plate HX where the trapezoidal bulge was reported to significantly improve the heat transfer between the particles and plate. The trapezoidal bulge enhanced particle-particle mixing and destroyed the thermal boundary layer development resulting in improved heat transfer in the downstream regions. The base angle of the trapezoidal bulge was reported to have significant influence on the particle-to-wall heat transfer. Guo et al. [4.16] investigated the influence of the tube inclination on the particle-to-tube heat transfer. The contact resistance first increased and then decreased with the increment in the inclination angle. An optimum inclination angle of 15° to 37.5° was suggested by the authors to slow down the development of penetration resistance.

As discussed above, several novel HX designs have been explored in the past to improve the efficiency of the CSP plants. The granular flow and thermal exchange characteristics are being actively investigated through experimental and numerical means. Owing to the large capital investment required to conduct experiments, computational procedures have become a relatively more economical tool for testing and optimizing the new HX configurations and understating the intrinsic fundamental granular flow behavior. The discrete element method has become a very reliable and robust model in the recent years to predict the macroscopic behavior of any granular system by resolving the particle-scale interactions. The concept of DEM was first proposed by Cundall and Strack [4.17]. This method uses Lagrangian framework to explicitly solve the trajectories of particles by evaluating the inter-particle forces resulting from contact. The DEM theory is being currently employed by several researchers to model the granular interactions and discussion on some relevant studies is presented below.

Bartsch and Zunft [4.18] used DEM to model the dense granular flow-field around the circular tubes in a moving packed-bed HX. The simulated results were in good agreement with the velocity profiles obtained from the PIV experiments. Yarrington et al. [4.19] measured the granular properties required as input in DEM simulations at elevated temperatures and consequently investigated its impact on the particles flowing down on an inclined plane. The free surface velocity magnitudes, flow volume fraction, average velocity magnitude, and mass flux contours were analyzed. Besides the simulation of moving packed-bed HXs in regards to the CSP plant applications, DEM is being extensively used to model the mixing and blending of particles in a rotating drum for chemical, pharmaceutical, ceramic, and fertilizer industries [4.20–4.22]. DEM in used in combination with computational fluid dynamics (CFD) to model the particle flow behavior in fluidized beds as well [4.23–4.25]. Guo et al. [4.26] employed DEM to investigate heat transfer in moving packed-bed tube HX, where the tubes were subjected to oscillations to improve the heat transfer. Tube oscillations improved thermal exchange by accelerating the particle update and improving the solid fraction in local zones. However, stronger oscillations led to separation of particles from the tube, thereby deteriorating the heat transfer. Tian et al. [4.27] also investigated the effect of pin-fin and its oscillation on the gravity-driven granular flow. Several other researchers in the past have developed DEM codes to model the complex particle-particle heat transfer phenomenon [4.28–4.30].

The particle-to-sCO2 heat transfer is influenced by several factors such as particle side bulk thermal conductivity, particle-wall contact resistance, particle size, channel width, interstitial gas, particle velocity, and particle residence time [4.31–4.33]. As discussed above, several types of HX concepts have been reported which can potentially augment the thermal exchange from the particle-side channel. In this study, the authors propose a novel gravity-driven moving packed-bed HX with Octet lattice framework packed between the plates of the channel on the falling-particle side. Octet has been investigated extensively in the past for its superior mechanical properties [4.34,4.35]. The past work by our group focused on experimentally and numerically analyzing the convective heat transfer augmentation capabilities of fiber-based lattices from both Cubic and Octahedron family in forced convection channel configurations with both air and water as the working fluid [4.36–4.40]. A thorough flow and heat transfer investigation has been conducted to characterize the flow patterns and thermal exchange dynamics rendered by four different topologies, viz Octet, Tetrakaidecahedron, Cube, and FD-Cube, subjected to both laminar and turbulent flow conditions. Extensive experimental and numerical investigation was conducted recently to establish the stagnant thermal conductivities of the aforementioned lattices with water and air filled in their void volume [4.41,4.42]. Amongst these four investigated topologies, Octet provided the highest interfacial heat transfer coefficient values on the fibers whereas effective thermal conductivity was found to be independent of lattice topology for porosity ≥ 0.8. From prior investigations, it has been well established that Octet exhibits superior interfacial heat transfer and mechanical properties [4.43]. These previous findings are a motivation to extend the utilization of unique fiber-based Octet topology to granular flow systems employed in CSP plants. Recently, Aider et al. [4.44] experimentally evaluated the convective heat transfer coefficient of  Octet lattice moving packed-bed heat exchanger (OLHX) additively manufactured in 420 stainless steel and found that the particle flow through OLHX channel provided heat transfer coefficient of 400 W/m2K at lattice porosity of 0.88. Moreover, the effective thermal conductivity of Octet-particles combination configurations was about 4-8 times higher than the corresponding particles-only configurations. OLHX therefore has the potential to reduce the particle-side thermal resistance and provide enhanced heat transfer owing to large wetted specific-area. The current study aims at experimentally visualizing the flow of particles and eventually develop DEM framework to simulate the granular flow through OLHX. The mass flow rates of the particles under free-fall through OLHX were measured through experiments. The results from DEM simulations were compared to the experimental data in terms of the mass flow rate as well as local flow features. The particle-side heat transfer coefficient is critical in determining the viability of granular-based heat exchange technology in CSP plants as dictated by the $/kWh metrics and the proposed OLHX can be optimized to meet these cost and power requirements of power plants.

## Experimental setup and computational domain

Figure 4.2 shows the schematic of experimental setup used for granular flow visualization in OLHX and Fig. 4.3 provides the details of the corresponding computational domain used in

Figure 4.2 (a) Schematic of experimental set-up used for granular flow visualization (not drawn to scale), (b) additively manufactured Octet lattice packed between enclosure of acrylic glass

Figure 4.3 Geometrical dimensions of the hopper and lattice section in the computational domain

the DEM simulations. The OLHX consisted of single-cell thick Octet lattice packed in an enclosure made of 12.7 mm thick acrylic sheets. The acrylic panels provided the required transparent access to record the granular flow motion using a GoPro camera at 30 Hz. The set-up consisted of a large hopper formed by bending mild steel sheets riveted at junctions to act as buffer storage for desired number of particles before they were released to flow through the lattice under the influence of gravity. At the beginning of every test-run (t = 0) the lattice exit (shown in Fig. 4.2) was sealed with cardboard sheet and the particles were poured from the top into the hopper such that the whole Octet lattice section and a certain known height of the hopper were charged with stagnant particles. The cardboard sheet at the lattice exit was then instantly removed to allow the particles to fall into a container underneath the exit. A stopwatch was used to monitor the time during the free-fall and the time when all the particles had drained out of the OLHX was recorded. The particles collected underneath the OLHX exit were then measured on a high-precision weighing scale to evaluate the mass of the particles. The measured mass of the particles and the recorded time were finally used to evaluate the time-averaged mass flow rate of particles. Each run was repeated several times to ensure the repeatability of results and accuracy of the procedure adopted.

The Octet lattices used in the experiments were additively manufactured in resin using an in-house Form 3 SLA printer (from Formlabs). The total length of each lattice in the mean-flow direction was 100 mm and the width of the lattice was 50 mm (shown in Fig. 4.3). The lattice was single-cell thick where each repeating unit cell had dimensions of 10 mm x 10 mm x 10 mm resulting in total ten cells along the streamwise direction and five along the channel span. Different views of the Octet topology are also shown in Fig. 4.3. Three porosities of the Octet lattice were investigated experimentally and numerically, viz 0.75, 0.80, and 0.88. The corresponding fiber diameters were 1.55 mm, 1.36 mm, and 1 mm, respectively. The dimensional scales of the lattice section in the computational domain were exactly the same as that of the experiments. However, the large computational time and memory requirements prohibited the simulation of exact same mass of particles as filled during experiments. A relatively lower mass of particles was simulated (due to computational cost of DEM) due to which a scaled down version of hopper was modeled as shown in Fig. 4.3. The hopper in the computational domain resembled a frustrum with a rectangular base. The width and depth of the base where it connected with the lattice section was 50 mm and 10 mm, respectively, in order to completely conform to the lattice entrance. The total height of the hopper was 120 mm which opened to a rectangular cross-section of 80 mm x 40 mm on the top.

Unlike experiments, the covering lid was placed at the junction of the frustrum base and the lattice entrance (shown in red color in Fig.4.3) in computations. The lattice was bounded by walls of zero-thickness on the four sides in simulations. In the first step, the particles were injected from the top of the hopper and allowed to accumulate down on the lid under the influence of gravity. When the required amount of particle mass was injected into the hopper, the particles were allowed to settle down for some time to ensure that the mass flow rate during free-fall was calculated from the initial resting state of the particle just like experiments. Figure 4.4 shows the resting particles filled in hopper before the free-fall. Once the particles were settled, the lid below them was removed and they were allowed to fall through the Octet lattice under the gravitational force.

## Particle characteristics

Three different batches of sintered bauxite CARBOBEAD particles were experimentally investigated. Figure 4.5 shows the distribution profiles from the particle size analysis performed using Anton Paar PSA 1190 LD. The investigated particles and the corresponding mean diameters are provided in Table 4.1. The flow of particles (3 different diameters) was experimentally investigated for three different Octet lattice porosities; however, the simulations were performed using only CARBOBEAD-CP 30/60 particles for all three porosities of the lattice.

Table 4.1 Mean diameter values of three different particle types experimentally investigated

| Particle type | Mean diameter |
| --- | --- |
| CARBOBEAD-CP 40/100 | ~ 266 µm |
| CARBOBEAD-CP 30/60 | ~ 397 µm |
| CARBOBEAD-HSP 20/40 | ~ 966 µm |

## Discrete element method (dem) procedure

In the present study, the DEM simulations were performed using the open-source code LIGGGHTS (LAMMPS Improved for General Granular and Granular Heat Transfer Simulations) [4.45] which predicts the motion of a particle using the Newtons’ law of motion as given below [4.46].

For translational motion:

Equation 4.1

v=Fm+g

For angular motion:

Equation 4.2

ω=TI

where v is the velocity vector, F is the net contact force acting on the particle, ω is the angular velocity vector, T is the net torque and I is the moment of inertia.

Figure 4.4 Particles settled in the hopper before being discharged through the Octet lattice

Figure 4.5 Particle-size distribution profiles

The particle-particle collision was modelled using ‘soft sphere’ scheme where the deformation was approximated through normal and tangential inter-particle overlaps. These overlaps were then used to evaluate the normal and tangential forces acting on the particle.

Figure 4.6 represents the interactive-forces schematic between contacting particles through a spring-dashpot model [4.19,4.47]. Energy dissipation in the system is represented through the dashpot connected in parallel to the elastic springs. The sliding element placed in series with the spring in the tangential direction allows to account for the sliding of particles with each other while limiting the magnitude of tangential force.

Figure 4.6 Spring-dashpot model for interaction in the normal and tangential directions

The Hertz-Mindlin contact model was specified during the simulations which calculates the inter-particle forces as following, provided the distance (D) between the two interacting particles of radii (Ri and Rj) is less than the contact distance d = (Ri + Rj):

Equation 4.3

F=knδnij-γnvnijnormal force+ktδtij-γtvtijtangential force

The normal force had the contribution from spring and damping forces whereas the tangential forces were formulated using shear and damping forces. The values of elastic constants (kn and kt) and viscoelastic damping constants (γn and γt) were evaluated using the material properties and particle overlaps (δn and δt) as following:

Equation 4.4

kn= 43Y*R*δn

Equation 4.5

γn=-256βSnm*≥0

Equation 4.6

kt=8G*R*δn

Equation 4.7

γt=-256βStm*≥0

where

Equation 4.8

Sn=2Y*R*δn

Equation 4.9

St=8G*R*δn

Equation 4.10

β= ln⁡(e)ln2e+π2

Equation 4.11

1Y*=(1-νi2)Yi+(1-νj2)Yj

Equation 4.12

1G*=2(2-νi)(1+νi)Yi+2(2-νj)(1+νj)Yj

Equation 4.13

1R*=1Ri+1Rj

Equation 4.14

1m*=1mi+1mj

In the above formulae, Y is the Young’s modulus, G is the shear modulus, ν is the Poisson’s ratio, and e represents the coefficient of restitution. The superscript asterisk (*) refers to the effective properties. The shear force accounting for the tangential displacement between two interacting particles for the duration of contact time is a “history effect”. The tangential overlap was truncated to fulfil the criteria Ft≤μsFn, where μs is the coefficient of static sliding friction and Fn is the normal force.

For the angular motion, the net torque is contributed by the torque from the tangential force and the rolling friction. Two rolling friction models from the current code library, namely, constant directional torque (CDT), and elastic-plastic spring-dashpot (EPSD2) were used in the current study.

The CDT model adds rolling friction torque as following:

Equation 4.15

T CDT=μrknδnR*ωs,ijωs,ij

where, ωs,ij is the projection of relative angular velocity (ωi - ωj) into the shear plane. For CDT model, the coefficient of rolling friction (μr) must be specified. The EPSD2 model is determined as following over multiple time steps without using the viscous damping contribution:

Equation 4.16

T EPSD2,  t+ ∆t= T EPSD2,  t-ktR*2∆θr

where, ∆θr is the incremental relative rotation between the interacting particles. The maximum magnitude of spring torque is limited by the full mobilization torque determined using normal force and coefficient of rolling friction:

Equation 4.17

T EPSD2,  t+ ∆t≤μrR*Fn

The correct evaluation of forces as per the equations presented in this section require accurate a priori determination of several input properties such as Young’s modulus, Poisson’s ratio, and coefficients of sliding friction, rolling friction, and restitution. The properties and other numerical inputs adopted in the simulations of the current study are discussed in the next section.

## Numerical setup

The parameters provided as input to evaluate particle-particle, particle-fiber, and particle-channel wall interactions are provided in Table 4.2. Both the fiber-surfaces and channel-walls were provided with the same material properties. The variables particle-particle sliding friction, rolling friction, and restitution coefficients were adopted from a recent study by Bagepalli et al. [4.48], where the authors experimentally measured the mechanical properties of CARBOBEAD-CP 30/60 proppants. The authors also reported the contact properties of particles against alumina- and resin-walls. The coefficient of sliding friction and rolling friction between particle-alumina wall was 1.0 and 0.41, respectively, whereas the coefficient values for particle-resin wall were 0.80 and 0.40, respectively. The particle-wall sliding friction values of 0.25 and 0.30 were used in DEM simulations by Gallego et al. [4.49] when the walls were considered to be made of steel and methacrylate, respectively, while the glass beads were the falling granular medium.

In the current study, alumina particles interacted with steel surface in the hopper, resin-wall in the lattice volume, and acrylic glass on the bounding walls in the experimental setup. However, all the surfaces in a simulation were attributed the same sliding friction coefficient value for particle interaction. Three different cases of particle-wall sliding friction (0.3, 0.5, and 1.0) covering a wide range of values as reported in the literature discussed above were simulated in order to calibrate it against the current experimental data.

Time step size (δt)  for Hertzian contact model in DEM simulations is based on the Rayleigh time as provided by the following theoretical expression [4.50,4.51]:

Equation 4.18

tRay=πR0.8766+0.163νρG

The considered time step (δt) should be smaller than the particle’s contact duration [4.52]. A common guideline is to adopt δt of about 20% of tRay  for stable solution, however, larger time steps can be adopted if the achieved particle velocities in the computational domain are not expected to be very large. In the current study, δt = 5x10-6 was specified in all the simulations. The value of Young’s modulus significantly influences the time step size because larger the Young’s modulus smaller is the time step required to resolve particle-scale interactions. Researchers generally use a reduced elastic modulus magnitude as compared to the actual Young’s modulus of particles [4.46,4.52] to reduce the computational time. Zhou et al. [4.53] investigated the sensitivity of angle of repose of monosized spheres to various factors such as particle characteristics, material properties, and geometrical constraints. Young’s modulus range of 105 – 108 N/m2 was investigated which showed no obvious effect on the angle of repose. The major controlling factors for translational and rotational motion of particles were found to be sliding and rolling frictions. Yan et al. [4.54] performed a parametric multi-level sensitivity analysis to understand the effect of DEM input particle properties on the bulk response for system involving discharge of particles from a flat bottom cylindrical container onto a plate. With all other parameter fixed, change in Young’s modulus from 0.02 GPa to 200 GPa demonstrated small influence on the final shape of pile of material and average velocity of particles near the orifice. However, computational time increased from 0.4 hours for Young’s modulus value of 0.02 GPa with time step size of 5 x 10-6 s to 240 hours for Young’s modulus value of 200 GPa at time step size of 5 x 10-8 s. Xu et al. [4.55] investigated the effects of material properties on granular flow in a silo. The authors found that material modulus with artificial value of 1/1000 of the actual value yielded no significant difference in flow pattern and discharge rate suggesting that soft-sphere approach (lower modulus values) can be used to predict of behavior of hard particles to save computational time.

Yarrington et al. [4.19] and Bagepalli et al. [4.48] reported the Young’s modulus value of alumina particles to be ~ 209 GPa which would require a very small time step. Instead, Young’s modulus of 1x107 Pa was used in the current study to reduce the overall computational cost.

In DEM simulations, the neighbor list of potential contacts is built periodically which is checked at every time step and the pairs of particles that are too far away from each other to be in contact are excluded. The pair of interacting particles can be included in the list based on a certain range as given by the following formula [4.45]:

Equation 4.19

||xi-xj||<ri+rj+s

where “s” is the skin parameter that is specified by the user. All interacting pairs within the cut-off distance provided by Eq. 19 are stored in the list which is periodically updated to account for the relocation of particles in a domain upon interaction. The larger the skin parameter, less often the neighbor list requires rebuilding, however, a greater number of pairs must be checked every time step for any possible interactions. The skin parameter used in the current study was 800 µm, i.e., twice of the particle diameter. A 100g of total particle mass was injected into the hopper before the free-fall. The mass flow rate profiles were obtained from simulations at the exit plane of the Octet lattice.

## RESULTS AND DISCUSSION

### Calibration of sliding friction coefficient for DEM simulations

As discussed in the previous section, three different values (0.3, 0.5, and 1.0) of particle-wall sliding friction coefficient were investigated numerically. The mass flow rate characteristics of CP 30/60 particles using these three values in OLHX having porosity of 0.88 is presented in Fig. 4.7, where all the simulation results correspond to the EPSD2 rolling friction model. The time t=0 in these plots corresponded to the initiation of injection into the hopper. The same amount of time was provided for particle filling and resting in all the simulations before they were released for the free-fall. The mass flow rate measured from the experiments for the considered lattice porosity was 38.98 g/s. The simulated mass of the particles falling through OLHX provided a steady-mass flow rate for a considerable time indicating that 100g was sufficient to analyze the flow behavior without the start- and end-effects. Significant deviation in mass-flow rates was observed for the three different particle-wall sliding friction coefficients. As the coefficient of sliding friction decreased, the predicted mass flow rate value increased. For the current setup, the best agreement with the experimental data was provided by friction coefficient value of 0.5. Therefore, this value was used for the rest of the simulations.

Figure 4.7 Comparison of mass flow rates obtained from DEM simulations for three different particle-wall sliding friction coefficients against the experimental data

### Rolling friction models

Once the coefficient of sliding friction was fixed as 0.5, the effect of rolling friction model on the mass flow rate was analyzed. Figure 5.8 shows the temporal variation of the mass-flow rates of CP 30/60 particles in OLHX having porosity of 0.88 for two rolling friction models, namely, EPSD2 and CDT. No significant difference in the mass-flow rate characteristics was observed for the two rolling friction models. During the steady-rate condition, i.e., between 3s to 4.5s, the value of EPSD2 was slightly lower and CDT was slightly higher than the mean experimental value. Since the choice of rolling friction model did not significantly influence the prediction of final mass-flow rate value, EPSD2 was chosen to conduct further simulations.

Figure 4.8 Comparison of mass flow rates obtained from DEM simulations for two different rolling friction models

### Instantaneous flow characteristics

Figure 4.9 shows the image of particles taken during experiments at instants when the particles were in steady-fall condition. Also presented is the zoomed-in image of the front side of the acrylic panel of OLHX having 0.88 porosity with CP 30/60 particles to better understand the granular motion.

From the front view, three distinct flow characteristics were observed, i.e., (a) stagnant-zone upstream of the fiber junctions, (b) cone-shaped void zone in the wake of the fibers, and (c) unobstructed wavy-type motion of particles on lateral sides of the fibers. The upstream stagnation of particles and downstream void due to particle separation is a common characteristic of granular flow around tubes in a shell-and-tube type heat exchanger.

Figure 4.9 Instantaneous images of the free-fall of particles in three different lattices taken during experiments

The downstream regions of fibers typically remain devoid of the contact with the heated particles leading to weaker heat transfer. The overall conjugate heat transfer coefficient of OLHX depends on the effective thermal conductivity of the system and interfacial heat transfer coefficient values. The interfacial heat transfer coefficient depends on the flow fields rendered by the moving media in the lattice. The local heat transfer coefficient distribution around discrete arrangement of circular tubes arranged normally and inclined to the mean flow direction is reported in literature. However, the current OLHX represents a relatively complex scenario where all the cylindrical fibers of the repeating unit cell are placed at a different angle to the encountering particles. The solid fibers attached to the bounding walls when fabricated in metal will develop thermal gradients internally leading to interesting thermal exchange dynamics with the particles. Figure 4.10 shows the images of OLHX (ε = 0.88) during discharge of particles CP 30/60 colored by the local flow velocities obtained from the simulations. The particles on the lateral side of the fibers had relatively larger flow velocities which corresponded to the speeding wavy motion in Fig. 4.9. The zoomed-in view in Fig. 4.10b clearly demonstrates regions underneath the fibers junctions which were devoid of the particle contact. It is noted that not only the downstream fiber regions suffered from poor contact but also certain sections of the front- and side-acrylic walls (Fig. 4.10c). Therefore, the heat transfer coefficient values would have non-uniform distribution on the walls connected to sCO2-side channel exhibiting regions of locally high and low heat transfer magnitudes. Moreover, the fiber-fiber junctions and fiber-channel wall junctions provided accommodation to the particles for accumulation as demonstrated in the post free-fall image in Fig. 4.11.

Figure 4.10 (a) Instantaneous image of the free-fall of particles from DEM simulations with particles colored with their local flow velocities, (b) zoomed-in view of the front side of the channel, and (c) zoomed-in side view of the channel

The particles collected in the junctions would not allow these spots to be updated with the fresh heated particles which will affect the heat transfer negatively in these regions over time.

Figure 4.11 Image of the particles taken after the completion of the DEM simulation showing accumulation in the junction regions

### Effect of porosity on the mass flow rate

The temporal evolution of mass flow rate profiles for CP 30/60 particles at three different lattice porosities is provided in Fig. 4.12. For the same total mass of particles, the mass flow rate was maximum for the highest porosity value of 0.88. Therefore, the particles drained out of 88% porous OLHX in the least time span. The lowest porosity value of 0.75 provided the maximum hinderance to the free flow of the particles resulting in the maximum discharge time.

Figure 4.12 Temporal evolution of mass flow rate profiles for three lattice porosities obtained from DEM simulations

Figure 4.13a shows mass flow rates obtained from the experimental runs of three different particle batches as a function of lattice porosity. The trends with respect to the porosity variation were similar for particles of different diameters, where the mass flow rate increased with increasing porosity. The difference in mass flow rates of CP  40/100 and 30/60 particles remained almost same across the entire porosity range. The gap between mass-flow rates for HSP 20/40 particles with respect to the other batches decreased as the lattice porosity increased. Larger porosity of the lattices ensures greater voidage volume for the particles to fall freely resulting in increased flow velocities in the domain resulting in relatively larger mass-flow rates. However, it should be noted that the stagnant effective thermal conductivity would decrease with increasing porosity too. Figure 4.13b shows the comparison of experimental mean mass flow rate data with the numerically predicted values as a function of porosity for CP 30/60 particles. Overall, the predicted values were in good agreement with the corresponding experimental data, especially for the higher porosities. The simulated mass had spherical particles of uniform diameter as opposed to the distribution profile provided in Fig. 4.5. This is expected to influence the mass-flow rate values predicted via simulations.

Figure 4.13 (a) Experimentally obtained mass flow rates for three different particle batches as a function of lattice porosity, (b) comparison of mean mass flow rates obtained from the experiments and DEM simulations for CP 30/60 particles as a function of lattice porosity

### Effect of particle diameter on the mass flow rate

Figure 4.14 shows the experimentally obtained mass flow rates for three different porosities of Octet lattice as a function of particle diameter. At a fixed porosity, the mass flow rate diminished with increasing particle diameter. The smaller diameter particles at any fixed porosity will have tendency of moving faster in the porous volume and subsequently have more frequent interactions with the fibers of the lattice oriented at different angles. In the case of OLHX where the fiber-network can be very dense for lower porosities, the scale of particles with respect to the fiber dimensions can be a very critical parameter of investigation. The previous study by the authors [4.44] showed that the particles with smaller diameter provided higher overall heat transfer coefficient for OLHX at a fixed porosity.

Figure 4.14 Experimentally obtained mass flow rates for three different lattice porosities as a function of particle diameter

## Conclusions

The experimental and DEM-based numerical investigation is conducted for flow in novel Octet lattice moving packed-bed heat exchanger (OLHX) in this study with potential applications in CSP-based power generation. The OLHX packed beds demonstrate high effective thermal conductivity and overall heat transfer coefficients, therefore, it is imperative to gain in-depth knowledge of how it modifies the granular flow field. In the present study, experimental flow visualization was conducted on three different porosities, viz 0.75, 0.80, and 0.88, of OLHX for three different CARBOBEAD particle batches – (a) CP 40/100, (b) CP 30/60, and (c) HSP 20/40. The DEM framework to simulate the granular flow through the OLHX was then developed in the open source LIGGGTHS software, the results from which provided good agreement with the corresponding experimental data. This framework will be further developed to investigate the heat transfer in complex OLHX configurations. Major conclusions from this flow analysis study are highlighted below:

- For a fixed particle diameter, the mass flow rate increased with increasing OLHX porosity. For a fixed porosity of the OLHX, mass flow rate decreased with increasing particle diameter. The enhanced particle flow velocities coupled with frequent interactions with the fiber network is expected to provide high overall heat transfer coefficient values.

- The experimental images showed cone-shaped void zones downstream of fibers, stagnation areas upstream of junctions, and wavy type unobstructed motion around fibers. The DEM simulations were able to capture all these important flow features of the experimental results.

- DEM images clearly demonstrated regions of the fiber network as well as channel walls which were completely devoid of the particle contact. These regions will provide very low thermal exchange opportunity leading to non-uniform heat transfer coefficient distribution on the fibers as well as channel walls in contact with the working fluid of the power cycle.

- The images of OLHX domain post completion of simulations showed the accumulation of the particles on the junctions of fibers with other fibers as well as with the channel walls. These regions did not have very frequent update of the fresh incoming particles which can prove to be the hot-spots for poor thermal exchange over time.

- The DEM simulations were conducted with the assumption of particles being spherical and having uniform fixed diameter which was different from the measured morphological characteristics of the particles used in experiments. Modeling of real-like particle distribution can further improve the accuracy of the DEM simulations.

## Acknowledgments

This material is based upon work supported by the U.S. Department of Energy's Office of Energy Efficiency and Renewable Energy (EERE) under the Solar Energy Technologies Office Award Number DE-EE0009377. This report was prepared as an account of work sponsored by an agency of the United States Government. Neither the United States Government nor any agency thereof, nor any of their employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof.

### Nomenclature

df	fiber diameter

dp	mean particle diameter

e	coefficient of restitution

F	force acting on the particle

G	shear modulus

g	gravitational force

I	moment of inertia

kn 	elastic constant for normal contact

kt 	elastic constant for tangential contact

m	mass of the particle

R	radius of the particle

s	skin parameter

Sn	material constant in normal direction

St	material constant in tangential direction

T	torque acting on the particle

tRay	Rayleigh time step criteria

v	velocity

vn 	normal component of the relative velocity

vt 	tangential component of the relative velocity

Y	Young’s modulus

x	particle position

### Greek symbols

ε	porosity

δn 	normal overlap distance between two particles

δt 	tangential displacement between two particles

γn 	viscoelastic damping constant for normal contact

γt 	viscoelastic damping constant for tangential contact

ν	Poisson’s ratio

μs 	sliding friction coefficient

μr 	rolling friction coefficient

ω	angular velocity

ρ	density of the particle

β	material constant used to calculate interacting forces in LIGGGHTS

### Abbreviations

CDT	constant direction torque

CSP	concentrated solar power plant

DEM 	discrete element method

EPSD	elastic-plastic spring dashpot

HTF	heat transfer fluid

HX	heat exchanger

OLHX	Octet lattice moving packed-bed heat exchanger

sCO2	supercritical carbon-dioxide

TES	thermal energy storage=

### Superscript

* 	effective properties

## References

[4.1] 		Montes, M.J., Linares, J.I., Barbero, R., and Moratilla, B.Y., 2020, “Optimization of a New Design of Molten Salt-to-CO2 Heat Exchanger Using Exergy Destruction Minimization,” Entropy, 22, p. 883. https://doi.org/10.3390/e22080883.

[4.2] 		Mehos, M., Turch, C., Vidal, J., Wagner, M., Ma, Z., Ho, C., Kolb, W., Andraka, C., and Kruizenga, A., 2017, “Concentrating Solar Power Gen3 Demonstration Roadmap,”. https://doi.org/10.2172/1338899.

[4.3] 		Du¸ B.C, He, Y.L., Qiu, Y., Liang, Q., and Zhou, Y.P., 2018, “Investigation on heat transfer characteristics of molten salt in a shell-and-tube heat exchanger,” International Communications in Heat and Mass Transfer, 96, pp. 61-68. https://doi.org/10.1016/j.icheatmasstransfer.2018.05.020.

[4.4] 		He, Y.L., Zheng, Z.J., Du, B.C., Wang, K., and Qiu, Y., 2016, “Experimental investigation on turbulent heat transfer characteristics of molten salt in a shell-and-tube heat exchanger,” Applied Thermal Engineering, 108, pp. 1206-1213. https://doi.org/10.1016/j.applthermaleng.2016.08.023.

[4.5] 		Qian, J., Kong, Q.L., Zhang, H.W., Zhu, Z.H, Huang, W.G., and Li, W.H, 2017, “Experimental study for shell-and-tube molten salt heat exchangers,” Applied Thermal Engineering, 124, pp. 616-623. https://doi.org/10.1016/j.applthermaleng.2017.06.005.

[4.6] 		Huang, C, Cai, W., Wang, Y., Liu, Y., Li, Q., and Li. B, 2019, “Review on the characteristics of flow and heat transfer in printed circuit heat exchangers,” Applied Thermal Engineering, 153, pp.190-205. https://doi.org/10.1016/j.applthermaleng.2019.02.131.

[4.7] 		Wang, W.Q., Qiu, Y., He, Y.L., and Shi, H.Y., 2019, “Experimental study on the heat transfer performance of a molten-salt printed circuit heat exchanger with airfoil fins for concentrating solar power,” International Journal of Heat and Mass Transfer, 135, pp. 837-846. https://doi.org/10.1016/j.ijheatmasstransfer.2019.02.012.

[4.8] 		Nikitin, K., Kato, Y. and Ngo, L., 2006, “Printed circuit heat exchanger thermal–hydraulic performance in supercritical CO2 experimental loop,” International Journal of refrigeration, 29(5), pp.807-814. https://doi.org/10.1016/j.ijrefrig.2005.11.005.

[4.9] 		Encinas-Sánchez, V., Lasanta, M.I., De Miguel, M.T., García-Martín, G. and Pérez, F.J., 2021, “Corrosion monitoring of 321H in contact with a quaternary molten salt for parabolic trough CSP plants,” Corrosion Science, 178, p.109070. https://doi.org/10.1016/j.corsci.2020.109070.

[4.10] 	Tian, X., Yang, J., Guo, Z., Wang, Q. and Sunden, B., 2020, “Numerical study of heat transfer in gravity-driven dense particle flow around a hexagonal tube,” Powder technology, 367, pp.285-295. https://doi.org/10.1016/j.powtec.2020.04.001.

[4.11] 	Albrecht, K.J. and Ho, C.K., 2019, “Heat transfer models of moving packed-bed particle-to-sCO2 heat exchangers,” J Sol Energy Eng, 141(3), p.031006. https://doi.org/10.1115/1.4041546.

[4.12] 	Albrecht, K.J. and Ho, C.K., 2019, “Design and operating considerations for a shell-and-plate, moving packed-bed, particle-to-sCO2 heat exchanger,” Solar Energy, 178, pp.331-340. https://doi.org/10.1016/j.solener.2018.11.065.

[4.13] 	Baumann, T. and Zunft, S., 2015, “Development and performance assessment of a moving bed heat exchanger for solar central receiver power plants,” Energy Procedia, 69, pp.748-757. https://doi.org/10.1016/j.egypro.2015.03.085.

[4.14] 	Tian, X., Guo, Z., Jia, H., Yang, J. and Wang, Q., 2021, “Numerical investigation of a new type tube for shell-and-tube moving packed bed heat exchanger,” Powder Technology, 394, pp.584-596. https://doi.org/10.1016/j.powtec.2021.08.080.

[4.15] 	Tian, X., Zhu, F., Guo, Z., Zhang, J., Yang, J. and Wang, Q., 2022, “Numerical investigation of gravity-driven particle flow along the trapezoidal corrugated plate for a moving packed bed heat exchanger,” Powder Technology, 405, p.117526. https://doi.org/10.1016/j.powtec.2022.117526.

[4.16] 	Guo, Z., Yang, J., Tan, Z., Tian, X. and Wang, Q., 2021, “	Numerical study on gravity-driven granular flow around tube out-wall: Effect of tube inclination on the heat transfer,” International Journal of Heat and Mass Transfer, 174, p.121296. https://doi.org/10.1016/j.ijheatmasstransfer.2021.121296

[4.17] 	Cundall, P.A. and Strack, O.D., 1979, “A discrete numerical model for granular assemblies,” geotechnique, 29(1), pp.47-65. https://doi.org/10.1680/geot.1979.29.1.47.

[4.18] 	Bartsch, P. and Zunft, S., 2019, “Granular flow around the horizontal tubes of a particle heat exchanger: DEM-simulation and experimental validation,” Solar Energy, 182, pp.48-56. https://doi.org/10.1016/j.solener.2019.01.086.

[4.19] 	Yarrington, J.D., Bagepalli, M.V., Pathikonda, G., Schrader, A.J., Zhang, Z.M., Ranjan, D. and Loutzenhiser, P.G., 2021, “ Numerical analyses of high temperature dense, granular flows coupled to high temperature flow property measurements for solar thermal energy storage,” Solar Energy, 213, pp.350-360. https://doi.org/10.1016/j.solener.2020.10.085.

[4.20] 	Soni, R.K., Mohanty, R., Mohanty, S. and Mishra, B.K., 2016, “Numerical analysis of mixing of particles in drum mixers using DEM,” Advanced Powder Technology, 27(2), pp.531-540. https://doi.org/10.1016/j.apt.2016.01.016.

[4.21] 	Liu, P.Y., Yang, R.Y. and Yu, A.B., 2013, “DEM study of the transverse mixing of wet particles in rotating drums,” Chemical Engineering Science, 86, pp.99-107. https://doi.org/10.1016/j.ces.2012.06.015.

[4.22] 	Xiao, X., Tan, Y., Zhang, H., Deng, R. and Jiang, S., 2017, “Experimental and DEM studies on the particle mixing performance in rotating drums: Effect of area ratio,” Powder technology, 314, pp.182-194. https://doi.org/10.1016/j.powtec.2017.01.044.

[4.23] 	Deb, S. and Tafti, D.K., 2014, “Two and three dimensional modeling of fluidized bed with multiple jets in a DEM–CFD framework,” Particuology, 16, pp.19-28. https://doi.org/10.1016/j.partic.2014.04.005.

[4.24] 	Li, T. and Guenther, C., 2012, “MFIX-DEM simulations of change of volumetric flow in fluidized beds due to chemical reactions,” Powder technology, 220, pp.70-78. https://doi.org/10.1016/j.powtec.2011.09.025.

[4.25] 	Xu, Y., Li, T., Musser, J., Liu, X., Xu, G. and Rogers, W.A., 2017, “CFD-DEM modeling the effect of column size and bed height on minimum fluidization velocity in micro fluidized beds with Geldart B particles,” Powder technology, 318, pp.321-328. https://doi.org/10.1016/j.powtec.2017.06.020.

[4.26] 	Guo, Z., Zhang, S., Tian, X., Yang, J. and Wang, Q., 2020, “Numerical investigation of tube oscillation in gravity-driven granular flow with heat transfer by discrete element method,” Energy, 207, p.118203. https://doi.org/10.1016/j.energy.2020.118203.

[4.27] 	Tian, X., Yang, J., Guo, Z. and Wang, Q., 2021, “Numerical Investigation of Gravity-Driven Granular Flow around the Vertical Plate: Effect of Pin-Fin and Oscillation on the Heat Transfer,” Energies, 14(8), p.2187. https://doi.org/10.3390/en14082187.

[4.28] 	Peng, Z., Doroodchi, E. and Moghtaderi, B., 2020, “Heat transfer modelling in Discrete Element Method (DEM)-based simulations of thermal processes: Theory and model development,” Progress in Energy and Combustion Science, 79, p.100847. https://doi.org/10.1016/j.pecs.2020.100847.

[4.29]		Batchelor, G.K. and O'brien, R.W., 1977, “Thermal or electrical conduction through a granular material,” Proceedings of the Royal Society of London. A. Mathematical and Physical Sciences, 355(1682), pp.313-333. https://doi.org/10.1098/rspa.1977.0100

[4.30] 	Wang, S., Luo, K., Hu, C., Lin, J. and Fan, J., 2019, “CFD-DEM simulation of heat transfer in fluidized beds: Model verification, validation, and application,” Chemical Engineering Science, 197, pp.280-295. https://doi.org/10.1016/j.ces.2018.12.031.

[4.31] 	Denloye, A.O.O. and Botterill, J.S.M., 1977, “Heat transfer in flowing packed beds,” Chemical Engineering Science, 32(5), pp.461-465. https://doi.org/10.1016/0009-2509(77)87001-2

[4.32] 	Sullivan, W.N. and Sabersky, R.H., 1975, “Heat transfer to flowing granular media,” International Journal of Heat and Mass Transfer, 18(1), pp.97-107. https://doi.org/10.1016/0017-9310(75)90012-5.

[4.33] 	Spelt, J.K., Brennen, C.E. and Sabersky, R.H., 1982, “Heat transfer to flowing granular material,” International Journal of Heat and Mass Transfer, 25(6), pp.791-796. https://doi.org/10.1016/0017-9310(82)90091-6.

[4.34] 	Lv, W., Li, D. and Dong, L., 2020, “Study on mechanical properties of a hierarchical octet-truss structure,” Composite Structures, 249, p.112640. https://doi.org/10.1016/j.compstruct.2020.112640.

[4.35] 	Deshpande, V.S., Fleck, N.A. and Ashby, M.F., 2001, “Effective properties of the octet-truss lattice material,” Journal of the Mechanics and Physics of Solids, 49(8), pp.1747-1769. https://doi.org/10.1016/S0022-5096(01)00010-2.

[4.36] 	Kaur, I. and Singh, P., 2020, “Flow and thermal transport through unit cell topologies of cubic and octahedron families,” International Journal of Heat and Mass Transfer, 158, p.119784. https://doi.org/10.1016/j.ijheatmasstransfer.2020.119784.

[4.37] 	Kaur, I. and Singh, P., 2021, “Numerical investigation on conjugate heat transfer in octet-shape-based single unit cell thick metal foam,” International Communications in Heat and Mass Transfer, 121, p.105090. https://doi.org/10.1016/j.icheatmasstransfer.2020.105090.

[4.38] 	Kaur, I. and Singh, P., 2022, “Direct pore-scale simulations of fully periodic unit cells of different regular lattices,” Journal of Heat Transfer, 144(2), p.022702. https://doi.org/10.1115/1.4053204.

[4.39] 	Aider, Y., Kaur, I., Cho, H. and Singh, P., 2022, “Periodic heat transfer characteristics of additively manufactured lattices,” International Journal of Heat and Mass Transfer, 189, p.122692. https://doi.org/10.1115/1.4053204.

[4.40] 	Kaur, I., Aider, Y., Nithyanandam, K. and Singh, P., 2022, “Thermal-hydraulic performance of additively manufactured lattices for gas turbine blade trailing edge cooling,” Applied Thermal Engineering, 211, p.118461. https://doi.org/10.1016/j.applthermaleng.2022.118461.

[4.41] 	Kaur, I., Mahajan, R.L. and Singh, P., 2023, “Generalized correlation for effective thermal conductivity of high porosity architectured materials and metal foams,” International Journal of Heat and Mass Transfer, 200, p.123512. https://doi.org/10.1016/j.ijheatmasstransfer.2022.123512.

[4.42] 	Wang, N., Kaur, I., Singh, P. and Li, L., 2021, “Prediction of effective thermal conductivity of porous lattice structures and validation with additively manufactured metal foams,” Applied Thermal Engineering, 187, p.116558. https://doi.org/10.1016/j.applthermaleng.2021.116558.

[4.43] 	Dong, L. and Wadley, H., 2015, “Mechanical properties of carbon fiber composite octet-truss lattice structures,” Composites Science and Technology, 119, pp.26-33. https://doi.org/10.1016/j.compscitech.2015.09.022.

[4.44] 	Aider, Y., Cho, H. and Singh, P., 2022, “Convective Heat Transfer Potential of Particles/Airflow Through Single Cell Thick Additively Manufactured Octet-Shaped Lattice Frame Material,” Heat Transfer Summer Conference, 85796, p. V001T06A004. https://doi.org/10.1115/HT2022-81856

[4.45] 		Kloss, C., Goniva, C., Hager, A., Amberger, S. and Pirker, S., 2012, “Models, algorithms and validation for opensource DEM and CFD–DEM,” Progress in Computational Fluid Dynamics, an International Journal, 12(2-3), pp.140-152. https://doi.org/10.1504/PCFD.2012.047457.

[4.46] 	Jahani, M., Farzanegan, A. and Noaparast, M., 2015, “Investigation of screening performance of banana screens using LIGGGHTS DEM solver,” Powder Technology, 283, pp.32-47. https://doi.org/10.1016/j.powtec.2015.05.016.

[4.47] 	Deb, S. and Tafti, D., 2014, “Investigation of flat bottomed spouted bed with multiple jets using DEM–CFD framework,” Powder technology, 254, pp.387-402. https://doi.org/10.1016/j.powtec.2014.01.045.

[4.48] 	Bagepalli, M.V., Yarrington, J.D., Schrader, A.J., Zhang, Z.M., Ranjan, D. and Loutzenhiser, P.G., 2020, “Measurement of flow properties coupled to experimental and numerical analyses of dense, granular flows for solar thermal energy storage,” Solar Energy, 207, pp.77-90. https://doi.org/10.1016/j.solener.2020.06.062.

[4.49] 	Gallego, E., Fuentes, J.M., Wiącek, J., Villar, J.R. and Ayuga, F., 2019, “DEM analysis of the flow and friction of spherical particles in steel silos with corrugated walls,” Powder Technology, 355, pp.425-437. https://doi.org/10.1016/j.powtec.2019.07.072.

[4.50] 		Washino, K., Chan, E.L., Miyazaki, K., Tsuji, T. and Tanaka, T., 2016, “Time step criteria in DEM simulation of wet particles in viscosity dominant systems,” Powder Technology, 302, pp.100-107. https://doi.org/10.1016/j.powtec.2016.08.018.

[4.51] 	Burns, S.J., Piiroinen, P.T. and Hanley, K.J., 2019, “Critical time step for DEM simulations of dynamic systems using a Hertzian contact model,” International Journal for Numerical Methods in Engineering, 119(5), pp.432-451. https://doi.org/10.1002/nme.6056.

[4.52] 	Paulick, M., Morgeneyer, M. and Kwade, A., 2015, “Review on the influence of elastic particle properties on DEM simulation results,” Powder Technology, 283, pp.66-76. https://doi.org/10.1016/j.powtec.2015.03.040.

[4.53] 	Zhou, Y.C., Xu, B.H., Yu, A.B. and Zulli, P., 2001, “Numerical investigation of the angle of repose of monosized spheres,” Physical Review E, 64(2), p.021301. https://doi.org/10.1103/PhysRevE.64.021301.

[4.54] 	Yan, Z., Wilkinson, S.K., Stitt, E.H. and Marigo, M.J.C.P.M., 2015, “Discrete element modelling (DEM) input parameters: understanding their impact on model predictions using statistical analysis,” Computational Particle Mechanics, 2, pp.283-299. https://doi.org/10.1007/s40571-015-0056-5.

[4.55] 	Xu, Y., Kafui, K.D., Thornton, C. and Lian, G., 2002. Effects of material properties on granular flow in a silo using DEM simulation. Particulate Science and Technology, 20(2), pp.109-124. https://doi.org/10.1080/02726350215338.

# :
Heat Transfer Characteristics of Particle and Air Flow Through Additively Manufactured Lattice Frame Material Based on Octet-Shape Topology

## Abstract

Particle-to-supercritical carbon dioxide (sCO2) heat exchanger is a critical component in next-generation concentrating solar power (CSP) plants. The inherently low heat transfer between falling particles and sCO2 imposes a challenge towards economic justification of levelized cost of electricity produced through solar energy. Introduction of integrated porous media with the walls bounding particle flow has the potential to enhance the overall particle-to-sCO2 heat exchanger performance. This paper presents an experimental study on heat transfer characterization of additively manufactured lattice frame material based on Octet-shaped unit cell with particles and air as working fluids. The lattice structures were additively manufactured in Stainless Steel (SS) 316L and SS420 (with 40% bronze infiltration) via Binder jetting process, where the lattice porosities were varied between 0.75 and 0.9. The mean particle diameters were varied from 266-966 μm. The effective thermal conductivity and averaged heat transfer coefficient were determined through steady-state experiments. It was found that the presence of lattice enhances the effective thermal conductivity by 2-4 times when compared to packed bed of particles alone. Furthermore, for gravity-assisted particle flow through lattice panel, significantly high convective heat transfer coefficients ranging from 200-400 W/m2K were obtained for the range of particle diameters tested. The superior thermal transport properties of Octet-shape-based lattice frame for particle flow makes it a very promising candidate for particle-to-sCO2 heat exchanger for CSP application.

## Introduction

Supercritical carbon dioxide (sCO2)-based Brayton cycle has the potential for higher efficiency (>50%) compared to steam-based Rankine cycles at concentrated solar power (CSP) relevant temperatures [5.1] because of its high temperature operability. The sCO2  process has relatively simpler turbomachinery and offers lower installment, maintenance, and operational costs [5.2]. CSP Gen3 technology identifies three pathways, viz. molten salt, gas-phase and falling particles [5.2] to develop sCO2-based heat exchangers that can operate efficiently at CSP relevant temperatures while being both reliable and cost effective. Liquified nitrate salts can be operated at temperatures up to 565ºC [5.3] while chloride salts can go up to 700ºC under practical considerations [5.2], however, corrosion to stainless steel medium is of major concern in the case of chloride salts [5.4]. In context with the above drawbacks of molten salt, particles are considered an attractive solution. Particles such as bauxite and silica sand can be directly heated up to 1000ºC and above, in the receiver section through a heliostat field [5.5]. There have been several investigations on particle-based receiver designs [5.5-5.12]. Heated particles can then be driven with the help of gravity from the central receiver to a particle storage container or directly to a heat exchanger.

Particle-to-sCO2 heat exchangers have been identified as one of the most crucial components demanding innovation to achieve the CSP Levelized Cost of Electricity (LCoE) targets of $0.05/kWh by 2030 [5.2]. The simplest particle heat exchangers can be in the form of tube bundles, where the fluid such as air or water passes inside the tubes and a heated packed bed of particles is driven around the tubes, thus heating the fluid. This type of heat exchanger is known to have a highly localized heat transfer coefficient in which only the sides of the tubes benefit from the movement of the packed bed while the top and bottom of each tube get lower heat transfer [5.13]. More efficient heat exchangers such as shell-and-plate and shell-and-tube have also been considered for particle-to-fluid applications. Tian et al. [5.14] suggested a novel tube shape for implementation in shell-and-tube particle heat exchanger, where the elliptical shaped tube enhanced heat transfer at the top and bottom of the tube (compared to circular shape) by 42% and 53%, respectively. Experimental study done by Maskalunas et al. [5.15] showed that the heat transfer coefficient between silica particles and the surface of a parallel plate heat exchanger can vary between 200-250 W/m2K. Parallel plate heat exchangers can be easily manufactured from high performance materials such as stainless steel and zirconium carbide composite for high temperature and pressure applications. These materials can be diffusion bonded to create very compact heat exchangers known as printed circuit heat exchangers (PCHEs) [5.4]. In an evaluation study, based on factors such as thermal transport capabilities, heat exchanger’s structural integrity and its manufacturability, as well as scalability and erosion characteristics,  shell-and-plate design was demonstrated to be the best [5.16].

Figure 5.1 shows a typical CSP plant for power generation, where the present study is focused on the particle-to-sCO2 heat exchanger. The overall heat transfer coefficient of this heat exchanger is given as,

Equation 5.1

UHX=1hsCO2+tHXkHX+RC+1hp-1

where, the thermal resistances are comprised of convection due to sCO2 (1hsCO2), conduction in the wall separating hot and cold sides (tHXkHX), particle contact resistance (Rc) and convection on the hot side due to falling particles (1hp). The sCO2 flows through mini- or micro-channels offering superior convective transport, hence yielding significantly lower thermal resistance than that on the hot side due to falling particles. The present study is focused on improving the particle side thermal resistance through incorporation of porous media on the hot side.

To this end, a novel enhanced heat transfer concept is developed for the falling particle channel side of the particle-to-sCO2 heat exchanger for potential employment in a shell-and-plate type heat exchanger (Fig. 5.1). The convective heat transfer coefficient on the falling particle side is enhanced by packing the parallel plates with Octet-shaped lattices. The Octet unit cells, and the enclosing plates were additively manufactured in Stainless Steel 316L and SS420 (with 40% bronze infiltration) via Binder jetting technology. The Octet lattice has been chosen after carrying out direct simulations which quantified its superior heat transfer enhancement characteristics compared to other common unit cell topologies [5.17-5.19]. The goal of this paper is to: (a) determine the effective thermal conductivity of lattice structures with void space occupied by particles of different sizes, (b) determine the convective heat transfer coefficient for air and particles flow in large panel of Octet lattice manufactured additively via Binder jetting.

Figure 5.1 Concentrating solar power plant [5.2] and representation of particle-to-sCO2 heat exchanger; present study focused on particle-side heat transfer enhancement

The following sections present details of different experimental setups employed to measure effective thermal conductivity of lattices made from Octet unit cells where void space is packed with particles of varying diameter. A forced convection setup to quantify the overall convective heat transfer coefficient of sandwich-type Octet panel with air as the working fluid is discussed. Finally, a unique test facility was built to carry out particle-based heat transfer experiments. After this section, the results are presented and analyzed. The paper concludes with major findings from this comprehensive experimental program and path forward based on these findings.

## Experimental setups and measurement techniques

Effective thermal conductivity experiments were carried out on the additively manufactured lattice frames for two different cases: a) void space was occupied by air, b) void space was occupied by particles. Further, convective heat transfer capabilities of single cell thick lattice for air and particle flows have been investigated experimentally. Three different experimental setups were built to measure the above-mentioned quantities.

### Effective thermal conductivity test samples, experimental setup and keff measurement procedure

The lattice samples for keff experiments were made from a 5 x 5 array of Octet-shaped unit cells in the span and single unit cell in the thickness as shown in Fig. 5.2. The Octet unit cell could be contained in a cube of edge length ∆z =10 mm. The overall dimensions of each sample were 50 mm x 50 mm x 10 mm. Three samples having as-designed lattice porosities (ε) of 0.75, 0.8 and 0.886 were tested for effective thermal conductivity evaluation. However, the actual measured porosities of the additively manufactured lattices were 0.733, 0.798, 0.884, respectively. Porosity of lattice structures has a dominant effect on the keff for a given solid-fluid pair, hence it is imperative that accurate measurement of porosity be carried out in such studies since deviations from as-designed and AM-assisted samples are frequent.

Figure 5.2 Three samples of different porosities tested for effective thermal conductivity (dimensions in top figure in mm, scale in sample images in inches)

As mentioned above, the actual porosities differed from the intended ones, and the deviation is attributed to the AM process – a trend observed in many prior research efforts [5.20,5.21]. It is noted that the AM samples have inherent roughness and defects at both the fibers and endwall, however, the measurement of porosity of such structure accounts for all the defects [5.22]. For keff experiments in particular, the void space is occupied by stagnant air/particles, hence the AM induced defects are not expected to have an added contribution on keff, other than the porosity itself. Hence keff results are reported as a function of measured porosities of the AM parts.

The effective thermal conductivity (keff) setup is shown in Fig. 5.3. A steady-state heat transfer experiment was developed to obtain the keff of additively manufactured samples. A unidirectional heat flow was achieved from top plate to bottom plate of the sample, where Octet-shaped unit cells were sandwiched between the two plates. A cold thermal reservoir was created with the help of an ice-water slurry which was periodically stirred to avoid thermal stratification. An aluminum slab (10 x 10 x 2.5 cm3) was then partially submerged into the chilled reservoir which acted as a near-constant cold reservoir, owing to its large thermal mass.

Figure 5.3 (a) Experimental setup for keff determination, (b) unidirectional heat flow obtained via patch heater and cold sink (bottom)

The effective thermal conductivity (keff) was determined using Fourier’s law of conduction (Eq. 5.2). A constant heat flux boundary condition was maintained at the top wall of the sample while the bottom wall was glued firmly with the Aluminum slab which served as the cold reservoir. Steady-state heat transfer experiments were conducted at three different heat flux values, and effective thermal conductivity was determined for each case, to ensure that the determined value was independent of the applied heat flux at the top wall. The net heat conducted across the one-unit cell thick sample was calculated by subtracting the stray heat loss from the total heat supplied.

Equation 5.2

keff=qcondA∆z∆T={qtotal-qloss}A∆zTtop-Tbot

Equation 5.3

qloss=kinstinsATTop,in-TTop,out+4b∆zTside,in-Tside,out

where, “A” is the lattice base area, “∆z” is the thickness of single unit cell of lattice and “b” is the edge length of square cross-sectioned lattice (Fig. 5.2). The stray heat loss venues involved the top wall insulation and the four side wall insulations. Thin thermocouples were secured at the inner and outer skins of the insulation to calculate the stray heat loss, with the knowledge of the thermal conductivity of the insulation material (Eq. 5.3). This accounting of the heat loss ensured that the reported effective thermal conductivity is only a contribution of the unit cell topology, solid- and fluid-phase thermal conductivities, and lattices’ effective porosity.

### Forced convection setup with air as working fluid, and heat transfer coefficient calculation procedure

Figure 5.4 shows the schematic of the experimental facility used in the present study where air was the working fluid under forced convection scenario. Air was drawn from a compressed air tank maintained at ~ 1MPa. A pressure regulator was installed downstream of the compressor to adjust the mass flow rate to a desired value. Air was then directed to an orifice plate for flow metering. Differential pressure across the orifice plate static air pressure upstream of the orifice plate and air temperature were measured using Dwyer 477AV-2 (0-10 kPa), Dwyer DPG-002 (0-100 kPa) and fast response T-type thermocouple, respectively. These pressure and temperature measurements were then fed into an in-house MATLAB code to determine the mass flow rate. The metered flow was then passed through a control valve regulating the flow into the test section. The transition of the flow from circular pipe to square duct was executed with the help of a trapezoidal shaped diffuser.

Figure 5.4 also shows the schematic of the heat transfer test section. The sandwich panel was heated with patch heaters attached to both the top and bottom walls using thermally conductive silicone compound (CHEMPLEX ® 1381 DE). Rubber foam thermal insulation with thermal conductivity of 0.037 (W/mK) and thickness of 3.2 mm was pasted on the surface of the heaters. T-type thermocouples were used to measure the temperature inside each thermocouple slot which was very close to the solid-fluid interface and this temperature was treated as the representative wall temperature in the convective heat transfer coefficient calculations. A constant heat flux type thermal boundary condition was created with the help of the patch heaters mentioned above, where the heating power was controlled with variable transformers having voltage indicators.

Figure 5.4 (a) Schematic of the experimental setup (not drawn to scale), (b) zoom-in view of heat transfer section, (c) additively manufactured sandwich-type Octet panel in SS316L

The sandwich panel featuring an array of Octet unit cells had top and bottom walls of 15 cm x 25 cm dimension and thickness was 1 cm (excluding the top and bottom wall thicknesses). Hence, the flow channel had high aspect ratio (width/height) of 15. It is generally challenging to achieve a uniform hydrodynamically developed flow at the entrance of the test section with such a high aspect ratio. To address this, a ~ 33 cm long plexiglass duct was installed between the heat transfer test section and the trapezoidal diffuser.

The samples used in this part were made by reticulating Octet unit cell in span where the sample was one unit cell thick. The sample was additively manufactured from Stainless Steel 316L and SS420 using binder jetting technology. The bed size of the 3D printer limited the maximum size of the lattice which can be printed in one run. Therefore, the sandwich panel shown in Fig. 5.4 was obtained by 3D printing different smaller sections and then joining them together. For the SS316 panel, all the parts were joined together using tungsten inert gas (TIG) welding. TIG welding works by creating a very high-temperature plasma that melts and joins the panel parts together creating a seamless SS316 panel. The additively manufactured SS420 lattice panel parts were joined together by soldering. Since SS420 material is infiltrated with bronze, tin metal can easily bond to the SS420 panel parts.

The steady-state heat transfer experimental procedure included heating both top and bottom panels via the glued patch heaters. The experimental procedure included firstly heating the top and bottom plates and allowing them to reach a primary steady-state in absence of air flow. This step was followed by allowing desired airflow through the test section and allowing the setup to reach a second steady-state. At this stage, the measurements of flow inlet temperature, wall temperature at discrete locations, and temperature drop across the insulation were carried out. Note that the panel was 15 cm wide and 25 cm long, and a representative wall temperature would only be found by measuring local wall temperatures at several discrete locations on both the top and bottom walls.

An array of 10 equi-spaced thermocouple slots were incorporated (in the AM phase itself) along the streamwise length of the samples with a depth of W/2 and W/6 into the span of both endwalls sandwiching the lattice section, where W is the width of the panel obtained after joining the smaller AM parts as described above. Under the assumption that the temperature distribution would be symmetric about the channel centerline in the streamwise direction, the representative wall temperature at a particular streamwise location was then obtained by calculating the area-averaged temperature based on the two measurements carried at the span of W/2 (centerline) and W/6. A trendline for streamwise variation of wall temperature was obtained for both top and bottom walls, to get a continuous variation Twx from the discrete measurements. Convective heat transfer coefficient at these discrete locations along the streamwise direction is given as,

Equation 5.4

hx=q"convTwx-Tf(x)

The local fluid temperature Tf(x) was determined by linear interpolation between inlet and outlet air temperature measurements. The linear interpolation is justified due to the constant heat flux boundary condition on the two opposite walls of the channel. The local convective heat transfer coefficient (hx) obtained from above procedure was then used to calculate a representative heat transfer coefficient for each row of unit cells in the streamwise direction. In this paper, we have presented convective heat transfer coefficient for air-based experiments in the periodic heat transfer regime.

### Particle heat transfer test facility and heat transfer coefficient calculation procedure

The heat transfer test section described in Fig. 5.4 above was used in the experiments for determination of convective heat transfer coefficient with particles as working fluid. Unlike air-based convection experiments, the particles which carry heat from the test section had to be transported back into the system. To this end, a bucket elevator-system was designed, developed, and built for these experiments. Bucket elevator works by rotating a set of  buckets attached to a chain or a belt, and by doing so, the buckets scoop the particles from the bottom of the elevator casing and discharge them at the top.

The actual assembled test facility, assembly CAD model, instrumented heat transfer test section, and schematic representation of heat transfer scenario involving falling particles are shown in Fig. 5.5. Particles are first stored at room temperature in the top hopper while the top and bottom walls of the sandwich panel were being electrically heated with a set of patch heaters. The particles were held until the panel walls reached a temperature of ~100⁰C. A gate valve was installed right downstream of the heat transfer section, which facilitated the on/off type flow of particles across the heat transfer test section. Once the desired panel wall temperatures were achieved, the gate valve was flipped and the elevator was started at the same time, to allow the transport of the spent particles back into the top hopper via a series of equi-spaced buckets.

Figure 5.5 Particle heat transfer test facility

It should be noted that particle heat transfer experiments are different from the air-based experiments in the sense that the working fluid was recirculated and fed back into the heat transfer section. Due to convection, particles carry away some heat from the heated walls and the same batch of particles is transported back into the hopper above the test section via the bucket elevator. During the transport in the buckets, the particles loose some heat to the laboratory ambient, however, in our initial testing and the design of heat transfer experiments, we observed that the particle temperatures continue to keep increasing as they are recirculated for a prolonged duration. Further, it was decided that bucket-elevator-based experiments should not be allowed to run for very long periods of time, as particles can get destroyed/crushed during the transport, which may inherently change the particle size distribution with time, and a satisfactory steady state could never be achieved, both in the sense of heat transfer and the working fluid rhealogical properties. Furthermore, for each set of experiments, fresh batch of particles were used to ensure that the rheological properties of the particles are same, and that the morphed or destroyed particles are not used.

To address the above aspect, a novel quasi-steady state heat transfer methodology was devised exclusively for this part of the investigation, which could effectively provide local convective heat transfer coefficient where heat transfer was facilitated through falling particles. In this approach, firstly the hopper is filled with desired type of particles where the total mass of particles was decided such that a packed bed flow could be achieved at the heat transfer test section. Once the hopper was charged with particles, the heating process was started where all the eight patch heaters occupying the entire 150 x 250 mm2 panel on both left and right sides of sandwiched panel were heated. Once the steady-state heat transfer condition was achieved, the particle flow through the Octet panel was initiated by opening the gate valve installed at the bottom of the heat exchanger to 100%. Note that this facility also allows a fine control over the particle flow rate through the gate valve while still maintaining a packed moving bed through the Octet panel. In this study, the maximum possible particle mass flow rate was studied, hence 100% opening of the gate valve was set. Prior to the particle flow start, the data acquisition system was initiated which involved over 20 thermocouple measurements across the heat transfer test section, including a pair of temperature measurements for particle inlet and outlet. Once the particles started to flow through the Octet panel, the walls of the panel started to cool down rapidly to a local minima. At that point onwards, the particle and the wall temperatures continued to slowly increase for the remainder of the transient experiment. The reason behind this phenomena is explained above. In the heat transfer coefficient calculation, the wall and particle temperatures during this slow heat ramp up period were taken into consideration and the local instantaneous convective heat transfer coefficient was determined through the following eqation:

Equation 5.5

hx,t=q"conv(t)Twx,t-Tf(x,t)

where, q"conv(t) is the heat convected away from the walls via the particles in motion and this was obtained by subtracting the local heat losses from the backside of the eight patch heaters occupying and supplying constant heat flux on the left and right sides of the panel. The instantaneous local particle temperature Tf(x,t) was determined by linear interpolation between inlet and outlet particle temperature measurements, a procedure similar to the one followed for air-based experiments described above. Note that the temperature drop across the insulation material was measured at multiple locations along the streamwise length and also recorded along with the wall temperature at the same fequency throughout the transient operation. The heat loss however was minimal compared to the total heat supplied.

## Particle size distribution and particle packing in AM lattice parts

The particles used in the experiment were made from sintered bauxite. Three different particle batches were tested: CARBOBEAD-CP 40/100 with a mean particle diameter of 266 µm, CARBOBEAD-CP 30/60 with a mean particle diameter of 397 µm, and CARBOBEAD HSP 20/40 with a mean particle diameter of 966 µm. Particle size analysis was performed using Anton Paar PSA 1190 LD particle size analyzer.

Figure 5.6 Particle heat transfer test facility

The particle size distribution is shown in Fig. 6. For other thermo-physical and spectral properties of these particles, the readers are reffered to [5.8,5.23,5.24].

## Uncertainty analysis

The uncertainty analysis for each of the reported quantities was carried our using the sequential perturbation method prescribed by Moffat [5.25]. The uncertainty in the reported fiber diameters was ~3% which is a direct contribution of the device used for the measurement. The uncertainty for a typically value of reported values of effective thermal conductivity was ~3%. The uncertainty in typical values of Nusselt number and air flow Reynolds number is ~3% and ~4%, respectively.

## Results and discussion

In this section, we are presenting experimental results on effective thermal conductivity and convective heat transfer coefficient for air and particles as working fluids.

### 5Effective Thermal Conductivity (keff)

Effective thermal conductivity experiments were carried out for three cases, a) packed bed of particles (without lattice), b) lattice with void space occupied by air, c) lattice with void space occupied by particles. Each configuration was tested at three different heat flux levels to ensure that the reported keff values were independent of the heating conditions. Note that the wall temperatures at these three different heat flux levels was ranging between 20-50℃, hence radiation effects and other solid-phase thermo-physical property changes can be ignored.  The packed bed keff was similar for all particles with diameters varying between 266-966 m with an averaged value of ~ 0.4 W/mK.

The second set of experiments were conducted on Octet lattice with void space occupied by air. Figure 5.7 shows the keff values for the samples printed in SS316L and SS420 as shown in Fig. 5.2. The thermal conductivity of solid-phase was measured to be ~13 W/mK and ~20.8 W/mK for SS316L and SS420 materials, respectively. It was found that keff was a strong function of solid-phase intrinsic thermal conductivity and the lattice porosity. A suitable normalization of keff/ks collapses different ks samples onto one curve. A comparison is shown for keff/ks versus ε with the generalized correlation prescribed recently by Kaur et al. [5.22] for porous media with porosities greater than 0.8. The comparison was found acceptable for this porosity range.

The third set of keff experiments were conducted on lattices with void space being occupied by the particles with diameters varying from 266 – 966 m (Fig. 5.8). There was a clear decreasing trend in the keff value with increasing lattice porosity, which is again consistent for the case when void space was occupied by air, indicating that particles do not alter the dominant impact of fibers and their intrinsic thermal conductivity values, even though particles are nearly 16 times more thermally conductive than air.

Figure 5.7 Effective thermal conductivity of Octet lattice (void space occupied by air)

Figure 5.8 also presents the relative enhancement in keff values (η=keffvoid→particleskeffpacked bed) for the lattice when particles were packed in void space in reference to a packed bed of particles. This enhancement in keff is one mode which implicitly affects the overall thermal transport between the hot and cold sides. Further, a rapid decline in η was observed with increasing lattice porosity. The enhancement levels were similar for different particle sizes for the three lattice porosities and varied from 2-4 times compared to the particle packed bed configurations (absence of lattice) for SS316L, while η for SS420 was found to vary between 4-8 for three different particle sizes occupying the void space.

Figure 5.8 Effective thermal conductivity of Octet lattice (void space occupied by particles) and keff enhancement factor (η) with respect to packed bed of particles

### Forced convection with air as working fluid

This sub-section presents steady-state experimental results on local convective heat transfer coefficient offered by Octet unit cells when packed between two parallel plates (integrally manufactured) with air as the convective agent (Fig. 5.9). The panel is shown in Fig. 5.4 and was formed by joining smaller pieces together as the maximum printable size was limited by the manufacturing method. The heat transfer development with increasing streamwise distance from the inlet section was presented by the authors in [5.26], where a periodic heat transfer (when unit cell-based h does not change with increasing distance) was observed after 40% of the channel length. Figure 5.9 shows the h values for the two panels made from SS316L and SS420 in this perioidic heat transfer regime. Note that these values are conservative in nature and are presented to allow a direct comparison between two different plates and for heat exchangers made from Octet unit cells which are sufficiently larger in size. In practical scenarios, designers should leverage the high heat transfer values obtained in the developing flow regime as shown by Aider et al. [5.26]. Similar to prior heat transfer quantity (keff), SS420 sample had higher heat transfer compared to SS316L sample, due to the conjugate heat transfer effects which depend on the solid-phase intrinsic thermal conductivity. Both the h trends demonstrated a power law dependence on the working fluid flow velocity. Cooling designers can use these trends in the design of heat exchangers which are based on air.

Figure 5.9 Heat transfer coefficient in the periodic regime, variation presented with respect to average air flow velocity (measured at the inlet of the porous section) [channel diameter-based Reynolds numbers varied between 3,000 and 13,000 for SS316L and SS420 samples]

### Forced convection with particle as working fluid

Our preliminary flow visualization experiments carried out on particles flowing through Octet lattice revealed that the particle flow behviour around the fiber and endwall was similar to that of airflow. Similar flow stagnation and separation characteristics were observed for particles flowing through Octet unit cell, which was found to be similar to that of airflow, as shown in our prior publications [5.17–5.19,5.27].

However, it should be noted that particles moving through porous media, despite having similar flow characteristics as that of air or water flow through them, will not necessarily impart similar heat dissipation qualititatively. The stagnation zone observed in particle flow results in particle trapping resulting in lower particle refresh rate, which contributes to reduced heat transfer. Particle flow around the circular fibers in turn enhances heat transfer due to higher local particle speeds.

To characterize the heat transfer for particles, a novel quasi-steady state heat transfer technique was used to determine time-dependent local convective heat transfer coefficient by carrying out measurements for over 30 minutes during the slow heat ramp-up phase of the experiment as described in Figure 5.10 shows the transient heat transfer coefficient calculated at different streamwise locations for the three particle diameters flowing through Octet panel made with SS316L. Similar transient behavior was observed for SS420 panel as well and was presented in [5.26]. The results in Fig. 5.10 are presented over a time-period in which the system was considered to be in quasi-steady state, and it should be noted that both the wall temperatures at different streamwise locations as well as the particle inlet and outlet temperatures were steadily increasing with time. However, their cummulative effect resulted in a time-independent behavior in h which is both expected and desired behavior in heat transfer experiments. The time-averaging of the presented h values in Fig. 5.11 was carried out for the phase in which time-independent behavior in h was observed. Figure 5.11 presents the time-averaged h values in the periodic heat transfer regime for both Octet panels made from SS316L and SS420 [5.26], as a function of particle diameter. The particle flow rates for CARBOBEAD-CP 40/100 (dp- 266 µm), CARBOBEAD-CP 30/60 (dp- 397 µm), and CARBOBEAD HSP 20/40 (dp- 966 µm) were 95.25 g/s, 116.94 g/s, 139.65 g/s, respectively. Note that the flow rates of particles were similar for both SS316L and SS420 panels since they were of similar porosities.

The convective heat transfer coefficient was found to be decreasing with increasing particle size. The difference between SS316L and SS420 was found to be minimal for particle heat transfer in contrast with air-based heat transfer. This is attributed to high heat carrying capacity of particles in comparison with air – this is an interesting finding, since material choice in CSP heat exchangers is critical due to the necessity of bonding hot and cold sides together. Diffusion bonding method is a popular method for bonding hot and cold sides together and this technology is demonstrated for SS316L material. For near-term CSP goals, it is recommended that SS316L-based enhanced heat transfer concepts could be explored further, due to concept scalability and reliability.

Figure 5.10 Transient convective heat transfer coefficient at five different locations in the streamwise direction for three particle types (Octet panel porosity of 0.88, SS316L), (a) CP 40/100, (b) CP 30/60, (c) HSP 20/40

Figure 5.11 Time-averaged heat transfer coefficient in the periodic heat transfer regime, variation presented with respect to particle diameter

Note that the particle heat transfer results presented in Fig. 5.11 are for channels with distance between parallel plates equal to 10 mm. In order to demonstrate the efficacy of the Octet-lattice in reference to the state-of-the-art parallel plate with absence of any enhanced heat transfer concept, separate experiments were conducted for parallel plates in the test facility shown in Fig. 5.5. The distance between the two parallel plates was kept the same as 5.10 mm. For brevity, comparison plots are presented for SS316L case only, where parallel plates were also built from SS316L. Figure 5.12 presents a developing heat transfer behavior for lattice and parallel plate configurations for the flow of three particles through them. The particle heat transfer experiments carried out for parallel plates covered a wide range of particle flow rates. For each streamwise location, a relationship was established for h and the average flow velocity of particles (u). The parallel plate heat transfer data presented in Fig. 5.12 was obtained for the mass flow rates that were observed for the Octet panel particle experiments. Hence, a fair comparison between Octet panel versus parallel plate could be carried out where the distance between parallel plates in the two configurations as well as the mass flow rate were the same. A clear effect of particle diameter was observed on heat transfer for both lattice and parallel plate configurations. An interesting finding of this study is that in the entrance region, parallel plate configurations exhibited higher heat transfer in comparison to the Octet panels. In the periodic heat transfer regime, the gain in heat transfer due to Octet panel could be observed. For the largest particle size, the Octet and plane channel exhibited similar heat transfer, however, for the other two smaller particle sizes, nearly 30-40% gain in convective heat transfer was observed for the Octet panel.

Figure 5.12 (a) Time-averaged convective heat transfer coefficient variation with streamwise location, (b) enhancement factor of heat transfer coefficient with respect to streamwise location

## Conclusions

An experimental investigation was carried out to evaluate the heat transfer performance of Octet-shaped unit cells for their capabiltiies to provide convective heat transfer enhancement with air and particles as the working fluids. Octet panels were manufactured via Binder jetting method using Stainless Steel 316L and SS420 materials. The effective thermal conductivity and averaged heat transfer coefficient was obtained experimentally for the cases where the void space was occupied by air and particles. The following major conclusions have been drawn from this work:

- Packing the void space of Octet lattice with particles results in thermal conductivity enhancements ranging from 2 to 4 and 4 to 8 times that of the packed bed of particles, for SS316L and SS420 materials. Maximum benefits were observed for the lowest lattice porosity.

- For airflow velocities ranging from 3-12 m/s, the convective heat transfer coefficients in the periodic heat transfer region varied between 200-600 W/m2K for the two materials.

- For particle flow through Octet lattice of porosity 0.88, the convective heat transfer coefficient was ~400 W/m2K for CP 40/100 for both the solid-phase materials.

- When compared to parallel plate configuration, the SS316L Octet panel resulted in heat transfer coefficient enhancement of 40-50% for CP 40/100 and CP 30/60 particles, however, no enhancement was observed for the largest particle size (HSP 20/40).

The enhancement levels obtained for the thermal transport quantities through incorporating lattice structures when compared to empty channel, is significant. Additive manufacturing or other manufacturing methods will have a promising role to play to increase the particle-to-sCO2 heat exchanger effectiveness, through inclusion of enhanced heat transfer concepts, such as porous media or pin fins. Future work will include a demonstration of enhanced overall heat transfer coefficeint of porous media enabled particle-to-sCO2 heat exchanger tested at CSP relevant conditions.

## Nomenclature

A	base area of the lattice [m2]

b	width of the lattice [m]

h	heat transfer coefficient [W/m2K]

hp	heat transfer coefficient due to convection by particles [W/m2K]

hsCO2	heat transfer coefficient due to convection by sCO2 [W/m2K]

keff	effective thermal conductivity [W/mK]

kHX	thermal conductivity of the contacting channel wall [W/mK]

kins	thermal conductivity of the insulation [W/mK]

ks	solid-phase intrinsic thermal conductivity [W/mK]

qcond	net heat conducted across the sample [W]

q"conv	net convected heat flux [W]

qloss	stray heat losses [W]

qtotal	net heat supplied to the lattice [W]

RC	particle contact resistance [m2K/W]

Tbot	mean temperature at the bottom wall of the lattice [⁰C]

Tf	working fluid temperature	[⁰C]

tHX	thickness of the contacting channel wall [m]

tins	thickness of the insulation [m]

Tside,in	inner-side temperature of the insulation covering the side of lattice [⁰C]

Tside,out	outer-side temperature of the insulation covering the side of lattice [⁰C]

Ttop	mean temperature at the top wall of the lattice [⁰C]

TTop,in	inner-side temperature of the insulation covering the top of lattice [⁰C]

TTop,out	outer-side temperature of the insulation covering the top of lattice [⁰C]

Tw	wall temperature [⁰C]

UHX	overall heat transfer coefficient of heat exchanger [W/m2K]

W	total width of the samples used in convective experiments [m]

x’	non-dimensional streamwise location (x/L)

∆T	temperature difference [⁰C]

∆z	thickness of the lattice-section [m]

## Greek letters

ε	porosity

η	relative keff enhancement of particle-lattice combination configuration with respect to particles-only packed bed

## Abbreviations

AM	additive manufacturing

CSP	concentrated solar power plant

PCHE	printed circuit heat exchanger

sCO2	supercritical carbon dioxide

SS	stainless steel

TIG 	tungsten inert gas

## Acknowledgments

This material is based upon work supported by the U.S. Department of Energy's Office of Energy Efficiency and Renewable Energy (EERE) under the Solar Energy Technologies Office Award Number DE-EE0009377. This report was prepared as an account of work sponsored by an agency of the United States Government. Neither the United States Government nor any agency thereof, nor any of their employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof.

## References

[5.1]	Turchi, C. S., Ma, Z., Neises, T. W., and Wagner, M. J., 2013, "Thermodynamic Study of Advanced Supercritical Carbon Dioxide Power Cycles for Concentrating Solar Power Systems." ASME. J. Sol. Energy Eng. Vol. 135(4), pp. 041007.

https://doi.org/10.1115/1.4024030

[5.2]	Mehos, M., Turchi, C., Vidal, J., Wagner, M., Ma, Z., Ho, C., Kolb, W., Andraka, C. and Kruizenga, A., 2017. Concentrating solar power Gen3 demonstration roadmap (No. NREL/TP-5500-67464). National Renewable Energy Lab.(NREL), Golden, CO (United States).

https://doi.org/10.2172/1338899

[5.3]	G. Wilson, S. Sahoo, P. Sabharwal, H. Bindra, 2019, “Chapter Seven - Packed Bed Thermal Storage for LWRs”, H. Bindra, S. Revankar (Eds.), Storage Hybrid. Nucl. Energy, Academic Press, Cambridge, MA, pp. 229–248.

https://doi.org/10.1016/B978-0-12-813975-2.00007-7

[5.4]	Zhu, Q., Tan, X., Barari, B., Caccia, M., Strayer, A.R., Pishahang, M., Sandhage, K.H. and Henry, A., 2021. Design of a 2 MW ZrC/W-based molten-salt-to-sCO2 PCHE for concentrated solar power. Applied Energy, Vol. 300, p.117313.

https://doi.org/10.1016/j.apenergy.2021.117313

[5.5]	Ho, C.K., 2016. A review of high-temperature particle receivers for concentrating solar power. Applied Thermal Engineering, Vol. 109, pp.958-969.

https://doi.org/10.1016/j.applthermaleng.2016.04.103

[5.6]	Martinek, J., and Ma, Z., 2015, "Granular Flow and Heat-Transfer Study in a Near-Blackbody Enclosed Particle Receiver." ASME. J. Sol. Energy Eng., Vol. 137(5), pp. 051008.

https://doi.org/10.1115/1.4030970

[5.7]	Besarati, S. M., Yogi Goswami, D., and Stefanakos, E. K., 2015, "Development of a Solar Receiver Based on Compact Heat Exchanger Technology for Supercritical Carbon Dioxide Power Cycles." ASME. J. Sol. Energy Eng., Vol. 137(3), pp. 031018.

https://doi.org/10.1115/1.4029861

[5.8]	Siegel, N. P., Gross, M. D., and Coury, R., 2015, "The Development of Direct Absorption and Storage Media for Falling Particle Solar Central Receivers." ASME. J. Sol. Energy Eng., Vol. 137(4), pp. 041003.

https://doi.org/10.1115/1.4030069

[5.9]	Wu, W., Trebing, D., Amsbeck, L., Buck, R., and Pitz-Paal, R., 2015, "Prototype Testing of a Centrifugal Particle Receiver for High-Temperature Concentrating Solar Applications." ASME. J. Sol. Energy Eng., Vol. 137(4), pp. 041011.

https://doi.org/10.1115/1.4030657

[5.10]	Siegel, N. P., Ho, C. K., Khalsa, S. S., and Kolb, G. J., 2010, "Development and Evaluation of a Prototype Solid Particle Receiver: On-Sun Testing and Model Validation." ASME. J. Sol. Energy Eng., Vol. 132(2), pp. 021008.

https://doi.org/10.1115/1.4001146

[5.11]	Pouransari, H., and Mani, A., 2016, "Effects of Preferential Concentration on Heat Transfer in Particle-Based Solar Receivers." ASME. J. Sol. Energy Eng., Vol. 139(2), pp. 021008.

https://doi.org/10.1115/1.4035163

[5.12]	Ho, C. K., Christian, J. M., Romano, D., Yellowhair, J., Siegel, N., Savoldi, L., and Zanino, R., 2016, "Characterization of Particle Flow in a Free-Falling Solar Particle Receiver." ASME. J. Sol. Energy Eng., Vol. 139(2), pp. 021011.

https://doi.org/10.1115/1.4035258

[5.13]	Hertel, J.D. and Zunft, S., 2022. Experimental validation of a continuum model for local heat transfer in shell-and-tube moving-bed heat exchangers. Applied Thermal Engineering, 206, p.118092.

https://doi.org/10.1016/j.applthermaleng.2022.118092

[5.14]	Tian, X., Guo, Z., Jia, H., Yang, J. and Wang, Q., 2021. Numerical investigation of a new type tube for shell-and-tube moving packed bed heat exchanger. Powder Technology, 394, pp.584-596.

https://doi.org/10.1016/j.powtec.2021.08.080

[5.15]	Maskalunas, J., Nellis, G. and Anderson, M., 2022. The heat transfer coefficient associated with a moving packed bed of silica particles flowing through parallel plates. Solar Energy, 234, pp.294-303.

https://doi.org/10.1016/j.solener.2022.01.052

[5.16]	Ho, C. K., Carlson, M., Albrecht, K. J., Ma, Z., Jeter, S., and Nguyen, C. M., 2019, "Evaluation of Alternative Designs for a High Temperature Particle-to-sCO2 Heat Exchanger." ASME. J. Sol. Energy Eng., Vol. 141(2), pp. 021001.

https://doi.org/10.1115/1.4042225

[5.17]	Kaur, I. and Singh, P., 2020. Flow and thermal transport through unit cell topologies of cubic and octahedron families. International Journal of Heat and Mass Transfer, 158, p.119784.

https://doi.org/10.1016/j.ijheatmasstransfer.2020.119784

[5.18]	Kaur, I. and Singh, P., 2021. Endwall heat transfer characteristics of octahedron family lattice-frame materials. International Communications in Heat and Mass Transfer, 127, p.105522.

https://doi.org/10.1016/j.icheatmasstransfer.2021.105522

[5.19]	Kaur, I. and Singh, P., 2021. Numerical investigation on conjugate heat transfer in octet-shape-based single unit cell thick metal foam. International Communications in Heat and Mass Transfer, 121, p.105090.

https://doi.org/10.1016/j.icheatmasstransfer.2020.105090

[5.20]	Kaur, I., Aider, Y., Nithyanandam, K. and Singh, P., 2022. Thermal-hydraulic performance of additively manufactured lattices for gas turbine blade trailing edge cooling. Applied Thermal Engineering, 211, p.118461.

https://doi.org/10.1016/j.applthermaleng.2022.118461

[5.21]	Aider, Y., Kaur, I., Cho, H. and Singh, P., 2022. Periodic heat transfer characteristics of additively manufactured lattices. International Journal of Heat and Mass Transfer, 189, p.122692.

https://doi.org/10.1016/j.ijheatmasstransfer.2022.122692

[22]	Kaur, I., Mahajan, R.L. and Singh, P., 2023. Generalized correlation for effective thermal conductivity of high porosity architectured materials and metal foams. International Journal of Heat and Mass Transfer, 200, p.123512.

https://doi.org/10.1016/j.ijheatmasstransfer.2022.123512

[23]	Chung, K.M., Zeng, J., Adapa, S.R., Feng, T., Bagepalli, M.V., Loutzenhiser, P.G., Albrecht, K.J., Ho, C.K. and Chen, R., 2021. Measurement and analysis of thermal conductivity of ceramic particle beds for solar thermal energy storage. Solar Energy Materials and Solar Cells, 230, p.111271.

https://doi.org/10.1016/j.solmat.2021.111271

[24]	Chen, C., Yang, C., Ranjan, D., Loutzenhiser, P.G. and Zhang, Z.M., 2020. Spectral radiative properties of ceramic particles for concentrated solar thermal energy storage applications. International Journal of Thermophysics, 41, pp.1-25.

https://doi.org/10.1007/s10765-020-02733-5

[25]	Moffat, R.J., 1988. Describing the uncertainties in experimental results. Experimental thermal and fluid science, 1(1), pp.3-17.

https://doi.org/10.1016/0894-1777(88)90043-X

[26]	Aider, Y, Cho, H, & Singh, P. "Convective Heat Transfer Potential of Particles/Airflow Through Single Cell Thick Additively Manufactured Octet-Shaped Lattice Frame Material." Proceedings of the ASME 2022 Heat Transfer Summer Conference collocated with the ASME 2022 16th International Conference on Energy Sustainability. ASME 2022 Heat Transfer Summer Conference. Philadelphia, Pennsylvania, USA. July 11–13, 2022. V001T06A004. ASME.

https://doi.org/10.1115/HT2022-81856

[27]	Kaur, I., and Singh, P., 2022, "Direct Pore-Scale Simulations of Fully Periodic Unit Cells of Different Regular Lattices." ASME. J. Heat Transfer, Vol. 144(2), pp. 022702.

https://doi.org/10.1115/1.4053204

# :
Conclusions and Recommendations for future work

This research investigated the feasibility of using stainless steel lattice structures, fabricated via binder jetting additive manufacturing, to enhance the heat transfer performance of moving packed bed heat exchangers for third-generation concentrating solar power (CSP) systems. The study began by evaluating the heat transfer coefficient and thermal-hydraulic performance of Octet, FD-Cube, TKD, and Cube lattice structures using air as the working fluid. Experiments were conducted for Reynolds numbers ranging from 5,000 to 22,500 under two heating conditions: both endwalls heated and only the bottom wall heated. The results showed that Octet, FD-Cube, and TKD provided similar heat transfer coefficients, while Cube yielded the lowest values. However, FD-Cube incurred the highest pressure drop, followed by Octet, TKD, and Cube. At a given pumping power, Cube exhibited the best overall thermal-hydraulic performance, especially at high airflow rates.

The investigation then focused on the Octet topology, assessing its flowability with particles using experiments and discrete element method (DEM) simulations. Three Octet lattice porosities (0.75, 0.80, and 0.88) and three particle size distributions (CP 40/100, CP 30/60, and HSP 20/40) were studied. The results demonstrated that particle mass flow rate increased with lattice porosity and decreased with particle size. DEM simulations successfully captured key experimental flow features, including void zones downstream of fibers, stagnation areas upstream of junctions, and wavy particle motion around fibers. The simulations also revealed particle accumulation zones on fiber-fiber and fiber-wall junctions, which could lead to non-uniform heat transfer. Based on these findings, the Octet lattice was selected for further study due to its potential for high heat transfer with gravity-driven particle flow.

The final phase of the research measured the heat transfer performance of Octet lattice panels with a porosity of 0.88, manufactured from SS316L and SS420 via binder jetting. Experiments were conducted with falling packed beds of various particle sizes. Packing the Octet void space with particles enhanced the effective thermal conductivity by factors of 2-4 and 4-8 compared to particle packed beds alone for SS316L and SS420, respectively. For airflow velocities of 3-12 m/s, the convective heat transfer coefficients in the periodic heat transfer region ranged from 200-600 W/m2K. With CP 40/100 particles flowing through the 0.88 porosity Octet lattice, the convective coefficient was approximately 400 W/m2K for both materials. Compared to parallel plate configurations, the SS316L Octet panel enhanced the heat transfer coefficient by 40-50% for smaller particles (CP 40/100 and CP 30/60), although no enhancement was observed for the largest particles (HSP 20/40).

This research demonstrated the significant potential of additively manufactured Octet lattice structures with a porosity of 0.88 to enhance heat transfer in moving packed bed heat exchangers for CSP applications. The lattice structures increased thermal conductivity, convective heat transfer coefficients, and overall heat exchanger effectiveness compared to traditional designs. The findings suggest that additive manufacturing can play a crucial role in integrating advanced heat transfer enhancement features, such as lattice structures, into next-generation CSP systems. Future work will focus on demonstrating these enhancements in a full-scale particle-to-supercritical CO2 heat exchanger tested under CSP-relevant conditions.