Name

Abstract

Acknowledgments

Table of Contents

List of Figures

Introduction

List of Tables

PV design

Boost converter:

Vin=4*700=2800 V

Duty Cycle Calculation :

D = 1 - Vin* ƞVout  = 1 -  2800*15600   = 0.5

where ƞ = 80 % which is the worst case converter efficiency = 1 as ideal case

Inductor Selection :

L = D*( Vout- Vin)2*∆IL* fs

∆IL=Estimated inductor ripple current

fs=Minimum switching frquency of the converter = 12*10-4=5k Hz

∆IL=0.2 to 0.4* IOUT* VoutVin

IOUT=Maximum output current necessary in the application= 10 A (assume)

∆IL=0.3* 10* 56002800 = 6

L = 0.5*5600-2800 2*6*5000 =166 mH

Capacitor selection :

C = Iout * Dfs * ∆Vout

∆Vout = ESR * Iout* ∆IL 1-D*2

ESR = Equivalent series resistance of the capacitor

∆Vout= 10*61-0.5*2=60

C = 10*0.55000*60 = 0.166µF  ~ 10 µF chosen for a smoother DC link voltage.

Power:

The total power supplied by PV panel = P = V*IOUT = 5600*10 = 56k W

IGBT Inverter :

|  | Kundur’s Two Area System | Discrete Two Area System |
| --- | --- | --- |
| Active Power in Grid Lines |  |  |
| Reactive Power in Grid Lines |  |  |
| Line voltage | 230kV | 120srt(2) = 170 |
| No of machines | 4 generators( 2 in each) | 4 generators( 2 in each) |
| Rating of each generator | 700 MW | 15k |
| Total Generation | 2800 MW | 60k |
| Load Distribution | A1 is exporting 413MW to A2 |  |

Battery:

A lead acid battery is used to compensate the ups and downs in the grid-tied voltage during grid-connection mode. In islanding mode, the same battery is used to fulfill the load requirements.

Battery selection:

The simulation of charge and discharge of a battery model  using parameters taken from a steady state curve is done. The approximate error between simulation results and experimental results varies between 5% to 10% [1]. The battery model block in Simulink is used to get the simulation results in [1].

The Battery block implements a generic dynamic model parameterized to represent most popular types of rechargeable batteries.

Lead-Acid Model

Discharge model (i* > 0)

Charge Model (i* < 0)

Lithium-Ion Model

Discharge Model (i* > 0)

Charge Model (i* < 0)

Nickel-Cadmium and Nickel-Metal-Hydride Model

Discharge Model (i* > 0)

Charge Model (i*< 0)

where,

EBatt = Nonlinear voltage (V)

E0 = Constant voltage (V)

Exp(s) = Exponential zone dynamics (V)

Sel(s) = Represents the battery mode. Sel(s) = 0 during battery discharge, Sel(s) = 1 during battery charging.

K = Polarization constant (Ah−1) or Polarization resistance (Ohms)

i* = Low frequency current dynamics (A)

i = Battery current (A)

it = Extracted capacity (Ah)

Q = Maximum battery capacity (Ah)

A = Exponential voltage (V)

B = Exponential capacity (Ah)−1

Step down transformer used…. 240 V selected because

Many areas such as the USA which use (nominally) 120 V make use of three-wire, single-phase 240 V systems to supply large appliances. In this system a 240 V supply comes with a centre-tap neutral to give two 120 V supplies which can also supply 240 V to loads connected between the two live wires. (source:wikepedia)

In [2], a 34 MW NAS Battery is used to stabilize the output of a 51 MW Wind Turbine farm in the Tahoku district of Japan. The fluctuations in the power supplied by the wind turbine are stabilized with a precision of +-2% using the battery.

There are two rectifers which can be used :

1.	Boost rectifier

2.	Buck Rectifier

They are also classified into two main categories, controlled and uncontrolled rectifiers.

Bi-directional converter:

Bidirectional converter is used in electric vehicles for efficient utilization of battery by providing a uniform voltage supply and re-charging the battery at some instances e.g down-slope motion of car [3, 4, 5].

[1] “Experimental Validation of a Battery Dynamic Model for EV Applications,”

[2] “Development and field experiences of NAS battery inverter for power stabilization of a 51 MW wind farm”

[3]”Battery Control” Yongli

[4] “Experimental Validation of a Battery Dynamic Model for EV Applications”,

[5]

[6] “Bidirectional DC-DC Power Converter Design Optimization, Modeling and Control”