## Predict Your Data
Table 1: Solar Module Research Results
| Price | STC Watts | PTC Watts | $/Watt | Theoretical Monthly Output | Cell Effeciency | Real Monthly Output | # Panels | Total Price | Variables | Inputs Here
1 | 15000 | 13200 | 11880 | 1.1364 | 1795.2 | 13.6% | 1454.112 | 24 | 16800 | 0.11 | kWh
2 | 15000 | 8280 | 7452 | 1.8116 | 1126.08 | 13.6% | 912.1248 | 24 | 16800 | 4.5 | Sun Hours
3 | 15000 | 9000 | 8100 | 1.6667 | 1224 | 13.6% | 991.44 | 24 | 16800
4 | 15000 | 14000 | 12600 | 1.0714 | 1897 | 13.55% | 1536.57 | 24 | 16800
5 | 15000 | 15000 | 13500 | 1 | 2040 | 13.6% | 1652.4 | 24 | 16800
6 | 15000 | 16000 | 14400 | 0.9375 | 2176 | 13.6% | 1762.56 | 24 | 16800
7 | 15000 | 17000 | 15300 | 0.88235 | 2312 | 13.6% | 1872.72 | 24 | 16800
8 | 15000 | 18000 | 16200 | 0.83333 | 2448 | 13.6% | 1982.88 | 24 | 16800
| kWh Reduced | Yearly Savings | # Years Payback | ROI 1 Yr | ROI 5 Yr | ROI 10 Yr | ROI 25 Yr | Avg ROI Per Year (25years) Inc Red Eff
1 | 68.14% | 1919.4278 | 8.7526 | -88.57% | -42.87% | 14.25% | 185.6% | 6.638%
2 | 42.74% | 1204.0047 | 13.9534 | -92.83% | -64.17% | -28.33% | 79.17% | 2.831%
3 | 46.46% | 1308.7008 | 12.8372 | -92.21% | -61.05% | -22.1% | 94.75% | 3.388%
4 | 72% | 2028.2724 | 8.2829 | -87.93% | -39.63% | 20.73% | 201.8% | 7.217%
5 | 77.43% | 2181.168 | 7.7023 | -87.02% | -35.08% | 29.83% | 224.6% | 8.03%
6 | 82.59% | 2326.5792 | 7.2209 | -86.15% | -30.76% | 38.49% | 246.2% | 8.804%
7 | 87.76% | 2471.9904 | 6.7961 | -85.29% | -26.43% | 47.14% | 267.9% | 9.578%
8 | 92.92% | 2617.4016 | 6.4186 | -84.42% | -22.1% | 55.8% | 289.5% | 10.35%
Rate Used: $0.11, Average PV Sun Hours per day: 4.5 Hours

## Data Analysis
Solar Power Research | [12 empty] | *Doesn’t Include Incentives, Includes Panals/interter/amp/cable ext..etc | [12 empty] | measurement of the elastcity of supply, can u make and increase price, will it really incrrease price based on demand. How much to make per unit.
Rate per kWh |  |  | 0.11 | www.wholesalersolar.com |  |  |  |  | http://www.wholesalesolar.com/gridtie.html?gclid=CNmP_Mq05K8CFYd9Ogodaz3-xA | [23 empty] | yearly return, plot price per watt at break even point, graph
Zone Hours (Avg/Year) |  |  | 4.5 | [10 empty] | HVI=Home Value Increase | [17 empty] | past sales data and how many people are buying…
Our Use | [25 empty] | more beneficial to be early or later adopter, based on how expensive to add output from manufgers
|  |  |  | Watts |  |  | Output Per Month | [7 empty] | Return on Investment
Dec | 2536 | Item | Price | STC Watts | PTC Watts | $/Watt | Theoretical Monthly Output | Cell Effeciency | Real Monthly Output | # Panels | Total Price | kWh Reduced | Yearly Savings | # Years Payback | HVI | Initial W/ | 5yr W/ | 10yr W/ | 15yr W/ | 20yr W/ | 25yr W/ | 5 w/o | 10 w/o | 15 w/o | 20 w/o | 25 w/o | ROI 1 Yr | ROI 5 Yr | ROI 10 Yr | ROI 25 Yr | Avg ROI Per Year (25years) Inc Red Eff | Watt % | Column1
Jan | 2448 | 3600159 | 42110 | 18800 | 16944 | 2.2399 | 2542 | 13.52% | 2061.9406 | 80 | 48110 | 96.62% | 2721.7616 | 17.6761 | 54435.2317 | 6325.2317 | 19934.0397 | 33542.8476 | 47151.6555 | 60760.4635 | 74369.2714 | -34501.1921 | -20892.3841 | -7283.5762 | 6325.2317 | 19934.0397 | -94.34% | -71.71% | -43.43% | 41.43% | 1.482% | 0.90128
Feb | 2212 | 1049881 | 40025 | 19600 | 17712 | 2.0421 | 2657 | 13.56% | 2160.9544 | 80 | 46025 | 101.3% | 2852.4598 | 16.1352 | 57049.1953 | 11024.1953 | 25286.4941 | 39548.7929 | 53811.0918 | 68073.3906 | 82335.6894 | -31762.7012 | -17500.4024 | -3238.1035 | 11024.1953 | 25286.4941 | -93.8% | -69.01% | -38.02% | 54.94% | 1.965% | 0.90367
Mar | 1340 | 3600169 | 39675 | 19600 | 17712 | 2.0242 | 2656 | 13.55% | 2160.1411 | 80 | 45675 | 101.2% | 2851.3862 | 16.0185 | 57027.724 | 11352.724 | 25609.655 | 39866.586 | 54123.517 | 68380.448 | 82637.379 | -31418.069 | -17161.138 | -2904.207 | 11352.724 | 25609.655 | -93.76% | -68.79% | -37.57% | 56.07% | 2.005% | 0.90367
Average | 2134 | 3600067 | 37889 | 19200 | 17448 | 1.9734 | 2617 | 13.63% | 2140.3789 | 80 | 43889 | 100.3% | 2825.3001 | 15.5343 | 56506.0023 | 12617.0023 | 26743.5029 | 40870.0035 | 54996.504 | 69123.0046 | 83249.5052 | -29762.4994 | -15635.9988 | -1509.4983 | 12617.0023 | 26743.5029 | -93.56% | -67.81% | -35.63% | 60.93% | 2.179% | 0.90875
|  | 3600158 | 32700 | 14100 | 12708 | 2.3191 | 1906 | 13.52% | 1546.0499 | 60 | 37200 | 72.45% | 2040.7858 | 18.2283 | 40815.7166 | 3615.7166 | 13819.6458 | 24023.5749 | 34227.5041 | 44431.4333 | 54635.3624 | -26996.0708 | -16792.1417 | -6588.2125 | 3615.7166 | 13819.6458 | -94.51% | -72.57% | -45.14% | 37.15% | 1.328% | 0.90128
|  | 1049880 | 30950 | 14700 | 13284 | 2.1054 | 1993 | 13.56% | 1620.9191 | 60 | 35450 | 75.96% | 2139.6132 | 16.5684 | 42792.2643 | 7342.2643 | 18040.3304 | 28738.3964 | 39436.4625 | 50134.5286 | 60832.5947 | -24751.9339 | -14053.8679 | -3355.8018 | 7342.2643 | 18040.3304 | -93.96% | -69.82% | -39.64% | 50.89% | 1.82% | 0.90367
|  | 3600168 | 29995 | 14700 | 13284 | 2.0405 | 1993 | 13.56% | 1620.9191 | 60 | 34495 | 75.96% | 2139.6132 | 16.1221 | 42792.2643 | 8297.2643 | 18995.3304 | 29693.3964 | 40391.4625 | 51089.5286 | 61787.5947 | -23796.9339 | -13098.8679 | -2400.8018 | 8297.2643 | 18995.3304 | -93.8% | -68.99% | -37.97% | 55.07% | 1.969% | 0.90367
|  | 3600066 | 28677 | 14400 | 13086 | 1.9915 | 1962 | 13.63% | 1604.6707 | 60 | 33177 | 75.2% | 2118.1654 | 15.6631 | 42363.3078 | 9186.3078 | 19777.1347 | 30367.9617 | 40958.7886 | 51549.6156 | 62140.4425 | -22586.1731 | -11995.3461 | -1404.5192 | 9186.3078 | 19777.1347 | -93.62% | -68.08% | -36.16% | 59.61% | 2.131% | 0.90875
|  | 3600124 | 28560 | 11750 | 10590 | 2.4306 | 1588.5 | 13.52% | 1288.5101 | 50 | 32310 | 60.38% | 1700.8333 | 18.9966 | 34016.6662 | 1706.6662 | 10210.8328 | 18714.9994 | 27219.1659 | 35723.3325 | 44227.4991 | -23805.8334 | -15301.6669 | -6797.5003 | 1706.6662 | 10210.8328 | -94.74% | -73.68% | -47.36% | 31.6% | 1.13% | 0.90128
|  | 3600157 | 25980 | 11750 | 10590 | 2.2111 | 1589 | 13.52% | 1288.9157 | 50 | 29730 | 60.4% | 1701.3687 | 17.4742 | 34027.3734 | 4297.3734 | 12804.2168 | 21311.0601 | 29817.9035 | 38324.7468 | 46831.5902 | -21223.1566 | -12716.3133 | -4209.4699 | 4297.3734 | 12804.2168 | -94.28% | -71.39% | -42.77% | 43.07% | 1.54% | 0.90128
|  | 1800152 | 26755 | 8460 | 7625 | 3.1625 | 1143 | 13.51% | 927.1676 | 36 | 29455 | 43.45% | 1223.8612 | 24.0673 | 24477.2234 | -4977.7766 | 1141.5293 | 7260.8351 | 13380.141 | 19499.4468 | 25618.7527 | -23335.6941 | -17216.3883 | -11097.0824 | -4977.7766 | 1141.5293 | -95.84% | -79.22% | -58.45% | 3.876% | 0.1386% | 0.9013
|  | 1049876 | 24930 | 12250 | 11070 | 2.0351 | 1661 | 13.56% | 1350.9015 | 50 | 28680 | 63.3% | 1783.1899 | 16.0835 | 35663.7988 | 6983.7988 | 15899.7485 | 24815.6982 | 33731.6479 | 42647.5976 | 51563.5473 | -19764.0503 | -10848.1006 | -1932.1509 | 6983.7988 | 15899.7485 | -93.78% | -68.91% | -37.82% | 55.44% | 1.982% | 0.90367
|  | 3600023 | 24820 | 11750 | 10450 | 2.1123 | 1567.5 | 13.34% | 1254.667 | 50 | 28570 | 58.79% | 1656.1605 | 17.2507 | 33123.2094 | 4553.2094 | 12834.0117 | 21114.814 | 29395.6164 | 37676.4187 | 45957.2211 | -20289.1977 | -12008.3953 | -3727.593 | 4553.2094 | 12834.0117 | -94.2% | -71.02% | -42.03% | 44.92% | 1.606% | 0.88936
|  | 3600167 | 23895 | 12250 | 11070 | 1.9506 | 1661 | 13.56% | 1350.9015 | 50 | 27645 | 63.3% | 1783.1899 | 15.5031 | 35663.7988 | 8018.7988 | 16934.7485 | 25850.6982 | 34766.6479 | 43682.5976 | 52598.5473 | -18729.0503 | -9813.1006 | -897.1509 | 8018.7988 | 16934.7485 | -93.55% | -67.75% | -35.5% | 61.26% | 2.19% | 0.90367
|  | 3610033 | 23120 | 9400 | 8472 | 2.4596 | 1271 | 13.52% | 1030.9703 | 40 | 26120 | 48.31% | 1360.8808 | 19.1935 | 27217.6159 | 1097.6159 | 7902.0198 | 14706.4238 | 21510.8278 | 28315.2317 | 35119.6357 | -19315.596 | -12511.1921 | -5706.7881 | 1097.6159 | 7902.0198 | -94.79% | -73.95% | -47.9% | 30.25% | 1.082% | 0.90128
|  | 5500102 | 23350 | 8640 | 7851 | 2.7025 | 1177 | 13.62% | 962.5653 | 36 | 26050 | 45.11% | 1270.5862 | 20.5023 | 25411.7243 | -638.2757 | 5714.6553 | 12067.5864 | 18420.5174 | 24773.4485 | 31126.3796 | -19697.0689 | -13344.1379 | -6991.2068 | -638.2757 | 5714.6553 | -95.12% | -75.61% | -51.23% | 21.94% | 0.7844% | 0.90868
|  | 3600156 | 22575 | 10340 | 9320 | 2.1833 | 1398 | 13.52% | 1134.0836 | 44 | 25875 | 53.14% | 1496.9903 | 17.2847 | 29939.806 | 4064.806 | 11549.7574 | 19034.7089 | 26519.6604 | 34004.6119 | 41489.5634 | -18390.0485 | -10905.097 | -3420.1455 | 4064.806 | 11549.7574 | -94.21% | -71.07% | -42.15% | 44.64% | 1.596% | 0.90135
|  | 3600065 | 22083 | 12000 | 10905 | 1.8402 | 1635 | 13.63% | 1337.2256 | 50 | 25833 | 62.66% | 1765.1378 | 14.6351 | 35302.7565 | 9469.7565 | 18295.4456 | 27121.1347 | 35946.8239 | 44772.513 | 53598.2021 | -17007.3109 | -8181.6218 | 644.0674 | 9469.7565 | 18295.4456 | -93.17% | -65.84% | -31.67% | 70.82% | 2.532% | 0.90875
|  | 3600166 | 21275 | 10780 | 9742 | 1.9736 | 1461 | 13.55% | 1188.289 | 44 | 24575 | 55.68% | 1568.5415 | 15.6674 | 31370.8305 | 6795.8305 | 14638.5382 | 22481.2458 | 30323.9534 | 38166.6611 | 46009.3687 | -16732.2924 | -8889.5847 | -1046.8771 | 6795.8305 | 14638.5382 | -93.62% | -68.09% | -36.17% | 59.57% | 2.13% | 0.90371
|  | 3600155 | 21050 | 9400 | 8472 | 2.2394 | 1271 | 13.52% | 1030.9703 | 40 | 24050 | 48.31% | 1360.8808 | 17.6724 | 27217.6159 | 3167.6159 | 9972.0198 | 16776.4238 | 23580.8278 | 30385.2317 | 37189.6357 | -17245.596 | -10441.1921 | -3636.7881 | 3167.6159 | 9972.0198 | -94.34% | -71.71% | -43.41% | 41.46% | 1.483% | 0.90128
|  | 3600064 | 20204 | 10560 | 9596 | 1.9133 | 1439 | 13.63% | 1176.8731 | 44 | 23504 | 55.15% | 1553.4724 | 15.13 | 31069.449 | 7565.449 | 15332.8113 | 23100.1735 | 30867.5357 | 38634.898 | 46402.2602 | -15736.6377 | -7969.2755 | -201.9133 | 7565.449 | 15332.8112 | -93.39% | -66.95% | -33.91% | 65.23% | 2.333% | 0.90871
|  | 3610022 | 20420 | 9400 | 8360 | 2.1723 | 1254 | 13.34% | 1003.7336 | 40 | 23420 | 47.04% | 1324.9284 | 17.6764 | 26498.5675 | 3078.5675 | 9703.2094 | 16327.8512 | 22952.4931 | 29577.135 | 36201.7769 | -16795.3581 | -10170.7163 | -3546.0744 | 3078.5675 | 9703.2094 | -94.34% | -71.71% | -43.43% | 41.43% | 1.481% | 0.88936
|  | 1049875 | 20295 | 9800 | 8856 | 2.0709 | 1328 | 13.55% | 1080.0705 | 40 | 23295 | 50.61% | 1425.6931 | 16.3394 | 28513.862 | 5218.862 | 12347.3275 | 19475.793 | 26604.2585 | 33732.724 | 40861.1895 | -16166.5345 | -9038.069 | -1909.6035 | 5218.862 | 12347.3275 | -93.88% | -69.4% | -38.8% | 53% | 1.895% | 0.90367
|  | 3600165 | 19850 | 9800 | 8856 | 2.0255 | 1328 | 13.55% | 1080.0705 | 40 | 22850 | 50.61% | 1425.6931 | 16.0273 | 28513.862 | 5663.862 | 12792.3275 | 19920.793 | 27049.2585 | 34177.724 | 41306.1895 | -15721.5345 | -8593.069 | -1464.6035 | 5663.862 | 12792.3275 | -93.76% | -68.8% | -37.61% | 55.98% | 2.002% | 0.90367
|  | 3600116 | 19350 | 8460 | 7625 | 2.2872 | 1144 | 13.52% | 927.9787 | 36 | 22050 | 43.49% | 1224.9319 | 18.001 | 24498.6383 | 2448.6383 | 8573.2979 | 14697.9574 | 20822.617 | 26947.2766 | 33071.9362 | -15925.3404 | -9800.6809 | -3676.0213 | 2448.6383 | 8573.2979 | -94.44% | -72.22% | -44.45% | 38.88% | 1.39% | 0.9013
|  | 3600063 | 18944 | 9600 | 8724 | 1.9733 | 1308 | 13.63% | 1069.7805 | 40 | 21944 | 50.13% | 1412.1103 | 15.5399 | 28242.2052 | 6298.2052 | 13358.7565 | 20419.3078 | 27479.8591 | 34540.4104 | 41600.9617 | -14883.4487 | -7822.8974 | -762.3461 | 6298.2052 | 13358.7565 | -93.56% | -67.82% | -35.65% | 60.88% | 2.177% | 0.90875
|  | 3600164 | 18325 | 8820 | 7970 | 2.0777 | 1196 | 13.56% | 972.6653 | 36 | 21025 | 45.58% | 1283.9182 | 16.3757 | 25678.3641 | 4653.3641 | 11072.9551 | 17492.5461 | 23912.1371 | 30331.7282 | 36751.3192 | -14605.409 | -8185.818 | -1766.2269 | 4653.3641 | 11072.9551 | -93.89% | -69.47% | -38.93% | 52.67% | 1.883% | 0.90363
|  | 3600062 | 17193 | 8640 | 7851.6 | 1.9899 | 1177 | 13.62% | 962.6389 | 36 | 19893 | 45.11% | 1270.6833 | 15.6554 | 25413.6663 | 5520.6663 | 11874.0829 | 18227.4995 | 24580.916 | 30934.3326 | 37287.7492 | -13539.5834 | -7186.1668 | -832.7503 | 5520.6663 | 11874.0829 | -93.61% | -68.06% | -36.12% | 59.69% | 2.134% | 0.90875
|  | 3600115 | 16350 | 7050 | 6354 | 2.3191 | 953 | 13.52% | 773.0249 | 30 | 18600 | 36.22% | 1020.3929 | 18.2283 | 20407.8583 | 1807.8583 | 6909.8229 | 12011.7875 | 17113.7521 | 22215.7166 | 27317.6812 | -13498.0354 | -8396.0708 | -3294.1063 | 1807.8583 | 6909.8229 | -94.51% | -72.57% | -45.14% | 37.15% | 1.328% | 0.90128
|  | 3600163 | 15000 | 7350 | 6642 | 2.0408 | 996 | 13.55% | 810.0529 | 30 | 17250 | 37.96% | 1069.2698 | 16.1325 | 21385.3965 | 4135.3965 | 9481.7456 | 14828.0948 | 20174.4439 | 25520.793 | 30867.1421 | -11903.6509 | -6557.3017 | -1210.9526 | 4135.3965 | 9481.7456 | -93.8% | -69.01% | -38.01% | 54.97% | 1.965% | 0.90367
|  | 3600061 | 14338 | 7200 | 6543 | 1.9914 | 981 | 13.63% | 802.3354 | 30 | 16588 | 37.6% | 1059.0827 | 15.6626 | 21181.6539 | 4593.6539 | 9889.0674 | 15184.4808 | 20479.8943 | 25775.3078 | 31070.7213 | -11292.5865 | -5997.1731 | -701.7596 | 4593.6539 | 9889.0674 | -93.62% | -68.08% | -36.15% | 59.62% | 2.132% | 0.90875
|  | 3600032 | 13750 | 5640 | 5083 | 2.4379 | 762.5 | 13.52% | 618.4767 | 24 | 15550 | 28.98% | 816.3893 | 19.0473 | 16327.7856 | 777.7856 | 4859.732 | 8941.6785 | 13023.6249 | 17105.5713 | 21187.5177 | -11468.0536 | -7386.1072 | -3304.1608 | 777.7856 | 4859.732 | -94.75% | -73.75% | -47.5% | 31.25% | 1.117% | 0.90124
|  | 3600114 | 13215 | 5640 | 5083 | 2.3431 | 762 | 13.51% | 618.0712 | 24 | 15015 | 28.96% | 815.8539 | 18.404 | 16317.0789 | 1302.0789 | 5381.3486 | 9460.6183 | 13539.8881 | 17619.1578 | 21698.4275 | -10935.7303 | -6856.4606 | -2777.1908 | 1302.0789 | 5381.3486 | -94.57% | -72.83% | -45.66% | 35.84% | 1.282% | 0.90124
|  | 1 | 15000 | 14000 | 12600 | 1.0714 | 1897 | 13.55% | 1536.57 | 24 | 16800 | 72% | 2028.2724 | 8.2829 | 40565.448 | 23765.448 | 33906.81 | 44048.172 | 54189.534 | 64330.896 | 74472.258 | -6658.638 | 3482.724 | 13624.086 | 23765.448 | 33906.81 | -87.93% | -39.63% | 20.73% | 201.8% | 7.217% | 0.9
|  | 1049877 | 12850 | 5880 | 5314 | 2.1854 | 797 | 13.55% | 648.2538 | 24 | 14650 | 30.38% | 855.695 | 17.1206 | 17113.8997 | 2463.8997 | 6742.3746 | 11020.8495 | 15299.3244 | 19577.7993 | 23856.2743 | -10371.5251 | -6093.0502 | -1814.5752 | 2463.8997 | 6742.3746 | -94.16% | -70.8% | -41.59% | 46.02% | 1.646% | 0.90374
|  | 3600162 | 12175 | 5880 | 5314 | 2.0706 | 797 | 13.55% | 648.2538 | 24 | 13975 | 30.38% | 855.695 | 16.3318 | 17113.8997 | 3138.8997 | 7417.3746 | 11695.8495 | 15974.3244 | 20252.7993 | 24531.2743 | -9696.5251 | -5418.0502 | -1139.5752 | 3138.8997 | 7417.3746 | -93.88% | -69.38% | -38.77% | 53.08% | 1.898% | 0.90374
|  | 3600133 | 11975 | 5640 | 5016 | 2.1232 | 752.4 | 13.34% | 602.2402 | 24 | 13775 | 28.22% | 794.957 | 17.328 | 15899.1405 | 2124.1405 | 6098.9256 | 10073.7107 | 14048.4959 | 18023.281 | 21998.0661 | -9800.2149 | -5825.4298 | -1850.6446 | 2124.1405 | 6098.9256 | -94.23% | -71.14% | -42.29% | 44.28% | 1.583% | 0.88936
|  | 3600031 | 12255 | 4700 | 4236 | 2.6074 | 635.4 | 13.52% | 515.404 | 20 | 13755 | 24.15% | 680.3333 | 20.218 | 13606.6665 | -148.3335 | 3253.3331 | 6654.9997 | 10056.6664 | 13458.333 | 16859.9996 | -10353.3334 | -6951.6668 | -3550.0001 | -148.3335 | 3253.3331 | -95.05% | -75.27% | -50.54% | 23.65% | 0.8457% | 0.90128
| x | 3600060 | 11411 | 5760 | 5234.5 | 1.9811 | 785 | 13.63% | 642.0441 | 24 | 13211 | 30.09% | 847.4983 | 15.5882 | 16949.9653 | 3738.9653 | 7976.4566 | 12213.948 | 16451.4393 | 20688.9306 | 24926.422 | -8973.5087 | -4736.0173 | -498.526 | 3738.9653 | 7976.4566 | -93.58% | -67.92% | -35.85% | 60.38% | 2.159% | 0.90877
|  | 3600113 | 11700 | 4700 | 4236 | 2.4894 | 635 | 13.51% | 515.0796 | 20 | 13200 | 24.14% | 679.905 | 19.4145 | 13598.1008 | 398.1008 | 3797.626 | 7197.1511 | 10596.6763 | 13996.2015 | 17395.7267 | -9800.4748 | -6400.9496 | -3001.4244 | 398.1008 | 3797.626 | -94.85% | -74.25% | -48.49% | 28.77% | 1.029% | 0.90128
|  | 3600059 | 10791 | 4800 | 4362 | 2.2481 | 654 | 13.63% | 534.8903 | 20 | 12291 | 25.07% | 706.0551 | 17.408 | 14121.1026 | 1830.1026 | 5360.3783 | 8890.6539 | 12420.9296 | 15951.2052 | 19481.4809 | -8760.7244 | -5230.4487 | -1700.173 | 1830.1026 | 5360.3783 | -94.26% | -71.28% | -42.56% | 43.61% | 1.559% | 0.90875
|  | 3600161 | 10750 | 4990 | 4428 | 2.1543 | 664 | 13.31% | 530.2952 | 20 | 12250 | 24.85% | 699.9896 | 17.5003 | 13999.792 | 1749.792 | 5249.74 | 8749.688 | 12249.6359 | 15749.5839 | 19249.5319 | -8750.052 | -5250.104 | -1750.156 | 1749.792 | 5249.74 | -94.29% | -71.43% | -42.86% | 42.86% | 1.532% | 0.88737
|  | 1049874 | 10675 | 4900 | 4428 | 2.1786 | 664 | 13.55% | 540.0353 | 20 | 12175 | 25.31% | 712.8466 | 17.0794 | 14256.931 | 2081.931 | 5646.1638 | 9210.3965 | 12774.6293 | 16338.862 | 19903.0948 | -8610.7672 | -5046.5345 | -1482.3017 | 2081.931 | 5646.1638 | -94.14% | -70.72% | -41.45% | 46.38% | 1.658% | 0.90367
|  | 3600081 | 10210 | 4700 | 4180 | 2.1723 | 627 | 13.34% | 501.8668 | 20 | 11710 | 23.52% | 662.4642 | 17.6764 | 13249.2837 | 1539.2837 | 4851.6047 | 8163.9256 | 11476.2466 | 14788.5675 | 18100.8884 | -8397.6791 | -5085.3581 | -1773.0372 | 1539.2837 | 4851.6047 | -94.34% | -71.71% | -43.43% | 41.43% | 1.481% | 0.88936
|  | 3600030 | 9615 | 3525 | 3177 | 2.7277 | 476.6 | 13.52% | 386.5936 | 15 | 10740 | 18.12% | 510.3035 | 21.0463 | 10206.0706 | -533.9294 | 2017.5882 | 4569.1059 | 7120.6235 | 9672.1412 | 12223.6588 | -8188.4824 | -5636.9647 | -3085.4471 | -533.9294 | 2017.5882 | -95.25% | -76.24% | -52.49% | 18.79% | 0.6717% | 0.90128
|  | 5500103 | 9593 | 3525 | 3135 | 2.7214 | 470.25 | 13.34% | 376.4001 | 15 | 10718 | 17.64% | 496.8481 | 21.572 | 9936.9628 | -781.0372 | 1703.2035 | 4187.4442 | 6671.6849 | 9155.9256 | 11640.1663 | -8233.7593 | -5749.5186 | -3265.2779 | -781.0372 | 1703.2035 | -95.36% | -76.82% | -53.64% | 15.89% | 0.5682% | 0.88936
|  | 1049873 | 8500 | 3675 | 3321 | 2.3129 | 498 | 13.55% | 405.0264 | 15 | 9625 | 18.98% | 534.6349 | 18.0029 | 10692.6983 | 1067.6983 | 3740.8728 | 6414.0474 | 9087.2219 | 11760.3965 | 14433.5711 | -6951.8254 | -4278.6509 | -1605.4763 | 1067.6983 | 3740.8728 | -94.45% | -72.23% | -44.45% | 38.87% | 1.39% | 0.90367
|  | 3600080 | 8070 | 3525 | 3135 | 2.2894 | 470.25 | 13.34% | 376.4001 | 15 | 9195 | 17.64% | 496.8481 | 18.5067 | 9936.9628 | 741.9628 | 3226.2035 | 5710.4442 | 8194.6849 | 10678.9256 | 13163.1663 | -6710.7593 | -4226.5186 | -1742.2779 | 741.9628 | 3226.2035 | -94.6% | -72.98% | -45.97% | 35.09% | 1.255% | 0.88936
|  | 3600112 | 7365 | 2820 | 2542 | 2.6117 | 381 | 13.51% | 309.0964 | 12 | 8265 | 14.48% | 408.0072 | 20.257 | 8160.1445 | -104.8555 | 1935.1806 | 3975.2168 | 6015.2529 | 8055.289 | 10095.3251 | -6224.9639 | -4184.9277 | -2144.8916 | -104.8555 | 1935.1806 | -95.06% | -75.32% | -50.63% | 23.41% | 0.8372% | 0.90142
|  | 3610029 | 7005 | 2350 | 2118 | 2.9809 | 317.7 | 13.52% | 257.702 | 10 | 7755 | 12.08% | 340.1667 | 22.7976 | 6803.3332 | -951.6668 | 749.1666 | 2449.9999 | 4150.8332 | 5851.6665 | 7552.4998 | -6054.1667 | -4353.3334 | -2652.5001 | -951.6668 | 749.1666 | -95.61% | -78.07% | -56.14% | 9.66% | 0.3454% | 0.90128
|  | 3600058 | 6732 | 2880 | 2617.2 | 2.3375 | 392.58 | 13.63% | 321.0814 | 12 | 7632 | 15.05% | 423.8274 | 18.0073 | 8476.5481 | 844.5481 | 2963.6851 | 5082.8222 | 7201.9592 | 9321.0962 | 11440.2332 | -5512.863 | -3393.7259 | -1274.5889 | 844.5481 | 2963.6851 | -94.45% | -72.23% | -44.47% | 38.83% | 1.389% | 0.90875
|  | 3600160 | 6615 | 2940 | 2657 | 2.25 | 399 | 13.57% | 324.5336 | 12 | 7515 | 15.21% | 428.3843 | 17.5427 | 8567.6863 | 1052.6863 | 3194.6079 | 5336.5294 | 7478.451 | 9620.3726 | 11762.2941 | -5373.0784 | -3231.1569 | -1089.2353 | 1052.6863 | 3194.6079 | -94.3% | -71.5% | -43% | 42.51% | 1.52% | 0.90374
|  | 1049872 | 6175 | 2450 | 2214 | 2.5204 | 332 | 13.55% | 270.0176 | 10 | 6925 | 12.65% | 356.4233 | 19.4291 | 7128.4655 | 203.4655 | 1985.5819 | 3767.6983 | 5549.8146 | 7331.931 | 9114.0474 | -5142.8836 | -3360.7672 | -1578.6509 | 203.4655 | 1985.5819 | -94.85% | -74.27% | -48.53% | 28.67% | 1.025% | 0.90367
|  | 3600179 | 5795 | 2350 | 2090 | 2.466 | 313.5 | 13.34% | 250.9334 | 10 | 6545 | 11.76% | 331.2321 | 19.7596 | 6624.6419 | 79.6419 | 1735.8023 | 3391.9628 | 5048.1233 | 6704.2837 | 8360.4442 | -4888.8395 | -3232.6791 | -1576.5186 | 79.6419 | 1735.8023 | -94.94% | -74.7% | -49.39% | 26.52% | 0.9483% | 0.88936
|  | 3600028 | 5937 | 1880 | 1694 | 3.158 | 254.2 | 13.52% | 206.1454 | 8 | 6537 | 9.66% | 272.1119 | 24.0232 | 5442.2381 | -1094.7619 | 265.7976 | 1626.3572 | 2986.9167 | 4347.4762 | 5708.0357 | -5176.4405 | -3815.8809 | -2455.3214 | -1094.7619 | 265.7976 | -95.84% | -79.19% | -58.37% | 4.066% | 0.1454% | 0.90106
|  | 1049871 | 5280 | 1960 | 1771 | 2.6939 | 265.7 | 13.56% | 216.071 | 8 | 5880 | 10.13% | 285.2138 | 20.6161 | 5704.2753 | -175.7247 | 1250.3442 | 2676.413 | 4102.4819 | 5528.5507 | 6954.6195 | -4453.9312 | -3027.8623 | -1601.7935 | -175.7247 | 1250.3442 | -95.15% | -75.75% | -51.49% | 21.26% | 0.7603% | 0.90357
| x | 3600078 | 4955 | 1880 | 1672 | 2.6356 | 313.5 | 16.68% | 250.9334 | 8 | 5555 | 11.76% | 331.2321 | 16.7707 | 6624.6419 | 1069.6419 | 2725.8023 | 4381.9628 | 6038.1233 | 7694.2837 | 9350.4442 | -3898.8395 | -2242.6791 | -586.5186 | 1069.6419 | 2725.8023 | -94.04% | -70.19% | -40.37% | 49.07% | 1.755% | 0.88936
|  | 2800355 | 3625 | 1000 | 896 | 3.625 | 134.5 | 13.45% | 108.4608 | 4 | 3925 | 5.083% | 143.1683 | 27.4153 | 2863.3651 | -1061.6349 | -345.7936 | 370.0477 | 1085.889 | 1801.7302 | 2517.5715 | -3209.1587 | -2493.3174 | -1777.4762 | -1061.6349 | -345.7936 | -96.35% | -81.76% | -63.52% | -8.81% | -0.315% | 0.896
|  | 2800356 | 2740 | 750 | 672 | 3.6533 | 100.8 | 13.44% | 81.2851 | 3 | 2965 | 3.809% | 107.2964 | 27.6337 | 2145.9272 | -819.0728 | -282.591 | 253.8908 | 790.3725 | 1326.8543 | 1863.3361 | -2428.5182 | -1892.0364 | -1355.5546 | -819.0728 | -282.591 | -96.38% | -81.91% | -63.81% | -9.531% | -0.3408% | 0.896
|  | 2800357 | 2160 | 500 | 448 | 4.32 | 67 | 13.4% | 54.0288 | 2 | 2310 | 2.532% | 71.318 | 32.3901 | 1426.3603 | -883.6397 | -527.0496 | -170.4595 | 186.1306 | 542.7206 | 899.3107 | -1953.4099 | -1596.8198 | -1240.2298 | -883.6397 | -527.0496 | -96.91% | -84.56% | -69.13% | -22.82% | -0.8158% | 0.896
|  | 2800358 | 1325 | 250 | 224 | 5.3 | 33.6 | 13.44% | 27.095 | 1 | 1400 | 1.27% | 35.7655 | 39.1439 | 715.3091 | -684.6909 | -505.8637 | -327.0364 | -148.2092 | 30.6181 | 209.4454 | -1221.1727 | -1042.3455 | -863.5182 | -684.6909 | -505.8637 | -97.45% | -87.23% | -74.45% | -36.13% | -1.292% | 0.896
|  | 8 | 15000 | 13200 | 11880 | 1.1364 | 1795.2 | 13.6% | 1454.112 | 24 | 16800 | 68.14% | 1919.4278 | 8.7526 | 38388.5568 | 21588.5568 | 31185.696 | 40782.8352 | 50379.9744 | 59977.1136 | 69574.2528 | -7202.8608 | 2394.2784 | 11991.4176 | 21588.5568 | 31185.696 | -88.57% | -42.87% | 14.25% | 185.6% | 6.638% | 0.9
|  | 7 | 15000 | 8280 | 7452 | 1.8116 | 1126.08 | 13.6% | 912.1248 | 24 | 16800 | 42.74% | 1204.0047 | 13.9534 | 24080.0947 | 7280.0947 | 13300.1184 | 19320.1421 | 25340.1658 | 31360.1894 | 37380.2131 | -10779.9763 | -4759.9526 | 1260.071 | 7280.0947 | 13300.1184 | -92.83% | -64.17% | -28.33% | 79.17% | 2.831% | 0.9
|  | 6 | 15000 | 9000 | 8100 | 1.6667 | 1224 | 13.6% | 991.44 | 24 | 16800 | 46.46% | 1308.7008 | 12.8372 | 26174.016 | 9374.016 | 15917.52 | 22461.024 | 29004.528 | 35548.032 | 42091.536 | -10256.496 | -3712.992 | 2830.512 | 9374.016 | 15917.52 | -92.21% | -61.05% | -22.1% | 94.75% | 3.388% | 0.9
|  | 1 | 15000 | 14000 | 12600 | 1.0714 | 1897 | 13.55% | 1536.57 | 24 | 16800 | 72% | 2028.2724 | 8.2829 | 40565.448 | 23765.448 | 33906.81 | 44048.172 | 54189.534 | 64330.896 | 74472.258 | -6658.638 | 3482.724 | 13624.086 | 23765.448 | 33906.81 | -87.93% | -39.63% | 20.73% | 201.8% | 7.217% | 0.9
|  | 2 | 15000 | 15000 | 13500 | 1 | 2040 | 13.6% | 1652.4 | 24 | 16800 | 77.43% | 2181.168 | 7.7023 | 43623.36 | 26823.36 | 37729.2 | 48635.04 | 59540.88 | 70446.72 | 81352.56 | -5894.16 | 5011.68 | 15917.52 | 26823.36 | 37729.2 | -87.02% | -35.08% | 29.83% | 224.6% | 8.03% | 0.9
|  | 3 | 15000 | 16000 | 14400 | 0.9375 | 2176 | 13.6% | 1762.56 | 24 | 16800 | 82.59% | 2326.5792 | 7.2209 | 46531.584 | 29731.584 | 41364.48 | 52997.376 | 64630.272 | 76263.168 | 87896.064 | -5167.104 | 6465.792 | 18098.688 | 29731.584 | 41364.48 | -86.15% | -30.76% | 38.49% | 246.2% | 8.804% | 0.9
|  | 4 | 15000 | 17000 | 15300 | 0.88235 | 2312 | 13.6% | 1872.72 | 24 | 16800 | 87.76% | 2471.9904 | 6.7961 | 49439.808 | 32639.808 | 44999.76 | 57359.712 | 69719.664 | 82079.616 | 94439.568 | -4440.048 | 7919.904 | 20279.856 | 32639.808 | 44999.76 | -85.29% | -26.43% | 47.14% | 267.9% | 9.578% | 0.9
|  | 5 | 15000 | 18000 | 16200 | 0.83333 | 2448 | 13.6% | 1982.88 | 24 | 16800 | 92.92% | 2617.4016 | 6.4186 | 52348.032 | 35548.032 | 48635.04 | 61722.048 | 74809.056 | 87896.064 | 100983.072 | -3712.992 | 9374.016 | 22461.024 | 35548.032 | 48635.04 | -84.42% | -22.1% | 55.8% | 289.5% | 10.35% | 0.9
|  | NEW | 17652 | 13000 | 11747 | 1.3578 | 1768 | 13.6% | 1437.8328 | 24 | 19452 | 67.38% | 1897.9393 | 10.249 | 37958.7859 | 18506.7859 | 27996.4824 | 37486.1789 | 46975.8754 | 56465.5718 | 65955.2683 | -9962.3035 | -472.607 | 9017.0894 | 18506.7859 | 27996.4824 | -0.90243 | -0.51215 | -0.024296 | 1.4393 | 5.146% | 0.90362
|  | 3600080 | 8070 | 8564.5714 | 7725.5614 | 2.2323 | 1161.3109 |  | 942.8041 | 15 | 18986.1286 | 44.18% | 1244.5015 | 17.3653 | 24890.0294 | 5903.9008 | 12126.4082 | 18348.9156 | 24571.4229 | 30793.9303 | 37016.4376 | -12763.6212 | -6541.1139 | -318.6065 | 5903.9008 | 12126.4082 | [5 empty] | 0.90107

## 15yr, by $watt (hidden)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.64537
R Square | 0.41651
Adjusted R Square | 0.40662
Standard Error | 6949.2847
Observations | 61
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 2033856380.9675 | 2033856380.9675 | 42.1153 | 1.9653e-08
Residual | 59 | 2849260935.3222 | 48292558.2258
Total | 60 | 4883117316.2897
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 33758.105 | 3584.0528 | 9.419 | 2.3051e-13 | 26586.4319 | 40929.7781 | 26586.4319 | 40929.7781
$/Watt | -9441.7837 | 1454.9029 | -6.4896 | 1.9653e-08 | -12353.0377 | -6530.5297 | -12353.0377 | -6530.5297

## yrpayback, by $watt (hidden)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.99166
R Square | 0.98339
Adjusted R Square | 0.98311
Standard Error | 0.74609
Observations | 62
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 1977.3662 | 1977.3662 | 3552.2703 | 4.2238e-55
Residual | 60 | 33.3989 | 0.55665
Total | 61 | 2010.7651
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 1.9676 | 0.3846 | 5.1159 | 3.4558e-06 | 1.1982 | 2.7369 | 1.1982 | 2.7369
$/Watt | 9.3097 | 0.1562 | 59.6009 | 4.2238e-55 | 8.9973 | 9.6222 | 8.9973 | 9.6222
1.5
15.9322

## 15yr w0, by watt (hidden)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.15752
R Square | 0.024811
Adjusted R Square | 0.0085582
Standard Error | 4048.4266
Observations | 62
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 25019894.8026 | 25019894.8026 | 1.5266 | 0.22145
Residual | 60 | 983385474.6534 | 16389757.9109
Total | 61 | 1008405369.456
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -8679.2073 | 2086.9142 | -4.1589 | 0.00010335 | -12853.6573 | -4504.7573 | -12853.6573 | -4504.7573
$/Watt | 1047.2169 | 847.579 | 1.2355 | 0.22145 | -648.1935 | 2742.6273 | -648.1935 | 2742.6273

## Sheet2 (hidden)
SolarEdge Astronergy Grid-tie System 3,525 watts | 3,525/3,135 | Not Included** | up to 470.25 kWh | 15 | 1 SE 3800 | 3600080 | 2.29 | 8070
SolarEdge Astronergy Grid-tie System 4,700 watts | 4,700/4,180 | Not Included** | up to 627.00 kWh | 20 | 1 SE 5000 | 3600081 | 2.17 | 10210
SolarEdge Astronergy Grid-tie System 5,640 watts | 5,640 / 5,016 | Not Included** | up to 752.4 kWh | 24 | 1 SE 6000 | 3600133 | 2.12 | 11975
SolarEdge Astronergy Grid-tie System 9,400 watts | 9,400/8,360 | Not Included** | up to 1,254 kWh | 40 | 2 SE 5000 | 3610022 | 2.17 | 20420
SolarEdge Astronergy Grid-tie System 11,750 watts | 11,750/10,450 | Not Included** | up to 1,567.5 kWh | 50 | 2 SE 6000 | 3600023 | 2.11 | 24820

## Sheet3 (hidden)
Initial Investment | 48000 |  | after 10 years 4% int | 71051.7257
yr 1 gain | 2800
# years | 10
total gain | 28000
total worth | 76000 | 5.833%
minus depreciation | 10000
Net Worth | 66000 | 1.379%
Initial Investment | 48000 |  | after 20 years 4% int | 105173.9109
yr 1 gain | 5000 | 10.42% | its currently 4.35 %
# years | 20
total gain | 100000
total worth | 148000 | 10.42%
minus depreciation | 20000
Net Worth | 128000 | 4.412%

## kkk (hidden)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.84414
R Square | 0.71257 | [5 empty] | $/watt by ROI 10 year
Adjusted R Square | 0.7077
Standard Error | 0.33339
Observations | 61
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 16.257 | 16.257 | 146.2673 | 1.2946e-17
Residual | 59 | 6.5576 | 0.11115
Total | 60 | 22.8146
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.064288 | 0.19668 | 0.32686 | 0.74493 | -0.32928 | 0.45785 | -0.32928 | 0.45785
ROI 10 ye | -4.7526 | 0.39297 | -12.0941 | 1.2946e-17 | -5.539 | -3.9663 | -5.539 | -3.9663
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.84414
R Square | 0.71257
Adjusted R Square | 0.7077
Standard Error | 0.059214 | [6 empty] | ROI 10 yr by $Watt
Observations | 61
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 0.51286 | 0.51286 | 146.2673 | 1.2946e-17
Residual | 59 | 0.20687 | 0.0035063
Total | 60 | 0.71973
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -0.13079 | 0.030539 | -4.2828 | 6.8946e-05 | -0.1919 | -0.069683 | -0.1919 | -0.069683
$/Watt | -0.14993 | 0.012397 | -12.0941 | 1.2946e-17 | -0.17474 | -0.12512 | -0.17474 | -0.12512

## Calc of Avg Eff (hidden)
100
97
96.3
95.6
94.9
94.2
93.5
92.8
92.1
91.4
90.7
90
89.3
88.6
87.9
87.2
86.5
85.8
85.1
84.4
83.7
83
82.3
81.6
80.9
avg reduction in eff over 25 years | 89.392 | -10.608

## Cost Data (hidden)
Cost of Installation |  | *Doesn’t Include Incentives, Includes Panals/interter/amp/cable ext..etc
ROI= ((Rate per KwH*Standard Testing Conditions Watts produced*Efficiency of Solar Panel*12 months*25 years)-(price + (#panels*price per panel)/ (price+ (#panels*price per panel))/25 years)*Average Reduced Efficiency over 25 years

## ROI by $watt Analysis (hidden)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.84414
R Square | 0.71257
Adjusted R Square | 0.7077
Standard Error | 0.33339
Observations | 61
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 16.257 | 16.257 | 146.2673 | 1.2946e-17
Residual | 59 | 6.5576 | 0.11115
Total | 60 | 22.8146
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 3.0887 | 0.072076 | 42.8533 | 3.709e-46 | 2.9445 | 3.2329 | 2.9445 | 3.2329
Avg ROI per year (25years) Inc Red Eff | -48.333 | 3.9964 | -12.0941 | 1.2946e-17 | -56.3298 | -40.3362 | -56.3298 | -40.3362
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.84414
R Square | 0.71257
Adjusted R Square | 0.7077
Standard Error | 0.0058226
Observations | 61
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 0.0049588 | 0.0049588 | 146.2673 | 1.2946e-17
Residual | 59 | 0.0020002 | 3.3903e-05
Total | 60 | 0.0069591
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.049713 | 0.003003 | 16.5548 | 7.6064e-24 | 0.043705 | 0.055722 | 0.043705 | 0.055722
$/Watt | -0.014743 | 0.001219 | -12.0941 | 1.2946e-17 | -0.017182 | -0.012304 | -0.017182 | -0.012304
|  | avg roi per 25 | 0.049713 | $/watt | -0.014743 | plus or minus | standard error |  | plus | minus
|  | 0.5485% | 0.049713 | 3 | -0.014743 |  | 0.0058226 |  | 0.5517% | 0.5453%
|  | 2.023% | 0.049713 | 2 | -0.014743 |  | 0.0058226 |  | 2.035% | 2.011%
|  | 2.76% | 0.049713 | 1.5 | -0.014743 |  | 0.0058226 |  | 2.776% | 2.744%
|  | 3.128% | 0.049713 | 1.25 | -0.014743 |  | 0.0058226 |  | 3.147% | 3.11%
|  | 3.497% | 0.049713 | 1 | -0.014743 |  | 0.0058226 |  | 3.517% | 3.477%
|  | 3.866% | 0.049713 | 0.75 | -0.014743 |  | 0.0058226 |  | 3.888% | 3.843%
|  | 4.234% | 0.049713 | 0.5 | -0.014743 |  | 0.0058226 |  | 4.259% | 4.21%
|  | 4.603% | 0.049713 | 0.25 | -0.014743 |  | 0.0058226 |  | 4.63% | 4.576%
|  | 4.824% | 0.049713 | 0.1 | -0.014743 |  | 0.0058226 |  | 4.852% | 4.796%

## ROI by Real Output (hidden)
SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
Regression Statistics | [8 empty] | Regression Statistics
Multiple R | 0.54796 | [7 empty] | Multiple R | 0.84787
R Square | 0.30026 | [7 empty] | R Square | 0.71888
Adjusted R Square | 0.2884 | [7 empty] | Adjusted R Square | 0.70408
Standard Error | 0.0090848 | [7 empty] | Standard Error | 0.0058585
Observations | 61 | [7 empty] | Observations | 61
ANOVA | [8 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
Regression | 1 | 0.0020896 | 0.0020896 | 25.3174 | 4.8552e-06 |  |  |  | Regression | 3 | 0.0050027 | 0.0016676 | 48.5867 | 1.0236e-15
Residual | 59 | 0.0048695 | 8.2534e-05 | [5 empty] | Residual | 57 | 0.0019563 | 3.4322e-05
Total | 60 | 0.0069591 | [6 empty] | Total | 60 | 0.0069591
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.0054021 | 0.0021554 | 2.5064 | 0.014975 | 0.0010892 | 0.009715 | 0.0010892 | 0.009715 | Intercept | 0.04608 | 0.0046488 | 9.9122 | 5.1906e-14 | 0.036771 | 0.055389 | 0.036771 | 0.055389
Real | 1.063e-05 | 2.1126e-06 | 5.0316 | 4.8552e-06 | 6.4026e-06 | 1.4857e-05 | 6.4026e-06 | 1.4857e-05 | $/Watt | -0.013828 | 0.0015013 | -9.2104 | 7.0105e-13 | -0.016834 | -0.010821 | -0.016834 | -0.010821
[9 empty] | Theoretical | -3.6155e-05 | 0.00012141 | -0.29779 | 0.76695 | -0.00027928 | 0.00020697 | -0.00027928 | 0.00020697
[9 empty] | Real | 4.6201e-05 | 0.00014905 | 0.30996 | 0.75772 | -0.00025228 | 0.00034468 | -0.00025228 | 0.00034468
SUMMARY OUTPUT
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.54808 | [7 empty] | Regression Statistics
R Square | 0.30039 | [7 empty] | Multiple R | 0.35762
Adjusted R Square | 0.28853 | [7 empty] | R Square | 0.1279
Standard Error | 0.009084 | [7 empty] | Adjusted R Square | 0.11311
Observations | 61 | [7 empty] | Standard Error | 0.010142
[9 empty] | Observations | 61
ANOVA
| df | SS | MS | F | Significance F |  |  |  | ANOVA
Regression | 1 | 0.0020904 | 0.0020904 | 25.3327 | 4.8284e-06 |  |  |  |  | df | SS | MS | F | Significance F
Residual | 59 | 0.0048686 | 8.2519e-05 | [5 empty] | Regression | 1 | 0.00089003 | 0.00089003 | 8.6524 | 0.0046609
Total | 60 | 0.0069591 | [6 empty] | Residual | 59 | 0.006069 | 0.00010287
[9 empty] | Total | 60 | 0.0069591
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.0053772 | 0.002159 | 2.4906 | 0.015587 | 0.0010571 | 0.0096974 | 0.0010571 | 0.0096974 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Theoretical | 8.6575e-06 | 1.7201e-06 | 5.0332 | 4.8284e-06 | 5.2156e-06 | 1.2099e-05 | 5.2156e-06 | 1.2099e-05 | Intercept | 0.0080752 | 0.0025505 | 3.1662 | 0.0024448 | 0.0029717 | 0.013179 | 0.0029717 | 0.013179
[9 empty] | Price | 3.828e-07 | 1.3014e-07 | 2.9415 | 0.0046609 | 1.224e-07 | 6.4321e-07 | 1.224e-07 | 6.4321e-07

## Everything (hidden)
SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
Regression Statistics | [8 empty] | Regression Statistics
Multiple R | 0.99239 | [7 empty] | Multiple R | 0.10851
R Square | 0.98483 | [7 empty] | R Square | 0.011775
Adjusted R Square | 0.92481 | [7 empty] | Adjusted R Square | -0.0049747
Standard Error | 0.0014247 | [7 empty] | Standard Error | 0.30194
Observations | 61 | [7 empty] | Observations | 61
ANOVA | [8 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
Regression | 11 | 0.0068535 | 0.00062305 | 422.0517 | 1.517e-44 |  |  |  | Regression | 1 | 0.06409 | 0.06409 | 0.703 | 0.40516
Residual | 52 | 0.00010555 | 2.0298e-06 | [5 empty] | Residual | 59 | 5.3789 | 0.091167
Total | 63 | 0.0069591 | [6 empty] | Total | 60 | 5.443
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.04491 | 0.0030789 | 14.5865 | 5.1181e-20 | 0.038732 | 0.051089 | 0.038732 | 0.051089 | Intercept | -0.66684 | 1.2806 | -0.52071 | 0.60452 | -3.2294 | 1.8957 | -3.2294 | 1.8957
Price | 9.8241e-06 | 1.3199e-06 | 7.4429 | 9.7428e-10 | 7.1755e-06 | 1.2473e-05 | 7.1755e-06 | 1.2473e-05 | Effeciency | 7.9083 | 9.432 | 0.83845 | 0.40516 | -10.9652 | 26.7817 | -10.9652 | 26.7817
STC | 0.00087562 | 0.00054156 | 1.6168 | 0.11196 | -0.0002111 | 0.0019623 | -0.0002111 | 0.0019623
PTC | -0.0009592 | 0.00060547 | -1.5842 | 0.1192 | -0.0021742 | 0.00025576 | -0.0021742 | 0.00025576
$/Watt | 0.020073 | 0.011373 | 1.7649 | 0.08345 | -0.0027493 | 0.042895 | -0.0027493 | 0.042895
Theoretical | -0.0064493 | 0.0039825 | -1.6194 | 0.1114 | -0.014441 | 0.0015421 | -0.014441 | 0.0015421
Real | 0 | 0 | 65535 | #NUM! | 0 | 0 | 0 | 0
# Panels | 0 | 0 | 65535 | #NUM! | 0 | 0 | 0 | 0
Total Price | -1.0606e-05 | 1.21e-06 | -8.7652 | #NUM! | -1.3034e-05 | -8.1779e-06 | -1.3034e-05 | -8.1779e-06
kWh Reduced | 0 | 0 | 65535 | #NUM! | 0 | 0 | 0 | 0
Yearly Savings | 0.0059821 | 0.0037465 | 1.5967 | #NUM! | -0.0015359 | 0.0135 | -0.0015359 | 0.0135
# Years Payback | -0.004293 | 0.0016068 | -2.6717 | 0.010053 | -0.0075173 | -0.0010687 | -0.0075173 | -0.0010687

## Sheet7 (hidden)
Investment Yields
Date | 1 Mo | 3 Mo | 6 Mo | 1 Yr | 2 Yr | 3 Yr | 5 Yr | 7 Yr | 10 Yr | 20 Yr | 30 Yr | 25 yr
4136500% | 0.06 | 0.08 | 0.11 | 0.14 | 0.23 | 0.36 | 0.76 | 1.23 | 1.86 | 2.7 | 3.08 | 2.89
4136600% | 0.06 | 0.07 | 0.11 | 0.14 | 0.25 | 0.36 | 0.78 | 1.26 | 1.88 | 2.72 | 3.1 | 2.91
4136700% | 0.06 | 0.06 | 0.1 | 0.13 | 0.24 | 0.34 | 0.73 | 1.2 | 1.83 | 2.66 | 3.05 | 2.855
4136800% | 0.07 | 0.07 | 0.1 | 0.13 | 0.22 | 0.33 | 0.69 | 1.15 | 1.78 | 2.6 | 2.99 | 2.795
4136900% | 0.05 | 0.07 | 0.1 | 0.13 | 0.24 | 0.33 | 0.68 | 1.12 | 1.72 | 2.5 | 2.87 | 2.685
2.827

## Sheet1 (hidden)
$/Watt | Avg ROI per year (25years) Inc Red Eff
1.1364 | 0.10042
1.8116 | 0.049663 | SUMMARY OUTPUT
1.6667 | 0.05709
1.0714 | 0.10814 | Regression Statistics
1 | 0.11603 | Multiple R | 0.97987
0.9375 | 0.1293 | R Square | 0.96015
0.88235 | 0.13962 | Adjusted R Square | 0.95351
0.83333 | 0.14994 | Standard Error | 0.0078617
|  | Observations | 8
ANOVA
|  |  | df | SS | MS | F | Significance F
|  | Regression | 1 | 0.0089349 | 0.0089349 | 144.5621 | 2.008e-05
|  | Residual | 6 | 0.00037084 | 6.1807e-05
|  | Total | 7 | 0.0093058
|  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
|  | Intercept | 0.2196 | 0.0098267 | 22.3474 | 5.252e-07 | 0.19556 | 0.24365 | 0.19556 | 0.24365
|  | $/Watt | -0.097075 | 0.0080738 | -12.0234 | 2.008e-05 | -0.11683 | -0.077319 | -0.11683 | -0.077319